Rob –

 

I have read your information and I do have some questions about the building:

 

1.                   Is the building exterior going to be brick veneer?

The complete exterior is brick veneer.

 

2.                   Metal Structure – is this the studs and frame parts of the building?

The Item “Metal Building” ($206,457.00), includes the steel frame and roof system. The Item “Metal Stud Frame System” ($55,996.00), includes the metal stud walls behind the brick veneer, and all other metal stud and sheet rock walls throughout the building.

 

3.                   Total Cost – Could this cost possibly come down lower than the current projected amount?

I will have to review this with Habetz as in your Items #4 and #5 below, and will work towards the $1.5 million figure.

 

4.                   Please check figures to see what could possibly be reduced.

 

5.                   We were thinking possibly in the price range of $1.5 million dollars.

 

6.                   We did not receive any additional funds to build this facility.

 

We feel that with our plan of action for paying off the facility we can manage to have funds 

to pay off completion of building – with a $1.5 million dollar facility.

 

7.                   Take a close look at figures and see what could possible change – we do not want to go out

for bids – with building costing in excess of two million dollars – we may have to do bids.

 

Thanks,

 

Barbara Pickney

