SECTION 02072PRIVATE 

MINOR DEMOLITION FOR REMODELING

1
      GENERAL


1.01
SECTION INCLUDES



A.
Removal of designated building equipment and fixtures.


1.02

seq level2 \h \r0 
NOT USED


1.03

seq level2 \h \r0 
SUBMITTALS



A.
Submit under provisions of Section 01000.

1
.04
seq level2 \h \r0 PROJECT RECORD DOCUMENTS



A.
Accurately record actual locations of capped utilities & subsurface obstructions.

1
.05

seq level2 \h \r0 
REGULATORY REQUIREMENTS



A.
Conform to applicable code for demolition work, safety of structure & dust control. 



B.
Obtain required permits from authorities.



C.
Notify affected utility companies before starting work and comply with their requirements.



D.
Do not close or obstruct egress width to exits.



E.
Do not disable or disrupt building fire or life safety systems without 3 day prior written notice to the Owner.



F.
Conform to procedures applicable when discovering hazardous or contaminated materials.



1.06seq level2 \h \r0 

seq level3 \h \r0 
SCHEDULING




A.
 Describe demolition removal procedures and schedule.

2      EXECUTION


2.01
PREPARATION



A.
Provide, erect, and maintain temporary barriers at work site





B.
Protect existing materials and Structures which are not to be demolished.

C. Mark location of utilities.


2.02seq level2 \h \r0 
DEMOLITION REQUIREMENTS



A.
See Section 01000 General Conditions, 1.14 Safety



B.
Conduct demolition to minimize interference with adjacent and occupied building areas.



C.
Cease operations immediately if structure appears to be in danger.  Notify Architect/Engineer.  Do not resume operations until directed.



D.
Maintain protected egress and access to the Work.


2.03seq level2 \h \r0 
DEMOLITION

   A.
  The contractor shall take ownership of all removed equipment and materials, including the transformer, switchgear, and distribution panelboard.  The contractor shall legally dispose of these and all removed/demolished materials off University property


END OF SECTION
PAGE  
Section 02072 Page 2 of 2

