SECTION 03400

PILING

1      GENERAL

1.01
SECTION INCLUDES



A.
Steel Screw Piles


1.02
RELATED SECTIONS



A.
Section 03200 – Concrete reinforcement.

B. Section 03300 – Cast-in-place concrete.


1.03
REFERENCES



A.
ACI 302 ‑ Guide for Concrete Floor and Slab Construction.


1.04
PROJECT RECORD DOCUMENTS



A.
Submit under provisions of Section 01000.



B.
Accurately record actual pressure of hydraulic gauge, length of pile and stated equivalent load support (bearing capacity) for each pile.


1.05
QUALITY ASSURANCE

A.
Use all new and undamaged screw piles.  Submit manufacturer’s data in accordance with Section 01000.



B.
Minimum Acceptable Factor of Safety (FS) – 2.0


1.06
COORDINATION



A.
Coordinate work under provisions of Section 01000. 

2      PRODUCTS


2.01
Piling



A.
Piling shall be composite Helical pipe piles, standard steel helical screw piles, capable of 6 tons load bearing capacity, each.

3      EXECUTION



A.
Verify site conditions under provisions of Section 01000. 



B.
Layout pile locations in accordance with project drawings.


END OF SECTION
PAGE  
Section Error! Main Document Only.
03400 Page 1 of 1

