SECTION 01300PRIVATE 

SUBMITTALS

1       GENERAL


1.01
SECTION INCLUDES



A.
Submittal procedures.



B.
Shop drawings.



C.
Product data.


2.01
RELATED SECTIONS



A.
Section 01400 – Quality Control: Manufacturers’ field services and reports.



B.
Section 01700 ‑ Contract Closeout: Contract warranty and closeout submittals.


3.01
SUBMITTAL PROCEDURES



A.
Transmit each submittal with Architect/Engineer accepted form.



B.
Sequentially number the transmittal forms.  Re-submittals to have original number with an alphabetic suffix.



C.
Identify Project, Contractor, Subcontractor or supplier; pertinent Drawing sheet and detail number(s), and specification Section number, as appropriate.



D.
Apply Contractor's stamp, signed or initialed certifying that review, verification of Products required, field dimensions, adjacent construction Work, and coordination of information, is in accordance with the requirements of the Work and Contract Documents.



E.
Identify variations from Contract Documents and Product or system limitations which may be detrimental to successful performance of the completed Work.



F.
Revise and resubmit submittals as required, identify all changes made since previous submittal.


4.01
SHOP DRAWINGS



A.
Submit in the form of these blue line or Xerox copies.

B.   After review, reproduce and distribute in accordance with      Article on Procedures above and for Record Documents 

     described in Section 01700 ‑ Contract Closeout.


5.01
PRODUCT DATA



A.
Submit the number of copies which the Contractor requires, plus three copies which will be retained by the Architect/Engineer.



B.
Mark each copy to identify applicable products, models, options, and other data.  Supplement manufacturers' standard data to provide information unique to this Project.



C.
After review, distribute in accordance with Article on Procedures above and provide copies for Record Documents described in Section 01700 ‑ Contract Closeout.


END OF SECTION
1
Section 01300 Page 1 of 2
Error! Main Document Only.

