Dryer connections

3-4” 24ga joe ball snap lock pipe in the wall turning a 90 across the hallway and tie into a 8”x10” 24 ga. Exhaust duct terminating thru the outside wall. Each 4” duct has a back draft damper installed and two clean outs on the 8”x8” duct.

Need hold harmless letter to Jefferson parish.

