To Kurt Pichon

Ref: Kostmayer Construction

        Old Spanish Trail

        Slidell, La. 

Dear Mr. Kurt,

The contractor has installed the block wall on both ends of the building. When the block walls where installed, the metal beam interfered with the blocks going tight to the roof deck. Please see the attached sketch of the 3-hour firewall that we would like to get approval for. We propose to install furring channels 16”o.c. to the bottom and sides of the metal beam and install 6 layers of 5/8” type “X” sheet rock taped and floated.   

Also we would like to change the rear wall rating to use two layers of type “X”

