====================================================================================================================================

PROGRAM : STRAAD Finite Element Analysis v2.11                                                                            PAGE NO. 1

IntelliCAD User                                                                                     TIME :  Thu Oct 24 15:19:55 2002

JOB : allowable loads                                                                                                   JOB NO. : 13

RUN : Eagle Point Frame Analysis & Design

====================================================================================================================================

                                    S T R U C T U R E   L O A D   C O M B I N A T I O N S

 COMB   LIST OF FACTORS * CASES

====================================================================================================================================

 LOAD COMBINATIONS:

 COMB  1 (exist_new) :  1.00 X CASE  1 +  1.00 X CASE  2

====================================================================================================================================

                           2   N O D E   T R U S S   E L E M E N T  --  E L E M E N T   R E P O R T S

 ELEM   LOAD   NODE               SIGN CONVENTION : BEAM DESIGNERS

  NO    COMB    NO     AXIAL                SHEAR X               MAX MOMENT Y  DIST    SHEAR Y               MAX MOMENT X  DIST

====================================================================================================================================

 Units:                   K              K                    K -Ft    Ft       K                    K -Ft     Ft

 REPORT TYPE  : Max Forces Full

 ELEMENT LIST : 1-79

    1      1     1     -1.8898                  0.0000                                     0.0000            

                 3     -1.8898                  0.0000                                     0.0000            

    2      1     3     -5.4704                  0.0000                                     0.0000            

                 5     -5.4704                  0.0000                                     0.0000            

    3      1     5     -8.6532                  0.0000                                     0.0000            

                 7     -8.6532                  0.0000                                     0.0000            

    4      1     7    -11.4382                  0.0000                                     0.0000            

                 9    -11.4382                  0.0000                                     0.0000            

    5      1     9    -13.8253                  0.0000                                     0.0000            

                11    -13.8253                  0.0000                                     0.0000            

    6      1    11    -15.8145                  0.0000                                     0.0000            

                13    -15.8145                  0.0000                                     0.0000            

    7      1    13    -17.4059                  0.0000                                     0.0000            

                15    -17.4059                  0.0000                                     0.0000            

    8      1    15    -18.5995                  0.0000                                     0.0000            

                17    -18.5995                  0.0000                                     0.0000            

    9      1    17    -19.3952                  0.0000                                     0.0000            

                19    -19.3952                  0.0000                                     0.0000            

   10      1    19    -19.7930                  0.0000                                     0.0000            

                21    -19.7930                  0.0000                                     0.0000 

====================================================================================================================================

PROGRAM : STRAAD Finite Element Analysis v2.11                                                                            PAGE NO. 2

IntelliCAD User                                                                                     TIME :  Thu Oct 24 15:20:00 2002

JOB : allowable loads                                                                                                   JOB NO. : 13

RUN : Eagle Point Frame Analysis & Design

====================================================================================================================================

                           2   N O D E   T R U S S   E L E M E N T  --  E L E M E N T   R E P O R T S

 ELEM   LOAD   NODE               SIGN CONVENTION : BEAM DESIGNERS

  NO    COMB    NO     AXIAL                SHEAR X               MAX MOMENT Y  DIST    SHEAR Y               MAX MOMENT X  DIST

====================================================================================================================================

   11      1    21    -19.7930                  0.0000                                     0.0000            

                23    -19.7930                  0.0000                                     0.0000            

   12      1    23    -19.3952                  0.0000                                     0.0000            

                25    -19.3952                  0.0000                                     0.0000            

   13      1    25    -18.5995                  0.0000                                     0.0000            

                27    -18.5995                  0.0000                                     0.0000            

   14      1    27    -17.4059                  0.0000                                     0.0000            

                29    -17.4059                  0.0000                                     0.0000            

   15      1    29    -15.8145                  0.0000                                     0.0000            

                31    -15.8145                  0.0000                                     0.0000            

   16      1    31    -13.8253                  0.0000                                     0.0000            

                33    -13.8253                  0.0000                                     0.0000            

   17      1    33    -11.4382                  0.0000                                     0.0000            

                35    -11.4382                  0.0000                                     0.0000            

   18      1    35     -8.6532                  0.0000                                     0.0000            

                37     -8.6532                  0.0000                                     0.0000            

   19      1    37     -5.4704                  0.0000                                     0.0000            

                39     -5.4704                  0.0000                                     0.0000            

   20      1    39     -1.8898                  0.0000                                     0.0000            

                41     -1.8898                  0.0000                                     0.0000            

   21      1     2      3.7796                  0.0000                                     0.0000            

                 4      3.7796                  0.0000                                     0.0000            

   22      1     4      7.1613                  0.0000                                     0.0000            

                 6      7.1613                  0.0000                                     0.0000            

   23      1     6     10.1452                  0.0000                                     0.0000            

                 8     10.1452                  0.0000                                     0.0000            

   24      1     8     12.7312                  0.0000                                     0.0000            

                10     12.7312                  0.0000                                     0.0000            

   25      1    10     14.9194                  0.0000                                     0.0000            

                12     14.9194                  0.0000                                     0.0000            

====================================================================================================================================

PROGRAM : STRAAD Finite Element Analysis v2.11                                                                            PAGE NO. 3

IntelliCAD User                                                                                     TIME :  Thu Oct 24 15:20:00 2002

JOB : allowable loads                                                                                                   JOB NO. : 13

RUN : Eagle Point Frame Analysis & Design

====================================================================================================================================

                           2   N O D E   T R U S S   E L E M E N T  --  E L E M E N T   R E P O R T S

 ELEM   LOAD   NODE               SIGN CONVENTION : BEAM DESIGNERS

  NO    COMB    NO     AXIAL                SHEAR X               MAX MOMENT Y  DIST    SHEAR Y               MAX MOMENT X  DIST

====================================================================================================================================

   26      1    12     16.7097                  0.0000                                     0.0000            

                14     16.7097                  0.0000                                     0.0000            

   27      1    14     18.1022                  0.0000                                     0.0000            

                16     18.1022                  0.0000                                     0.0000            

   28      1    16     19.0968                  0.0000                                     0.0000            

                18     19.0968                  0.0000                                     0.0000            

   29      1    18     19.6936                  0.0000                                     0.0000            

                20     19.6936                  0.0000                                     0.0000            

   30      1    20     19.8925                  0.0000                                     0.0000            

                22     19.8925                  0.0000                                     0.0000            

   31      1    22     19.6936                  0.0000                                     0.0000            

                24     19.6936                  0.0000                                     0.0000            

   32      1    24     19.0968                  0.0000                                     0.0000            

                26     19.0968                  0.0000                                     0.0000            

   33      1    26     18.1022                  0.0000                                     0.0000            

                28     18.1022                  0.0000                                     0.0000            

   34      1    28     16.7097                  0.0000                                     0.0000            

                30     16.7097                  0.0000                                     0.0000            

   35      1    30     14.9194                  0.0000                                     0.0000            

                32     14.9194                  0.0000                                     0.0000            

   36      1    32     12.7312                  0.0000                                     0.0000            

                34     12.7312                  0.0000                                     0.0000            

   37      1    34     10.1452                  0.0000                                     0.0000            

                36     10.1452                  0.0000                                     0.0000            

   38      1    36      7.1613                  0.0000                                     0.0000            

                38      7.1613                  0.0000                                     0.0000            

   39      1    38      3.7796                  0.0000                                     0.0000            

                40      3.7796                  0.0000                                     0.0000            

   40      1     1      3.6362                  0.0000                                     0.0000            

                 2      3.6362                  0.0000                                     0.0000            

====================================================================================================================================

PROGRAM : STRAAD Finite Element Analysis v2.11                                                                            PAGE NO. 4

IntelliCAD User                                                                                     TIME :  Thu Oct 24 15:20:00 2002

JOB : allowable loads                                                                                                   JOB NO. : 13

RUN : Eagle Point Frame Analysis & Design

====================================================================================================================================

                           2   N O D E   T R U S S   E L E M E N T  --  E L E M E N T   R E P O R T S

 ELEM   LOAD   NODE               SIGN CONVENTION : BEAM DESIGNERS

  NO    COMB    NO     AXIAL                SHEAR X               MAX MOMENT Y  DIST    SHEAR Y               MAX MOMENT X  DIST

====================================================================================================================================

   41      1     2     -3.6362                  0.0000                                     0.0000            

                 3     -3.6362                  0.0000                                     0.0000            

   42      1     3      3.2534                  0.0000                                     0.0000            

                 4      3.2534                  0.0000                                     0.0000            

   43      1     4     -3.2534                  0.0000                                     0.0000            

                 5     -3.2534                  0.0000                                     0.0000            

   44      1     5      2.8707                  0.0000                                     0.0000            

                 6      2.8707                  0.0000                                     0.0000            

   45      1     6     -2.8707                  0.0000                                     0.0000            

                 7     -2.8707                  0.0000                                     0.0000            

   46      1     7      2.4879                  0.0000                                     0.0000            

                 8      2.4879                  0.0000                                     0.0000            

   47      1     8     -2.4879                  0.0000                                     0.0000            

                 9     -2.4879                  0.0000                                     0.0000            

   48      1     9      2.1051                  0.0000                                     0.0000            

                10      2.1051                  0.0000                                     0.0000            

   49      1    10     -2.1051                  0.0000                                     0.0000            

                11     -2.1051                  0.0000                                     0.0000            

   50      1    11      1.7224                  0.0000                                     0.0000            

                12      1.7224                  0.0000                                     0.0000            

   51      1    12     -1.7224                  0.0000                                     0.0000            

                13     -1.7224                  0.0000                                     0.0000            

   52      1    13      1.3396                  0.0000                                     0.0000            

                14      1.3396                  0.0000                                     0.0000            

   53      1    14     -1.3396                  0.0000                                     0.0000            

                15     -1.3396                  0.0000                                     0.0000            

   54      1    15      0.9569                  0.0000                                     0.0000            

                16      0.9569                  0.0000                                     0.0000            

   55      1    16     -0.9569                  0.0000                                     0.0000            

                17     -0.9569                  0.0000                                     0.0000            

====================================================================================================================================

PROGRAM : STRAAD Finite Element Analysis v2.11                                                                            PAGE NO. 5

IntelliCAD User                                                                                     TIME :  Thu Oct 24 15:20:00 2002

JOB : allowable loads                                                                                                   JOB NO. : 13

RUN : Eagle Point Frame Analysis & Design

====================================================================================================================================

                           2   N O D E   T R U S S   E L E M E N T  --  E L E M E N T   R E P O R T S

 ELEM   LOAD   NODE               SIGN CONVENTION : BEAM DESIGNERS

  NO    COMB    NO     AXIAL                SHEAR X               MAX MOMENT Y  DIST    SHEAR Y               MAX MOMENT X  DIST

====================================================================================================================================

   56      1    17      0.5741                  0.0000                                     0.0000            

                18      0.5741                  0.0000                                     0.0000            

   57      1    18     -0.5741                  0.0000                                     0.0000            

                19     -0.5741                  0.0000                                     0.0000            

   58      1    19      0.1914                  0.0000                                     0.0000            

                20      0.1914                  0.0000                                     0.0000            

   59      1    20     -0.1914                  0.0000                                     0.0000            

                21     -0.1914                  0.0000                                     0.0000            

   60      1    21     -0.1914                  0.0000                                     0.0000            

                22     -0.1914                  0.0000                                     0.0000            

   61      1    22      0.1914                  0.0000                                     0.0000            

                23      0.1914                  0.0000                                     0.0000            

   62      1    23     -0.5741                  0.0000                                     0.0000            

                24     -0.5741                  0.0000                                     0.0000            

   63      1    24      0.5741                  0.0000                                     0.0000            

                25      0.5741                  0.0000                                     0.0000            

   64      1    25     -0.9569                  0.0000                                     0.0000            

                26     -0.9569                  0.0000                                     0.0000            

   65      1    26      0.9569                  0.0000                                     0.0000            

                27      0.9569                  0.0000                                     0.0000            

   66      1    27     -1.3396                  0.0000                                     0.0000            

                28     -1.3396                  0.0000                                     0.0000            

   67      1    28      1.3396                  0.0000                                     0.0000            

                29      1.3396                  0.0000                                     0.0000            

   68      1    29     -1.7224                  0.0000                                     0.0000            

                30     -1.7224                  0.0000                                     0.0000            

   69      1    30      1.7224                  0.0000                                     0.0000            

                31      1.7224                  0.0000                                     0.0000            

   70      1    31     -2.1051                  0.0000                                     0.0000            

                32     -2.1051                  0.0000                                     0.0000            

====================================================================================================================================

PROGRAM : STRAAD Finite Element Analysis v2.11                                                                            PAGE NO. 6

IntelliCAD User                                                                                     TIME :  Thu Oct 24 15:20:00 2002

JOB : allowable loads                                                                                                   JOB NO. : 13

RUN : Eagle Point Frame Analysis & Design

====================================================================================================================================

                           2   N O D E   T R U S S   E L E M E N T  --  E L E M E N T   R E P O R T S

 ELEM   LOAD   NODE               SIGN CONVENTION : BEAM DESIGNERS

  NO    COMB    NO     AXIAL                SHEAR X               MAX MOMENT Y  DIST    SHEAR Y               MAX MOMENT X  DIST

====================================================================================================================================

   71      1    32      2.1051                  0.0000                                     0.0000            

                33      2.1051                  0.0000                                     0.0000            

   72      1    33     -2.4879                  0.0000                                     0.0000            

                34     -2.4879                  0.0000                                     0.0000            

   73      1    34      2.4879                  0.0000                                     0.0000            

                35      2.4879                  0.0000                                     0.0000            

   74      1    35     -2.8707                  0.0000                                     0.0000            

                36     -2.8707                  0.0000                                     0.0000            

   75      1    36      2.8707                  0.0000                                     0.0000            

                37      2.8707                  0.0000                                     0.0000            

   76      1    37     -3.2534                  0.0000                                     0.0000            

                38     -3.2534                  0.0000                                     0.0000            

   77      1    38      3.2534                  0.0000                                     0.0000            

                39      3.2534                  0.0000                                     0.0000            

   78      1    39     -3.6362                  0.0000                                     0.0000            

                40     -3.6362                  0.0000                                     0.0000            

   79      1    40      3.6362                  0.0000                                     0.0000            

                41      3.6362                  0.0000                                     0.0000            

====================================================================================================================================

                                                   R  E  A  C  T  I  O  N  S

 NODE       LOAD                         (* Indicates Reactions Occur in Nodal Local System)

  NO        COMB                PX              PY              PZ              MX              MY              MZ

====================================================================================================================================

 Units:                         K               K               K             K -Ft           K -Ft            K -Ft 

    1         1                 0.0000          3.1065          0.0000          0.0000          0.0000          0.0000

   41         1                 0.0000          3.1065          0.0000          0.0000          0.0000          0.0000

====================================================================================================================================

PROGRAM : STRAAD Finite Element Analysis v2.11                                                                            PAGE NO. 7

IntelliCAD User                                                                                     TIME :  Thu Oct 24 15:20:00 2002

JOB : allowable loads                                                                                                   JOB NO. : 13

RUN : Eagle Point Frame Analysis & Design

====================================================================================================================================

                                                R E A C T I O N    S U M M A R Y

  LOAD                         S U M  O F  A P P L I E D   L O A D S               S U M  O F  R E A C T I O N S

  COMB                          PX              PY              PZ              PX              PY              PZ

====================================================================================================================================

 Units:                         K               K               K               K               K               K 

    1                           0.0000         -6.2130          0.0000          0.0000          6.2130          0.0000

