MEETING MINUTES

Timbers Office Park Project LA # 96191/97038/97046
Date:  2/08/01 Location: Timbers Office Park Time: 11:30 PM_
Attendees:
NAME                                      ORGANIZATION
                              PHONE
Chuck Dammon

Dammon Engineering

649-5832/641-5950

Ben White


Orleans Parish School BD

942-3517/942-3516

Jason Grogtson

RFCC




956-2005/456-2010

Roy Frischhertz

RFCC




956-2005/456-2010

1. Description of work completed:

A. Elevators are beening worked; the new electrical devices for the elevator are installed.

B. The old sidewalk is removed next to the boiler room and preparations for the new one is in progress.

C. The demolitions of toilets in bldg. 3500 are complete. The sheet rock & tile are being installed.

D. The new power line for the sign in front of bldg. 3500 is installed and compaction are being started.

C. Removal of the old wallpaper is complete on the third floor; the new wallpaper is being installed.

2. General discussion of what transpired at the meeting:

A. The elevators are taking too long to get repaired for the amount of traffic that these two buildings have. The employees have been complaining about having to use the stairs.

B. Renovations to the bathrooms in bldg. 3500 are not finished, employees and visitors are complaining about having to use the stairs to get to the second floor bathroom.

A. Action items developed from meeting:

A. Roy Frischhertz is contacting the Elevator Company to see what is taking so long to finish the repairs, so that normal traffic can resume.

C. Jason Grogston with Frischhertz Const. is arranging the bathrooms so that at least one stall is operable in each bathroom at all times.

 _________________________Date______

Chuck Dammon/Project Manager

