November 20, 2000

To: 
Al Saucier


Bayou Steel Fabricators


Fax 863-5010

Dear Sir;


With reference to our meeting on Saturday November 18th, at 425 Decator St. in New Orleans, I offer the following;

Finds:

(1) The building is approximately 34ft wide, inside of the party walls, with a row of columns running down the center and supporting three floors and a roof.

(2) These are presently no live loads on the second and third floors or roof.   The roof loads used in the calculations assume normal rain loads. 

(3) Using the jacks and beams described and that were on the premises on Saturday, the loads calculated should pose no problem to your work, but you should keep the jacks and support beams as close to the center column row as possible to avoid unwanted stress on the party wall.

Sincerely 

Pete Dammon   

LA 8796

EGD/plc

