June 12, 2000

Mr. Raymond Schindler

Pretreatment Technician II

1200 38th Street

Kenner, LA  70065

Re;
Auduong Car-wash (Located at Veterans Blvd.


and Tifton St. in Kenner, LA)

Dear Mr. Schindler;

     Thank you for calling.  It appears that the contractor is applying for his construction permit, and you are reviewing the drawings again.

     Per your first letter dated 3-27-00, you asked that certain items be addressed (including requirements for the oil interceptor) and put on the drawings.  Our drawings were changed to meet those requirements.


On June 9th, 2000 you called and asked that the grease interceptor be changed to that of your cut sheet specification that you faxed.


I’m sending a copy of this letter to the owner and contractor and will call them to verify that they comply with this letter.


If you have any further questions, please do not hesitate to contact me at 504-649-5832.

Sincerely,

Chuck Dammon, Vice President/Project Manager
CKD/plc
