May 3, 2001

Mr. Stephen Braquet

Meyer Engineers, Ltd.

Engineer & Architect

4937 Hearst Street, Ste. B

Metairie, LA  70001

RE:
Concession Building, Baseball Field, Gonzales Louisiana

Dear Steve,

I received the soils analysis prepared by Gore Engineering for the project.  In accordance with the 1500 lb./s.f. loading, and with the depth of fill being 1.5ft., I have changed the attached detail of the footings to reflect the 36 inch depth of perimeter beams, and increased the width to 16 inches.

If you agree, this revised sketch can be attached to the original submittal and I will also fax a copy to Doc Hopkins to proceed with the project.  Or if desired, let them work from this in the field and I will mail you a new set of drawings for your file.

Sorry about the problem.

Sincerely,
Emmett G. (Pete) Dammon, P.E.
EGD:clh
