




February 4, 2000

TO:
Permits Department

 
City of Kenner, LA

RE;
Agreeko Building

Gentlemen;

  As discussed between Mr. Danny Brown of McMath Construction, and your department, the following routing of the Natural gas line from the point of tie-in to the building, will be as follows.  

  The exterior routing will be to approach and run along side the building with the pipe, to a point where entering the building will be in shop area, there being routed as shown on the drawings, but always in the open shop.

  If I can be of further assistance please call me.






Sincerely, 






Emmett G (Pete) Dammon P.E.,

cc

  Danny Brown

  McMath Construction

plc/EGD

