January 19, 2000

TO:   Permits Department

      St. Tammany Parish

RE;   Flagship Marine, Hwy 11

This piece of property is located on the canal that runs along hwy 11.  The property drains directly to the bayou and not through anyone else’s property, or through public right of way.

Please issue the building permit without requiring retention, as in our past experience with these types of property, Retention is not required

                              Sincerely, 

                              Emmett G (Pete) Dammon P.E.,

plc/EGD

