September 21, 2000

Mr. Maurice L. Price

Commercial Plan Reviewer

Inspection and Code Enforcement Dept.

1801 Williams Blvd.

Kenner, LA  70062

RE;
Light Pole’s


Kenner Car wash


Veterans Memorial Blvd.


Kenner,  LA

Dear Mr. Price;

  The light poles weight approximately 200 pounds.   The footings that the contractor installed is sufficient to support the load.

Thank you, if you have any questions or need to speak with me, please call me at 504-649-5832.

Sincerely,

Pete Dammon Engineering, Inc,

President 

EGD/plc

