June 26, 2000

Mr. Maurice L. Price

Commercial Plan Reviewer

Inspection and Code Enforcement Dept.

1801 Williams Blvd.

Kenner, LA  70062

RE;
C-951


Kenner Car wash


Veterans Memorial Blvd.


Kenner,  LA

Dear Mr. Price;

  Upon review of your letter dated June 15, 2000, these items were addressed:

1. The Owner and Contractor are to notify Ralph Beaumont for inspections of the drainage connections.

2. Mr. Beaumont was contacted during the initial design of the car wash.   He gave us his requirements for drainage at that time.  The drain lines and sizes are shown on the drawings.  I spoke to Mr. Beaumont on Wednesday June 21, 2000 and he said he would approve the plans.

3. The Owner will be submitting the survey with the Benchmark Certificate.   On drawing C-3 the slab base flood elevation is shown 18” above veteran’s blvd.

4. Drawing C-1 shows shrubs on veterans. A few of these will be moved to Tifton St. side per you request. 

5. Mr. Raymond Schindler of USFOS was provided with the cut sheets of the sand/oil interceptor.  He has approved the use of #SCIGT1001NM for the car wash.

6. The Owner and contractor were notified that a separate application must be submitted for  sign approval.

Thank you, if you have any questions or need to speak with me, please call me at 504-649-5832.

Sincerely,

Chuck Dammon/Project Manager

