                                          March 27, 2000

Mr. Charles Lambert

Director, Dept of Waste Water Operations

City of Kenner

1200 38th Street

Kenner, LA  70065

Dear Mr. Lambert;

  The following specifications for the Auduong Car wash, located at Veterans Blvd and Tifton Street in Kenner, Louisiana, will be incorporated into the project.

· The separator walls and the roof of the car wash structure will be 25 feet long.

· The sloped area of the floor in each washing stall, from edge to edge (i.e., total length) will be 23 feet long.  There should be one foot of roof overhang on each side of the sloped area.

· The top metal grate of the mud trap must be six (6) inches below the outside edge of the sloped area, in order to achieve the minimum required sloping into the mud trap.

· The mud trap will have a minimum water depth of two and one-half feet (2.5) of water.

· The oil/water separator must have a minimum water depth of three (3) feet and a minimum water volume of 1,000 gallons.  In addition, to the top of the separator’s baffle wall (s) must be at least two inches below the trap’s static water level.  Water must be able to freely flow over the entire width of the baffle wall.

  Your department will be contacted to inspect the work, when complete.

Sincerely,

Chuck Dammon

Vice President and Project Manager

CKD/plc

