To:
Bidders

Roy Stubenrauch/SGS Construction

Ross Savoie/Savoie Construction


Warren Construction

RE:
Repairs to Tabernacle Baptist Church


2445 4th St.


Slidell, Louisiana

Send sealed bids to Dammon Engineering, Attn:  Mr. Roy Black, Tabernacle Baptist Church

Description of Work:

1. Provide sufficient temporary shoring walls, etc. and accomplish the following work:

a. Demo existing ceilings, remove existing ceiling tiles and existing planking attached to existing roof trusses in both main auditorium and front wing.

b. Raise and level trusses of main roof, which will level roof of front wing.

c. Sister new framing members on existing trusses as required for support.

d. Install new concrete footings 3’x3’x2’ with #5 rebar @ 6” o.c., E.W.  Install two new columns at juncture of auditorium and front wing (approximately 32 ft. apart) and install Glulam beam at top of columns to support main roof trusses.

e. Install Glulam horizontal beams (3) three each in auditorium to tie auditorium walls together.

f. Remove termite damage on roof framing and repair with new material having a minimum of three feet overlap on solid material.

g. Install new vertical and plumb rear wall in auditorium, to height of existing roof trusses and tie together.

h. Install new wing wall in foyer that has been removed.

i. Install new 6x6 floor sills as required.
j. Install replacement 2x8 floor joist @ 16” o.c., new ¾ inch “strong ply” plywood decking for sub floor in areas that floor is missing.  Repair areas where holes have been cut in floor.

k. Remove construction debris from site.

l. Obtain and pay for city permit, based on the above work.

m. Agree in principle to work with Tabernacle Baptist as general contractor on the next phase of the work, while allowing them to use free labor to do part of the work.

