DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS

554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

June 1, 2011

Louisiana Department of Health

Attn: Ms. Cathy

P.O. Box 629
Baton Rouge, LA 70821-0629
RE:
Clarification of Construction Items



Mad Swirls

To Whom It May Concern:

1. Ceiling Tiles in kitchen and food prep area will be light in color and non absorbent.

2. Track Lighting in kitchen will be removed and replaced with fluorescent lighting.

3. Sneeze guard will be installed over food bar.

If you have any questions, please feel free to call.  Thank you for your help.

Sincerely,

Chuck Dammon

VP/Dammon Engineering, Inc.

