	[image: image1.png]



	INVOICE

	GULF COAST ELECTRIC CO. LLC
Serving the Gulf Coast
	

	554 Old Spanish Trail, SLIDELL, LA 70458
Phone 985-649-5832 Fax 985-641-5950
gulfcoastelect@bellsouth.net
	      LA License 46737


	to
	Drew Wirwa
20297 Garland St

Covington, LA 70435-0115
	RE: Residence



	DATE
	Contact Number
	Location

	06/13/12
	               731-695-7791
	20297 Garland St, Covington, LA 70435-0115


	item 
	
	description
	
	
	line total

	1
	
	The following repairs were completed. 
	
	
	

	2
	
	Repairs to the electrical panel

W ire insulation was cut to the proper length at point where it connects to breakers. 


	
	
	

	3
	
	Wire insulation which was incorrectly color coded were corrected. Example white neutral wire was landed on a 2 pole breaker. The white wire color was corrected to a color of red or black indicating it is a current carrying conductor.
	
	
	$120.00

	4
	
	
	
	
	

	5
	
	
	
	
	

	6
	
	
	
	
	

	7
	
	
	
	
	

	8
	
	
	
	
	

	9
	
	
	
	
	

	10
	
	
	
	
	

	11
	
	
	
	
	

	12
	
	
	
	
	

	Terms: due upon completion 
	
	

	
	
	

	Accepted by:
	Sales Tax
	

	Date:
	Total
	$120.00

	
	
	


Thank you for your business!







