[image: image3.jpg]


  GULF COAST ELECTRIC CO., LLC
1095 Florida Avenue
Slidell, Louisiana  70458

985-649-5832/fax: 985-641-5950

Email: kdammon@bellsouth.net
                ESTIMATE/WORK SHEET
	CW Drew
	
	
	Natural Gas
	9/13/07

	P.O. Box 554
	H 985-974-4339
	
	
	

	Tickfaw, La 70466
	
	
	
	
	
	

	
	
	AMPS
	VOLATAGE
	KW
	
	

	3 TON A/C COMP
	
	15
	240
	
	
	

	AIR HANDLER
	
	3
	110
	
	
	

	REFRIGERATOR
	
	5
	110
	
	
	

	FREEZER
	
	5
	110
	
	
	

	LIGHTING 1
	
	5
	110
	
	
	

	LIGHTING 2
	
	5
	110
	
	
	

	LIGHTING 3
	
	5
	110
	
	
	

	WELL
	
	20
	240
	
	
	

	
	
	
	
	
	
	

	TOTAL
	
	63
	240
	1500 Watts
	
	

	
	
	
	
	
	
	

	15KW GENERAC
	
	MODEL 
	
	
	
	

	Air cooled
	
	
	
	
	
	

	120/240V
	
	
	
	
	
	

	installation 
	
	
	
	
	
	

	TOTAL
	
	
	
	
	
	4595.00

	Sales taxes 8.75%
	
	
	
	
	
	413.55

	Estimated shipping
	
	
	
	
	
	402.06

	Estimated Total Cost
	
	
	
	
	5410.61

	
	
	
	
	
	
	

	PRICE DOES INCLUDE APPLICABLE SALES TAXES AND SHIPPING
	 

	CUSTOMER MUST SUPPLY LP OR NATURAL GAS TO THE GENERATOR
	 




 









