	DAMMON ENGINEERING, INC.

	SHOP DRAWING SUBMITTAL TRACKING LOG

	
	
	
	
	
	
	
	
	
	
	
	
	
	

	JOB TITLE: STP ADMIN. COMPLEX
	CONTRACTOR: NATCO, INC.

	JOB ADDRESS: 520 OLD SPANISH TRAIL
	CONTACT INFO: JOHNATHAN HORTON, PROJECT MANAGER

	                  
	                     CELL: 423-341-1034

	JOB NUMBER: 1729
	CONTRACT START DATE: 

	COUNTY/PARISH: ST. TAMMANY
	CONTRACT END DATE:  04/07/2009

	
	
	
	
	
	
	
	
	
	
	
	
	
	

	SUBMITTAL
	TRACKING DATES
	TOTAL # OF REVIEW DAYS
	APPROVED
	REMARKS

	
	
	
	
	

	NO.
	DESCRIPTION
	SUBMITTED ON
	SUBMITTED TO
	1ST FOLLOW UP
	2ND FOLLOW UP
	3RD FOLLOW UP
	TO TCG AND CONTRACTOR
	
	YES
	NO
	

	1
	EPOXY ANCHORING SYSTEM
	11/21/08
	D.E.
	N/A
	N/A
	N/A
	12/3/07
	12
	X
	 
	APP. AS NOTED                                                                           1 COPY TO FILE                                                                          NO COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	2
	GREEN HECK STATIONARY BLADE LOUVER
	11/27/08
	D.E.
	N/A
	N/A
	N/A
	12/3/07
	6
	X
	 
	APP. AS NOTED                                                                           1 COPY TO FILE                                                                          NO COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	3
	ANCHOR BOLT LAYOUT TON, INC.
	1/2/08
	D.E.
	N/A
	N/A
	N/A
	1/2/08
	1
	X
	 
	APP. FOR GEN. CONFIG.                                                                          2 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	4
	STAIR FRAMING DRAWING.                              STEEL SMITH, INC.
	 
	D.E.
	N/A
	N/A
	N/A
	1/14/08
	 
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          NO COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	5
	OVERHEAD DOOR
	 
	D.E.
	N/A
	N/A
	N/A
	1/14/08
	 
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          NO COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	6
	STOLLER METALS ELEVATOR WALL SAMPLE
	1/16/08
	D.E.
	N/A
	N/A
	N/A
	N/A
	N/A
	 
	 
	2 SAMPLES IN FILE

	
	
	
	
	
	
	
	
	
	
	
	

	7
	REBAR NUCOR STEEL
	 
	D.E.
	N/A
	N/A
	N/A
	1/25/08
	 
	X
	 
	APP. FOR GEN. CONFIG.                                                                          3 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	8
	CONCRETE MIX DESIGN                                     LAFARGE CONSTRUCTION MAT.
	 
	D.E.
	N/A
	N/A
	N/A
	1/25/08
	 
	X
	 
	APP. FOR GEN. CONFIG.                                                                          3 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	9
	METAL STUDS STEEL CONST. SYSTEMS
	 
	D.E.
	N/A
	N/A
	N/A
	1/25/08
	 
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	10
	HOLLOW METAL DOOR AND FRAMES AVALLONE ARCH. SPECIALITIES
	2/5/08
	D.E.
	N/A
	N/A
	N/A
	2/7/08
	2
	X
	 
	APP. AS NOTED                                                                           1 COPY TO FILE                                                                          

	
	
	
	
	
	
	
	
	
	
	
	

	11
	TYP. STAIR DETAIL                                                 STEEL SMITH, INC.
	2/3/08
	D.E.
	N/A
	N/A
	N/A
	2/7/08
	4
	X
	 
	1 COPY TO FILE

	
	
	
	
	
	
	
	
	
	
	
	

	12
	CONCRETE MIX DESIGN                                     STANDARD MATERIALS, LLC.
	2/3/08
	D.E.
	N/A
	N/A
	N/A
	2/7/08
	4
	X
	 
	APP. FOR GENERAL. CONFIG.                                                                          1 COPY TO FILE                                                                          

	
	
	
	
	
	
	
	
	
	
	
	

	13
	PLUMBING FIXTURES
	2/12/08
	D.E.
	N/A
	N/A
	N/A
	2/14/08
	2
	X
	 
	APP. FOR GEN. CONFIG. - (POOR SUBMITTAL R.W.)                                                                         1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	14
	ANCHOR BOLT LAYOUT AND STEEL FRAMING STEEL SMITH, INC.
	 
	D.E.
	N/A
	N/A
	N/A
	2/14/08
	 
	X
	 
	APP. AS NOTED  REVISION OF No. 3                                                                      1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	SUBMITTAL
	TRACKING DATES
	TOTAL # OF REVIEW DAYS
	APPROVED
	REMARKS

	
	
	
	
	

	NO.
	DESCRIPTION
	SUBMITTED ON
	SUBMITTED TO
	1ST FOLLOW UP
	2ND FOLLOW UP
	3RD FOLLOW UP
	TO TCG AND CONTRACTOR
	
	YES
	NO
	

	15
	ELECTRICAL SUBMITTAL DATATEL & REXEL
	 
	D.E.
	N/A
	N/A
	N/A
	3/3/08
	 
	X
	 
	APP. FOR GEN. CONFIG.                                                                          2 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	16
	STANDING SEAM MET. ROOF                GEBHARD RFING MANUF.
	 
	D.E.
	N/A
	N/A
	N/A
	3/13/08
	2
	X
	 
	APP. FOR GEN. CONFIG.                                                                          2 COPY TO FILE                                                                           INCLUDES COLOR SELECTION

	
	
	
	
	
	
	
	
	
	
	
	

	17
	CONCRETE LINTES CAST - CRATE
	 
	D.E.
	N/A
	N/A
	N/A
	3/14/08
	 
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	18
	GLAZING DATA & SUPPLIES                                       NEW ORLEANS GLASS CO.
	3/24/08
	D.E.
	N/A
	N/A
	N/A
	4/1/08
	9
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	19
	WINDOW WALL GLAZING & CAULK                           NEW ORLEANS GLASS CO.     
	3/24/08
	D.E.
	N/A
	N/A
	N/A
	4/1/08
	9
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	20
	STAIR & CANOPY SHOP DWG.                                STEEL SMITH, INC.       
	3/19/08
	D.E.
	N/A
	N/A
	N/A
	3/22/08
	3
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	21
	MOISTURE RESISTANT GYP. BRD. PRO ROC (GYPSUM)
	4/29/08
	D.E.
	N/A
	N/A
	N/A
	4/30/08
	1
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	22
	SHEETROCK GYPSUM
	4/29/08
	D.E.
	N/A
	N/A
	N/A
	4/30/08
	1
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	23
	INSULATING SYSTEMS
	4/29/08
	D.E.
	N/A
	N/A
	N/A
	4/30/08
	1
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	24
	MASONRY UNITS
	4/29/08
	D.E.
	N/A
	N/A
	N/A
	4/30/08
	1
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	25
	STEELSTUD SYSTEM INSULATED
	4/29/08
	D.E.
	N/A
	N/A
	N/A
	4/30/08
	1
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	26
	PRO ROC GYPSUM BOARD
	4/29/08
	D.E.
	N/A
	N/A
	N/A
	4/30/08
	1
	X
	 
	APP. FOR GEN. CONFIG.                                                                          1 COPY TO FILE                                                                          1 COPY FOR OWNER

	
	
	
	
	
	
	
	
	
	
	
	

	27
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	
	
	
	
	
	
	
	
	
	
	
	

	28
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	
	
	
	
	
	
	
	
	
	
	
	

	29
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	
	
	
	
	
	
	
	
	
	
	
	

	30
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	
	
	
	
	
	
	
	
	
	
	
	

	31
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	
	
	
	
	
	
	
	
	
	
	
	

	32
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	


