PART IX -- PORTLAND CEMENT CONCRETE

Section No.
Page No.

901
Portland Cement Concrete

710

Section 901

Portland Cement Concrete

901.01

GENERAL.  This section specifies requirements for portland cement concrete, including methods and equipment for handling and storing materials, and mixing and transporting concrete to the site.


Structural concrete is designated by class and pavement concrete by type.


No concrete shall be mixed, placed or finished when natural light is insufficient, unless an approved artificial lighting system is provided.  No concrete shall be placed on a frozen subgrade nor shall frozen aggregates be used in concrete.


Portland cement concrete shall conform to the requirements of Table 901-2.  It shall be a mixture of portland cement, portland-pozzolan cement, or portland blast-furnace slag cement, fine aggregate, coarse aggregate, water and, when specified or allowed, approved admixtures.  Fly ash or ground iron blast-furnace slag will be permitted as a partial replacement for portland cement in accordance with Subsection 901.08.


Trucks and plants furnishing, transporting and placing portland cement concrete, shall be certified by the Department.  The design, control and transportation of concrete mixtures in accordance with these specifications shall be the responsibility of the contractor.


Sufficient plant capacity and transporting apparatus to ensure delivery at the required rate shall be provided.  Rate of concrete delivery during concreting operations shall provide for proper handling, placing and finishing of concrete and maintaining a workable surface.


Methods of delivery and handling concrete shall facilitate placing with a minimum of rehandling and without damage to the structure or concrete.  

Approved laboratory facilities and testing equipment necessary to sample, test, and control concrete mixtures shall be provided by the contractor.  These facilities will not be required for plants producing only minor structure concrete complying with Table 901-2.  A laboratory conforming to Section 722 shall be located at an approved location at the plant site. The laboratory shall be for quality assurance purposes.


Quality assurance requirements shall be as specified in the latest edition of the Department's publication entitled "Application of Quality Assurance Specifications for Portland Cement Concrete Pavement and Structures" or 

"Application of Quality Assurance Specifications for Precast-Prestressed Concrete Plants."

901.02

MATERIALS.  Materials shall comply with the following Subsections:


Portland Cement
1001.01


Portland-Pozzolan Cement
1001.02


Masonry Cement
1001.03


Aggregates
1003.01 & 1003.02


Admixtures
1011.02


Water
1018.01


Fly Ash
1018.15


Portland Blast-Furnace Slag Cement
1001.04


Ground Iron Blast-Furnace Slag
1018.28


Microsilica (Silica Fumes)
1018.29


Coarse and fine aggregates for concrete that will be subject to wetting, extended exposure to humid atmosphere, or contact with moist ground shall not contain materials detrimentally reactive with alkalies in the cement, fly ash, or ground iron blast-furnace slag in an amount sufficient to cause excessive expansion of mortar or concrete.  When such materials are present in harmful amounts, the aggregate may be used with a cement containing 0.6 percent or less alkalies, or fly ash containing 1.5 percent or less alkalies, or ground iron blast-furnace slag containing 0.6 percent or less alkalies calculated as sodium oxide equivalent.


Cement, fly ash, ground iron blast-furnace slag and microsilica shall be certified by the manufacturer in accordance with the Department's current procedures.


The contractor shall keep accurate records of cement, fly ash, ground iron blast-furnace slag, and microsilica deliveries and their use in the work.  Copies of these records shall be furnished to the engineer in such form as required.

901.03
  TRANSPORTATION AND STORAGE OF CEMENTITIOUS MATERIALS AND MICROSILICA.  Cement, fly ash, ground iron blast-furnace slag, and microsilica shall be transported in watertight conveyances and stored in separate approved facilities so that cement, fly ash, ground iron blast-furnace slag, and microsilica will be protected from dampness or water intrusion.  Material, which has become contaminated, partially set or containing lumps of caked material will be rejected.  When the use of 

bagged cement, fly ash, ground iron blast-furnace slag or microsilica is permitted, the handling and storage will be as directed.


Different brands or types or the same brand or type from different mills, shall not be mixed or used alternately unless authorized by the DOTD Materials Engineer Administrator.  This requirement may be waived in case of plant breakdown during production to allow concrete to be furnished from another plant to finish the placement in progress.

901.04

HANDLING AND STORAGE OF AGGREGATES.  Equipment and methods for stockpiling aggregates shall be such that no detrimental degradation or segregation of aggregate will result; no appreciable amount of foreign material will be incorporated into aggregate; and there will be no intermingling of stockpiled materials.  Stockpiles of aggregates shall be well drained and shall have uniform moisture content.  Material shall not be added to working faces of the stockpiles during continuous operations.


When specified, coarse aggregate shall be separated into two or more sizes to ensure greater uniformity of the concrete mixture.  Different grades and types of aggregates shall be stored in separate stockpiles separated by bulkheads or sufficiently removed from each other to prevent material at edges of piles from becoming intermixed.  When segregation occurs in the processing and handling of Grade D coarse aggregate, the aggregate shall be separated on a 1-inch (25 mm) sieve into two stockpiles.  The stockpiled material shall be reproportioned to meet the gradation requirements of Grade D.  Activity, which results in contamination or intermixing of aggregates, including overhead handling for the loading of bins or building of stockpiles, will not be permitted.


Aggregates shall be handled from stockpiles or other sources to the batch plant so as to secure uniform grading of material.  Aggregates that have become segregated or contaminated shall not be used.  Aggregates produced or handled by hydraulic methods, and washed aggregates, shall be stockpiled or placed in bins for adequate drainage.  Transport containers will be accepted as an adequate bin when adequate drainage is provided.  Drainage of aggregates shall meet the approval of the engineer prior to batching.  The engineer may require water sprinkling of coarse aggregates in stockpiles that have dried to the extent that the aggregates absorb mixing water.  Such sprinkling shall continue until aggregates are saturated.

901.05

SAMPLING AND TESTING.  Sampling and testing will be done in accordance with the Department's Materials Sampling Manual and 

the Department's Testing Procedures Manuals.  The contractor shall furnish necessary materials for testing at no direct pay.

901.06

QUALITY CONTROL OF CONCRETE.  The contractor shall be responsible for quality control of materials during handling, blending, mixing, and placement operations; for initial determination and necessary subsequent adjustments in proportioning of materials used to produce the specified concrete; and for providing suitable equipment for determination of aggregate gradation, moisture, air content, slump, unit weight (mass), temperature, and trial mixes as necessary.  Testing and analysis of the mix for quality control purposes, the setting of dials, gages, scales or meters, adjusting batch weights, and accurate batching shall be the responsibility of the contractor.


An Authorized Concrete Batcher shall perform all batching operations.  The contractor shall have a Certified Concrete Technician at each plant or job site when the plant is in operation.  The contractor's Authorized Concrete Batcher, Authorized Concrete Field Tester, and Certified Concrete Technician shall be qualified or certified upon satisfactory completion of the Department's requirements.  Daily plant operations shall not begin unless the Authorized Concrete Batcher and/or Certified Concrete Technician are at the plant.  Gradations, moisture contents, and adjusted batch weights shall be completed.  The results shall be within specification limits before batching begins.


The Certified Concrete Technician shall design concrete mixes, make adjustments in batch weights for moisture content, perform necessary adjustments in proportioning of materials to produce the specified concrete, and shall perform tests necessary for control of the concrete mix within specification requirements.  If a Certified Concrete Technician is not available at the job site, an Authorized Concrete Field Tester will be allowed to perform control tests for slump, unit weight (mass), and air content and report results to the Certified Concrete Technician.  The use of an Authorized Concrete Field Tester will not relieve the Certified Concrete Technician from performing the remaining duties as outlined in these specifications.


(a)
Mix Design:  The contractor shall submit a proposed mix design on a form provided by the Department giving the intended sources of materials and the mix design for concrete to be furnished.  No work shall be started until the Portland Cement Concrete Mix Design has been reviewed and accepted.


When unusual materials necessitate tests on trial mixes, the contractor shall conduct trial mixes and submit test results for slump, unit weight (mass), air content, set times, and compressive strength at 3, 7, and 28 days.  The contractor shall furnish materials to the Department for verification of trial mixes. Trial mixes are required to demonstrate the compatibility of the mix components prior to accepting the mix design.


Trial mixes will be required for the following:



(1)

Mix designs containing fly ash as partial replacement for cement.



(2)

Mix designs with materials not noted in the project specifications.



(3)

Mix designs containing ground iron blast-furnace slag as partial replacement for cement.



(4)

Mix designs containing microsilica used as a mineral admixture.



(5)

Mix designs using high range water reducers (superplasticizers).


Review and acceptance of this mix design does not release the contractor from the responsibility of producing concrete, which meets the minimum requirements of this section.


Gradation, unit weight, specific gravity, and absorption factor of aggregate, intended for use will be determined by the Department when requested by the contractor.


The mix design shall produce concrete complying with Subsection 901.08 and Table 901-2 of this section.


(b)
Quality Control Tests:  The contractor shall be responsible for determining gradation and moisture content of fine and coarse aggregates used in the concrete mixture and for testing the mixture at the job site for slump, unit weight (mass), temperature, and air content (when used).  The contractor shall conduct operations to produce a mix complying with the reviewed and accepted mix design, except that variations will be permitted within specified control limits for individual samples.  Test results for gradation, slump, unit weight (mass), and air content shall be plotted on control charts for individual samples.  These control charts shall be submitted to the engineer.


Times at which to obtain control test samples shall be set by the contractor using random number tables in accordance with DOTD S 605 or by random selection.  Gradation control limits of aggregates shall be as shown in Subsection 1003.02.  When required, additional test samples shall be taken as directed for slump, concrete temperature, and air content.


The minimum number of control tests shall be in accordance with the Materials Sampling Manual.


For minor structure concrete only, the contractor shall be responsible for establishing a quality control testing program which shall ensure that the concrete meets the requirements of these specifications.


(c)

Mix Adjustments:  The contractor may vary the ratio of fine to coarse aggregate as reviewed and accepted, but in no case shall it be varied so as to materially affect the volume of concrete.  The mix produced shall be uniform and within the specification limits of Table 901-2.  When plant operations do not produce a uniform mix, plant operations will be discontinued.


When tendency of individual slump, air content, concrete temperature, or gradation measurements, as plotted on control charts, indicates that the mix being produced is not uniform and may fall outside tolerance limits, the contractor shall immediately make adjustments to keep the mix within specified limits.  If the contractor fails to make proper adjustments, and the mix deviates from specification requirements or if the mix is obviously defective, the mix will be rejected.


Adjustments to the ratio of fine to coarse aggregate shall not cause the minimum cement factor to deviate from that accepted on the mix design.  For workability properties only, changes in mix proportions will be permitted provided the water-cement ratio is not exceeded, minimum cement factor is obtained, proper batch adjustments are made, and prior notification is given to the engineer.


No changes in source of materials or percentage of cement, fly ash, ground iron blast-furnace slag, or microsilica shall be made until a new Mix Design form showing the new material or adjusted proportions has been submitted by the contractor and approved.

901.07

SUBSTITUTIONS.  Mixtures may be substituted with approval in accordance with Table 901-1.

Table 901-1

Portland Cement Concrete Mixture Substitutions

	Structural Class1
	Substitute

	AA (M)

AA

A(M)

A

D

F

P(M)

P

S
	No Substitutions

AA(M)

AA(M), AA

AA(M), AA, A(M)

No Substitutions

No Substitutions

No Substitutions

P(M)

No Substitutions

	Minor Structure

Class1
	

	M

R

Y
	AA(M), AA, A(M), A, B

AA(M), AA, A(M), A, B, M

 No Substitutions

	Pavement Type1
	

	B

C

D

E
	AA(M), AA, A(M), A, C, D

AA(M), AA, A(M), A, B, D

AA(M), AA, A(M), A, B, C

No Substitutions


1The mixture being substituted shall meet the requirements of Table 901-2 and the mix design for its class or type.  The compressive strength of the substituted mix shall meet the strength requirements of the original mixture specified.
901.08

COMPOSITION OF CONCRETE.  Type of cement and composition of concrete shall be in accordance with the requirements of this subsection and Table 901-2 


(a)
Cement:  Allowable types of cement are as follows:

	Use
	Allowable Cement Types

	General Construction (including paving and structural concrete) 

and Minor Structure Concrete
	Type I, I(B) or II portland cement; 

Type IP portland-pozzolan cement;

Type IS portland blast-furnace slag cement

	Prestressed or Precast Concrete

	Type I, I(B), I(C), II or III portland cement; 

Type IP portland-pozzolan cement; 

Type IS portland blast-furnace slag cement



For concrete placements designated as mass concrete, allowable cement type shall be Type II portland cement, Type IP portland-pozzolan cement, or Type IS portland blast-furnace slag cement.  The cement, or combination of cement and fly ash or ground iron blast-furnace slag, shall be certified to generate a heat of hydration of not more than 70 calories/gram (290 kJ/kg) at 7 days.


Specified cement contents indicated in Table 901-2 are the minimum permitted for durability only; however, due to the gradation of aggregate or other conditions, additional cement may be required to achieve minimum compressive strength.


The contractor will be permitted partial substitution on a pound (kilogram) for pound (kilogram) basis of fly ash or grade 120 ground iron blast-furnace slag for portland cement in concrete mixes only when using Type I, I(B) or II portland cement. The contractor may use up to a maximum of 20 percent fly ash by weight (mass) of cement for minor structures and concrete pavement, and up to 15 percent fly ash by weight (mass) of cement for structural concrete. When substituted at the ready-mix plant, the contractor may use the substitution rate of grade 120 ground iron blast-furnace slag conforming to Subsection 1018.28 up to 45 percent by weight (mass) of cement for minor structures, structures, and pavement.  If the producer wants to increase the substitution rate of grade 120 ground iron blast-furnace slag above 45 percent up to a maximum of 50 percent, the cement and slag must be blended at the cement plant or terminal.  The blended cement containing over 45 percent of grade 120 ground iron blast-furnace slag must be in compliance with Subsection 1001.04 for portland blast-furnace slag cement.


The combination of slag and fly ash or any cement containing fly ash shall not be allowed as a partial substitution for cement.


(b)
Chemical Admixtures:  An air-entraining admixture will be required in paving concrete when a central mixing plant, or non-agitating haul trucks are used.  For other concrete, placed by slip-form methods, air-entraining admixture will be required.


Air-entraining and water-reducing admixtures will be required in Class AA, F or AA(M) concrete.  A water-reducing admixture will be required for mass concrete.  The use of admixtures in other classes or types of concrete will be optional with the contractor with written approval.


When an air-entraining admixture is used, the total air content of the concrete mix, when tested in accordance with DOTD TR 202, shall be as specified in Table 901-2.

When multiple admixtures are used, the admixtures shall be manufactured by the same company and shall be compatible.


When the ambient air temperature is 70°F (20°C) or below, the water-reducing admixture shall be the normal-set type.  When the ambient air temperature is above 70°F (20°C) and below 85°F (30°C), the water-reducing admixture may be either the normal-set type or the set-retarding type.  When the ambient air temperature is 85°F (30°C) or above, the water-reducing admixture shall be the set-retarding type. Set-retarding admixtures shall be used in an amount sufficient to produce the necessary retardation; however, the amount used shall not be less than is necessary to comply with Subsection 1011.02.


The contractor shall consider the influence of different materials and job conditions on setting characteristics.  With approval of the mix design, the contractor may use approved admixtures other than as stated above in order to maintain normal setting characteristics.


Superplasticizers shall comply with Subsection 1011.02 and be on QPL 58.


Water contents for superplasticized concrete mixes shall not be reduced to levels which will restrict cement hydration.


Final slump of superplasticized concrete shall not exceed 8 inches (200 mm) after addition of the superplasticizer.


The contractor shall run trial mixes to determine the proper dosage for the designed water-cement ratio when using superplasticizers. The amount of liquid in the superplasticizer shall be included as a part of required mixing water.  The dosage of superplasticizer may be adjusted depending on the consistency of the mix.


The method of adding and mixing the superplasticizer to the mix shall be as recommended by the manufacturer, except that it shall not be added after partial discharge of concrete at the jobsite.


(c)
Water:  The amount of water in the mixture, including admixtures and free water, shall not exceed the quantity specified in Table 901-2.  Free water shall include all water entering the mix with the aggregate, except water absorbed by the aggregate.


Because of the absorptive nature of lightweight aggregate and the inability to obtain a true saturated surface dry condition for determining free moisture, a maximum amount of water cannot be specified for Class X and Y concrete.  The slump requirement of Table 901-2 or as specified will be the governing factor in determining maximum allowable water.


(d)
Aggregate:


(1)

Coarse Aggregate:  Coarse aggregate shall be the grade specified in Table 901-2 and shall comply with the requirements of Subsection 1003.02(b).



(2)

Fine Aggregate:  Fine aggregate shall comply with the requirements of Subsection 1003.02(a).


(e)
Slump:  Mixtures shall produce concrete of suitable workability with not less than the specified cement content and not more than the specified amount of water.


Mixtures shall have slumps within the ranges shown in Table 901-2 or as specified when tested in accordance with DOTD TR 207.  The engineer may authorize an increase in maximum slump for concrete used in the construction of walls and diaphragms less than 8 inches (200 mm) thick, provided the water-cement ratio is not exceeded and conventional forms are used.


(f)
Compressive Strength:


(1)

Structural Concrete:  "Structural Class" concrete mixes shall be formulated to produce concrete which, when molded and cured in accordance with DOTD TR 226 and tested in accordance with DOTD TR 230, shall show an average compressive strength not less than as shown in Table 901-2.  Cylinders by which strength of Class P and Class P(M) concrete is to be determined shall be cured by the same methods used in curing the members they represent.



(2)

Minor Structure Concrete:  "Minor Structure Class" concrete mixes shall be formulated to produce concrete which, when molded and cured in accordance with DOTD TR 226 and tested in accordance with DOTD TR 230, shall show an average compressive strength not less than as shown in Table 901-2 of this section.



(3)

Pavement Concrete:  Compressive strength of "Type" concrete and Class A or Class AA concrete used for pavement, shall meet the requirements of Subsection 601.18.  Paving projects with less than 2,000 square yards (2000 sq m) of concrete may be accepted for compressive strength based on results from hardened cores or cylinders in accordance with Subsection 601.18.

901.09

EQUIPMENT.


(a)
General:  Sufficient plant capacity and transporting apparatus to ensure delivery at the required rate shall be provided.  Rate of concrete delivery during concreting operations shall provide for proper handling, 

placing and finishing of concrete and maintain a workable surface.  Methods of delivering and handling concrete shall facilitate placing with a minimum of rehandling and without damage to the structure or concrete.


(b)
Plant Equipment:  Batch plants shall include approved storage, weigh hoppers, and measuring devices.  Equipment shall be properly sealed and vented to minimize dusting and loss of material.


Materials shall be incorporated into the mix by methods which will ensure uniform distribution.  The amount of each material used in the mix shall be recorded and certified by the Authorized Concrete Batcher or Certified Concrete Technician.


The plant shall be equipped with adequate water storage and a device for automatically controlling the amount of water used in each batch.


For plants using direct-fill elevating weigh hoppers, computer controlled indicating lights may be used as an indication of aggregate weights but shall not be the sole means of control for aggregate proportioning.  Means of control shall be provided so that, as the quantity desired in the weigh hopper is approached, material may be added slowly and shut off with precision.  Weigh hoppers shall be so constructed as to eliminate accumulation of materials and to discharge completely.  Suitable provisions shall be made for removal of overload from the hopper by the operator.  Approved radio communication shall be provided between the concrete batcher and front-end loader operator.  Actual weights of material batched each time shall be entered on the Batch Certification Form.  The plant shall demonstrate satisfactory performance by producing consistent concrete with adequate compressive strengths.



(1)

Storage Bins and Silos:  For plants with overhead storage bins, which feed directly into the weigh hopper, or storage bins with belt feed to the weigh hopper, the bins shall have adequate separate compartments for fine aggregate and each size of coarse aggregate.  Each compartment shall be designed to discharge efficiently and freely into the weigh hopper.  Means of control shall be provided so that, as the quantity desired in the weigh hopper is approached, material shall be added slowly and shut off with precision.


Silos shall be weatherproof, sealed, free of holes, and shall prevent contamination.  Silos shall be designed to freely discharge and shall be equipped with vibrators to maintain flow of material and prevent accumulation.  Silos shall be designed with sufficient capacity for the operation.  Silos shall be provided with a positive means of shut off with no leaking into the weigh hopper.  A separate silo shall be used for each dry 

bulk material added to the mix.  If a silo is divided into compartments for cement, fly ash, ground iron blast-furnace slag and microsilica, a positive means of separation shall be provided.



(2)

Measuring Devices:  Materials shall be measured by weighing except where other methods are authorized.


Batch plants may be equipped to proportion materials by approved automatic weighing devices.  Moisture probes can be used to determine the moisture content of aggregate for batch adjustment provided the acccuracy is confirmed by the engineer to be within 1/2 percent of the results obtained by the Certified Concrete Technician in accordance with DOTD TR 106.


Fine aggregate and each size of coarse aggregate from separate bins shall be weighed either separately or cumulatively on scales in the weigh hopper. The allowable quantities of bulk fly ash, bulk ground iron blast-furnace slag, or bulk microsilica may be weighed cumulatively in the same hopper with the cement, provided the cement is weighed first and the scale system is separate from that used for the aggregates.


Weigh hoppers shall be constructed to eliminate accumulation of materials and to discharge completely.  Suitable provisions shall be made for removal of overload from the hopper by the operator.


Scales shall be accurate to 0.5 percent throughout the range of use.  Maximum graduation on scales shall be 0.1 percent of the rated scale capacity.  When beam type scales are used, poises shall be designed to be locked in any position to prevent accidental change of position, and the weigh beam and a tell-tale device shall be in view of the operator.  Plant and laboratory measuring devices shall be subject to approval and shall be tested, inspected, and certified by a qualified independent scale service or the Weights and Measures Division of the Louisiana Department of Agriculture and Forestry at no cost to the Department every 90 calendar days, and more often when the engineer deems it necessary to assure their accuracy.


Individual aggregates shall be batched within 2 percent, and the total weight (mass) of aggregate shall be within 1 percent of the required weight (mass).


Cement, fly ash, ground iron blast-furnace slag, and microsilica shall be within 1 percent of the required weight (mass).  Cement in standard bags need not be weighed; however, when bag cement is used, the quantities of aggregates for each batch shall be sufficient for one or more full bags of cement.  Bagged fly ash and bagged ground iron blast-furnace slag will not be allowed.


Mixing water shall be measured by volume or weight (mass).  Water measuring devices shall be accurate to 1 percent at 1/2 the maximum allowable water per batch and the maximum graduation shall be 1 gallon (4 L).


Approved methods and equipment for adding air-entraining admixtures or other admixtures into the batch shall be used.  The quantity of admixtures shall be measured into the mixer with an accuracy of 3 percent.  Admixtures shall be mechanically dispensed in a liquid state with the mixing water.  A separate dispensing device shall be provided for each admixture.



(3)

Ticket Printer System:  Certified concrete plants may be equipped with an approved automatic ticket printer system for recording required batching information.  When an automatic ticket printer system is not used, quantities and batching information shall be determined by visual observation, recorded, and certified correct by the plan ADVANCE \r 0t's Authorized Concrete Batcher or Certified Concrete Technician.


The approved ticket printer system shall be tamper-proof and shall print time of batching, amount of water, batch weights, moisture content of aggregate, and quantities of admixtures.  Moisture content of aggregate or quantities of admixtures may be added to the printed ticket by the Authorized Concrete Batcher or Certified Concrete Technician when the automatic system does not have these capabilities.  During a breakdown, quantities shall be determined by visual observation and certified as stated above.


All records of batches shall show batch number, day, month, year, and time of day to the nearest minute for each batch.  The maximum quantity of water that can be added at the jobsite shall be shown on the batch ticket. The engineer shall be provided with a legible copy of all batch records identified with lot number and mix design number.


(c)
Hauling Equipment:  Hauling equipment shall be watertight and shall be capable of discharging concrete at a satisfactorily controlled rate without segregation.



(1)

Truck Mixer:  Truck mixers shall be the revolving drum type, equipped with pressurized, calibrated tanks for carrying a portion of the mixing water.


Pick-up and throw-over blades in the mixing drum shall be replaced when worn beyond the limit recommended by the manufacturer.  The contractor shall have available a copy of the manufacturer's design, showing dimensions and arrangements of blades in reference to original height and depth.


Only the prescribed amount of water shall be placed in the tank unless the tank is equipped with a device by which the quantity of water added can be readily verified.


Truck mixers shall be equipped with electrically or mechanically actuated revolution counters by which the number of revolutions may be verified.  Counters shall be located to provide safe and convenient inspection.


Each truck mixer shall have attached thereto in a prominent place a metal plate on which is plainly marked the uses for which the equipment is designed, the maximum rated capacity of the drum in terms of concrete volume, and rotation speed for both agitating and mixing speeds.


Truck mixers shall be equipped with means for accurately measuring the amount of water used in each batch.



(2)

Agitator Hauling Equipment:  Agitators shall be supplied with adequate mixing blades or paddles to agitate the mix and prevent segregation.  Covers shall be provided when directed.


Each agitator shall have attached thereto in a prominent place a metal plate on which is plainly marked the uses for which the equipment is designed, the maximum rated capacity in terms of concrete volume, and agitation speed.



(3)

Non-Agitator Hauling Equipment:  Bodies of nonagitating hauling equipment shall be smooth mortar tight, metal containers.  Covers shall be provided when directed.


(d)
Portable Mixers:  Portable mixers shall have a minimum capacity of one cubic yard  (cu m) and shall be capable of uniformity mixing and discharging concrete without segregation.

901.10

BATCHING AND MIXING.


(a)
General:  Concrete shall be thoroughly mixed in a mixer of an approved size and type which will ensure uniform distribution of materials through the mass.


Pick-up and throw-over blades or mixing paddles in the mixing drum or mixing unit shall be replaced when worn beyond the limit recommended by the manufacturer.  The contractor shall have available a copy of the manufacturer's design, showing dimensions and arrangements of blades in reference to original height and depth.


Mixing operations shall begin within 30 minutes after cement has been added to aggregate.  When cement is charged into a mixer drum containing surface-wet aggregate and the ambient temperature is above 90°F (32°C), 

or when high early strength cement is used, this limit shall be reduced to 15 minutes. When mixing operations are interrupted, the mixer shall be thoroughly cleaned.  The entire contents of the mixer shall be removed from the drum before materials for a succeeding batch are placed therein.  Materials composing a batch shall be deposited simultaneously in an operating mixer.  A portion of mixing water shall enter in advance of cement and aggregates.  No mixer having a rated capacity of less than one cubic yard (cu m) shall be used nor shall a mixer be charged in excess of its rated capacity.  The minimum size batch shall be one cubic yard (cu m).  Mixers with worn blades or excessive build-up will be rejected.  Concrete exposed to salt water shall be mixed for 2 minutes and the water content of the mixture shall be carefully controlled.


(b)
Central Plant and Site Mixing:  Concrete shall be mixed for at least 50 seconds.  Mixing time shall begin after all materials, including water, are in the mixer.  Mixing time ends when the discharge chute opens.  The mixer shall be equipped with an approved timing device which will automatically lock the discharge lever when the drum has been charged and release it at the end of the mixing period.  During mixing, the mixer shall be operated at a drum speed for which it has been designed as shown on the manufacturer's name plate on the mixer.


(c)
Truck Mixing:  Aggregates, cement, fly ash, ground iron blast-furnace slag and microsilica for concrete shall be measured in accordance with Subsection 901.09 and charged into the drum at the proportioning plant.


Size of batch in truck mixers shall not exceed the maximum rated mixing capacity of the mixer as stated by the manufacturer and stamped on a metal plate on the mixer.  When a truck mixer is used for complete mixing, each batch shall be mixed for not less than 70 nor more than 130 revolutions of the mixer drum at the rate of rotation designated as the mixing speed by the equipment manufacturer on the metal plate on the mixer.  Any additional mixing shall be at the speed designated by the equipment manufacturer as the agitating speed.  All materials, including mixing water, shall be in the mixer drum before actuating the revolution counter or taking an initial reading.


When the prescribed amount of water is added at the batch plant and slump is on the low side at the jobsite it will be permissible to add a minimum of 75 percent of the mixing water at the time cement and aggregates are added at the batch plant and the remaining mixing water at the job site prior to discharging concrete into forms.  Water added at the 

job site may be added in 1 or 2 increments with additional mixing within the range of 20 to 30 revolutions at designated mixer speed for each increment; however, the total of 130 revolutions shall not be exceeded.  Water added at the jobsite shall not cause the maximum allowable water-cement ratio of the batch to be exceeded.


If water is allowed to be added to a partial load, only a proportional amount of the allowable water will be added.  When the slump is more than the maximum specification limit, the batch will be rejected; additional mixing or agitation to reduce the slump will not be allowed even though the maximum time limit or number of revolutions have not been exceeded.


Slump tests, unit weight (mass), acceptance cylinders, and temperature measurements will not be made until all mixing water has been added to the batch.


(d)
Partial Mixing at Central Plant:  When partial mixing is allowed at a central plant, the mixing time at the central plant may be reduced to 30 seconds.  Additional required mixing shall be completed in a truck mixer at mixing speed.  Mixing time in the truck mixer shall be a minimum of 10 and a maximum of 70 revolutions.


(e)
Time Limitations:  The maximum allowable time from the addition of cement to the mix to complete discharge of the concrete shall be 90 minutes when transport is by truck mixer or agitator.  The maximum allowable time from the addition of cement to the mix to complete discharge of the concrete shall be 45 minutes when transport is by non-agitator truck.  In hot weather or under other conditions contributing to rapid loss of plasticity of concrete, maximum allowable time may be reduced by the engineer.


(f)
Hauling Equipment:  Wet batches of concrete may be transported in a truck mixer, agitator or other approved equipment.  Non-agitator trucks will not be allowed for structural concrete, but will be permitted for pavement concrete when air-entrainment admixture is used.  Maximum volume of mixed concrete transported in an agitator and agitation speed shall be in accordance with the manufacturer's specified rating.


(g)
Portable Mixing:  Portable mixers shall be approved in writing for mixing one cubic yard (cu m) of concrete or less per day for minor structure concrete.


(h)
Delivery:  Sufficient plant capacity and transporting apparatus to insure delivery at the required rate shall be provided.  Rate of concrete delivery during concreting operations shall be such as to provide for proper 

handling, placing and finishing of concrete and maintain a workable surface.  Methods of delivering and handling concrete shall be such as will facilitate placing with a minimum of rehandling and without damage to the structure or concrete.

901.11 TEMPERATURE LIMITATIONS.

(a)
General:  Air temperature and mix temperature shall be determined at the point of placement in the shade away from artificial heat.

(b)
Hot Weather Limitations:  Hot weather limitations shall apply to concrete for:



(1)

Bridge Decks, Approach Slabs, and Mass Concrete:  Hot weather concreting practices will be required when the job site temperature in the shade and away from artificial heat is 80°F (27°C) and rising.  When internal temperature of plastic concrete reaches 85°F (30°C), the contractor shall prevent the temperature of succeeding batches from going beyond 90°F (32°C) by approved methods.  If necessary, forms shall be precooled by approved methods immediately prior to concrete placement.



(2)

Pavement Concrete:  Internal temperature of the plastic concrete shall not exceed 95°F (35°C) at the time of placement.


(c)
Cold Weather Limitations:  Mixing and concreting operations for concrete mixes not containing ground iron blast-furnace slag or Type IS cement shall be discontinued when a descending air temperature in the shade and away from artificial heat reaches 40°F (5°C), and shall not be resumed until an ascending air temperature in the shade and away from artificial heat reaches 35°F (2°C).  For concrete mixes containing ground iron blast-furnace slag or Type IS cement, operations shall be discontinued at a descending air temperature in the shade and away from artificial heat of 55°F (13°C) and can resume at a temperature of 50°F (10°C) and rising. Production shall not begin until the temperature at the point of placement is within the above limitations.


When concrete placement at lower air temperatures is authorized in writing, aggregates may be heated by either steam or dry heat prior to being placed in the mixer.  The apparatus used shall heat the mass uniformly and shall be arranged to prevent occurrence of overheated areas.  If the air temperature is less than 35°F (2°C) at the time of placing concrete, the engineer may require water or aggregates to be heated to not less than 70°F (20°C) nor more than 150°F (65°C).


Concrete shall not be placed if the temperature is forecasted by the U.S. 

Weather Service to be 25°F (-4°C) or less within the 24 hour period following placement.
901.12

ACCEPTANCE AND PAYMENT SCHEDULE.  Acceptance and payment schedules in Table 901-3 will apply to all cast-in-place structural portland cement concrete.  Acceptance and payment schedules in Table 901-4 will apply to all minor structure portland cement concrete.  Portland cement concrete pavement acceptance and payment schedules are given in Table 601-1 of Section 601.  These schedules do not apply to precast concrete.

Table 901-2
Master Proportion Table for Portland Cement Concrete

	
	Average Compressive Strength, psi (MPa)

at 28 days
	Grade of Coarse Aggregate
	Min. Cement, lb/yd3 (kg/m3) of Concrete 9
	Maximum Water/Cement ratio, lb/lb(kg/kg) 1,9
	Total Air Content (Percent by volume) 4
	Slump Range 10, inches (mm)

	
	
	
	
	
	
	Non-Vibrated
	Vibrated
	Slip Form Paving 2

	Structural Class 11

	AA(M)

AA

A(M)

A

D

F

P(M)

P

S
	4400 (30.0)

4200 (29.0)

4400 (30.0)

3800 (26.0)

3300 (23.0)

3400 (23.5)5
6000 (41.0)5
5000 (35.0)5
3800 (26.0)
	A, P

A, P

A, P

A, F 8, P

A, B, D, P

 A,P

A, F 8, P

A, F 8, P

A,P
	611 (362)

611 (362)

564 (334)

564 (334)

470 (278)

517 (306)

658 (390)

611 (362)

658 (390)
	0.44

0.44

0.53

0.53

0.58

0.44

0.44

0.44

0.53
	5(1

5(1

5(2

5(2

5(2

5(1

5(2

5(2

5(2
	2-5 (50-125)

2-5 (50-125)

2-5 (50-125)

2-5 (50-125)

2-5 (50-125)

2-5 (50-125)

N.A.

N.A.

6-8(150-200)
	2-4 (50-100)

2-4 (50-100)

2-4 (50-100)

2-4 (50-100)

1-3 (25-75)

2-4 (50-100)

2-6 (50-150)7
2-6 (50-150)7
N.A.
	N.A.

N.A.

N.A.

1-2.5 (25-65)

N.A.

N.A.

N.A.

N.A.

N.A.

	Minor Structure Class 11

	M

R

Y
	3000 (21.0)

1800 (12.0)

3000 (21.0)
	A, B, P

A, B, D, P

Y
	545 (323)

376 (223)

611 (362)
	0.53

0.70

c
	5(2

5(2

6-9
	2-5 (50-125)

2-5 (50-125)

N.A.
	2-4 (50-100)

2-4 (50-100)

1-3 (25-75)
	1-2.5 (25-65)

N.A.

N.A.

	Pavement Type 11

	B

C

D

E
	4000 (28.0)6
4000 (28.0)6
4000 (28.0)6
4000 (28.0)6
	B

B (crushed slag)

D

A, F12, P
	545 (323)

564 (334)

508 (301)

658 (390)
	0.53

0.53

0.53

0.40
	5(2

5(2

5(2

5(2
	N.A.

N.A.

N.A.

N.A.
	2-4 (50-100)

2-4 (50-100)

2-4 (50-100)

2-4 (50-100)
	1-2.5 (25-65)

1-2.5 (25-65)

1-2.5 (25-65)

1-2.5 (25-65)


N.A. – Not Applicable

1 Except for Class AA, AA(M), or F concrete, the maximum volume of water; gal. (L), shall be reduced 5 percent when a water-reducing admixture is used, and 10 percent when an air-entraining admixture, or air-entraining and water-reducing admixtures, is used.  When the coarse aggregate portion of the mix is 100 percent crushed aggregate, the water may be increased by 5 percent provided the maximum water listed in Table 901-2 is not exceeded.

2 Also slump range for other concrete placed by extrusion methods.

3 Refer to Subsection 901.08(c).

4 Total air content ranges when air-entrainment is allowed or specified.  Air content shall be designed at midrange.

5 Values shown represent the minimum compressive strengths allowed.

6 Average compressive strengths for Pavement Type concrete shall be 3600 psi  (25.0 MPa) when air-entrainment is used.

7 No more than a 2 inch (50 mm) slump differential for any design pour.

8 Grade F coarse aggregate shall be used only when specified or permitted.  The minimum cement content shall be increased when this aggregate is used.

9 For mixes including partial replacement of cement with fly ash or ground iron blast furnace slag, the minimum cement and maximum water contents shown apply to the total cement and fly ash or ground iron blast furnace slag content of the mix.  Additional cement may be required to achieve minimum compressive strength.

10 When a slump range is specified in other sections, that range shall govern.

11 See Subsection 901.08(a) for allowable types of cement.

l2 For  use in partial depth patching.
Table 901-3E

Acceptance and Payment Schedules

Cast-In-Place Structural Concrete

	Average Compressive Strength per Lot, psi (28 to 31 days)

	Class A or S
	Class AA
	Class A(M) or AA(M)
	Class D
	Class F
	Percent of Contract Price 1

	3800 & above

3400-3799

3000-3399

below 3000
	4200 & above

3800-4199

3200-3799

below 3200
	4400 & above

4000-4399

3600-3999

below 3600
	3300 & above

3000-3299

2500-2999

below 2500
	3400 & above

---

---

below 3400
	100

98

90

50 or remove and replace2 


Table 901-3M
Acceptance and Payment Schedules

Cast-In-Place Structural Concrete

	Average Compressive Strength per Lot, MPa (28 to 31 days)

	Class A or S
	Class AA
	Class A(M) or AA(M)
	Class D
	Class F
	Percent of Contract Price 1

	26.0 & above

23.5-25.9

21.0-23.4

below 21.0
	29.0 & above

26.0-28.9

22.0-25.9

below 22.0
	30.0 & above

28.0-29.9

25.0-27.9

below 25.0
	23.0 & above

21.0-22.9

17.3-20.9

below 17.3
	23.5 & above

---

---

below 23.5
	100

98

90

50 or remove 

and replace2


1When concrete is part of an item or not a direct pay item, lot sizes, sampling and acceptance testing for the required quantities will be in accordance with Subsection 805.18.  The value for each cubic yard (cu m) required will be assessed at $250 ($330) for the purpose of applying payment adjustment percentages.  The amount of payment adjustment for the quantity of concrete involved will be deducted from payment.

Acceptance and payment schedules shall apply to the contract item itself for cast-in-place piling.

2When the average compressive strength of any batch in a lot is less than 3600 psi (25.0 MPa) for Class A(M) or AA(M), less than 3200 psi (22.0 MPa) for Class AA, less than 3000 psi (21.0 MPa) for Class A or S , less than 2500 psi (17.3 MPa) for Class D, or less than 3400 psi (23.5 MPa) for Class F, an investigation will be made.  If concrete is allowed to remain in place, payment will be based on the average compressive strength for the lot.  If concrete is not allowed to remain in place, the identifiable deficient areas shall be removed and replaced at no direct pay.

When the average compressive strength for a lot is less than 3600 psi (25.0 MPa) for

Class A(M) or AA(M), less than 3200 psi (22.0 MPa) for Class AA, less than 3000 psi (21.0 MPa) for Class A or S , less than 2500 psi (17.3 MPa) for Class D, or less than 3400 psi (23.5 MPa) for Class F, an investigation will be made.  If concrete is allowed to remain in place, payment for the lot will be based on 50 percent of the contract price.

Any cores obtained in these investigations will be used for evaluation purposes only and payment will be based on original acceptance samples.

Table 901-4E
Acceptance and Payment Schedules

Cast-In-Place Minor Structure Concrete

	Average Compressive Strength, psi (28 to 31 days)

	Class M or Y
	Class R
	Percent of

Contract Price 1

	3000 & Above

Below 3000
	1800 & Above

Below 1800
	100

50 or Remove 2


Table 901-4M
Acceptance and Payment Schedules

Cast-In-Place Minor Structure Concrete
	Average Compressive Strength, MPa (28 to 31 days)

	Class M or Y
	Class R
	Percent of

Contract Price 1

	21.0 & Above

Below 21.0
	12.0 & Above 

Below 12.0
	100

50 or Remove 2


1When concrete is part of an item or not a direct pay item, sampling and acceptance testing for the required quantities shall be in accordance with this section.  The value for each cubic yard (cu m) of concrete required will be assessed at $250 ($330) for the purpose of applying payment adjustment percentages.  The amount of payment adjustment for the quantity of concrete involved will be deducted from payment.

2When the average compressive strength is less than 3,000 psi (21.0 MPa) for Class M or Y, and 1,800 psi (12.0 MPa) for Class R, an investigation will be made.  If concrete is allowed to remain in place, payment will be based on 50 percent of the contract price.

Any cores obtained in these investigations will be used for evaluation purposes only.  Payment will be based on original acceptance samples.

730
709

