Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications

Copyright <CPR>, The American Institute of Architects (AIA)

SECTION 03360 - CONCRETE FINISHES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

B. Division 3  Section 03300 “Cast-In-Place Concrete”, apply to this Section.

C. Division 3 Section 03395 “Sealing Concrete Floors”, apply to this Section.

1.2 SUMMARY
A. This Section includes the following:

Adjust list below to suit Project.

1. Application of mineral-aggregate, colored, ready-to-use dry-shake surface hardener that utilizes specially treated, sized, and graded mineral aggregate.

List below only products{[, construction,]} {[and equipment]} that the reader might expect to find in this Section but are specified elsewhere.

1.3 REFERENCES
A. ACI 211.1-91
Standard Practice for Selecting Proportions for Normal, Heavyweight and Mass Concrete.

B. ACI 301-89
Specification for Structural Concrete for Buildings

C. ACI 302.1R-89
Guide for Concrete Floor and Slab Construction

D. ACI 304.1R-89
Guide for Measuring, Mixing, Transporting and Placing Concrete

E. ACI 305R-91
Hot Weather Concreting

F. ACI 306R-88
Cold Weather Concreting

G. ASTM C 309-89
Specification for Liquid Membrane-Forming Compounds for Curing Concrete

H. ASTM E-1155
Standard Test Method for Determining Floor Flatness and Levelness Using the F-Number System

1.4 SUBMITTALS

A. Product Data:  Submit manufacturer's technical bulletins and MSDS on each product.

B. Submit list of project references as documented in this Specification under Quality Assurance Article.  Include contact name and phone number of person charged with oversight of each project.

C. Quality Control Submittals:

1. Provide protection plan of surrounding areas and non-cementitious surfaces.

D. Color Charts.  
1.5 QUALITY ASSURANCE
A. Job Mock-Up: Place a minimum 100 ft2 (10 m2) floor mock-up using materials and procedures proposed for use in the project.  Revise materials and procedures as required to obtain acceptable finish surface.

1. Maintain the same controls and procedures used in the acceptable mock-up throughout the project.

B. Field Support:  During job mock-up and initial period of installation, the manufacturer of the surface hardener shall provide, at no cost, a trained, full-time employee to aid in securing proper use of the product.

1. Notify surface hardener manufacturer at least three days prior to initial use of the product.

C. Installer Qualifications:  Engage an experienced installer who has specialized in the application of floor finishes similar to that required for this project, who has demonstrated the capability of producing acceptable quality floor flatness and hand trowel finishes.  
PART 2 -  PRODUCTS

2.1 MATERIALS
A. Concrete:  Provide concrete materials complying with requirements of Section 03300 “Cast-In-Place Concrete”.
B. Surface Hardener:  Ready-to-use cementitious, dry-shake floor hardener that utilizes specially treated, sized, and graded mineral aggregate designed to improve wear and impact resistance to concrete floors when evenly distributed and finished over freshly leveled and floated concrete

1. Acceptable Product:  Mastercron  ® by Degussa Building Systems.

2. Color:  Color to be selected by Design Professional from Manufacturers standard color chart.

3. Application Rate:  1.0 to 2.0 lbs/ft2 (4.9 to 9.8 kg/m2).

C. Monomolecular Film:  A monomolecular film can be used only under severe drying conditions, due to high concrete and or ambient temperatures, low humidity, high winds, etc. including work in heated interiors during cold weather, to aid in the maintaining of concrete moisture, and only per surface hardener manufacturer’s recommendation.  The misuse of this product can compromise color and performance of the surface hardener.
1. Acceptable Product:  “CONFILM®” by Degussa Building Systems.
D. Curing Compound:  A water-based polymer and wax-emulsion curing compound.

1. Acceptable Product:  “MASTERKURE® 200W” by Degussa Building Systems as per surface hardener manufacturer’s recommendation.

E. Joint Filler:  
1. Acceptable Product:  “MASTERFILL® 300i” by Degussa Building Systems as per surface hardener manufacturer’s recommendation.

F. Compatibility of Products:  Provide products manufactured by a single manufacturer to maintain compatibility of products.

PART 3 -  EXECUTION

3.1 CONCRETE PLACEMENT

A. Section 03300, Cast-In-Place Concrete, specifies basic concrete materials and placement requirements.

B. For wear resistant concrete floors, provide concrete with the following additional requirements:

1. Maximum slump of 5” (12.7 cm) for slabs on grade and 3.5” (8.9 cm) for suspended slabs.

2. Do not apply over concrete containing more than 3% air content when tested by ASTM C173 or ASTM C231 procedures.

3. Do not use calcium chloride or set-accelerating admixtures containing calcium chloride.

4. Do not use admixtures that increase bleeding.

5. Consult ACI 211 Table 6.3.6 for base concrete mix designs and additives for dry shake slabs.

6. Follow ACI 302 recommendations for placement of flat floors.

3.2 APPLICATION OF SURFACE HARDENER

A. Apply material in two operations if more than 1.0 lb./ft2 (4.5 kg/m2) total amount of shake is required.  Place and integrate half of the total amount in the first application and the remaining half on the second application.

B. Following the use of the highway straightedge, apply up to 1.0 lb./ft2 (4.5 kg/m2) of surface hardener per application.  Distribute evenly by use of a mechanical spreader to be assured of maintaining indicated flatness values.

C. Use finishing machines with detachable float shoes.  Compact surface by a third mechanical floating if time and setting characteristics of the concrete will allow.  Do not add water to the surface.

D. As surface further stiffens, indicated by loss of sheen, hand or mechanically trowel with blades set relatively flat.

3.3 CURING AND PROTECTION
A. Cure finished floors using film-forming curing compound as specified above and as recommended by surface hardener manufacturer.  Uniformly apply curing compound over the entire surface at a coverage that will provide moisture retention in excess of the requirements of ASTM C 309.  Maintain ambient temperature of 50(F (10(C) or above during the curing period.

B. After drying, protect hardened surface by covering with scuff-proof, non-staining building paper or polyethylene.

C. Keep floors covered and free of traffic and loads for a minimum of 10 days after completion.  Maintain ambient temperature at 50(F (10(C) or above during the curing period.

3.4 REMOVAL OF CURING COMPOUND

A. Upon completion of concrete curing period and no longer than 28 days after concrete pour, remove curing compound in accordance with manufacturer’s recommendations.

3.5 JOINT FILLING
A. After a minimum of 90 days, apply a semi-rigid epoxy joint filler in all control and saw cut construction joints.  Place joint filler in a method complying with manufacturer’s label instructions.

END OF SECTION 03360

CONCRETE FINISHES

03360 - 1

