Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc (ARCOM) for the AIA

SECTION 04810 - UNIT MASONRY ASSEMBLIES
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes unit masonry assemblies consisting of the following:

Adjust list below to suit Project.

1. Concrete masonry units (CMUs).

2. Decorative concrete masonry units.

3. Face brick.

B. See Division 05 Section "Metal Fabrications" for furnishing steel lintels and shelf angles for unit masonry.

C. See Division 07 Section "Sheet Metal Flashing and Trim" for furnishing manufactured reglets installed in masonry joints for metal flashing.

1.2 PERFORMANCE REQUIREMENTS

A. General:  Design and install unit masonry assemblies to comply with applicable standards of 2003 International Building Code including the withstanding of loads from wind, gravity, movement of building structure and thermally induced movement, as well as to resist deterioration under conditions of normal use including exposure to weather, without failure.  Design masonry anchors and anchoring systems to provide a complete system capable with withstanding all types of loads imposed.

1. The unit masonry requirements shown on the drawings are intended to establish basic dimensions of units, including profiles, coursing and bonding.  The visual concept shall be maintained as shown on the drawings.
2. The requirements for the unit masonry support and anchorage indicated on the drawings are intended to establish the basic intent of the support and anchorage system.  The Design Build Contractor shall be responsible for the design of the support and anchorage system and shall make whatever modifications and additions to the details as may be required to fulfill the performance requirements.

B. Blast Resistance:  Provide unit masonry assemblies at exterior walls capable of resisting airblast loading of intensities required by UFC documents pertaining to Antiterrorism Standards for Buildings.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

Delete first paragraph below if reinforcing bars are not used.

B. Shop Drawings:  For reinforcing steel.  Detail bending and placement of unit masonry reinforcing bars.  Comply with ACI 315, "Details and Detailing of Concrete Reinforcement." Show elevations of reinforced walls.
C. Samples for each type and color of exposed masonry units and colored mortars.

Usually retain paragraph and subparagraph below.  See Editing Instruction No. 3 in the Evaluations for information on material certificates.

D. Material Certificates:  For each type of product indicated.  Include statements of material properties indicating compliance with requirements including compliance with standards and type designations within standards.

Retain subparagraph below if required by authorities having jurisdiction or if desired.

1. For masonry units include material test reports substantiating compliance with requirements.

Requirements in paragraph below are from the 2002 MSJC Specification.

E. Mix Designs:  For each type of mortar and grout.  Include description of type and proportions of ingredients.

1.4 QUALITY ASSURANCE

See Editing Instruction No. 3 in the Evaluations for information on preconstruction testing.

A. Preconstruction Testing Service:  Owner will engage a qualified independent testing agency to perform preconstruction testing indicated below.  Payment for these services will be made by Contractor.

1. Clay Masonry Unit Test:  For each type of unit required, per ASTM C 67.

2. Concrete Masonry Unit Test:  For each type of unit required, per ASTM C 140.

Delete subparagraph below if mortar is specified to comply with proportion specification.

3. Mortar Test (Property Specification):  For each mix required, per ASTM C 780.

Delete subparagraph below if grout is specified by proportions stated in ASTM C 476 or UBC Standard 21-19 rather than by compressive strength.

4. Grout Test (Compressive Strength):  For each mix required, per ASTM C 1019.

Delete first paragraph below if fire-rated masonry is not used.

B. Fire-Resistance Ratings:  Where indicated, provide materials and construction identical to those of assemblies with fire-resistance ratings determined per ASTM E 119 by a testing and inspecting agency, by equivalent concrete masonry thickness, or by other means, as acceptable to authorities having jurisdiction.

C. Sample Panels:  Build sample panels to verify selections made under sample submittals and to demonstrate aesthetic effects.

1. Build sample panels for each type of exposed unit masonry construction  in sizes approximately 48 inches (1200 mm) long by 48 inches (1200 mm) high.

1.5 PROJECT CONDITIONS

A. Cold-Weather Requirements:  Do not use frozen materials or materials mixed or coated with ice or frost.  Do not build on frozen substrates.  Remove and replace unit masonry damaged by frost or by freezing conditions.  Comply with cold-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602, Article 1.8C..

B. Hot-Weather Requirements:  Comply with hot-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602, Article 1.8D.
PART 2 -  PRODUCTS

2.1 CONCRETE MASONRY UNITS (CMUs)

A. Shapes:  Provide special shapes for lintels, corners, jambs, sashes, movement joints, headers, bonding, and other special conditions.

Retain first paragraph and subparagraphs below for increased water resistance of units if required.  If retaining, also retain water-repellent mortar admixture.

B. Integral Water Repellent:  Provide units made with liquid polymeric, integral water-repellent admixture that does not reduce flexural bond strength at all locations below second floor level and at all wet locations, such as locker/shower rooms, above second floor level. 

C. Concrete Masonry Units:  ASTM C 90.

See Editing Instruction No. 2 in the Evaluations before selecting unit compressive strength in subparagraph below.

1. Unit Compressive Strength:  As required to meet design load requirements.
See Editing Instruction No. 4 in the Evaluations before selecting weight classification in first subparagraph below.  Select one of three weights or delete subparagraph for Contractor's option.

2. Weight Classification:  As required to meet design load requirements.
3. Pattern and Texture for Decorative Units, refer to finish schedule for locations:

Select from first five subparagraphs below and revise to suit Project.

a. Standard pattern, ground finish.

b. Provide units with chamfer edge at outside corners of walls constructed with decorative units.

4. Colors and Special Aggregates:  As selected from manufacturer’s full range of products and color.

2.2 CONCRETE AND MASONRY LINTELS

Delete first paragraph below if not allowed.

A. General:  Provide either concrete or masonry lintels, at Contractor's option, complying with requirements below.

B. Concrete Lintels:  Precast or cast-in-place units matching concrete masonry units and with reinforcing bars required to support loads imposed.

Retain paragraph above or first paragraph below, depending on appearance desired.

C. Masonry Lintels:  Made from bond beam concrete masonry units with reinforcing bars placed as indicated and filled with coarse grout.

2.3 BRICK

A. General:  Provide shapes indicated and as follows:

1. For ends of sills and caps and for similar applications that would otherwise expose unfinished brick surfaces, provide units without cores or frogs and with exposed surfaces finished.

On Drawings, show details of special conditions and special shapes required.

2. Provide special shapes for applications where shapes produced by sawing would result in sawed surfaces being exposed to view.

Select one of two grades in paragraph below, usually the first, and one of three types to match brick selected.  See Editing Instructions No. 5 and No. 6 in the Evaluations.

B. Face Brick: 
1. Manufacturer:  St. Joe Brick Works in Slidell, Louisiana is an approved manufacturer.  Prior approved equals will be considered.

2. Type:  Manufactured by the soft-mud wood molding process rather than the extrusion process.

3. Finish:  Smooth sanded finish.

4. Range of color:  Consisting of a deep rose pink (approximately 2/3) and soft rose reds (approximately 1/3) with a close range of shades giving an overall deep rose pink appearance with view from a normal distance.

a. The face brick shall have black ferrous or other burnt mineral spots irregularly appearing through the body of the brick.

b. Color:  “New Orleans Red” blend 
Select from 2 subparagraphs below for 3 courses in 8 inches (203 mm).

5. Size (Actual Dimensions):  3-5/8 inches (92 mm) wide by 2-1/4 inches (57 mm) high by 7-5/8 inches (194 mm) long.

2.4 MORTAR AND GROUT MATERIALS

Coordinate requirements in this Article with those in "Mortar and Grout Mixes" Article.

Retain one or more of three paragraphs and associated subparagraphs below.  Delete masonry cement if not allowed by "Mortar and Grout Mixes" Article.  See Evaluations for discussion of masonry cement.

A. Portland Cement:  ASTM C 150, Type I or II, except Type III may be used for cold-weather construction.

B. Hydrated Lime:  ASTM C 207, Type S.

C. Masonry Cement:  ASTM C 91.

Retain first paragraph and subparagraphs below for colored cement or for pigments added at Project site.

D. Mortar Pigments:  Iron oxides and chromium oxides, compounded for use in mortar mixes.  Use only pigments with a record of satisfactory performance in masonry mortar.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

E. Colored Cement Product:  Packaged blend made from portland cement and lime or masonry cement and mortar pigments, all complying with specified requirements, and containing no other ingredients.

1. Formulate blend as required to produce color selected from manufacturer's standard colors.

Coordinate subparagraph and lists below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

F. Aggregate for Mortar:  ASTM C 144.

Delete subparagraph below if not required.

1. For joints less than 1/4 inch (6.5 mm) thick, use aggregate graded with 100 percent passing the No. 16 (1.18-mm) sieve.

G. Aggregate for Grout:  ASTM C 404.

Paragraph below is an example requirement for a concrete admixture often used in cold weather as an antifreeze.  Appendix X1 in ASTM C 270 and BIA recommend not using admixtures.

H. Cold-Weather Admixture:  Nonchloride, noncorrosive, accelerating admixture complying with ASTM C 494/C 494M, Type C, and recommended by manufacturer for use in masonry mortar of composition indicated.

Retain first paragraph and subparagraphs below if integral water repellent is used in concrete masonry units.

I. Water-Repellent Admixture:  Liquid water-repellent mortar admixture intended for use with concrete masonry units, containing integral water repellent by same manufacturer.

J. Water:  Potable.

2.5 REINFORCEMENT

Delete first paragraph below if no reinforcing bars in grouted cells are required.

A. Uncoated Steel Reinforcing Bars:  ASTM A 615/A 615M or ASTM A 996/A 996M, Grade 60 (Grade 420).

1. Provide at all locations above second floor level.

B. Expoxy-Coated Steel Reinforcing Bars:  ASTM A 775

1. Provide at all locations below second floor level.

C. Masonry Joint Reinforcement:
1. Stainless Steel Wire:  ASTM A580, Type 304

a. Provide at all locations below second floor level.

2. Hot-Dip Galvanized, Carbon-Steel Wire:  ASTM A 82; with ASTM A 153/A 153M, Class B-2 coating after fabrication.

a. Provide at all “wet” locations , such as shower/locker rooms, above second floor level.

3. Mill Galvanized, Carbon-Steel Wire:  ASTM A82; with ASTM A 641 before fabrication.
a. Provide at all non-wet locations above second floor level.

4. Wire Size:  As required to meet design load requirements.
5. Spacing of Cross Rods, Tabs, and Cross Ties:  Not more than 16 inches (407 mm) o.c.

6. Single-Wythe Masonry:  Either ladder or truss type with single pair of side rods.

7. Multiwythe Masonry:  Provide type required for various locations.
Select acceptable types from first three subparagraphs below.  More than one type may be needed; Part 3 "Composite Masonry" and "Cavity Walls" articles specify types required for various applications.

a. Ladder type with 1 side rod at each face shell of hollow masonry units more than 4 inches (100 mm) in width, plus 1 side rod at each wythe of masonry 4 inches (100 mm) or less in width.

b. Tab type, with 1 side rod at each face shell of backing wythe and with rectangular tabs sized to extend at least halfway through facing wythe but with at least 5/8-inch (16-mm) cover on outside face.

Retain option in first subparagraph below in Seismic Design Categories E and F (UBC Seismic Zones 3 and 4) and in other locations if continuous horizontal wire is used to reinforce veneer wythe.

c. Adjustable (two-piece) type, with one side rod at each face shell of backing wythe and with ties that extend into facing wythe.  Ties engage eyes or slots in reinforcement and extend at least halfway through facing wythe but with at least 5/8-inch (16-mm) cover on outside face.

8. Veneers Anchored with Seismic Masonry-Veneer Anchors:  Provide as required for seismic loading conditions.
2.6 TIES AND ANCHORS

A. Materials:

1. Stainless Steel Wire:  ASTM A580, Type 304

a. Provide at all locations below second floor level.

2. Hot-Dip Galvanized, Carbon-Steel Wire:  ASTM A 82; with ASTM A 153/A 153M, Class B-2 coating.

a. Provide at all “wet” locations , such as shower/locker rooms, above second floor level.

3. Mill Galvanized, Carbon-Steel Wire:  ASTM A82; with ASTM A 641 before fabrication.

a. Provide at all non-wet locations above second floor level.

4. Stainless Steel Sheet:  ASTM A167, Type 304.

a. Provide at all locations below second floor level.

5. Steel Sheet, Galvanized after Fabrication:  ASTM A 1008/A 1008M, Commercial Steel, hot-dip galvanized after fabrication to comply with ASTM A 153/A 153M.

a. Provide at all locations above second floor level.

B. Wire Ties, General:  Unless otherwise indicated, size wire ties to extend at least halfway through veneer but with at least 5/8-inch (16-mm) cover on outside face.  Outer ends of wires are bent 90 degrees and extend 2 inches (50 mm) parallel to face of veneer.

C. Individual Wire Ties:  Rectangular units with closed ends and not less than 4 inches (100 mm) wide.

Retain first paragraph and subparagraphs below if applicable to Project.  Indicate details on Drawings.

D. Adjustable Anchors for Connecting to Structure:  Provide anchors that allow vertical or horizontal adjustment but resist tension and compression forces perpendicular to plane of wall.

E. Adjustable Masonry-Veneer Anchors

1. General:  Provide anchors that allow vertical adjustment but resist tension and compression forces perpendicular to plane of wall, for attachment over sheathing to wood or metal studs, and as follows:

First subparagraph below is from BIA Technical Notes 28B.

a. Structural Performance Characteristics:  Capable of withstanding a 100-lbf (445-N) load in both tension and compression without deforming or developing play in excess of 0.05 inch (1.3 mm).

2. Screw-Attached, Masonry-Veneer Anchors:  Units consisting of a wire tie and a metal anchor section.

a. Anchor Section:  Rib-stiffened, sheet metal plate with screw holes top and bottom, and slotted holes for inserting wire tie.

Anchors in subparagraph below may be used for other than seismic conditions.

3. Seismic Masonry-Veneer Anchors:  Units consisting of a metal anchor section and a connector section designed to engage a continuous wire embedded in the veneer mortar joint.

First two subparagraphs below describe Dur-O-Wal's "D/A 213S."

a. Anchor Section:  Rib-stiffened, sheet metal plate with screw holes top and bottom, and slotted holes for inserting connector section.

b. Connector Section:  Rib-stiffened, sheet metal bent plate; sheet metal clip; or wire tie and rigid extruded vinyl clip designed to engage continuous wire.  Size connector to extend at least halfway through veneer but with at least 5/8-inch (16-mm) cover on outside face.

2.7 EMBEDDED FLASHING MATERIALS

See Evaluations for discussion of flashing materials before editing this Article.

Coordinate paragraph and subparagraphs below with Division 07 Section "Sheet Metal Flashing and Trim." Metal through-wall flashing is included in that Section.

A. Metal Flashing:  Provide metal flashing, where flashing is exposed or partly exposed and where indicated, complying with Division 07 Section "Sheet Metal Flashing and Trim."

1. Metal Drip Edges:  Fabricate from stainless steel.  Extend at least 3 inches (75 mm) into wall and 1/2 inch (13 mm) out from wall, with outer edge bent down 30 degrees and hemmed.

2. Metal Flashing Terminations:  Fabricate from stainless steel.  Extend at least 3 inches (75 mm) into wall and out to exterior face of wall.  At exterior face of wall, bend metal back on itself for 3/4 inch (19 mm) and down into joint 3/8 inch (10 mm) to form a stop for retaining sealant backer rod.

Delete first paragraph and subparagraphs below if only metal flashing is allowed.  If concealed metal flashing is required at certain locations, indicate those locations on Drawings or revise below.

B. Flexible Flashing:  For flashing not exposed to the exterior, use one of the following, unless otherwise indicated:

Subparagraph below is an example only; revise if other laminated products are required.

1. Copper-Laminated Flashing:  7-oz./sq. ft. (2-kg/sq. m) copper sheet bonded with asphalt between 2 layers of glass-fiber cloth.

Some rubberized-asphalt flashing products are 0.040 inch (1.0 mm) thick; some are 0.030 inch (0.8 mm) thick; others are 0.025 inch (0.6 mm) thick.  BIA recommends 0.030 inch (0.76 mm) as a minimum thickness.

2. Rubberized-Asphalt Flashing:  Composite flashing product consisting of a pliable, adhesive rubberized-asphalt compound, bonded to a high-density, cross-laminated polyethylene film to produce an overall thickness of not less than 0.030 inch (0.8 mm).

3. EPDM Flashing:  Sheet flashing product made from ethylene-propylene-diene terpolymer, complying with ASTM D 4637, 0.040 inch (1.0 mm) thick.

C. Solder and Sealants for Sheet Metal Flashings:  As specified in Division 07 Section "Sheet Metal Flashing and Trim."

D. Adhesives, Primers, and Seam Tapes for Flashings:  Flashing manufacturer's standard products or products recommended by flashing manufacturer.

2.8 MISCELLANEOUS MASONRY ACCESSORIES

Revise first two paragraphs below if a specific product is required.

A. Compressible Filler:  Premolded filler strips complying with ASTM D 1056, Grade 2A1; compressible up to 35 percent; formulated from neoprene, urethane, or PVC.

B. Preformed Control-Joint Gaskets:  Made from styrene-butadiene-rubber compound, complying with ASTM D 2000, Designation M2AA-805 or PVC, complying with ASTM D 2287, Type PVC-65406 and designed to fit standard sash block and to maintain lateral stability in masonry wall.

C. Bond-Breaker Strips:  Asphalt-saturated, organic roofing felt complying with ASTM D 226, Type I (No. 15 asphalt felt).

D. Weep/Vent Products:  Use one of the following, unless otherwise indicated:

Retain one or more of three subparagraphs and associated subparagraphs below, or delete all if open-head joints are used for weep holes and vents.

1. Rectangular Plastic Weep/Vent Tubing:  Clear butyrate, 3/8 by 1-1/2 by 3-1/2 inches (9 by 38 by 89 mm) long.

2. Cellular Plastic Weep/Vent:  One-piece, flexible extrusion made from UV-resistant polypropylene copolymer, full height and width of head joint and depth 1/8 inch (3 mm) less than depth of outer wythe, in color selected from manufacturer's standard.

Products described in paragraph and subparagraphs below can be used to keep weep holes clear and to keep cavity free draining.  See Evaluations.

E. Cavity Drainage Material:  Free-draining mesh, made from polymer strands that will not degrade within the wall cavity.

Usually retain subparagraph and two or more of three associated subparagraphs below to ensure competition in bidding.  If only one configuration is used, edit the subparagraph and combine it with the selected associated subparagraph.

1. Provide one of the following configurations:

Subparagraph below describes Mortar Net's "Mortar Net."

a. Strips, full-depth of cavity and 10 inches (250 mm) wide, with dovetail shaped notches 7 inches (175 mm) deep.

First subparagraph below describes Advanced Building's "Mortar Break II."

b. Strips, not less than 1-1/2 inches (38 mm) thick and 10 inches (250 mm) wide, with dimpled surface designed to catch mortar droppings and prevent weep holes from being clogged with mortar.

c. Sheets or strips full depth of cavity and installed to full height of cavity.

2.9 MASONRY CLEANERS

Verify acceptability of cleaner for cleaning masonry with pigmented mortar joints and for kinds of masonry units specified.

A. Cleaner:  Manufacturer's standard-strength cleaner designed for removing mortar/grout stains from new masonry without damaging masonry.  Use product approved for intended use by cleaner manufacturer and manufacturer of masonry units being cleaned.

1. Cleaning of Face Brick:  Do not use muriatic acid or other acidic cleaner on any face brick surface.  Refer to brick manufacturer’s guidelines for cleaning of brick.

2.10 MORTAR AND GROUT MIXES

A. General:  Do not use admixtures, unless otherwise indicated.

1. Do not use calcium chloride in mortar or grout.

Delete subparagraph below if masonry cement is acceptable for exterior and reinforced masonry.

2. Limit cementitious materials in mortar for exterior and reinforced masonry to portland cement and lime.

Delete subparagraph below if not retaining cold-weather admixture.

3. Add cold-weather admixture (if used) at same rate for all mortar that will be exposed to view, regardless of weather conditions, to ensure that mortar color is consistent.

Retain and edit one of two paragraphs below.  See Evaluations.

B. Mortar for Unit Masonry:  Comply with ASTM C 270 , Property Specification.

For each masonry condition in five subparagraphs below applicable to Project, select one mortar type or revise to suit Project.  See Editing Instruction No. 7 in the Evaluations before making selections.

1. For masonry below grade or in contact with earth, use Type M or S as recommended for type of brick specified..

Delete first subparagraph below if no masonry is grouted and reinforced with steel reinforcing bars.

2. For reinforced masonry, use Type S or N to meet performance requirements.

3. For mortar parge coats, use Type S or N.

4. For exterior, above-grade, load-bearing and non-load-bearing walls and parapet walls; for interior load-bearing walls; for interior non-load-bearing partitions; and for other applications where another type is not indicated, use Type N.

5. Color for Face Brick:  Natural gray.

6. Color for Decorative Concrete Masonry Units:  As selected from manufacturer’s full range of colors for colored mortar.

C. Grout for Unit Masonry:  Comply with ASTM C 476.

1. Use grout of type indicated or, if not otherwise indicated, of type (fine or coarse) that will comply with Table 2103.10 of the 2003 International Building Code. And Table 1.15.1 in ACI 530.1/ASCE 6/TMS 602  for dimensions of grout spaces and pour height.

2. Provide grout with a slump of 8 to 11 inches (200 to 280 mm) as measured according to ASTM C 143/C 143M.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Use full-size units without cutting if possible.  If cutting is required, cut units with motor-driven saws; provide clean, sharp, unchipped edges.  Allow units to dry before laying unless wetting of units is specified.  Install cut units with cut surfaces and, where possible, cut edges concealed.

B. Select and arrange units for exposed unit masonry to produce a uniform blend of colors and textures.

Retain paragraph below for high-suction brick.  A simple test to determine if wetting is required consists of drawing a circle the size of a quarter on a brick and placing 20 drops of water in the circle; if water is absorbed within 1-1/2 minutes, the brick requires wetting.

C. Wetting of Brick:  Wet brick before laying if initial rate of absorption exceeds 30 g/30 sq. in. (30 g/194 sq. cm) per minute when tested per ASTM C 67.  Allow units to absorb water so they are damp but not wet at time of laying.

See Evaluations for discussion of tolerances.

D. Comply with tolerances in ACI 530.1/ASCE 6/TMS 602 and with the following:

1. For conspicuous vertical lines, such as external corners, door jambs, reveals, and expansion and control joints, do not vary from plumb by more than 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 1/2 inch (12 mm) maximum.

2. For conspicuous horizontal lines, such as lintels, sills, parapets, and reveals, do not vary from level by more than 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 1/2 inch (12 mm) maximum.

E. Masonry Protection:  Cover top of all unfinished masonry work with waterproofing material to keep masonry work dry.  Secure covering from displacement due to wind.

3.2 LAYING MASONRY WALLS

A. Lay out walls in advance for accurate spacing of surface bond patterns with uniform joint thicknesses and for accurate location of openings, movement-type joints, returns, and offsets.  Avoid using less-than-half-size units, particularly at corners, jambs, and, where possible, at other locations.

Pattern is usually running bond.  If other bond patterns are required, revise first paragraph below or indicate on Drawings.

B. Bond Pattern for Exposed Masonry:  Unless otherwise indicated, lay exposed masonry in running bond; do not use units with less than nominal 4-inch (100-mm) horizontal face dimensions at corners or jambs.

C. Built-in Work:  As construction progresses, build in items specified in this and other Sections.  Fill in solidly with masonry around built-in items.

Revise first paragraph below if flexible perimeter joint or thermal break is required.

D. Fill space between steel frames and masonry solidly with mortar, unless otherwise indicated.

E. Fill cores in hollow concrete masonry units with grout 24 inches (600 mm) under bearing plates, beams, lintels, posts, and similar items, unless otherwise indicated.

3.3 MORTAR BEDDING AND JOINTING

Delete first paragraph and subparagraphs below if no hollow concrete masonry units are required.  Mortar bedding of cross webs should be added if required.

A. Lay hollow concrete masonry units as follows:

1. With face shells fully bedded in mortar and with head joints of depth equal to bed joints.

2. With webs fully bedded in mortar in all courses of piers, columns, and pilasters.

3. With webs fully bedded in mortar in grouted masonry, including starting course on footings.

4. With entire units, including areas under cells, fully bedded in mortar at starting course on footings where cells are not grouted.

B. Lay solid masonry units with completely filled bed and head joints; butter ends with sufficient mortar to fill head joints and shove into place.  Do not deeply furrow bed joints or slush head joints.

Delete paragraph and subparagraphs below if structural-clay tile is not used.

If another joint profile is used, revise first paragraph below or show on Drawings.

C. Tool exposed joints slightly concave when thumbprint hard, using a jointer larger than joint thickness, unless otherwise indicated.

D. Cut joints flush for masonry walls to receive plaster or other direct-applied finishes (other than paint), unless otherwise indicated.

3.4 COMPOSITE MASONRY

A. Bond wythes of composite masonry together using one of the following methods:

Retain one or both subparagraphs and associated subparagraphs below; edit methods retained to suit Project and office practice.

Revise spacings in first subparagraph below to suit coursing, to comply with requirements of authorities having jurisdiction, or to comply with structural requirements imposed by wind or seismic forces.  Spacings are for wire ties 0.188 inch (4.8 mm) in diameter and wire ties 0.148 inch (3.8 mm) in diameter, respectively.

1. Individual Metal Ties:  Provide ties installed in horizontal joints, spaced as required to comply with structural requirements imposed by wind or seismic forces.  Stagger ties in alternate courses.  Provide additional ties within 12 inches (305 mm) of openings and space not more than 36 inches (915 mm) apart around perimeter of openings.  At intersecting and abutting walls, provide ties at no more than 24 inches (610 mm) o.c. vertically.

2. Masonry Joint Reinforcement:  Installed in horizontal mortar joints.

Delete one or both subparagraphs below if not required.

a. Where bed joints of both wythes align, use ladder-type reinforcement extending across both wythes or tab-type reinforcement.

b. Where bed joints of wythes do not align, use adjustable (two-piece) type reinforcement.

B. Corners:  Provide interlocking masonry unit bond in each wythe and course at corners, unless otherwise indicated.

C. Intersecting and Abutting Walls:  Expect where vertical expansion or control joints are required at juncture, bond walls together as follows:

Select one of three subparagraphs below and revise to suit Project.  If more than one type of bonding is required, revise subparagraphs and show locations of each on Drawings.

1. Provide individual metal ties not more than 8 inches (203 mm) o.c.

2. Provide continuity with masonry joint reinforcement by using prefabricated T-shaped units.

3. Provide rigid metal anchors not more than 24 inches (610 mm) o.c.  If used with hollow masonry units, embed ends in mortar-filled cores.

3.5 CAVITY WALLS

Delete this Article if cavity walls are not used.

A. Bond wythes of cavity walls together using one of the following methods:

Retain one or more of three subparagraphs below; edit methods retained to suit Project and office practice.

Revise spacings in subparagraph below to suit coursing, to comply with requirements of authorities having jurisdiction, or to comply with structural requirements imposed by wind or seismic forces.  Spacings are for wire ties 0.188 inch (4.8 mm) in diameter and wire ties 0.148 inch (3.8 mm) in diameter, respectively.

1. Individual Metal Ties:  Provide ties installed in horizontal joints spaced as required to comply with structural requirements imposed by wind or seismic forces  Stagger ties in alternate courses.  Provide additional ties within 12 inches (305 mm) of openings and space not more than 36 inches (915 mm) apart around perimeter of openings.  At intersecting and abutting walls, provide ties at no more than 24 inches (610 mm) o.c. vertically.

2. Masonry Joint Reinforcement:  Installed in horizontal mortar joints.

Delete any of first three subparagraphs below if not required.

a. Where bed joints of both wythes align, use ladder-type reinforcement extending across both wythes or tab-type reinforcement.

b. Where bed joints of wythes do not align, use adjustable (two-piece) type reinforcement.

c. Where one wythe is of clay masonry and the other of concrete masonry, use adjustable (two-piece) type reinforcement to allow for differential movement regardless of whether bed joints align.

3. Masonry Veneer Anchors:  Comply with requirements for anchoring masonry veneers.

Attempting to remove mortar fins from cavity or to trowel them flat against brick usually results in increased mortar droppings at base of cavity.

B. Keep cavities clean of mortar droppings and other materials during construction.  Bevel beds away from cavity, to minimize mortar protrusions into cavity.  Do not attempt to trowel or remove mortar fins protruding into cavity.

C. Coat cavity face of backup wythe to comply with Division 07 Section "Bituminous Dampproofing."

Delete paragraph below if cavities are not insulated; revise if adhesive is not used.

D. Installing Cavity-Wall Insulation:  Place small dabs of adhesive, spaced approximately 12 inches (300 mm) o.c. both ways, on inside face of insulation boards, or attach with plastic fasteners designed for this purpose.  Fit insulation between wall ties and other confining obstructions, with edges butted tightly.  Press units firmly against inside wythe of masonry.

3.6 MASONRY JOINT REINFORCEMENT

A. General:  Install in mortar with a minimum cover of 5/8 inch (16 mm) on exterior side of walls, 1/2 inch (13 mm) elsewhere.  Lap reinforcement a minimum of 6 inches (150 mm).

B. Interrupt joint reinforcement at control and expansion joints, unless otherwise indicated.

First paragraph below can be deleted if rigid anchors are used to bond walls at intersections.

C. Provide continuity at wall intersections by using prefabricated T-shaped units.

D. Provide continuity at corners by using prefabricated L-shaped units.

3.7 ANCHORING MASONRY TO STRUCTURAL MEMBERS

A. Anchor masonry to structural members where masonry abuts or faces structural members to comply with the following:

1. Provide an open space not less than  1 inch (25 mm) in width between masonry and structural member, unless otherwise indicated.

2. Anchor masonry to structural members with anchors embedded in masonry joints and attached to structure.

3. Space anchors as required to comply with structural requirements imposed by wind or seismic forces. 

3.8 ANCHORING MASONRY VENEERS

A. Anchor masonry veneers to wall framing and concrete and masonry backup with masonry-veneer anchors to comply with the following requirements:

1. Fasten screw-attached   anchors through sheathing to wall framing and to concrete and masonry backup with metal fasteners of type indicated.  Use two fasteners.

a. Provide seismic anchors as required to comply with structural requirements imposed by seismic forces.  

BIA Technical Notes 28B recommends 2 inches (50 mm) of air space.  Wider air spaces require closer tie spacing.

2. Embed tie sections in masonry joints.  Provide not less than 2 inches (50 mm) of air space between back of masonry veneer and face of sheathing.

3. Locate anchor sections to allow maximum vertical differential movement of ties up and down.

Subparagraph below is based on the 2002 MSJC Code.  Closer spacing is for adjustable 2-piece anchors, wire anchors 0.148 inch (3.8 mm) in diameter, and corrugated sheet metal anchors; wider spacing is for all other anchors.

4. Space anchors as required to comply with structural requirements imposed by wind or seismic forces.  .  Install additional anchors within 12 inches (305 mm) of openings and at intervals, not exceeding 36 inches (914 mm), around perimeter.

3.9 FLASHING, WEEP HOLES, CAVITY DRAINAGE, AND VENTS

Retain option in first paragraph below if wall is designed on rain-screen principle with vents acting to equalize air-pressure differential between cavity and exterior.  Indicate spacing of vents and blocking on Drawings.  See Evaluations.

A. General:  Install embedded flashing and weep holes in masonry at shelf angles, lintels, ledges, other obstructions to downward flow of water in wall, and where indicated. Install vents at shelf angles, ledges, and other obstructions to upward flow of air in cavities.
B. Install flashing as follows, unless otherwise indicated:

1. Prepare masonry surfaces so they are smooth and free from projections that could puncture flashing.  Where flashing is within mortar joint, place through-wall flashing on sloping bed of mortar and cover with mortar.  Before covering with mortar, seal penetrations in flashing as recommended by flashing manufacturer.

2. At lintels and shelf angles, extend flashing a minimum of 6 inches (150 mm) into masonry at each end.  At heads and sills, extend flashing 6 inches (150 mm) at ends and turn up not less than 2 inches (50 mm) to form end dams.

Delete subparagraph above or below or both.

3. Install metal flashing termination beneath flexible flashing at exterior face of wall.  Stop flexible flashing 1/2 inch (13 mm) back from outside face of wall and adhere flexible flashing to top of metal flashing termination.

C. Install weep holes in head joints in exterior wythes of first course of masonry immediately above embedded flashing and as follows:

1. Use specified weep/vent products to form weep holes.

2. Space weep holes 24 inches (600 mm) o.c., unless otherwise indicated.

Delete paragraph below if cavity walls are not used.  Retain applicable products in Part 2 if retaining below.

D. Place cavity drainage material in cavities to comply with configuration requirements for type of cavity drainage material used to maintain cavities clear of mortar.

Retain paragraph and subparagraph below if wall is designed on rain-screen principle with vents acting to equalize air-pressure differential between cavity and exterior.  Indicate spacing of vents and blocking on Drawings.  See Evaluations.

E. Install vents in head joints in exterior wythes at spacing indicated.  Use specified weep/vent products to form vents.

1. Close cavities off vertically and horizontally with blocking.  Install through-wall flashing and weep holes above horizontal blocking.

3.10 REINFORCED UNIT MASONRY INSTALLATION

Usually retain first paragraph and subparagraphs below only if reinforced masonry beams, slabs, soffits, and similarly formed elements are required.

A. Temporary Formwork and Shores:  Construct formwork and shores as needed to support reinforced masonry elements during construction.

1. Construct formwork to provide shape, line, and dimensions of completed masonry as indicated.  Make forms sufficiently tight to prevent leakage of mortar and grout.  Brace, tie, and support forms to maintain position and shape during construction and curing of reinforced masonry.

2. Do not remove forms and shores until reinforced masonry members have hardened sufficiently to carry their own weight and other temporary loads that may be placed on them during construction.

B. Placing Reinforcement:  Comply with requirements in ACI 530.1/ASCE 6/TMS 602.

1. Provide reinforcement to comply with performance requirements described in “Part 1 – General” of this section of the specifications.

C. Grouting:  Do not place grout until entire height of masonry to be grouted has attained enough strength to resist grout pressure.

1. Comply with requirements in ACI 530.1/ASCE 6/TMS 602  for cleanouts and for grout placement, including minimum grout space and maximum pour height.

Retain subparagraph below unless high-lift grouting is allowed.  See Evaluations.  ACI 530.1/ASCE 6/TMS 602 limits grout lifts to 60 inches (1520 mm) unless an accepted grout demonstration panel is used to establish alternative grout placement methods.

2. Limit height of vertical grout pours to not more than 60 inches (1520 mm).

3. Fully grout all concrete masonry units throughout project.

3.11 FIELD QUALITY CONTROL

See Editing Instruction No. 3 in the Evaluations before editing this Article.

A. Inspectors:  Owner will engage qualified independent inspectors to perform inspections and prepare reports.  Allow inspectors access to scaffolding and work areas, as needed to perform inspections.

Consider inserting a subparagraph listing inspections that will be performed.  Delete subparagraph below if not required.

1. Place grout only after inspectors have verified compliance of grout spaces and grades, sizes, and locations of reinforcement.

B. Testing Agency:  Owner will engage a qualified independent testing and inspecting agency to perform field tests and inspections indicated below and prepare test reports:

1. Payment for these services will be made by Owner.

Testing frequency in first paragraph below is from the 2002 MSJC Code and the 1997 Uniform Building Code.

C. Testing Frequency:  One set of tests for each 5000 sq. ft. (465 sq. m) of wall area or portion thereof.

D. Clay Masonry Unit Test:  For each type of unit provided, per ASTM C 67.

E. Concrete Masonry Unit Test:  For each type of unit provided, per ASTM C 140.

If retaining paragraph below, select either or both tests listed; insert others if required.  Testing for mortar air content is especially desirable for reinforced masonry.  Testing for compressive strength is desirable if the property specification for mortar is used.

F. Mortar Test (Property Specification):  For each mix provided, per ASTM C 780.  Test mortar for mortar air content and compressive strength.

Paragraph above may be deleted if mortar is specified to comply with proportion specification; paragraph below may be deleted if grout is specified by proportions stated in ASTM C 476 or UBC Standard 21-19 rather than by compressive strength.

G. Grout Test (Compressive Strength):  For each mix provided, per ASTM C 1019.

H. Construction Testing and Inspection Services:  Provide testing and inspection services in accordance with Section 1704.5.3 Engineered Masonry in Essential Facilities of the 2003 International Building Code.

3.12 PARGING

A. Parge exterior faces of below-grade masonry walls, in 2 uniform coats to a total thickness of 3/4 inch (19 mm) with a steel-trowel finish.  Form a wash at top of parging and a cove at bottom.  Damp-cure parging for at least 24 hours and protect parging until cured.

3.13 CLEANING OF CONCRETE MASONRY UNITS
A. In-Progress Cleaning:  Clean concrete masonry units as work progresses by dry brushing to remove mortar fins and smears before tooling joints.

B. Final Cleaning:  After mortar is thoroughly set and cured, clean exposed concrete masonry units as follows:

1. Test cleaning methods on sample wall panel; leave one-half of panel uncleaned for comparison purposes.

2. Protect adjacent surfaces from contact with cleaner.

Delete subparagraph above and first subparagraph below if cleaners are not specified in Part 2 or if cleaners are not allowed.

3. Wet wall surfaces with water before applying cleaners; remove cleaners promptly by rinsing surfaces thoroughly with clear water.

4. Clean concrete masonry by cleaning method indicated in NCMA TEK 8-2A applicable to type of stain on exposed surfaces.

3.14 CLEANING OF FACE BRICK

A. Do not clean brick after laying.  Care should be used to keep the work as clean as possible during the laying.

B. Scrubbing, or cleaning, with a wire or other stiff brush shall not be allowed.

C. Refer to brick manufacturer’s cleaning guidelines.

D. Do not use high pressure cleaners.

E. Do not use muriatic acid. 

END OF SECTION 04810

UNIT MASONRY ASSEMBLIES

04810 - 13

