Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 04851 - DIMENSIONED STONE CLADDING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following types of dimension stone:

Adjust list below to suit Project.  Revise subparagraphs as needed.

1. Stone façade panels
2. Stone preassembled units

3. Stone copings, sills, soffits, lintels and miscellaneous features

4. Steel support and retention connections for stonework, including necessary shims.

5. Secondary structural steel framing for stonework where not shown or not sized on structural drawings.
1.2 PERFORMANCE REQUIREMENTS

Delete this Article if anchoring systems are fully detailed on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.  See Evaluations.

A. General:  Design, fabricate and install stonework to withstand loads from wind, gravity, movement of building structure, and thermally induced movement, as well as to resist deterioration under conditions of normal use including exposure to weather, without failure.  Design stone anchors and anchoring systems according to ASTM C 1242.

1. The cladding requirements shown by the general stone details are intended to establish basic dimensions of units or modules, plus profiles and sight lines for the stonework.  Within these limitations, the Contractor shall be responsible for the design of the stonework, and make whatever modifications and additions to the details as may be required to fulfill the performance requirements.  The visual concept shall be maintained as shown, including profiles and alignment components.

2. The requirements for the stone support and anchorage as shown by the details are intended to establish the basic intent of the stone anchorage system.  The Contractor shall be responsible for the design of the support and anchorage system and shall make whatever modifications and additions to the details as may be required to fulfill the performance requirements.  Final shapes and locations shall be as designed by a registered professional engineer.

B. Engineering Calculations:  The cladding support and retention system shall be designed by  a registered professional engineer experienced in cladding design.  The system shall include all items required to connect the stone cladding to the structure (or secondary framing) as shown and detailed on the structural and architectural drawings.  The cladding engineer shall be registered in the State of Louisiana and shall prepare engineering calculations for the justification of all principal stonework, units, fasteners, and anchorage components for compliance with the criteria established hereunder.  After review, revisions and final approval, the cladding engineer shall certify a record copy of the calculations with professional engineer’s stamp or seal.

1. Based on the design loads, material properties and safety factors (all as defined in this Section), the calculations shall include, as a minimum, the following information:

a. Stone loads, stresses and safety factors.

b. Support and anchorage loads, stresses, safety factors, esign loads, and allowable loads.

c. Stone thicknesses.

d. Support and anchorage sizes.

e. Drawings of all support and anchorage items in sufficient detail for fabrication and for the detailing and completion of the shop drawings as prepared by the stone fabricator.  The cladding engineer shall review all stone shop drawings prepared by stone installer or fabricator. 

C. Physical Properties of Stone:  The Indiana Limestone physical properties shall meet or exceed the values listed in the Indiana Limestone Institute of America, Inc. Handbook (ILIA), latest edition.

D. Safety Factors for Stone:  Safety factors for Indiana Limestone shall be not less than as listed in the Technote on Safety Factors, as published by ILIA.
E. Connections and Attachments for Stone:

1. Support and retention steel:  All steel shapes, plates and straps shall be designed to carry the design loads with safety factors and allowable stresses in accordance with the American Institute of Steel Construction, Inc. (AISC) except that steel supports carrying gravity loads shall be stressed not more than 50% of the yield stress in bending.

2. Connections into the Stone:  Expansion bolts, straps, hooks, anchors, and other devices shall be designed to carry the design loads with safety factors not less than listed in ILIA Technote on Safety Factors.

3. Attachments to the structure:  Connections and attachments to the structure or secondary framing shall be designed to carry the design loads with safety factors or allowable stresses in accordance with the following:

a. Welds:  Structural Welding Code (AWS D1.1 and AISC)

b. Expansion Bolts:  Per ICBO evaluation report for the specific bolt to be used.  If an ICBO report is not available, use not less than the following:

1) Safety Factors:  Into 4,000 psi concrete – 4 to 1; into grouted CMU – 6 to 1.

2) The combined load factor for combined tension and shear shall satisfy the ILIA Technote on Safety Factors.
c. Bolts:  AISC.

d. Concrete Embedded (Cast-In) Items:  PCI or manufacturer’s recommendations, whichever is more conservative.  The safety factor shall be not less than 4 to 1 based on concrete failure.

F. Design Loads:  All cladding and cladding attachments shall be designed to carry the following design loads with safety factors not less than specified in this section:

1. Wind Loads:  Per 2003 International Building Code requirements
2. Seismic Loads:  Per code where applicable.

3. Vertical Loads:

a. Dead Loads:  Actual computed weight of cladding.

b. Live Loads:  Per 2003 International Building Code requirements.

G. Provisions for Fabrication and Erection Tolerances:  Design, detail and fabricate connections to provide allowance for fabrication tolerances, erection tolerances and structural deflections.

H. Control of Corrosion:  Prevent galvanic and other forms of corrosion by insulating metals and other materials from direct contact with non-compatible materials, or by suitable coating.

1.3 SUBMITTALS

A. Product Data:  For each stone, stonework accessory, and other manufactured products indicated.

B. Shop Drawings:  Show fabrication and installation details for dimension stone cladding system, including dimensions and profiles of stone units.

1. Show locations and details of joints both within dimension stone cladding system and between dimension stone cladding system and other construction.

2. Show locations and details of anchors and backup structure.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

3. The shop drawings shall include details as developed by cladding engineer as defined in the performance requirements section.
4. Include large scale details of decorative surfaces and inscriptions.

C. Stone Samples:  In form of sets of three, not less than 12 inches (300 mm) square.  Sample sets shall show range of variations in color and grain to be expected in completed work.
D. Preassembled Stone Units:  Provide samples as specified under Part 2 of this section of the specifications.

E. Colored Pointing Mortar Samples:  For each color required.

F. Sealant Samples:  For each type and color of joint sealant required.

G. Material Test Reports:  From a qualified independent testing agency, as follows:

1. Stone Test Reports:  For stone variety proposed for use on Project, provide test data indicating compliance with required physical properties, other than abrasion resistance, according to referenced ASTM standards.  Base reports on testing done within previous  three years.

H. Data for Limestone Cladding:  For limestone cladding, submit the following data which has been signed and stamped by a qualified profession engineer registered in State of Louisiana who thereby certifies preparing or supervising the preparation of the data to comply with the performance requirements and recognized engineering principles and practices:

1. Engineering calculations as defined in the Performance Section

2. Connection details as defined in the Performance Section.

1.4 QUALITY ASSURANCE

Retain first paragraph below if Contractor selects testing agency.

A. Testing Agency Qualifications:  An independent agency qualified according to ASTM E 329 for testing indicated.

B. Source Limitations for Stone:  Obtain limestone, regardless of finish, from a single quarry with resources to provide materials of specified consistent quality.  The fabricator and the quarry shall have sufficient capacity to quarry, cut, and deliver the stonework on schedule.  Both fabricator and quarry must be members in good standing of Indiana Limestone Institute.

C. Source Limitations for Mortar Materials:  Obtain mortar ingredients of uniform quality and from one manufacturer for each cementitious and admixture component and from one source or produce for each aggregate.

D. Source Limitations for Other Materials:  Obtain each type of stone accessory, sealants and other materials from one manufacturer for each product.

E. Information on Drawings and in Specifications:  The information contained on the Drawings and in these specifications establishes requirements for both aesthetic effects and performance of the limestone cladding.  Aesthetic effects are indicated by dimensions, arrangement, alignment and profiles of components and assemblies as they relate to sight lines and relationships to one another and to adjoining work.  Performance is indicated by criteria that is subject to verification by either preconstruction or field test, if applicable, or by in-service experience.

1. Do not modify intended aesthetic effects.  Where modifications are proposed, submit comprehensive explanatory data for review and approval.

F. Installer Qualifications:  Engage an installer with not less than ten (10) years experience and who has successfully completed stonework similar in material, design and extent to that indicated for this project.  Submit liss of completed projects; include project names, addresses, and names of architects and owners.
G. Preconstruction Stone Testing:  Engage a qualified independent testing agency to perform preconstruction testing indicated below.

Retain appropriate subparagraphs below with either of last two paragraphs above.

1. Furnish test specimens randomly selected from, and representative of actual materials proposed for incorporation into the Work.

2. Physical Property Tests:  Test limestone for compliance with physical property requirements for Limestone Building Stone, Type II, as listed in ASTM C-568.  The following test reports shall be submitted:
a. ASTM C 99 Modulus of Rupture 

b. ASTM C 170  Compressive Strength

Usually retain subparagraph below to determine adequacy of stone thickness for spans.

3. Flexural Strength Tests:  For each combination of limestone, thickness, orientation of cut, and finish, proposed for use on Project, tested according to ASTM C 880, in both wet and dry conditions.

Usually retain subparagraph below to verify capacity of stone and anchor combinations

4. Anchorage Tests:  For each combination of limestone, orientation of cut, finish, and anchor type proposed for use on Project, tested according to ASTM C 1354.

H. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Build mockups of typical exterior wall with dimension stone cladding, approximately  15 feet (4.5 m) long by 10 feet (3 m) high.

I. Qualifications for Welding Work:  Qualify welding operators in accordance with AWS “Standard Qualification Procedure.”
1. Provide certification that each welder employed in the work is qualified for welding processes involved by having satisfactorily passed AWS qualification tests and, if applicable, by undergoing recertification.  Retesting for recertification shall be contractor’s responsibility.

1.5 DELIVERY, STORAGE AND HANDLING

A. Deliver masonry materials to project in undamaged condition.

B. Store and handle stone and related materials to prevent their deterioration or damage:

1. Do not use pinch or wrecking bars on stonework.

2. Lift with wide-belt type slings where possible; do not use wire rope or ropes containing tar or other substances which might cause staining.

3. Store stone on non-staining wood skids or pallets, covered with non-staining, waterproof membrane.  Place and stack skids and stone to distribute weight evenly and to prevent breakage or cracking of stones.

4. Store cementitious materials off the ground, under cover and in dry location.

1.6 PROJECT CONDITIONS

A. Protection of Stonework:  Protect stonework during erection as follows:

1. Cover top of walls with non-staining waterproof sheeting at end of each day’s work.  Cover partially completed structures when work is not in progress.  Extend cover a minimum of 24” down both sides and hold securely in place.

2. Prevent staining of stone from mortar, grout, sealants, and other sources.  Immediately remove such materials from stone without damage to the stonework.

B. Protect base of walls from rain-splashed mud and mortar splatter by means of coverings spread on ground and over wall surface.

C. Protect sills, ledges and projections from droppings of mortar and sealants.
Delete paragraph below if no dimension stone cladding is installed with mortar.

D. Environmental Limitations for Mortar:  Do not use frozen materials or materials mixed or coated with ice or frost.  Remove and replace dimension stone cladding damaged by frost or freezing conditions.  Comply with cold- and hot-weather construction and protection requirements for masonry contained in ACI 530.1/ASCE 6/TMS 602.

Delete paragraph below if sealants are not specified in this Section.

E. Environmental Limitations for Sealants:  Do not install sealants when ambient and substrate temperatures are outside limits permitted by sealant manufacturer or below 40 deg F (5 deg C) or when joint substrates are wet.

PART 2 -  PRODUCTS

Select one or more of first seven articles below to describe stone types used.  If only one type from each category is required, the generic name can be used on Drawings instead of a stone-type designation.

2.1 LIMESTONE

A. Limestone:  Comply with ASTM C 568.

Select one of four options in subparagraph below.  First generally applies to very porous limestone that should only be used on building exteriors in mild climates; second, to oolitic limestone; third and fourth, to dolomitic limestone.  See Evaluations.

1. Classification:  II Medium-Density .

Select one of three options in subparagraph below or delete if not applicable.  Coordinate with classification choice above.  See Evaluations.

2. Description:  Oolitic limestone.

B. Variety and Sources:  Indiana oolitic limestone quarried in Lawrence, Monroe, or Owen Counties, Indiana.

Select and Standard grades in first paragraph below are hard to get in large sizes; gray is more plentiful than buff.  Verify availability with producers.

C. Indiana Oolitic Limestone Grade and Color:  Select, buff according to grade and color classification established by ILI.

D. Finish:  Smooth.

2.2 MORTAR MATERIALS

Delete this Article if no mortar.

A. Portland Cement:  ASTM C 150, Type I, except Type III may be used for cold-weather construction.  Provide gray or white cement as required to produce mortar color indicated.

Retain subparagraph below to limit staining if limestone is used.

1. Low-Alkali Cement:  Portland cement for use with limestone shall contain not more than 0.60 percent total alkali when tested according to ASTM C 114.

B. Hydrated Lime:  ASTM C 207. Type S.
C. Aggregate:  ASTM C 144; except for joints narrower than 1/4 inch (6 mm) , use aggregate graded with 100 percent passing No. 16 (1.18-mm) sieve.

D. Mortar Pigments:  Natural and synthetic iron oxides, compounded for use in mortar mixes.  Use only pigments with a record of satisfactory performance in mortar and containing no carbon black.

E. Water:  Clean, non-alkaline and potable.

2.3 ANCHORS AND BACKUP STRUCTURE

The term "anchor" refers only to the metal device inserted into a slot or hole in stone.  Select anchor materials from first two paragraphs below, usually Type 304 stainless steel.  Select Type 316 for increased corrosion resistance in a coastal environment.  Hot-dip galvanized is considered acceptable for shelf angles supporting limestone.

A. Provide anchors and attachments of type and size required to support the stonework frabricated from the following metals for conditions indicated below.

1. Anchors Located Below the Second Floor Level:  Stainless steel, ASTM A 666, Type  316.
2. Anchors Located Above the Second Floor Level:  Stainless steel, ASTM A 666, Type 304 or Type 316.  

3. Dowels And Pins Located Below the Second Floor Level:  Stainless steel, ASTM A 276, Type  316.
4. Dowels And Pins Located Above the Second Floor Level:  Stainless steel, ASTM A 276, Type 304 or Type 316.

5. Shelf Angles Located Below the Second Floor Level:  Stainless steel ASTM A666, Type 316.
6. Shelf Angles Located Above the Second Floor Level:  Hot-dip galvanized steel, ASTM A 36/A 36M for materials and ASTM A 123/A 123M for galvanizing.

7. Cast-in-Place Concrete Inserts:  Galvanized malleable iron adjustable inserts
8. Anchor Bolts, Nuts, Washers Not in Direct Contact with Stone; Comply with ASTM A 307, Grade A, for material, and ASTM C 153, Class C, for galvanizing.

9. Steel Plates, Shapes and Bars Not in Direct Contact with Stone:  Comply with ASTM A36 for materials and ASTM A 123 for galvanizing.

10. Expansion bolts Not in Direct Contact with Stone:  Zinc plated or cadmium plated bolts with stainless steel expansion clips.
11. Postinstalled Anchor Bolts for Concrete and Masonry:  Chemical anchors torque-controlled expansion anchors or undercut anchors made from stainless-steel components complying with ASTM F 593 and ASTM F 594, Alloy Group 1 or 2 (ASTM F 738M and ASTM F 836M, Alloy Group A1 or A4) for bolts and nuts; ASTM A 666 or ASTM A 276, Type 304 or 316, for anchors.
12. Dovetail Slots:  Where required, furnish dovetail slots, with filler strips, of slot size requied to receive anchors provided, fabricated from 0.03336 (22-gage) galvanized steel sheet steel complying with ASTM A446, G90.

13. Threaded Fasteners:

a. For stainless steel, use stainless-steel bolts, nuts, and washers; ASTM F 593 and ASTM F 594, Alloy Group 1 or 2 (ASTM F 738M and ASTM F 836M, Alloy Group A1 or A4).

b. For galvanized steel shelf angles and backup structure, use carbon steel bolts, nuts, and washers; ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6), for bolts; ASTM A 563 (ASTM A 563M), Grade A, for nuts; and ASTM F 436 (ASTM F 436M) for washers; all hot-dip or mechanically zinc coated.

14. Weld Plates for Installation in Concrete:  Comply with Division 05 Section "Metal Fabrications."

B. Miscellaneous Steel Framing:  For framing members in contact with stone fabricate from same material and finish specified for anchors for locations indicated above.  For framing members not in contact with stone, comply with requirements indicated below:

1. Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M, minimum thickness of 3/16 inch (5 mm).

2. Steel Tubing:  ASTM A 500 (cold formed), or ASTM A 513, Type 5 (mandrel drawn), minimum thickness of 3/16 inch (5 mm).

3. Slotted Channel Framing:  Cold-formed metal channels with continuous slot complying with MFMA-3, made from  steel sheet complying with ASTM A 1008/A 1008M, structural steel, Grade 33 (Grade 230), not less than 0.105-inch (2.66-mm) nominal thickness, hot-dip galvanized after fabrication to comply with ASTM A 123/A 123M.

2.4 PREASSEMBLED STONE UNITS

A. Performance Requirements:  Performance requirements defined elsewhere in this section apply to the preassembled units.

B. Adhesive:  The adhesive shall be a two-component epoxy consisting of epoxy resin and hardener.

C. Adhesive Properties:  The adhesive used shall meet the following minimum requirements after a 7-day cure at 75 degrees Fahrenheit. (Property:  Value / Test Method)
1. Tensile Bond Strength:  Cohesive failure in stone / ASTM C-321
2. Tensile Elongation:  2.5% / ASTM D-638

3. Tensile Strength:  3,500 psi / ASTM D-638

4. Compressive Double Shear:  400 psi / MMM G-650A

5. Compressive Strength:  6,000 psi / ASTM D-695

6. Shore “D” Hardness:  75 / ASTM D-1706

7. Water Absorption (24 hours):  0.50% / ASTM D-570

D. Samples:  Two sample units of stone bonded together with adhesive shall be submitted showing stone and joint quality.  Samples shall be 6” long, 3” wid, ¾” thick, bonded together on the large face, at right angles.  No fabrication or assembly shall begin until approval of sample is obtained.

1. Industry practice permits 1/8” thick adhesive joints.

E. Drawings:  The epoxy joint construction including mechanical anchoring and framing shall be shown on the shop drawings.

F. Shop Assembly Requirements:

1. Stone shall be dry and free from grease, oil, dirt, loose particles, and efflorescence.  Clean compressed air should be employed to blow stone dust from the pores of the stone.  Heat is recommend for the removal of moisture from the stone prior to applying epoxy.  No moisture should be observed creeping into areas to be bonded following the removal of heat.

2. Units shall not be assembled when the stone temperature and the surrounding air temperatures are below 50 degrees F or above 95 degrees F.  Assembly of units below 50 degrees F is permitted when the temperature of the stone units and adhesive is raised by heating to a temperature above 50 degrees F.  After the units have been joined, heat should continue to be applied to stone adjacent to the joint area to give the adhesive the curing temperature above 50 degrees F.  Approved clips, frames, expansion bolts, and other mechanical connections shall be installed in strict accordance with the approved shop drawings.

3. Adhesives shall be mixed in parts by weight or parts by volume in strict accordance with manufacturer’s instructions, with strict compliance to the manufacturer’s recommendations on the “pot life” of the adhesive.
4. Upon joining the stone members together, suitable clamps or bracing shall be used to keep the stone in proper alignment until the adhesive sufficiently hardens.  Process shall include any and all shims needed to insure proper alignment.

5. Assembled stone units shall not be moved until the adhesive has cured sufficiently to assure there will be no joint damage.  Curing shall continue until the adhesive has reached the required hardness.  When stones are pressed together, the adhesive shall flow out of the joint.  On exposed joints, in a textured finish, it is recommended that the excessive adhesive be removed after the adhesive has taken on its initial hardening.  The extra adhesive may be scraped away with a putty knife.  Any excessive adhesive on smooth finish may be removed after complete hardening with the use of power sanders.

6. All dowels, anchors, expansion bolts, bearing plates, and other steel items in direct contact with the stone or contained with the stone shall be stainless steel of type specified above for different locations indicated.

7. Fabricate and assemble structural framing in shop to comply with AISC Specifications for the Design, Fabrication, and Erection of Structural Steel for Buildings, including “Commentary” and Supplements thereto as issued, and as indicated on final shop drawings.

8. Weld or bolt connections to comply with the following requirements:

a. Install high strength threaded fasteners to comply with AISC Specifications for Structural Joints using ASTM A-325 or A-490 bolts approved by the Research Council on Riveted and Bolted Structural Joints of the Engineering Foundations (RCRBSJ).

b. Weld connections to comply with AWS D1.1 Structural Welding Code – Steel.

G. Transportation and Storage:  Extreme care shall be taken to insure that the assembled units are free of torsional stress during transportation, handling, and storage.

H. Erection:  The stone fabricator shall make provisions for the employment of the necessary lifting methods of the assembled units, in cooperation with the erector.  Such lifting devices as clamps, slings, etc., shall be furnished by the erector.

2.5 STONE ACCESSORIES

A. Setting Shims:  Leas, stainless steel, or plastic shims, nonstaining to stone, sized to suit joint thickness and bed depths of stonework involved without intruding into required depths of joint sealants.

B. Concealed Sheet Metal Flashing:  Fabricate from stainless steel in thicknesses indicated, but not less than 0.0156 inch (0.4 mm) thick.  Comply with requirements specified in Division 07 Section "Sheet Metal Flashing and Trim."

C. Cementitious Dampproofing for Limestone:  Provide cementitious formulations that are recommended by ILI and that are nonstaining to stone, compatible with joint sealants, and noncorrosive to anchors and attachments.

D. Weep and Vent Tubes:  Medium-density polyethylene tubing, 1/4-inch (6-mm) OD  and of length required to extend from exterior face of stone to cavity behind.

Delete paragraph below if no joint sealants are used or if filling or pointing joints is specified in Division 07 Section "Joint Sealants."

E. Sealants for Joints in Dimension Stone Cladding:  Comply with applicable requirements in Division 07 Section "Joint Sealants" and provide sealants that do not stain stone.

Retain paragraph below with either option if stone is not set with mortar, even if sealants for filling or pointing joints are specified in Division 07 Section "Joint Sealants."

F. Sealant for Filling Kerfs:  Same sealant used for joints in dimension stone.

2.6 STONE FABRICATION

A. General:  Fabricate stonework in sizes and shapes required to comply with the requirements as shown on approved shop drawings.

B. Comply with recommendations of the Indiana Limestone Institute of America, Inc. (ILI) as published in the Indiana Limestone Handbook (latest edition).

C. Cut and drill sinkages and holes in stones for anchors, fasteners, supports, and lifing devices as indicated or needed to set stonework securely in place; shape beds to fit supports.

D. Cut stones to produce pieces of thickness, size and shape indicated or required and within fabrication tolerances recommended by ILI.
E. Thickness of Exterior Stone Cladding:  Provide stone thicknesses required to comply with performance requirements but not less than shown on architectural drawings.  Use tables in Indiana Limestone Handbook as a guide to size requirements.

F. Control depth of stone and back check to maintain minimum clearance of 1 inch (25 mm) between backs of stone units and surfaces or projections of structural members, fireproofing (if any), backup walls, and other work behind stone.

G. Cut joints (bed and vertical) straight and at right angle to face, unless otherwise indicated.

H. Quirk-miter corners, unless otherwise indicated; shall provide for cramp anchorage in top and bottom bed joints of corner pieces.

I. Finish exposed faces and edges of stone to comply with requirements indicated for finish and to match approved samples and mockups.

Options in first paragraph below are examples only.  Revise to suit Project.

J. Cut stone to produce uniform joints 3/8 inch (10 mm) wide and in locations indicated.

K. Contiguous Work:  Provide chases, reveals, reglets, openings, and similar features as required to accommodate contiguous work.

Delete paragraph below if not applicable.

L. Fabricate molded work, including washes and drips, to produce stone shapes with a uniform profile throughout entire unit length, with precisely formed arrises slightly eased to prevent snipping, and with matching profile at joints between units.

M. Carve and cut decorative surfaces and inscriptions to conform with approved shaded drawings or models.  Use skilled stone carvers experienced in the successful performance of work similar to that indicated.

2.7 MORTAR MIXES

A. General:  Comply with referenced standards and with manufacturers' written instructions.  Do not use admixtures including coloring pigments, air-entraining agents, accelerators, retarders, water repellent agents, anti-freeze compounds, or calcium chloride, unless otherwise indicated.

B. Mixing:  Combine and thoroughly mix cementitious materials, water and aggregates in a mechanical batch mixer; comply with referenced ASTM standard for mixing time and water content, unless otherwise indicated.

C. Portland Cement-Lime Setting Mortar:  Comply with ASTM C 270, Proportion Specification, for types of mortar indicated below:

Retain mortar types in subparagraphs below applicable to stone groups selected.  Mortar should have lower compressive strength than stone.

1. Set limestone with Type N mortar.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Require installer to examine surfaces to receive stonework and conditions under which stonework will be installed and to report in writing any conditions which are not in compliance with requirements.  Do not proceed with installation until surfaces and conditions comply with requirements indicated in specifications or elsewhere for execution of other work which affects stonework.

3.2 PREPARATION

A. Advise installers of other work about specific requirements relating to placement of inserts, flashing reglets and similar items which will be used by stonework installer for anchoring, supporting and flashing of stonework.  Furnish installers of other work with drawings or templates showing locations of these items.  General contractor or concrete contractor will provide drawings to locate weld-plates and embeds for connection of stone skin or its system.

B. Clean stone surfaces which have become dirty or stained prior to setting to remove soil, stains and foreign materials.  Clean stones by thoroughly scrubbing stones with fiber brushes flowed by a thorough drenching with clear water.  Use only mild cleaning compounds that contain no acid, caustic or abrasives.
3.3 INSTALLING BACKUP STRUCTURE

A. Installing Miscellaneous Steel Framing:  Comply with AISC's "Specification for Structural Steel Buildings - Allowable Stress Design and Plastic Design."

1. Maintain erection tolerances of backup structure within AISC's "Code of Standard Practice for Steel Buildings and Bridges."

2. For prefabricated units to which stone has been installed before erection, maintain tolerances of stone faces and edges as specified in "Installation Tolerances" Article.

B. Attach framing for stone support system to structural frame of building at connection points indicated by welded or bolted field connections complying with following requirements:

1. Install high strength threaded fasteners to comply with AISC Specifications for Structural Joints using ASTM A325 or A 490 bolts approved by the Research Council on Riveted and Bolted Structural Joints of the Engineering Foundation (RCRBSJ).

2. Weld Connections to comply with AWS D1.1 Structural Welding Code Steel.

3. Provide joints to exclude water or permit its escape to exterior of building.  Provide weeps at locations where water could accumulate due to condensation or other cause.

4. For galvanized surfaces of assembled framing, comply with ASTM A 780 for cleaning field welds, bolted connections and abraded areas and application of galvanizing repair paint.

5. For shop-painted surfaces, clean field welds, bolted connections, and abraded areas, immediately after erection.  Apply paint to exposed areas using same material as used for shop painting.

3.4 SETTING DIMENSION STONE CLADDING, GENERAL

A. Execute dimension stone cladding installation by skilled mechanics and employ skilled stone fitters to do necessary field cutting as stone is set.  Use power saws with diamond blades to cut stone.  For exposed edges, produce edges which are cut straight and true.  Mallet and chisel cutting will be permitted provided craftsmen are skilled in their use.
B. Contiguous Work:  Provide chases, reveals, reglets, openings and other spaces as indicated for accommodating contiguous work.  Close up openings in stonework after other work is in place with stonework which matches that already set.

C. Set stone to comply with requirements indicated on Drawings and final Shop Drawings.  Install anchors, supports, fasteners, and other attachments indicated or necessary to secure dimension stone cladding in place.  Shim and adjust anchors, supports, and accessories to set stone accurately in locations indicated with uniform joints of widths indicated and with edges and faces aligned according to established relationships and indicated tolerances.

D. Dampproofing for stain prevention:  Coat limestone with dampproofing to extent indicated below:

1. Stone at Grade:  Beds, joints, and back surfaces to at least 12 inches (300 mm) above finish-grade elevations.

2. Stone Extending below Grade:  Beds, joints, back surfaces, and face surfaces below grade.

3. Dampproof all adjacent concrete surfaces on which limestone will rest, including concrete or cmu haunches and ledges, as well as support angles.

4. Cementitious coatings must be allowed to cure before treated stone is set.  Due care must be exercised in handling all dampproofed stone to avoid chipping or off-setting.

E. Provide expansion, control, and pressure-relieving joints of widths and at locations indicated or required.

1. Sealing expansion and other joints is specified in Division 07 Section "Joint Sealants."

2. Keep expansion joints free of mortar and other rigid materials, including shims.

F. Install concealed flashing at continuous shelf angles, lintels, ledges, and similar obstructions to downward flow of water to divert water to building exterior.

Cavities in paragraph below are recommended, but authorities having jurisdiction may require space to be grouted solid.

G. Keep cavities open where unfilled space is indicated between back of stone units and backup wall; do not fill cavities with mortar or grout.

1. Place weep holes in joints where moisture may accumulate, including base of cavity walls, above shelf angles, and flashing.  Locate weep holes at intervals not exceeding 24 inches (600 mm).
2. Place vents in cavity walls at tops of cavities, below shelf angles and flashing, and at intervals not exceeding 20 feet (6 m) vertically.  Locate vents in joints at intervals not exceeding 60 inches (1500 mm) horizontally.

3.5 SETTING DIMENSION STONE CLADDING

Retain this Article for stone set on framing system or on individual mechanical anchors.

A. Attach anchors securely to stone and to backup surfaces.  Comply with recommendations in ASTM C 1242.

B. Fill anchor holes with non-staining mortar or sealant.

1. Where dowel holes occur at pressure-relieving joints, provide compressive material above and below dowels.

C. For stones supported on clip or continuous angles, set stones on non-corrosive and non-staining shim material in sufficient area to support the load.  Mortar may be used in lieu of shims provided that setting pads are provided to maintain joint sizes if stone weight squeezes out mortar.
1. Place setting buttons of adequate size, in sufficient quantity, and of same thickness as indicated joint width, to prevent mortar from squeezing out and to maintain uniform joint widths.  Hold buttons back from face of stone to provide space for backer rope and sealant.

2. The joint between bottom of relieving angles and top surface of stones below angles shall be free of mortar or shims to avoid load transfer.

D. Where mortar is used in setting stones on anchors or elsewhere, rake out mortar from joints to depths adequate to receive sealants and sealant backings.

E. Embed ends of lugged sills on shims or mortar; leave balance of joint open until final sealing.

F. Set the stonework with open vertical joints for installation of joint sealants.  Use no shims or spacers in vertical joints.
3.6 JOINT-SEALANT INSTALLATION

Delete this Article if sealing joints is not specified in this Section.

A. Prepare joints and apply sealants of type and at locations indicated to comply with applicable requirements in Division 07 Section "Joint Sealants."

3.7 INSTALLATION TOLERANCES

Tolerances in paragraphs below are more stringent than those published by the Brick Industry Association for unit masonry and are generally appropriate for smooth-finished stone.  Some of the tolerances may be stricter than needed for work that will only be seen at a great distance, such as on upper floors of high-rise construction.  Retain, delete, or revise tolerances to suit Project.

A. Variation from Plumb:  For vertical lines and surfaces of walls, do not exceed 1/4 inch in 10 feet (6 mm in 3 m) or 1/2 inch in 40 feet (12 mm in 12 m) or more.  For external corners, corners and jambs within 20 feet (6 m) of an entrance, expansion joints, and other conspicuous lines, do not exceed 1/8 inch in 10 feet (3 mm in 3 m) or 3/8 inch in 40 feet (10 mm in 12 m) or more.

B. Variation from Level:  For lintels, sills, parapets, horizontal bands, and other conspicuous lines, do not exceed 1/8 inch in 10 feet (3 mm in 3 m) or 3/8 inch (10 mm) maximum.

C. Variation of Linear Building Line:  For positions shown in plan, do not exceed 1/4 inch in 20 feet (6 mm in 6 m) or 1/2 inch in 40 feet (12 mm in 12 m) or more.

D. Variation in Joint Width:  Do not vary from average joint width more than plus or minus 1/8 inch (3 mm) or a quarter of nominal joint width, whichever is less.

Revise or delete paragraph below for natural-cleft, thermal, and similar finishes.

E. Variation in Plane between Adjacent Stone Units (Lipping):  Do not exceed 1/16-inch (1.5-mm) difference between planes of adjacent units.

3.8 ADJUSTING AND CLEANING

A. Repairing Damaged Stone:  Repair of stone is an accepted practice and will be permitted.  Some chipping is expected; repair of small chips is not required if it does not detract from the overall appearance of the work, or impair the effectiveness of the mortar or sealant.  The criteria for acceptance of chips and repairs will be per standards and practices of the industry unless other criteria are mutually agreed upon.

B. Remove and replace stonework of the following description:

1. Stones so damaged that repair is impossible, either structurally or aesthetically.

2. Defective joints.

3. Stones and joints not in conformance with approved samples and field-constructed mockups.

4. Stonework not complying with other requirements indicated.

C. Replace in manner which results in stonework conforming to approved samples and field-constructed mockups, complying with other requirements and showing no evidence of replacement.

D. Clean stonework using clean water and stiff bristle fiber brushes.  Do not use wire brushes, acid type cleaning agents, or other materials or methods which could damage stone.  Mechanical or pressure cleaning methods may be used if approved.  Protect limestone when adjacent brick is being cleaned.
3.9 PROTECTION

A. Provide final protection and maintain conditions, in a manner acceptable to fabricator and installer, which ensures stonework being without damage or deterioration at time of substantial completion.

END OF SECTION 04851

DIMENSIONED STONE CLADDING

04851 - 5

