Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


SECTION 07210 - BUILDING INSULATION
PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

1. Cavity-wall insulation.

2. Concealed building insulation.

3. Sound attenuation insulation.

1.2 PERFORMANCE REQUIREMENTS

Delete this Article if no mineral-fiber insulation in ceiling plenums.  If retaining, indicate, on Drawings or in the Insulation Schedule at the end of Part 3, locations where mineral-fiber insulation is installed in ceiling plenums.

A. Plenum Rating:  Provide glass-fiber insulation where indicated in ceiling plenums whose test performance is rated as follows for use in plenums as determined by testing identical products per "Erosion Test" and "Mold Growth and Humidity Test" described in UL 181, or on comparable tests from another standard acceptable to authorities having jurisdiction.

1. Erosion Test Results:  Insulation shows no visible evidence of cracking, flaking, peeling, or delamination of interior surface of duct assembly, after testing for 4 hours at 2500-fpm (13-m/s) air velocity.

2. Mold Growth and Humidity Test Results:  Insulation shows no evidence of mold growth, delamination, or other deterioration due to the effects of high humidity, after inoculation with Chaetomium globosium on all surfaces and storing for 60 days at 100 percent relative humidity in the dark.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

Delete paragraph below if no exposed insulation or if no Samples are required.

B. Samples for Verification:  Full-size units for each type of exposed insulation indicated.

Retain paragraph and subparagraphs below if recycled content is required for LEED Credits MR 4.1 and MR 4.2.  Submittals are not required to be submitted to USGBC as part of LEED certification process but are necessary to verify compliance with indicated LEED credits.

C. SPiRiT Submittals:

1. Credit MR 4.C4:  Product Data indicating percentages by weight of postconsumer and preconsumer recycled content for products having recycled content.

a. Include statement indicating costs for each product having recycled content.

Delete paragraph below if this Section has been edited to retain only products with well-known unvarying values.

D. Product test reports.

Insert specific model code organization in paragraph below or revise if report must be from another source.

E. Research/Evaluation Reports:  For foam-plastic insulation.

1.4 QUALITY ASSURANCE

A. Retain ASTM test method below based on product and kind of fire-resistance characteristic specified for each product in Part 2.  Fire-Test-Response Characteristics:  Provide insulation and related materials with the fire-test-response characteristics indicated, as determined by testing identical products per ASTM E 84 for surface-burning characteristics and other methods indicated with product, by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify materials with appropriate markings of applicable testing and inspecting agency.

PART 2 -  PRODUCTS

Delete types of insulation not required from articles below that specify insulation.  Coordinate selections with thicknesses indicated on Drawings and with HVAC design and energy program.  Where insulation is exposed or open to air spaces in plenums, cavities, or similar voids, include only products that comply with building codes for fire-test-response characteristics.  Surface-burning indexes indicated for foam-plastic insulation are examples only and generally represent maximums allowed by model building codes for foam-plastic insulation.  Revise to suit products required and code in effect for Project.  See Evaluations.

In articles below specifying insulation products, coordinate subparagraphs that introduce a list of manufacturers or manufacturers and products with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2.1 FOAM-PLASTIC BOARD INSULATION

A. Extruded-Polystyrene Board Insulation:  ASTM C 578, Type IV, 1.60 lb/cu. ft. (26 kg/cu. m) , with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively.

1. Thickness:  Provide 2-inch (51-mm) at cavity walls.
2.2 GLASS-FIBER BLANKET INSULATION

A. Unfaced, Glass-Fiber Blanket Insulation:  ASTM C 665, Type I (blankets without membrane facing); consisting of fibers; with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively; passing ASTM E 136 for combustion characteristics.

Verify availability of polypropylene-scrim kraft and the relative cost of different facings with manufacturers listed.

B. Faced, Glass-Fiber Blanket Insulation:  ASTM C 665, Type III (blankets with reflective membrane facing), Class A (membrane-faced surface with a flame-spread index of 25 or less); Category 1 (membrane is a vapor barrier), faced with foil-scrim-kraft, foil-scrim, or foil-scrim-polyethylene  vapor-retarder membrane on 1 face.

Delete paragraph and subparagraphs below if both thicknesses and thermal resistances (not thermal resistivities) are indicated on Drawings.  See Evaluations.

C. Where glass-fiber blanket insulation is required, provide blankets in batt or roll form with thermal resistances indicated:

1. 3-1/2 inches (89 mm) thick with a thermal resistance of  13 deg F x h x sq. ft./Btu at 75 deg F (2.3 K x sq. m/W at 24 deg C).

2. 5-1/2 inches (140 mm) thick with a thermal resistance of 21 deg F x h x sq. ft./Btu at 75 deg F (3.7 K x sq. m/W at 24 deg C).

3. 6-1/2 inches (165 mm) thick with a thermal resistance of 19 deg F x h x sq. ft./Btu at 75 deg F (3.3 K x sq. m/W at 24 deg C).

4. 9-1/2 inches (241 mm) thick with a thermal resistance of 30 deg F x h x sq. ft./Btu at 75 deg F (5.2 K x sq. m/W at 24 deg C).

2.3 AUXILIARY INSULATING MATERIALS

Delete first paragraph below if not retaining insulation with vapor-retarder facings.

A. Adhesive for Bonding Insulation:  Product with demonstrated capability to bond insulation securely to substrates indicated without damaging insulation and substrates.

2.4 INSULATION FASTENERS

Anchor in first paragraph below is an example of a mechanical fastener.  Prong anchors, welding pins, pointed rods, etc., are also available; insert here as required.

A. Adhesively Attached, Spindle-Type Anchors:  Plate or angle formed from perforated galvanized carbon-steel sheet, 0.030 inch (0.762 mm) thick by 2 inches (50 mm) square, welded to projecting copper-coated steel spindle 0.105 inch (2.67 mm) in diameter and of length capable of holding insulation of thickness indicated securely in position with 1-1/2-inch- (38-mm-) square or diameter self-locking washers complying with the following requirements:

1. Insulation-Retaining Washers:  Self-locking washers formed from 0.016-inch- (0.41-mm-) thick galvanized steel sheet, with beveled edge for increased stiffness.

Retain subparagraph below if anchors are used in crawlspaces, ceiling plenums, attic spaces, etc., where sharp ends of spindles would be exposed to human contact.

2. Where anchors are located in ceiling plenums or attic spaces, protect ends with capped self-locking washers incorporating a spring steel insert to ensure permanent retention of cap.

B. Insulation Standoff:  Spacer fabricated from galvanized mild-steel sheet for fitting over spindle of insulation anchor to maintain air space between face of insulation and substrate to which anchor is attached.

C. Anchor Adhesive:  Product with demonstrated capability to bond insulation anchors securely to substrates indicated without damaging insulation, fasteners, and substrates.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Comply with insulation manufacturer's written instructions applicable to products and application indicated.

B. Install insulation that is undamaged, dry, and unsoiled and that has not been left exposed at any time to ice, rain, and snow.

C. Extend insulation in thickness indicated to envelop entire area to be insulated.  Cut and fit tightly around obstructions and fill voids with insulation.  Remove projections that interfere with placement.

D. Water-Piping Coordination:  If water piping is located within insulated exterior walls, coordinate location of piping to ensure that it is placed on warm side of insulation and insulation encapsulates piping.

E. For preformed insulating units, provide sizes to fit applications indicated and selected from manufacturer's standard thicknesses, widths, and lengths.  Apply single layer of insulation units to produce thickness indicated unless multiple layers are otherwise shown or required to make up total thickness.

3.2 INSTALLATION OF CAVITY-WALL INSULATION

Delete this Article if masonry insulation is specified in Division 04 Section "Unit Masonry."

A. On units of foam-plastic board insulation, install pads of adhesive spaced approximately 24 inches (610 mm) o.c. both ways on inside face, and as recommended by manufacturer.  Fit courses of insulation between wall ties and other obstructions, with edges butted tightly in both directions.  Press units firmly against inside substrates indicated.

Delete subparagraph below if insulation fills cavity.  Coordinate with Division 04 Section "Unit Masonry" where ties are specified.

1. Supplement adhesive attachment of insulation by securing boards with two-piece wall ties designed for this purpose and specified in Division 04 Section "Unit Masonry."

3.3 INSTALLATION OF GENERAL BUILDING INSULATION

A. Apply insulation units to substrates by method indicated, complying with manufacturer's written instructions.  If no specific method is indicated, bond units to substrate with adhesive or use mechanical anchorage to provide permanent placement and support of units.

B. Seal joints between foam-plastic insulation units by applying adhesive, mastic, or sealant to edges of each unit to form a tight seal as units are shoved into place.  Fill voids in completed installation with adhesive, mastic, or sealant as recommended by insulation manufacturer.

Specify location of vapor retarder in paragraph below based on vapor-flow analysis of a construction assembly.

C. Set vapor-retarder-faced units with vapor retarder to warm side  of construction, unless otherwise indicated.

Delete paragraph above and subparagraph below if no units are furnished with vapor-retarder faces.

1. Tape joints and ruptures in vapor retarder, and seal each continuous area of insulation to surrounding construction to ensure airtight installation.

Delete paragraph and subparagraphs below if no mineral-fiber insulation is used in cavities of framing members.

D. Install mineral-fiber insulation in cavities formed by framing members according to the following requirements:

1. Use insulation widths and lengths that fill the cavities formed by framing members.  If more than one length is required to fill cavity, provide lengths that will produce a snug fit between ends.

2. Place insulation in cavities formed by framing members to produce a friction fit between edges of insulation and adjoining framing members.

Delete first subparagraph below if recessed lighting fixtures are rated for contact with insulation.

3. Maintain 3-inch (76-mm) clearance of insulation around recessed lighting fixtures.

4. Install eave ventilation troughs between roof framing members in insulated attic spaces at vented eaves.

Delete subparagraph below if no metal-framed wall construction.

5. For metal-framed wall cavities where cavity heights exceed 96 inches (2438 mm), support unfaced blankets mechanically and support faced blankets by taping stapling flanges to flanges of metal studs.

Revise first paragraph and subparagraphs below to indicate type of concrete substrate, such as architectural precast concrete panels or cast-in-place concrete walls.

E. Install board insulation on concrete substrates by adhesively attached, spindle-type insulation anchors as follows:

1. Fasten insulation anchors to concrete substrates with insulation anchor adhesive according to anchor manufacturer's written instructions.  Space anchors according to insulation manufacturer's written instructions for insulation type, thickness, and application indicated.

Show width of cavity on Drawings.

2. Apply insulation standoffs to each spindle to create cavity width indicated between concrete substrate and insulation.

3. After adhesive has dried, install board insulation by pressing insulation into position over spindles and securing it tightly in place with insulation-retaining washers, taking care not to compress insulation below indicated thickness.

4. Where insulation will not be covered by other building materials, apply capped washers to tips of spindles.

Delete paragraph and subparagraph below if no loose-fill insulation.  If retaining only Type I glass-fiber loose-fill insulation in Part 2, retain "by pouring" option in paragraph below.  If retaining only Type II glass-fiber loose-fill insulation, retain "by machine blowing" option.

3.4 INSTALLATION OF INSULATION IN CEILINGS FOR SOUND ATTENUATION

A. Install 3-inch- (76-mm-) thick, unfaced glass-fiber blanket insulation over suspended ceilings at partitions in a width that extends insulation 48 inches (1219 mm) on either side of partition.

END OF SECTION 07210


BUILDING INSULATION

07210 - 1

