Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications

SECTION 07920 – JOINT SEALANTS 
PART 1 -  GENERAL

1.1 SUMMARY
A. This Section includes joint sealants for the following applications, including those specified by reference to this Section: 

Adjust list below to suit Project.

1. Exterior joints in vertical surfaces and horizontal nontraffic surfaces.

2. Exterior joints in horizontal traffic surfaces.

3. Interior joints in vertical surfaces and horizontal nontraffic surfaces.

4. Interior joints in horizontal traffic surfaces.

B. See Division 08 Section "Glazing" for glazing sealants.

1.2 PERFORMANCE REQUIREMENTS

A. Provide elastomeric joint sealants that establish and maintain watertight and airtight continuous joint seals without staining or deteriorating joint substrates.

Delete paragraph above or below if not applicable.  Revise wording to reflect performance required for both interior and exterior joints.  Add specific applications where watertight or water-resistant performance may not be required or attainable with products selected.

B. Provide joint sealants for interior applications that establish and maintain airtight and water-resistant continuous joint seals without staining or deteriorating joint substrates.

1.3 SUBMITTALS
A. Product Data:  For each joint-sealant product indicated.

B. Samples:  For each type and color of joint sealant required, provide Samples with joint sealants in 1/2-inch- (13-mm-) wide joints formed between two 6-inch- (150-mm-) long strips of material matching the appearance of exposed surfaces adjacent to joint sealants.

Retain paragraph and subparagraph below if low-emitting materials are required for LEED Credit EQ 4.1; coordinate with requirements selected in Part 2 for interior sealants.

Delete first paragraph below if preconstruction field testing is not required in "Quality Assurance" Article.

C. Preconstruction field test reports.

D. Compatibility and adhesion test reports.

E. Product certificates..

1.4 QUALITY ASSURANCE

A. Preconstruction Compatibility and Adhesion Testing:  Submit samples of materials that will contact or affect joint sealants to joint-sealant manufacturers for testing according to  manufacturer's standard test method to determine whether priming and other specific joint preparation techniques are required to obtain rapid, optimum adhesion of joint sealants to joint substrates.

B. Preconstruction Field-Adhesion Testing:  Before installing elastomeric sealants, field test their adhesion to Project joint substrates according to the method in ASTM C 1193 that is appropriate for the types of Project joints.

Delete paragraph and subparagraph below if not required.  Coordinate with panel mockups specified in other Sections that include sealant joints.

C. Mockups:  Build mockups incorporating sealant joints, as follows, to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution:

Revise subparagraph below to suit Project.

1. Joints in mockups of assemblies specified in other Sections that are indicated to receive elastomeric joint sealants, which are specified by reference to this Section.

1.5 WARRANTY
A. Special Installer's Warranty:  Installer's standard form in which Installer agrees to repair or replace elastomeric joint sealants that do not comply with performance and other requirements specified in this Section within specified warranty period.

Verify available warranties and insert number below.

1. Warranty Period:  Three (3) years from date of Substantial Completion.

B. Special Manufacturer's Warranty:  Manufacturer's standard form in which elastomeric sealant manufacturer agrees to furnish elastomeric joint sealants to repair or replace those that do not comply with performance and other requirements specified in this Section within specified warranty period.

Verify available warranties and insert number below.

1. Warranty Period: Three (3) years from date of Substantial Completion.

PART 2 -  PRODUCTS
2.1 MANUFACTURERS
See Editing Instructions No. 1 and No. 2 in the Evaluations for cautions about naming manufacturers and products and in coordinating requirements in this Section with other Part 2 articles.

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements." In other Part 2 articles, retain either "Available Products" or "Products" as the title introducing each list of products.

A. Products:  Subject to compliance with requirements, provide one of the products listed in other Part 2 articles.

2.2 MATERIALS, GENERAL

A. Compatibility:  Provide joint sealants, backings, and other related materials that are compatible with one another and with joint substrates under conditions of service and application, as demonstrated by sealant manufacturer, based on testing and field experience.

Retain paragraph and subparagraphs below if low-emitting materials are required for LEED Credit EQ 4.1.  VOC limits are those listed in Bay Area Air Quality Management District Regulation 8, Rule 51.  Coordinate product selection in other Part 2 articles to be sure that products selected comply.

Delete below if sealant colors are specified in the Joint-Sealant Schedule at the end of Part 3 or on Drawings.

2.3 ELASTOMERIC JOINT SEALANTS

Retain paragraph below with entries in remainder of this Article.  See Editing Instruction No. 2 in the Evaluations.

A. Elastomeric Sealants:  Comply with ASTM C 920 and other requirements indicated for each liquid-applied chemically curing sealant specified, including those referencing ASTM C 920 classifications for type, grade, class, and uses related to exposure and joint substrates.

Generally retain paragraph below with silicones applied to porous substrates such as marble, limestone, granite, and sandstone.

B. Stain-Test-Response Characteristics:  Where elastomeric sealants are specified to be nonstaining to porous substrates, provide products that have undergone testing according to ASTM C 1248 and have not stained porous joint substrates indicated for Project.

Delete paragraph below if no sealants are indicated for Use I.  Revise if a liquid other than water is used in testing.

Delete paragraph below if no sealants are indicated for applications where sealants will come in contact with food.  Indicate on Drawings or by inserts which products must comply with this requirement.

In each of the paragraphs below that specify elastomeric sealant products, retain the subparagraph title that introduces a list of manufacturers and products.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

If "ES" designations are retained as means for identifying different kinds of joint sealants, insert number to complete designations.  Use these designations either on Drawings or in the Joint-Sealant Schedule at the end of Part 3 if they are used to indicate where each joint-sealant type is required.

Retain only those products that comply with requirements retained for type, grade, class, and uses related to exposure and joint substrates.  See tables in the Evaluations.

Retain "Neutral- and Basic-Curing" option in paragraph below only if a basic-curing sealant such as Tremco's "Spectrem 1" is acceptable.

C. Multicomponent Pourable Urethane Sealant ES-1:

1. Products:

a. Bostik Findley; Chem-Calk 550.

b. Meadows, W. R., Inc.; POURTHANE.

c. Pecora Corporation; Urexpan NR-200.

d. Tremco; THC-900 / 901.

e. Tremco; Vulkem 245.

Products listed above are classified by manufacturers as Class 25 sealants; below, as Class 12-1/2.

2. Type and Grade:  M (multicomponent) and P (pourable).

3. Class:  25.

4. Use Related to Exposure:  T (traffic).

5. Uses Related to Joint Substrates:  M, A, and, as applicable to joint substrates indicated, O.

D. Single-Component Nonsag Urethane Sealant ES-2:

1. Products:

Products listed below are classified by manufacturers as suitable for Use NT.

a. Bostik Findley; Chem-Calk 900 / 915.

b. Pecora Corporation; Dynatrol I-XL.

"Sikaflex - 15LM" below is classified by manufacturer as a Class 100/50 sealant; other products above and DyMonic below are Class 25.

c. Tremco; DyMonic.

2. Type and Grade:  S (single component) and NS (nonsag).

Class 50 option in first subparagraph below applies only to "Vulkem 921"; Class 100/50, only to "Sikaflex - 15LM" and "Vulkem 931."

3. Class:  25..

4. Use Related to Exposure:  NT (nontraffic).

5. Uses Related to Joint Substrates:  M, A, and, as applicable to joint substrates indicated, O.

E. Single-Component Mildew-Resistant Acid-Curing Silicone Sealant ES-3:

1. Products:

a. Dow Corning Corporation; 786 Mildew Resistant.

b. GE Silicones; Sanitary SCS1700.

c. Tremco; Tremsil 200, White.

2. Type and Grade:  S (single component) and NS (nonsag).

3. Class:  25.

4. Use Related to Exposure:  NT (nontraffic).

5. Uses Related to Joint Substrates:  G, A, and, as applicable to joint substrates indicated, O.

Delete any generic description of joint sealants in articles below if not required and not indicated in the Joint-Sealant Schedule at the end of Part 3.

2.4 SOLVENT-RELEASE JOINT SEALANTS

Either ASTM C 1311 or FS TT-S-00230 is the standard referenced by manufacturers for solvent-release joint sealants despite the fact that withdrawal of the ASTM standard is pending and withdrawal of the Federal Specification by the Federal Supply Service has already taken place.  No new standards are currently being developed to replace them.  See Evaluations.

ASTM C 1085 is the standard referenced by manufacturers for butyl-rubber-based solvent-release joint sealants despite its having been withdrawn.  No new standard is currently being developed to replace it.

A. Butyl-Rubber-Based Solvent-Release Joint Sealant SRS-1:  Comply with ASTM C 1085.

1. Products:

a. Bostik Findley; Bostik 300.

b. Pecora Corporation; BC-158.

c. Tremco; Tremco Butyl Sealant.

Clear, small joint sealants are also available.  Revise below or add if required.

2.5 LATEX JOINT SEALANTS

In addition to Type P (for opaque sealants containing color or extended pigments), ASTM C 834 includes Type C (for clear or translucent sealants) and Grade 18 deg C and Grade 0 deg C for sealants that meet requirements for flexibility at minus 18 deg C and 0 deg C, respectively.  Grade NF does not have to be tested for low-temperature flexibility.

A. Latex Sealant LS-1:  Comply with ASTM C 834, Type O P, Grade NF.

B. Products:

1. Bostik Findley; Chem-Calk 600.

2. Pecora Corporation; AC-20+.

3. Tremco; Tremflex 834.

2.6 ACOUSTICAL JOINT SEALANTS

A. Acoustical Sealant for Exposed and Concealed Joints AS-1:  Manufacturer's standard nonsag, paintable, nonstaining latex sealant complying with ASTM C 834 that effectively reduces airborne sound transmission through perimeter joints and openings in building construction as demonstrated by testing representative assemblies according to ASTM E 90.

1. Products:

a. Pecora Corporation; AC-20 FTR Acoustical and Insulation Sealant.

b. United States Gypsum Co.; SHEETROCK Acoustical Sealant.

2.7 JOINT-SEALANT BACKING

A. General:  Provide sealant backings of material and type that are nonstaining; are compatible with joint substrates, sealants, primers, and other joint fillers; and are approved for applications indicated by sealant manufacturer based on field experience and laboratory testing.

Retain one of three types in paragraph below; if retaining more than one, also retain fourth option.  Type B products are "Sof Rod" by Nomaco and "Soft Backer Rod" by Sonneborn.  Verify with joint-sealant manufacturers the suitability of each material for sealants selected.  Type O sealant backings, which are open-cell urethane foams, are unsuitable for horizontal surfaces.  See Evaluations.

B. Cylindrical Sealant Backings:  ASTM C 1330, Type C (closed-cell material with a surface skin) or Type B (bicellular material with a surface skin) , as approved in writing by joint-sealant manufacturer for joint application indicated, and of size and density to control sealant depth and otherwise contribute to producing optimum sealant performance:

Retain first paragraph below or revise to suit Project.  Tubing is sometimes used as a temporary seal and secondary water barrier.  Verify with joint-sealant manufacturers the suitability of tubing for sealants selected.  See Evaluations.

C. Elastomeric Tubing Sealant Backings:  Neoprene, butyl, EPDM, or silicone tubing complying with ASTM D 1056, nonabsorbent to water and gas, and capable of remaining resilient at temperatures down to minus 26 deg F (minus 32 deg C).  Provide products with low compression set and of size and shape to provide a secondary seal, to control sealant depth, and to otherwise contribute to optimum sealant performance.

1. Use at all unit masonry control / expansion joints, and perimeter

D. Bond-Breaker Tape:  Polyethylene tape or other plastic tape recommended by sealant manufacturer for preventing sealant from adhering to rigid, inflexible joint-filler materials or joint surfaces at back of joint where such adhesion would result in sealant failure.  Provide self-adhesive tape where applicable.

2.8 MISCELLANEOUS MATERIALS

Generally retain first paragraph below unless it is known that priming of substrates is not required with sealants specified.  Purpose of primers is to improve adhesion of sealant to substrate.

A. Primer:  Material recommended by joint-sealant manufacturer where required for adhesion of sealant to joint substrates indicated, as determined from preconstruction joint-sealant-substrate tests and field tests.

B. Cleaners for Nonporous Surfaces:  Chemical cleaners acceptable to manufacturers of sealants and sealant backing materials, free of oily residues or other substances capable of staining or harming joint substrates and adjacent nonporous surfaces in any way, and formulated to promote optimum adhesion of sealants to joint substrates.

C. Masking Tape:  Nonstaining, nonabsorbent material compatible with joint sealants and surfaces adjacent to joints.

PART 3 -  EXECUTION
3.1 PREPARATION
A. Surface Cleaning of Joints:  Clean out joints immediately before installing joint sealants.

1. Remove all foreign material from joint substrates that could interfere with adhesion of joint sealant.

a. Clean porous joint substrate surfaces by brushing, grinding, blast cleaning, mechanical abrading, or a combination of these methods to produce a clean, sound substrate capable of developing optimum bond with joint sealants.  Remove loose particles remaining after cleaning operations above by vacuuming or blowing out joints with oil-free compressed air.

2. Remove laitance and form-release agents from concrete.

a. Clean nonporous surfaces with chemical cleaners or other means that do not stain, harm substrates, or leave residues capable of interfering with adhesion of joint sealants.

B. Joint Priming:  Prime joint substrates, where recommended in writing by joint-sealant manufacturer, based on preconstruction joint-sealant-substrate tests or prior experience.  Apply primer to comply with joint-sealant manufacturer's written instructions.  Confine primers to areas of joint-sealant bond; do not allow spillage or migration onto adjoining surfaces.

Delete below if not required.

C. Masking Tape:  Use masking tape where required to prevent contact of sealant with adjoining surfaces that otherwise would be permanently stained or damaged by such contact or by cleaning methods required to remove sealant smears.  Remove tape immediately after tooling without disturbing joint seal.

3.2 INSTALLATION
A. Sealant Installation Standard:  Comply with recommendations in ASTM C 1193 for use of joint sealants as applicable to materials, applications, and conditions indicated.

Delete first paragraph below only if use of acoustical sealants is specified in other Sections without reference to this Section.

B. Acoustical Sealant Application Standard:  Comply with recommendations in ASTM C 919 for use of joint sealants in acoustical applications as applicable to materials, applications, and conditions indicated.

C. Install sealant backings of type indicated to support sealants during application and at position required to produce cross-sectional shapes and depths of installed sealants relative to joint widths that allow optimum sealant movement capability.

1. Do not leave gaps between ends of sealant backings.

2. Do not stretch, twist, puncture, or tear sealant backings.

3. Remove absorbent sealant backings that have become wet before sealant application and replace them with dry materials.

Retain first paragraph below for sealants installed in moving joints without sealant backings.

D. Install bond-breaker tape behind sealants where sealant backings are not used between sealants and backs of joints.

E. Install sealants using proven techniques that comply with the following and at the same time backings are installed:

1. Place sealants so they directly contact and fully wet joint substrates.

2. Completely fill recesses in each joint configuration.

3. Produce uniform, cross-sectional shapes and depths relative to joint widths that allow optimum sealant movement capability.

F. Tooling of Nonsag Sealants:  Immediately after sealant application and before skinning or curing begins, tool sealants according to requirements specified below to form smooth, uniform beads of configuration indicated; to eliminate air pockets; and to ensure contact and adhesion of sealant with sides of joint.

1. Remove excess sealant from surfaces adjacent to joints.

2. Use tooling agents that are approved in writing by sealant manufacturer and that do not discolor sealants or adjacent surfaces.

3. Provide concave joint configuration per Figure 5A in ASTM C 1193, unless otherwise indicated.

G. Clean off excess sealant or sealant smears adjacent to joints as the Work progresses by methods and with cleaning materials approved in writing by manufacturers of joint sealants and of products in which joints occur.

3.3 JOINT-SEALANT SCHEDULE

Joint-sealant applications below represent only a limited number of examples.  Modify this schedule to suit Project.  Retain requirements in Part 2 that reference sealant standards, specify product properties and, if retained, name manufacturers and products.  See Editing Instruction No. 2 in the Evaluations.  Delete subparagraphs specifying color if color will be selected from sealant manufacturers full range and this requirement is retained in Part 2.

Include designations such as [ES-<#>] if they are retained in Part 2 "Elastomeric Joint Sealants" Article or other Part 2 articles to distinguish between joint-sealant products with the same descriptive name.

If designations are retained for "Joint-Sealant Application" paragraphs below, insert number to complete designation.

A. Joint-Sealant Application JS-1:  Exterior horizontal nontraffic and traffic isolation and expansion joints of paving adjacent to building.

1. Joint Sealant:  Multicomponent pourable urethane sealant   ES-1.

2. Joint-Sealant Color: As selected by Architect from manufacturer’s standard colors.

B. Joint-Sealant Application JS-2:  Exterior vertical control and expansion joints in unit masonry.

1. Joint Sealant:  Single-component nonsag urethane sealant ES-2.

2. Joint-Sealant Color:  As selected by Architect from manufacturer’s standard colors to match color(s) of adjacent masonry units.

3. Provide elastomeric tubing sealant backing to provide a secondary seal.

C. Joint-Sealant Application JS-3:  Exterior butt joints between metal panels.

1. Joint Sealant:  Single-component nonsag urethane sealant ES-2.

2. Joint-Sealant Color:  As selected by Architect from manufacturer’s standard colors to match color(s) of adjacent metal panels.

3. Provide elastomeric tubing sealant backing to provide a secondary seal.

D. Joint-Sealant Application JS-4:  Exterior vertical joints between different materials listed above.

1. Joint Sealant:  Single-component nonsag urethane sealant ES-2.

2. Joint-Sealant Color:  As selected by Architect from manufacturer’s standard colors to match color(s) of adjacent materials.

3. Provide elastomeric tubing sealant backing to provide a secondary seal.

E. Joint-Sealant Application JS-5:  Exterior perimeter joints of exterior openings such as frames of doors, windows, and louvers.

1. Joint Sealant:  Single-component nonsag urethane sealant ES-2.

2. Joint-Sealant Color:  As selected by Architect from manufacturer’s standard colors to match color(s) of adjacent materials.

3. Provide elastomeric tubing sealant backing to provide a secondary seal.

F. Joint-Sealant Application JS-6:  Exterior control and expansion joints in ceilings and other overhead surfaces.

1. Joint Sealant:  Single-component nonsag urethane sealant ES-2.

2. Joint-Sealant Color:  As selected by Architect from manufacturer’s standard colors to match color(s) of adjacent materials.

G. Joint-Sealant Application JS-7:  Flashing at roofing & roof parapets.

1. Joint Sealant:  Single-component nonsag urethane sealant ES-2.

2. Joint-Sealant Color:  As selected by Architect from manufacturer’s standard colors to match color(s) of adjacent materials.

H. Joint-Sealant Application JS-8:  Vertical control and expansion joints on exposed interior surfaces of exterior walls and interior joints 3/8” wide or more.

1. Joint Sealant:  Single-component nonsag urethane sealant ES-2.

2. Joint-Sealant Color:  As selected by Architect from manufacturer’s standard colors to match color(s) of adjacent materials.

I. Joint-Sealant Application JS-9:  Interior joints between plumbing fixtures and adjoining walls, floors, and counters.

1. Joint Sealant:  Single-component mildew-resistant  acid-curing silicone sealant ES-3.

2. Joint-Sealant Color:  White.

J. Joint-Sealant Application JS-10:  Vertical joints ¼” wide or less on exposed surfaces of interior    walls and partitions including where casework or similar construction abuts wall.

1. Joint Sealant:  Latex sealant LS-1.

2. Joint-Sealant Color: Paintable.

K. Joint-Sealant Application JS-11:  Perimeter joints between interior wall surfaces and frames of interior doors windows and elevator entrances.

1. Joint Sealant:  Latex sealant LS-1.

2. Joint-Sealant Color: Paintable.

L. Joint-Sealant Application JS-12:  Set thresholds in bed of sealant; keep all weep holes clear and remove excess sealant.

1. Joint Sealant:  Butyl-rubber-based solvent-release joint sealant SRS-1.

END OF SECTION 07920

JOINT SEALANTS

07920 - 7

