Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08411 - ALUMINUM-FRAMED ENTRANCES AND STOREFRONTS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Exterior and interior aluminum-framed storefronts.

2. Exterior and interior manual-swing aluminum doors.

1.2 PERFORMANCE REQUIREMENTS

A. General:  Provide aluminum-framed systems, including anchorage, capable of withstanding, without failure, the effects of the following:

1. Structural loads.

2. Thermal movements.

3. Movements of supporting structure indicated on Drawings including, but not limited to, story drift and deflection from uniformly distributed and concentrated live loads.

Specify dimensional tolerances for support system and adjacent construction in other Sections of this Project's Specifications.

4. Dimensional tolerances of building frame and other adjacent construction.

5. Failure includes the following:

a. Deflection exceeding specified limits.

b. Thermal stresses transferred to building structure.

c. Framing members transferring stresses, including those caused by thermal and structural movements, to glazing.

Delete first subparagraph below if no structural-sealant-glazed systems.

d. Noise or vibration created by wind and thermal and structural movements.

e. Loosening or weakening of fasteners, attachments, and other components.

f. Sealant failure.

g. Failure of operating units to function properly.

Delete first paragraph below if no structural-sealant-glazed joints.

B. Structural-Sealant Joints:  Designed to produce tensile or shear stress in structural-sealant joints of less than 20 psi (138 kPa).

C. Structural Loads:

Show design loads determined by Project's structural engineer on Drawings or insert loads in two subparagraphs below.  Verify requirements of authorities having jurisdiction.  See Evaluations.

1. Wind Loads:  Per 2003 International Building Code requirements, including all UFC requirements and applicable codes.
Delete subparagraph below if not applicable.  See Evaluations.

2. Seismic Loads:  Per code where applicable.
Based on Project conditions, more stringent deflection criteria than specified in paragraph below may be required; see "Deflection" Article in the Evaluations.  Option below is based on AAMA recommendations for systems supporting glass.  If framing systems will impact brittle finishes such as gypsum board, deflection limits of 1/240 or 1/360 may be appropriate.

D. Deflection of Framing Members Normal to Wall Plane:  Limited to 1/175 of clear span for spans up to 13 feet 6 inches (4.1 m) and to 1/240 of clear span plus 1/4 inch (6.35 mm) for spans greater than 13 feet 6 inches (4.1 m) or an amount that restricts edge deflection of individual glazing lites to 3/4 inch (19 mm), whichever is less.

Before retaining testing requirements in remainder of this Article, verify that manufacturers have tested assemblies according to test method indicated and can meet criteria specified.

E. Structural-Test Performance:  Systems tested according to ASTM E 330 as follows:

1. When tested at positive and negative wind-load design pressures, systems do not evidence deflection exceeding specified limits.

2. When tested at 150 percent of positive and negative wind-load design pressures, systems, including anchorage, do not evidence material failures, structural distress, and permanent deformation of main framing members exceeding 0.4 percent of span.

3. Test Durations:  As required by design wind velocity but not less than 10 seconds.

In windborne-debris regions of hurricane-prone areas, authorities having jurisdiction may require debris-impact and cyclic-pressure testing for glazed assemblies.  See "Wind Loads" Article in the Evaluations and verify requirements of authorities having jurisdiction before retaining paragraph below.

F. Windborne-Debris-Impact-Resistance-Test Performance:  ASTM E 1996, large and small missile tests.

G. Blast Resistance:  Provide system capable of resisting airblast loadings of intensities and at glazing protection condition levels required, as determined from testing complete assemblies including glazing.

Insert other reference in subparagraph below as required to establish protection-level requirements.

1. Comply with UFC documents pertaining to Antiterrorism Standards for Buildings.
Differential values below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions and metal color and finish.

H. Temperature Change (Range):  Systems accommodate 120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

ASTM E 283 requires using a static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa), unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  Static-air-pressure difference of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

I. Air Infiltration:  Maximum air leakage through fixed glazing and framing areas of systems of 0.06 cfm/sq. ft. (0.03 L/s per sq. m) of fixed wall area when tested according to ASTM E 283 at a minimum static-air-pressure difference of  6.24 lbf/sq. ft. (300 Pa).

For water-penetration test, static-air-pressure difference of 20 percent of wind-load design pressure provides satisfactory performance in most parts of the U.S.  Locations where high winds and heavy rains frequently occur simultaneously require higher test-pressure differences.  Lower test-pressure differences are acceptable for some locations.  Revise paragraph below to suit Project.

J. Water Penetration Under Static Pressure:  Systems do not evidence water penetration through fixed glazing and framing areas when tested according to ASTM E 331 at a minimum static-air-pressure difference of 20 percent of positive wind-load design pressure, but not less than 12 lbf/sq. ft. (300 Pa).

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. Include structural analysis data for wind loads, seismic loads, wind borne debris requirements and blast resistance requirements, signed and sealed by the qualified professional engineer responsible for their preparation.

Retain subparagraph below for entrance systems or insert specific hardware schedule requirements.

2. For entrances, include hardware schedule and indicate operating hardware types, functions, quantities, and locations.

Paragraph below assumes manufacturer's standard-size Samples are acceptable.  Revise to suit Project.

C. Samples:  For each exposed finish.

For structural-sealant-glazed systems, always retain first paragraph below and requirement for preconstruction sealant testing in "Quality Assurance" Article.

D. Preconstruction Sealant Test Reports:  For structural-sealant-glazed systems.

E. Product test reports.

Retain below if Contractor is responsible for field quality-control testing and inspecting.

F. Field quality-control test and inspection reports.

1.4 QUALITY ASSURANCE

A. Installer Qualifications:  Acceptable to manufacturer and capable of preparation of data for aluminum-framed systems including Shop Drawings based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project.

Retain paragraph below if Contractor selects field-testing agency.

B. Testing Agency Qualifications:  An independent agency qualified according to ASTM E 699 for testing indicated.

For structural-sealant-glazed systems, always retain first paragraph and subparagraph below.

C. Preconstruction Sealant Testing:  For structural-sealant-glazed systems, perform sealant manufacturer's standard tests for compatibility and adhesion of sealants with each material that will come in contact with sealants and each condition required by aluminum-framed systems.

1. Determine corrective measures required to prepare each material to ensure compatibility with and adhesion of sealants, including, but not limited to, specially formulated primers.

D. Structural-Sealant Glazing:  Comply with recommendations in ASTM C 1401, "Guide for Structural Sealant Glazing."

Delete paragraph and subparagraphs below if not required.

E. Mockups:  Build mockups to demonstrate aesthetic effects and set quality standards for fabrication and installation.

1. Build mockups as shown on Drawings.

1.5 WARRANTY

A. Special Assembly Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of aluminum-framed systems that do not comply with requirements or that deteriorate as defined in this Section within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including, but not limited to, excessive deflection.

b. Noise or vibration caused by thermal movements.

Delete option in subparagraph below if retaining "Special Finish Warranty" Paragraph.

c. Deterioration of metals, metal finishes, and other materials beyond normal weathering.

Delete first subparagraph below if no structural-sealant-glazed systems.

d. Adhesive or cohesive sealant failures.

e. Water leakage through fixed glazing and framing areas.

f. Failure of operating components to function properly.

Manufacturers normally warrant products for one year.  Extended warranty periods may cost more.  Verify available warranties and insert number below.

2. Warranty Period:  Two years from date of Substantial Completion.

B. Special Finish Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components on which finishes fail within specified warranty period.  Warranty does not include normal weathering.

Verify available warranties for finishes and insert number below.

1. Warranty Period:  20 years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS

A. Aluminum:  Alloy and temper recommended by manufacturer for type of use and finish indicated.

1. Sheet and Plate:  ASTM B 209 (ASTM B 209M).

2. Extruded Bars, Rods, Profiles, and Tubes:  ASTM B 221 (ASTM B 221M).

3. Extruded Structural Pipe and Tubes:  ASTM B 429.

4. Structural Profiles:  ASTM B 308/B 308M.

Revise below to suit Project; delete if no internal steel reinforcement of aluminum framing members.

B. Steel Reinforcement:  With manufacturer's standard corrosion-resistant primer.

1. Structural Shapes, Plates, and Bars:  ASTM A 36/A 36M.

2. Cold-Rolled Sheet and Strip:  ASTM A 1008/A 1008M.

3. Hot-Rolled Sheet and Strip:  ASTM A 1011/A 1011M.

2.2 FRAMING SYSTEMS

A. Framing Members:  Manufacturer's standard extruded-aluminum framing members of thickness required and reinforced as required to support imposed loads.

1. Construction:  Nonthermal; interior structural silicone glazed; screw spline fabriction.

a. Exterior locations:  Center glazed to receive 1-5/16” impact resistant glazing.

b. Interior locations:  Center glazed for ¼” non-impact glazing.

c. 2-1/2”x5” nominal dimensions.

B. Brackets and Reinforcements:  Manufacturer's standard high-strength aluminum with nonstaining, nonferrous shims for aligning system components.

C. Fasteners and Accessories:  Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding fasteners and accessories compatible with adjacent materials.

1. Where fasteners are subject to loosening or turning out from thermal and structural movements, wind loads, or vibration, use self-locking devices.

2. Reinforce members as required to receive fastener threads.

D. Flashing:  Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding flashing compatible with adjacent materials.  Form exposed flashing from sheet aluminum finished to match framing and of sufficient thickness to maintain a flat appearance without visible deflection.

E. Framing System Gaskets and Sealants:  Manufacturer's standard recommended by manufacturer for joint type.

2.3 GLAZING SYSTEMS

A. Glazing:  As specified in Division 08 Section "Glazing."

B. Glazing Gaskets:  Manufacturer's standard compression types, replaceable, molded or extruded, that maintain uniform pressure and watertight seal.

C. Spacers and Setting Blocks:  Manufacturer's standard elastomeric types.

Retain paragraph below for structural-sealant-glazed systems; bond-breaker tape is typically used with weatherseal sealants where conventional sealant backing cannot be used because of dimensional limitations and to avoid three-side adhesion that may be detrimental to proper sealant movement.

D. Bond-Breaker Tape:  Manufacturer's standard TFE-fluorocarbon or polyethylene material to which sealants will not develop adhesion.

Retain paragraph and subparagraphs below for structural-sealant-glazed systems.

E. Glazing Sealants:  For structural-sealant-glazed systems, as recommended by manufacturer for joint type and as follows:

1. Structural Sealant:  ASTM C 1184, neutral-curing silicone formulation compatible with system components with which it comes in contact.

a. Color:  As selected from manufacturer's full range of colors.

Review weatherseal-sealant requirements with aluminum-framed system manufacturers.  For some systems, structural sealant is also weatherseal sealant; delete below for these systems.

2.4 DOORS

Delete this Article if no entrances.

A. Doors:  Manufacturer's standard glazed doors, for manual swing operation.

1. Door Construction:  1-3/4-inch (44.5-mm) overall thickness, with minimum 0.125-inch- (3.2-mm-)   thick, extruded-aluminum tubular rail and stile members.  Mechanically fasten corners with reinforcing brackets that are deep penetration and fillet welded or that incorporate concealed tie rods.

Coordinate door design with hardware requirements.  Narrow stile doors may not be able to accommodate some exit devices.

2. Door Design:  Medium stile; 3-1/2-inch (88.9-mm) nominal width .

First subparagraph below is based on requirements in ICC/ANSI A117.1.  Verify requirements of authorities having jurisdiction and coordinate with door elevations on Drawings.

a. Accessible Doors:  Smooth surfaced for width of door in area within 10 inches (255 mm) above floor or ground plane.

3. Glazing Stops and Gaskets:  Square, snap-on, extruded-aluminum stops and preformed gaskets.

Glazing stops are typically removable from both sides.  If required, retain subparagraph below.

a. Provide nonremovable glazing stops on outside of door.

2.5 DOOR HARDWARE

Delete this Article if door hardware is specified in Division 08 Section "Door Hardware." Before selecting hardware, verify accessible entrance, means-of-egress doorway, and other requirements of authorities having jurisdiction.

A. General:  Provide heavy-duty units in sizes and types recommended by entrance system and hardware manufacturers for entrances and uses indicated.

Retain paragraph below to allow keying for aluminum-framed entrances to be coordinated with building keying system.

B. Cylinders:  As specified in Division 08 Section "Door Hardware."

Retain first paragraph below if cylinders are specified in this Section; delete if cylinders are specified in Division 08 Section "Door Hardware."

C. Cylinder Keying:  to be furnished by LAARNG.

D. Strikes:  Provide strike with black-plastic dust box for each latch or lock bolt; fabricated for aluminum framing.

Delete remainder of this Article if specific named products are inserted in the Door Hardware Schedule for weather stripping, weather sweeps, and silencers.

E. Weather Stripping:  Manufacturer's standard replaceable components.

1. Compression Type:  Made of ASTM D 2000, molded neoprene, or ASTM D 2287, molded PVC.

2. Sliding Type:  AAMA 701, made of wool, polypropylene, or nylon woven pile with nylon-fabric or aluminum-strip backing.

F. Weather Sweeps:  Manufacturer's standard exterior-door bottom sweep with concealed fasteners on mounting strip.

G. Silencers:  BHMA A156.16, Grade 1.

2.6 ACCESSORY MATERIALS

A. Joint Sealants:  For installation at perimeter of aluminum-framed systems, as specified in Division 07 Section "Joint Sealants."

B. Bituminous Paint:  Cold-applied asphalt-mastic paint complying with SSPC-Paint 12 requirements except containing no asbestos, formulated for 30-mil (0.762-mm) thickness per coat.

2.7 FABRICATION

A. Form aluminum shapes before finishing.

Delete first paragraph below if no welding.

B. Weld in concealed locations to greatest extent possible to minimize distortion or discoloration of finish.  Remove weld spatter and welding oxides from exposed surfaces by descaling or grinding.

C. Framing Members, General:  Fabricate components that, when assembled, have the following characteristics:

1. Profiles that are sharp, straight, and free of defects or deformations.

2. Accurately fitted joints with ends coped or mitered.

3. Means to drain water passing joints, condensation occurring within framing members, and moisture migrating within the system to exterior.

4. Physical and thermal isolation of glazing from framing members.

5. Accommodations for thermal and mechanical movements of glazing and framing to maintain required glazing edge clearances.

6. Provisions for field replacement of glazing from exterior.

7. Fasteners, anchors, and connection devices that are concealed from view to greatest extent possible.

D. Mechanically Glazed Framing Members:  Fabricate for flush glazing (without projecting stops).

E. Structural-Sealant-Glazed Framing Members:  Include accommodations for using temporary support device (dutchman) to retain glazing in place while structural sealant cures.

F. Door Frames:  Reinforce as required to support loads imposed by door operation and for installing hardware.

1. At exterior doors, provide compression weather stripping at fixed stops.

2. At interior doors, provide silencers at stops to prevent metal-to-metal contact.  Install three silencers on strike jamb of single-door frames and two silencers on head of frames for pairs of doors.

G. Doors:  Reinforce doors as required for installing hardware.

1. At pairs of exterior doors, provide sliding weather stripping retained in adjustable strip mortised into door edge.

2. At exterior doors, provide weather sweeps applied to door bottoms.

Indicate hardware mounting heights on Drawings or insert requirements in first paragraph below.

H. Hardware Installation:  Factory install hardware to the greatest extent possible.  Cut, drill, and tap for factory-installed hardware before applying finishes.

I. After fabrication, clearly mark components to identify their locations in Project according to Shop Drawings.

2.8 ALUMINUM FINISHES

Two-coat fluoropolymer systems are not recommended for entrance doors, door frames, and areas subject to abusive wear.  Two-coat systems are available that comply with AAMA 2604 and AAMA 2605.  Three-coat systems comply with AAMA 2605.  Thermosetting powder coatings complying with AAMA 2604 are available; insert requirements if desired.

A. High-Performance Organic Finish:  Three-coat thermocured system with fluoropolymer topcoats containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with AAMA  2605.

1. Color and Gloss:  As selected from manufacturer's full range.

For exact finish, insert names of coating manufacturers and products.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:

1. Fit joints to produce hairline joints free of burrs and distortion.

2. Rigidly secure nonmovement joints.

3. Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration.

4. Seal joints watertight, unless otherwise indicated.

B. Metal Protection:

1. Where aluminum will contact dissimilar metals, protect against galvanic action by painting contact surfaces with primer or by applying sealant or tape or installing nonconductive spacers as recommended by manufacturer for this purpose.

2. Where aluminum will contact concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

C. Install components to drain water passing joints, condensation occurring within framing members, and moisture migrating within the system to exterior.

Coordinate first paragraph below with manufacturers' recommendations.

D. Set continuous sill members and flashing in full sealant bed as specified in Division 07 Section "Joint Sealants" and to produce weathertight installation.

E. Install components plumb and true in alignment with established lines and grades, without warp or rack.

F. Install glazing as specified in Division 08 Section "Glazing."

1. Structural-Sealant Glazing:

a. Prepare surfaces that will contact structural sealant according to sealant manufacturer's written instructions to ensure compatibility and adhesion.  Preparation includes, but is not limited to, cleaning and priming surfaces.

b. Install weatherseal sealant according to Division 07 Section "Joint Sealants" and according to sealant manufacturer's written instructions to produce weatherproof joints.  Install joint filler behind sealant as recommended by sealant manufacturer.

G. Entrances:  Install to produce smooth operation and tight fit at contact points.

1. Exterior Entrances:  Install to produce tight fit at weather stripping and weathertight closure.

Indicate hardware mounting heights on Drawings or insert in subparagraph below.

2. Field-Installed Hardware:  Install surface-mounted hardware according to hardware manufacturers' written instructions using concealed fasteners to greatest extent possible.

H. Install perimeter joint sealants as specified in Division 07 Section "Joint Sealants" and to produce weathertight installation.

I. Erection Tolerances:  Install aluminum-framed systems to comply with the following maximum tolerances:

Erection tolerances below are examples only that are based on various AAMA references and manufacturers' literature.  Coordinate with tolerances for support systems and revise to suit Project.

1. Location and Plane:  Limit variation from true location and plane to 1/8 inch in 12 feet (3 mm in 3.7 m); 1/4 inch (6 mm) over total length.

2. Alignment:

a. Where surfaces abut in line, limit offset from true alignment to 1/16 inch (1.5 mm).

b. Where surfaces meet at corners, limit offset from true alignment to 1/32 inch (0.8 mm).

3. Diagonal Measurements:  Limit difference between diagonal measurement to 1/8 inch (3 mm).

3.2 FIELD QUALITY CONTROL

Retain first option in paragraph below if Owner engages agency; retain second option if Contractor engages agency.  If retaining second option, retain requirement for field quality-control test reports in Part 1 "Submittals" Article.

A. Testing Agency:  Engage a qualified independent testing and inspecting agency to perform field tests and inspections and prepare test reports.

Indicate testing stages on Drawings.

B. Structural-Sealant Compatibility and Adhesion:  Structural sealant shall be tested according to recommendations in ASTM C 1401.

1. Destructive test method, Method A, Hand Pull Tab (Destructive) in ASTM C 1401, Appendix X2 shall be used.

a. A minimum of two areas on each building face shall be tested.

b. Repair installation areas damaged by testing.

C. Structural-Sealant Glazing Inspection:  After installation of aluminum-framed systems is complete, structural-sealant glazing shall be inspected and evaluated according to ASTM C 1401 recommendations.

Generally retain inexpensive test in first paragraph below to check storefront systems' resistance to water penetration.  Revise test area requirements indicated to suit Project.

D. Water Spray Test:  Before installation of interior finishes has begun, a minimum area of 75 feet (23 m) by 1 story of aluminum-framed systems designated by Architect shall be tested according to AAMA 501.2 and shall not evidence water penetration.

E. Repair or remove work where test results and inspections indicate that it does not comply with specified requirements.

F. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

END OF SECTION 08411


ALUMINUM-FRAMED ENTRANCES AND STOREFRONTS

08411 - 8

