Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Systems, Inc. (ARCOM) for the AIA

SECTION 08800 - GLAZING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes glazing for the following products and applications, including those specified in other Sections where glazing requirements are specified by reference to this Section:

Adjust list below to suit Project.

1. Doors.

2. Glazed curtain walls.

3. Glazed entrances.

4. Interior borrowed lites.

5. Storefront framing.

1.2 DEFINITIONS

Delete definitions below if not applicable to products retained for Project.

A. Interspace:  Space between lites of an insulating-glass unit that contains dehydrated air or a specified gas.

B. Deterioration of Coated Glass:  Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning coated glass contrary to manufacturer's written instructions.  Defects include peeling, cracking, and other indications of deterioration in metallic coating.

C. Deterioration of Insulating Glass:  Failure of hermetic seal under normal use that is attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning insulating glass contrary to manufacturer's written instructions.  Evidence of failure is the obstruction of vision by dust, moisture, or film on interior surfaces of glass.

D. Deterioration of Laminated Glass:  Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning laminated glass contrary to manufacturer's written instructions.  Defects include edge separation, delamination materially obstructing vision through glass, and blemishes exceeding those allowed by referenced laminated-glass standard.

1.3 PERFORMANCE REQUIREMENTS

A. General:  Provide glazing systems capable of withstanding normal thermal movement and wind and impact loads (where applicable) without failure, including loss or glass breakage attributable to the following:  defective manufacture, fabrication, and installation; failure of sealants or gaskets to remain watertight and airtight; deterioration of glazing materials; or other defects in construction.

First paragraph and subparagraphs below assume glass thicknesses are indicated on Drawings or in Part 2 where glass units are specified.  If not, revise accordingly.

B. Glass Design:  Glass thickness designations indicated are minimums and are for detailing only.  Confirm glass thicknesses by analyzing Project loads and in-service conditions.  Provide glass lites in the thickness designations indicated for various size openings, but not less than thicknesses and in strengths (annealed or heat treated) required to meet or exceed the following criteria:

1. Glass Thicknesses:  Select minimum glass thicknesses to comply with ASTM E 1300, according to the following requirements:

Retain one of three subparagraphs below specifying design wind loads.

See Editing Instruction No. 2 in the Evaluations before retaining one of two subparagraphs above or subparagraph and associated subparagraphs below.  If retaining one subparagraph above, design wind loads must be indicated either here or, preferably, on Drawings if multiple loads apply.  If retaining below, basic wind speed, importance factor, and exposure category applicable to Project must be indicated either here or, preferably, on Drawings.

a. Design Wind Loads:  Determine design wind loads applicable to Project from basic wind speed indicated in miles per hour (meters per second) at 33 feet (10 m) above grade, according to ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 6.5, "Method 2-Analytical Procedure," based on mean roof heights above grade indicated on Drawings.

Delete three subparagraphs below if information is indicated on Drawings.  Other effects may need to be included such as topographic factor and gust effect factor as well as enclosure classification(s).

1) Basic Wind Speed:  130 mph (3 second gust, 50-year return)
2) Importance Factor:  I = 1.15.

3) Exposure Category:  B .

Retain subparagraph below if sloped glazing is exposed to snow loads.  If retaining, insert snow loads here or, if multiple loads apply, on Drawings.

b. Specified Design Snow Loads:  As indicated in structural design criteria, but not less than snow loads applicable to Project as required by ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 7.0, "Snow Loads."

Probability of breakage value specified in subparagraph below is based on a design factor of 2.5 and is the basis for load charts for loads of 60-second duration in the 2000 edition of ASTM E 1300.  A revision of ASTM E 1300 is under way that would change the duration to 3 seconds to make it consistent with the 1998 edition of ASCE 7.  Revise if other values and durations are required for Project.

c. Probability of Breakage for Vertical Glazing:  8 lites per 1000 for lites set vertically or not more than 15 degrees off vertical and under wind action.

1) Load Duration:  3 seconds.

d. Minimum Glass Thickness for Exterior Lites:  Not less than 6.0 mm.

C. Thermal Movements:  Provide glazing that allows for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures acting on glass framing members and glazing components.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

D. Thermal and Optical Performance Properties:  Provide glass with performance properties specified based on manufacturer's published test data, as determined according to procedures indicated below:

Retain subparagraph below if Part 2 "Monolithic Float-Glass Units" Article is retained and thermal and optical performance properties are specified.  If more than one thickness is required, indicate on Drawings or in referenced article.

1. For monolithic-glass lites, properties are based on units with lites 6.0 mm thick.

Retain subparagraph below if Part 2 "Laminated-Glass Units" Article is retained and thermal and optical performance properties are specified.

2. For laminated-glass lites, properties are based on products of construction indicated.

Retain first subparagraph below if insulating-glass units are specified in Part 2 and thermal and optical performance properties are specified.

3. For insulating-glass units, properties are based on units of thickness indicated for overall unit and for each lite.
4. Center-of-Glass Values:  Based on using LBL-44789 WINDOW 5.0 computer program for the following methodologies:

Revise referenced methods in subparagraphs below to coordinate with performance values for fenestration specified in Sections that reference this Section for specifying glass.

a. U-Factors:  NFRC 100 expressed as Btu/ sq. ft. x h x deg F (W/sq. m x K).

b. Solar Heat Gain Coefficient:  NFRC 200.

c. Solar Optical Properties:  NFRC 300.

E. Windborne-Debris Resistance:  Provide glazing materials capable of resisting impact from windborne debris based on the pass/fail criteria and testing information in ASTM E 1996 as determined from testing glazing materials in fenestration assemblies according to ASTM E 1886.

F. Blast Resistance:  Provide glazing materials capable of resisting airblast loadings of intensities and at glazing protection condition levels as determined to be required by the AT/FP Risk Assessment Analysis and in accordance with UFC documents related to Antiterrorism / Force Protection. 

1.4 SUBMITTALS

A. Product Data:  For each glass product and glazing material indicated.

B. Samples:  12-inch- (300-mm-) square, for each type of glass product indicated, other than monolithic clear float glass.

C. Glazing Schedule:  Use same designations indicated on Drawings.

D. Preconstruction Adhesion and Compatibility Test Report:  From glazing sealant manufacturer.

1.5 QUALITY ASSURANCE

Delete testing requirements in first paragraph below if no elastomeric glazing sealants are specified for Project.

A. Preconstruction Adhesion and Compatibility Testing:  Submit to elastomeric glazing sealant manufacturers, for testing according to ASTM C 1087, samples of each glazing material type, tape sealant, gasket, glazing accessory, and glass-framing member that will contact or affect elastomeric glazing sealants:

B. Glazing for Fire-Rated Door Assemblies:  Glazing for assemblies that comply with NFPA 80 and that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to NFPA 257.

In Part 2 articles where glass units are specified, retain applicable requirements for monolithic-, laminated-, and insulating-glass units that are consistent with requirements specified below for safety glass.

C. Safety Glazing Products:  Comply with testing requirements in 16 CFR 1201.

D. Glazing Publications:  Comply with published recommendations of glass product manufacturers and organizations below, unless more stringent requirements are indicated.  Refer to these publications for glazing terms not otherwise defined in this Section or in referenced standards.

Delete option in subparagraph below if no laminated glass is specified for Project.

1. GANA Publications:  GANA Laminated Division's "Laminated Glass Design Guide" and GANA's "Glazing Manual."

Delete subparagraph below if no insulating glass.

2. IGMA Publication for Insulating Glass:  SIGMA TM-3000, "Glazing Guidelines for Sealed Insulating Glass Units."

Delete paragraph below if no insulating glass.  Not all manufacturers participate in program; refer to directories of certifying organizations for participants.

E. Insulating-Glass Certification Program:  Permanently marked either on spacers or on at least one component lite of units with appropriate certification label of the Insulating Glass Certification Council or Associated Laboratories, Inc.

Delete paragraph and subparagraphs below if not required.

F. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Build mockups as shown on Drawings.

1.6 WARRANTY

Paragraphs and subparagraphs in this Article are examples only.  Verify available warranties and length of warranty period with manufacturers selected.  See Evaluations.

A. Manufacturer's Special Warranty on Laminated Glass:  Manufacturer's standard form, made out to Owner and signed by laminated-glass manufacturer agreeing to replace laminated-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

1. Warranty Period:  Five years from date of Substantial Completion.

B. Manufacturer's Special Warranty on Insulating Glass:  Manufacturer's standard form, made out to Owner and signed by insulating-glass manufacturer agreeing to replace insulating-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

1. Warranty Period:  10 years from date of Substantial Completion.

C. Polycarbonate Sheet:

1. Form of Deterioration:  Yellowing and loss of light transmission.

2. Warranty Period:  10 years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 GLASS PRODUCTS

A. Annealed Float Glass:  ASTM C 1036, Type I (transparent flat glass), Quality-Q3; of class indicated.

B. Heat-Treated Float Glass:  ASTM C 1048; Type I (transparent flat glass); Quality-Q3; of class, kind, and condition indicated.

1. Fabrication Process:  By horizontal (roller-hearth) process with roll-wave distortion parallel to bottom edge of glass as installed, unless otherwise indicated.

2. Provide Kind HS (heat-strengthened) float glass in place of annealed float glass where needed to resist thermal stresses induced by differential shading of individual glass lites and to comply with glass design requirements specified in Part 1 "Performance Requirements" Article.

Delete subparagraph below if locations of Kind FT float glass for safety glass applications are specified in other Part 2 articles or on Drawings.

3. Provide Kind FT (fully tempered) float glass in place of annealed or Kind HS (heat-strengthened) float glass where safety glass is indicated.

Delete first paragraph and subparagraphs below if glass lites with pyrolytic or sputter coating on second surface are not used for spandrels.

C. Coated Spandrel Float Glass:  Float glass complying with other requirements specified and with the following:

1. Fallout Resistance:  Provide spandrel units identical to those passing the fallout-resistance test for spandrel glass specified in ASTM C 1048.

Delete subparagraph below if read-through is controlled by another means.  Opacifier below can be applied only over reflective coating; verify availability with glass manufacturers.

2. Factory apply manufacturer's standard opacifier of the following material to coated second surface of lites, with resulting products complying with Specification No. 89-1-6 in GANA Tempering Division's "Engineering Standards Manual."

Retain one of two subparagraphs below.  See Editing Instruction No. 7 in the Evaluations.

a. Polyester film laminated to glass with solvent-based adhesive.

D. Wired Glass:  ASTM C 1036, Type II (patterned and wired flat glass), Class 1 (clear), Quality-Q-6; and of form and mesh pattern specified.

E. Laminated Glass:  ASTM C 1172, and complying with other requirements specified and with the following:

If retaining "cured resin" option in subparagraph below, only Glasslam N.G.I. offers a chemically cured, polyester-based, three-component system in pigmented formulations as well as clear.  UCB Chemicals Corporation offers a clear casting resin named "Uvekol."

1. Interlayer:  Polyvinyl butyral of thickness indicated with a proven record of no tendency to bubble, discolor, or lose physical and mechanical properties after laminating glass lites and installation.

F. Insulating-Glass Units, General:  Factory-assembled units consisting of sealed lites of glass separated by a dehydrated interspace, and complying with ASTM E 774 for Class CBA units and with requirements specified in this Article and in Part 2 "Insulating-Glass Units" Article.

1. Provide Kind HS (heat-strengthened) float glass in place of annealed glass where needed to resist thermal stresses induced by differential shading of individual glass lites and to comply with glass design requirements specified in Part 1 "Performance Requirements" Article.

Delete first subparagraph below if locations of Kind FT float glass for safety glass applications are specified in other Part 2 articles or on Drawings.

2. Overall Unit Thickness and Thickness of Each Lite:  Dimensions indicated for insulating-glass units are nominal and the overall thicknesses of units are measured perpendicularly from outer surfaces of glass lites at unit's edge.

3. Sealing System:  Dual seal.

4. Spacer Specifications:  Manufacturer's standard spacer material and construction.

G. Glass-Clad Polycarbonate:  ASTM C 1349, kinds and other requirements as specified in other Part 2 articles.

2.2 POLYCARBONATE GLAZING PRODUCTS

A. Polycarbonate Sheet:  ASTM C 1349, Appendix X1, type as specified in other Part 2 articles.

B. Interlayer for Laminated-Polycarbonate Units:  Clear polyurethane interlayer with a proven record of no tendency to bubble, discolor, or lose physical and mechanical properties after laminating polycarbonate sheets and installation.

C. Fabrication:  Laminate polycarbonate sheets to interlayer to produce laminated units free of foreign substances, air, and glass pockets.

2.3 SPALL-RESISTANT GLAZING FILM

A. Spall-Resistant Film:  Composite of clear polyvinyl butyral film and clear abrasion-resistant polyester film.

1. Product:  Subject to compliance with requirements, provide Spallshield by DuPont Glass Laminating Products or comparable product from other manufacturer.

B. Laminating Process:  Laminate spall-resistant film to glazing assemblies in factory to produce laminated lites free of foreign substances, air, and glass pockets.

2.4 GLAZING GASKETS

A. Glazing Gaskets:  As indicated in other Division 08 Sections “Aluminum Framed Entrances and Storefronts” and “Glazed Aluminum Curtain Walls”.
2.5 GLAZING SEALANTS

A. General:  Provide products of type indicated, complying with the following requirements:

1. Compatibility:  Select glazing sealants that are compatible with one another and with other materials they will contact, including glass products, seals of insulating-glass units, and glazing channel substrates, under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.

2. Suitability:  Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated and for conditions existing at time of installation.

B. Elastomeric Glazing Sealants:  Comply with ASTM C 920 and other requirements indicated for each liquid-applied chemically curing sealant required. 
C. Glazing Sealants for Fire-Resistive Glazing Products:  Identical to products used in test assemblies to obtain fire-protection rating.

2.6 GLAZING TAPES

A. Back-Bedding Mastic Glazing Tapes:  Preformed, butyl-based elastomeric tape with a solids content of 100 percent; nonstaining and nonmigrating in contact with nonporous surfaces; with or without spacer rod as recommended in writing by tape and glass manufacturers for application indicated; packaged on rolls with a release paper backing; and complying with ASTM C 1281 and AAMA 800 for products required. 
B. Expanded Cellular Glazing Tapes:  Closed-cell, PVC foam tapes; factory coated with adhesive on both surfaces; packaged on rolls with release liner protecting adhesive; and complying with AAMA 800.  

2.7 MISCELLANEOUS GLAZING MATERIALS

A. General:  Provide products of material, size, and shape complying with referenced glazing standard, requirements of manufacturers of glass and other glazing materials for application indicated, and with a proven record of compatibility with surfaces contacted in installation.

B. Cleaners, Primers, and Sealers:  Types recommended by sealant or gasket manufacturer.

C. Setting Blocks:  Elastomeric material with a Shore, Type A durometer hardness of 85, plus or minus 5.

D. Spacers:  Elastomeric blocks or continuous extrusions with a Shore, Type A durometer hardness required by glass manufacturer to maintain glass lites in place for installation indicated.

E. Edge Blocks:  Elastomeric material of hardness needed to limit glass lateral movement (side walking).

2.8 FABRICATION OF GLAZING UNITS

A. Fabricate glazing units in sizes required to glaze openings indicated for Project, with edge and face clearances, edge and surface conditions, and bite complying with written instructions of product manufacturer and referenced glazing publications, to comply with system performance requirements.

Edit the following articles to suit Project.  Retain requirements in Part 2 "Glass Products" Article that reference glass standards, but do not duplicate requirements retained in that Article.

Copy paragraphs and subparagraphs in articles below if needed and re-edit them to suit Project.

Insert a number in place of <#> to complete drawing designations for each glass type below.  Use these designations on Drawings to show where each glass type is required.

2.9 MONOLITHIC FLOAT-GLASS UNITS

If thicknesses for each type of monolithic-glass units are specified below, retain "Thickness" subparagraphs and insert or retain thickness designations in millimeters per ASTM C 1036.  If thickness designations are indicated on Drawings or determined based on compliance with Part 1 "Performance Requirements" Article, delete "Thickness" subparagraphs.

A. Uncoated Clear Float-Glass Units:  Class 1 (clear) annealed float glass except provide kind FT (fully tempered) float glass where safety glazing required.

1. Thickness:  6.0 mm.

2. Locations:  Interior glazed units.

2.10 MONOLITHIC WIRED-GLASS UNITS

A. Polished Wired-Glass Units:  Form 1 (wired glass, polished both sides), Quality-Q6, Mesh 1 (M1) (Diamond)] or 2 (M2) (Square), 6.0 mm thick.

2.11 INSULATING-GLASS UNITS

A. Glass-Clad Polycarbonate/Laminated-Glass Insulating-Glass Units:

1. Overall Unit Thickness:  As determined by thicknesses of lites and interlayers and by interlayer dimension.

2. Interspace Content:  Argon.

3. Interspace Dimension:  As required.

4. Lite on Witness Side (interior side):  Kind GCP (glass-clad polycarbonate), SC (Single Core) or MC (Multiple Core) consisting of outer and inner lites of heat-strengthened  float glass with an interior core consisting of polycarbonate lite(s) and faced with a 0.037-inch- (0.94-mm-) thick spall-resistant polyester film laminated to face of lite on witness side.

a. Outer Lite:  Class 1 (clear) float glass.

1) Thickness:  As required.

b. Inner Lite:  Class 1 (clear) float glass.

1) Thickness:  As required.

c. Single Core:  Type I (standard, UV-stabilized) polycarbonate.

1) Thickness:  As required.

Delete "core" subparagraph and associated subparagraphs above or below to suit Project.

d. Multiple Core:  Type I (standard, UV-stabilized) polycarbonate of the following thicknesses and number:

1) Outer Lites:  As required.

2) Single or Double Inner Lite:  As required.
5. Lite on Threat Side (Exterior Side):  Kind LHS (two or more lites of heat-strengthened float glass) laminated glass consisting of two lites.

Delete subparagraph above or below.

If only two lites are required, delete "Core Lites" Subparagraph.  Retain clear inner lite with either clear or tinted outer lite with or without coating.  Do not use tinted or coated glass for inner lite without verifying acceptability with manufacturer for application indicated.

a. Outer Lite: Class 2 (tinted) float glass:

1) Thickness:  As required.

b. Inner Lite:  Class 1 (clear) float glass.

1) Thickness:  As required.

Delete first subparagraph below if Class 1 clear glass is retained above.

2) Tint Color:  Gray.

c. Interlayer:  Manufacturer's standard.

1) Thickness:  As required.

2) Interlayer Color:  Clear.

6. Thermal and Optical Performance Properties:  As required to meet thermal performance of glazed units.
7. Windborne-Debris Resistance:  Per International Building Code 2003 requirements.
8. Blast Resistance:  As required to meet AT/FP Threat Analysis requirements and UFC Document requirements for Antiterrorism / Force Protection.

PART 3 -  EXECUTION

3.1 GLAZING

A. General:  Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials, unless more stringent requirements are indicated, including those in referenced glazing publications.

1. Glazing channel dimensions, as indicated on Drawings, provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances.  Adjust as required by Project conditions during installation.

2. Protect glass edges from damage during handling and installation.  Remove damaged glass from Project site and legally dispose of off Project site.  Damaged glass is glass with edge damage or other imperfections that, when installed, could weaken glass and impair performance and appearance.

3. Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction sealant-substrate testing.

4. Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications, unless otherwise required by glass manufacturer.  Set blocks in thin course of compatible sealant suitable for heel bead.

5. Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.

6. Provide spacers for glass lites where length plus width is larger than 50 inches (1270 mm).

7. Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and according to requirements in referenced glazing publications.

B. Tape Glazing:  Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.  Install tapes continuously, but not necessarily in one continuous length.  Do not stretch tapes to make them fit opening.

1. Cover vertical framing joints by applying tapes to heads and sills first and then to jambs.  Cover horizontal framing joints by applying tapes to jambs and then to heads and sills.

2. Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped.  Seal joints in tapes with compatible sealant approved by tape manufacturer.

3. Center glass lites in openings on setting blocks and press firmly against tape by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops.  Start gasket applications at corners and work toward centers of openings.

C. Gasket Glazing (Dry):  Fabricate compression gaskets in lengths recommended by gasket manufacturer to fit openings exactly, with allowance for stretch during installation.

1. Insert soft compression gasket between glass and frame or fixed stop so it is securely in place with joints miter cut and bonded together at corners.

2. Center glass lites in openings on setting blocks and press firmly against soft compression gasket by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops.  Start gasket applications at corners and work toward centers of openings.  Compress gaskets to produce a weathertight seal without developing bending stresses in glass.  Seal gasket joints with sealant recommended by gasket manufacturer.

3. Install gaskets so they protrude past face of glazing stops.

D. Sealant Glazing (Wet):  Install continuous spacers, or spacers combined with cylindrical sealant backing, between glass lites and glazing stops to maintain glass face clearances and to prevent sealant from extruding into glass channel and blocking weep systems until sealants cure.  Secure spacers or spacers and backings in place and in position to control depth of installed sealant relative to edge clearance for optimum sealant performance.

1. Force sealants into glazing channels to eliminate voids and to ensure complete wetting or bond of sealant to glass and channel surfaces.

2. Tool exposed surfaces of sealants to provide a substantial wash away from glass.

3.2 CLEANING AND PROTECTION

A. Protect exterior glass from damage immediately after installation by attaching crossed streamers to framing held away from glass.  Do not apply markers to glass surface.  Remove nonpermanent labels, and clean surfaces.  Protect glass from contact with contaminating substances resulting from construction operations, including weld splatter.  If, despite such protection, contaminating substances do come into contact with glass, remove substances immediately as recommended by glass manufacturer.

B. Remove and replace glass that is broken, chipped, cracked, or abraded or that is damaged from natural causes, accidents, and vandalism, during construction period.

END OF SECTION 08800


GLAZING

08800 - 9

