Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications

SECTION 09265 – GYPSUM BOARD SHAFT-WALL ASSEMBLIES 
PART 1 -  GENERAL

1.1 SUMMARY
A. This Section includes the following:

Adjust list below to suit Project.

1. Shaft-wall enclosures.

2. Chase enclosures.

3. Stair enclosures.

4. Horizontal enclosures.

1.2 SUBMITTALS
A. Product Data:  For each gypsum board shaft-wall assembly indicated.

Retain paragraph and subparagraphs below for LEED.

1.3 QUALITY ASSURANCE

Assemblies are fire-response tested as proprietary systems; therefore, stud type, which is described by its profile, used in one shaft-wall manufacturer's assemblies cannot be substituted for a different type required for another manufacturer's assemblies.

Indicate fire-resistance ratings of specific assemblies on Drawings.

A. Fire-Resistance Ratings:  Provide materials and construction identical to those of assemblies with fire-resistance ratings determined according to ASTM E 119 by a testing and inspecting agency.

Retain paragraph below if shaft wall is part of STC-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

B. STC-Rated Assemblies:  Provide materials and construction identical to those of assemblies tested according to ASTM E 90 and classified according to ASTM E 413 by a testing and inspecting agency.

PART 2 -  PRODUCTS
2.1 MANUFACTURERS
See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers in this Article.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

1. G-P Gypsum.

2. National Gypsum Company.

3. USG Corporation.

2.2 GYPSUM BOARD SHAFT-WALL ASSEMBLIES, GENERAL

A. Provide materials and components complying with requirements of fire-resistance-rated assemblies indicated.

1. Provide panels in maximum lengths available to eliminate or minimize end-to-end butt joints.

2. Provide auxiliary materials complying with gypsum board shaft-wall assembly manufacturer's written recommendations.

2.3 PANEL PRODUCTS

A. Gypsum Liner Panels:  Comply with ASTM C 442/C 442M.

1. Type X:  Manufacturer's proprietary liner panels with moisture-resistant paper faces.

a. Core:  1 inch (25.4 mm) thick.

b. Long Edges:  Double bevel.

2. Moisture- and Mold-Resistant Type X:  Manufacturer's proprietary liner panels and with moisture- and mold-resistant core and surfaces; comply with ASTM D 3273.

a. Core:  1 inch (25.4 mm) thick.

b. Long Edges:  Double bevel.

Retain paragraph below if exposed surfaces of shaft walls will receive gypsum veneer plaster finish.

Retain paragraph below if exposed surfaces of shaft walls or backing panels of multilayer applications are gypsum board.

B. Gypsum Board:  As specified in Division 09 Section "Gypsum Board."

2.4 NON-LOAD-BEARING STEEL FRAMING

A. Framing Members:  Comply with ASTM C 754 for conditions indicated.

Steel framing complies with ASTM C 645 for material thickness; stud type and size do not apply.

B. Steel Sheet Components:  Comply with ASTM C 645 requirements for metal, unless otherwise indicated.

See "Corrosion Protection of Steel Framing" Article in the Evaluations for discussion of corrosion-resistant coatings on components.

1. Protective Coating:  Coating with equivalent corrosion resistance of ASTM A 653/A 653M, G40 (Z120), hot-dip galvanized, unless otherwise indicated.

2.5 AUXILIARY MATERIALS

A. General:  Provide auxiliary materials that comply with referenced product standards and manufacturer's written recommendations.

B. Trim Accessories:  Cornerbead, edge trim, and control joints of material and shapes specified in Division 09 Section "Gypsum Board" that comply with gypsum board shaft-wall assembly manufacturer's written recommendations for application indicated.

Retain two paragraphs below if exposed surfaces of shaft walls will receive gypsum veneer plaster finish.

Retain paragraph below if exposed surfaces of shaft walls or backing panels of multilayer applications are gypsum board.

C. Gypsum Board Joint-Treatment Materials:  As specified in Division 09 Section "Gypsum Board."

Delete first paragraph and subparagraph below if no multilayer applications.

D. Laminating Adhesive:  Adhesive or joint compound recommended by manufacturer for directly adhering gypsum face-layer panels to backing-layer panels in multilayer construction.

Retain subparagraph below if low-emitting materials are required for LEED Credit EQ 4.1.  VOC limit is that for gypsum board and panel adhesives in South Coast Air Quality Management District Rule #1168.

E. Steel Drill Screws:  ASTM C 1002, unless otherwise indicated.

F. Track Fasteners:  Power-driven fasteners of size and material required to withstand loading conditions imposed on shaft-wall assemblies without exceeding allowable design stress of track, fasteners, or structural substrates in which anchors are embedded.

Retain subparagraph below if expansion anchors are acceptable.  Verify safety factor with Project's structural engineer.  Revise to suit Project or insert specific load requirements and names of acceptable products.

Retain subparagraph below if power-actuated fasteners are acceptable.  Verify safety factor with Project's structural engineer.

1. Power-Actuated Anchors:  Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with capability to sustain, without failure, a load equal to 10 times design load, as determined by testing per ASTM E 1190 conducted by a qualified testing agency.

G. Sound Attenuation Blankets:  ASTM C 665, Type I (blankets without membrane facing), produced by combining thermosetting resins with mineral fibers manufactured from glass, slag wool, or rock wool.

1. Fire-Resistance-Rated Assemblies:  Comply with mineral-fiber requirements of assembly.

2.6 GYPSUM BOARD SHAFT-WALL ASSEMBLIES

Copy and re-edit this Article for each gypsum board shaft-wall assembly required, and indicate locations of each on Drawings.  Delete requirements shown on Drawings.

Retain paragraph below, along with paragraph of same title in "Manufacturers" Article, for basis-of-design specification.  Verify that design designations are indicated on Drawings.

Edit first two paragraphs below to suit Project.

A. Fire-Resistance Rating:  As indicated    .

B. STC Rating:  As indicated .

C. Studs:  Manufacturer's standard profile for repetitive members, corner and end members, and fire-resistance-rated assembly indicated.

1. Depth:  As indicated  .

Edit subparagraph below for base-metal thickness.  Note that thicknesses offered by various manufacturers differ.  See the Evaluations for discussion of steel sheet thicknesses.

2. Minimum Base-Metal Thickness:  As indicated   .

D. Runner Tracks:  Manufacturer's standard J-profile track with long-leg length as standard with manufacturer, but at least 2 inches (51 mm) long and in depth matching studs.

1. Minimum Base-Metal Thickness:  Matching steel studs   .

Paragraph below specifies firestop tracks for isolating partition framing from structure above in specific fire-resistance-rated assemblies.  If retaining, revise to coordinate with rated assemblies selected and indicate design designations of assemblies on Drawings.

Retain and edit first paragraph below for framing elevator hoistway entrances.  Note that thicknesses offered by various manufacturers differ.  See the Evaluations for discussion of steel sheet thicknesses.

E. Jamb Struts:  Manufacturer's standard J-profile strut with long-leg length of 3 inches (76 mm), in depth matching studs, and not less than 0.0329 inch (0.84 mm) thick.

F. Room-Side Finish:  Gypsum board.

Generally delete paragraph above and below and show room- and shaft-side finishes on Drawings.

G. Shaft-Side Finish:  As indicated by fire-resistance-rated assembly design designation.

Delete paragraph below if not applicable.

H. Insulation:  Sound attenuation blankets.

PART 3 -  EXECUTION
3.1 PREPARATION
Delete this Article if no sprayed fire-resistive materials.

A. Sprayed Fire-Resistive Materials:  Coordinate with gypsum board shaft-wall assemblies so both elements of Work remain complete and undamaged.  Patch or replace sprayed fire-resistive materials removed or damaged during installation of shaft-wall assemblies to comply with requirements specified in Division 07 Section "Applied Fireproofing."

Detail requirements on Drawings for attaching gypsum board assemblies to construction protected by sprayed fire-resistive materials.

1. Before sprayed fire-resistive materials are applied, attach offset anchor plates or ceiling runner tracks to surfaces indicated to receive sprayed fire-resistive materials.  Where offset anchor plates are required, provide continuous plates fastened to building structure not more than 24 inches (610 mm) o.c.

B. After sprayed fire-resistive materials are applied, remove only to extent necessary for installation of gypsum board shaft-wall assemblies and without reducing the fire-resistive material thickness below that which is required to obtain fire-resistance rating indicated.  Protect remaining fire-resistive materials from damage.

3.2 INSTALLATION
A. General:  Install gypsum board shaft-wall assemblies to comply with requirements of fire-resistance-rated assemblies indicated, manufacturer's written installation instructions, and the following:

1. ASTM C 754 for installing steel framing except comply with framing spacing indicated.

2. Division 09 Section " Gypsum Board" for applying and finishing panels.

Retain first paragraph below for architectural or building expansion joints with gypsum board shaft-wall assemblies.  Include details on Drawings showing expansion-joint construction and locations.

B. Do not bridge architectural or building expansion joints with shaft-wall assemblies; frame both sides of expansion joints with furring and other support.

C. Install supplementary framing in gypsum board shaft-wall assemblies around openings and as required for blocking, bracing, and support of gravity and pullout loads of fixtures, equipment, services, heavy trim, furnishings, and similar items that cannot be supported directly by shaft-wall assembly framing.

Fully detail elevator hoistway openings in shaft-wall assemblies.  Manufacturers' written recommendations for framing elevator hoistway entrance door openings differ.  If retaining subparagraph below, revise to suit Project and assemblies selected.  Insert requirements for other openings to suit Project.

1. At elevator hoistway entrance door frames, provide jamb struts on each side of door frame.

Fully detail support for items attached to shaft-wall assemblies; subparagraph below is an example only.  If retaining, indicate size of reinforcing plate on Drawings.  Insert requirements for other items to suit Project.

2. Where handrails directly attach to gypsum board shaft-wall assemblies, provide galvanized steel reinforcing strip with 0.0312-inch (0.79-mm) minimum thickness of base (uncoated) metal, accurately positioned and secured behind at least 1  gypsum board face-layer panel.

Delete paragraph below if no stair enclosures or if not applicable.

D. Integrate stair hanger rods with gypsum board shaft-wall assemblies by locating cavity of assemblies where required to enclose rods.

Fully detail items penetrating shaft-wall assemblies on Drawings.

E. At penetrations in shaft wall, maintain fire-resistance rating of shaft-wall assembly by installing supplementary steel framing around perimeter of penetration and fire protection behind boxes containing wiring devices, elevator call buttons, elevator floor indicators, and similar items.

See "Crack Control" Article in the Evaluations for discussion of assemblies subjected to differential structural movements.

F. Isolate perimeter of gypsum panels from building structure to prevent cracking of panels, while maintaining continuity of fire-rated construction.

If retaining paragraph below, indicate locations and details of firestop tracks on Drawings.

Generally retain first option in paragraph below and show joints on Drawings to comply with ASTM C 840 requirements for spacing control joints.

G. Control Joints:  Install control joints at locations indicated on Drawings, while maintaining fire-resistance rating of gypsum board shaft-wall assemblies.

Revise first paragraph below to suit Project and details shown on Drawings.  Delete if sound or air leakage is not a concern.

H. Seal gypsum board shaft walls with acoustical sealant at perimeter of each assembly where it abuts other work and at joints and penetrations within each assembly.  Install acoustical sealant to withstand dislocation by air-pressure differential between shaft and external spaces; maintain an airtight and smoke-tight seal; and comply with ASTM C 919 requirements or with manufacturer's written instructions, whichever are more stringent.

I. In elevator shafts where gypsum board shaft-wall assemblies cannot be positioned within 4 inches (102 mm) of the shaft face of structural beams, floor edges, and similar projections into shaft, install 1/2- or 5/8-inch- (13- or 16-mm-) thick, gypsum board cants covering tops of projections.  No recesses allowed (at steel beams especially).

1. Slope cant panels at least 75 degrees from horizontal.  Set base edge of panels in adhesive and secure top edges to shaft walls at 24 inches (610 mm) o.c. with screws fastened to shaft-wall framing.

2. Where steel framing is required to support gypsum board cants, install framing at 24 inches (610 mm) o.c. and extend studs from the projection to shaft-wall framing.

Paragraph below is based on recommendation in ASTM C 840 for metal framing.

J. Installation Tolerance:  Install each framing member so fastening surfaces vary not more than 1/8 inch (3 mm) from the plane formed by faces of adjacent framing.

3.3 PROTECTION
A. Protect installed products from damage from weather, condensation, direct sunlight, construction, and other causes during remainder of the construction period.

B. Remove and replace panels that are wet, moisture damaged, or mold damaged.

1. Indications that panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, and irregular shape.

2. Indications that panels are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

END OF SECTION 09265

GYPSUM BOARD SHAFT-WALL ASSEMBLIES

09265 - 5

