Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 09720 - WALL COVERINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

1. Dry erase wallcovering.
2. Tray and trim.

3. Accessories.

1.2 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  Show location and extent of each wall-covering type.  Indicate seams and termination points.

First paragraph below assumes manufacturer's standard-size Samples are acceptable.  Revise to suit Project.

C. Samples:  For each type of wall covering, tray and trim required.

D. Maintenance data.

1.3 QUALITY ASSURANCE

A. Fire-Test-Response Characteristics:  Provide wall coverings and adhesives with the following fire-test-response characteristics as determined by testing identical products applied with identical adhesives to substrates per test method indicated below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.

1. Surface-Burning Characteristics:  As follows, per ASTM E 84:

a. Flame-Spread Index:  25 or less.

b. Smoke-Developed Index:  450 or less.

Delete paragraph and subparagraph below if not required.

B. Mockups:  Build mockups to demonstrate appearance and aesthetic effects and set quality standards for installation.

Retain below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

1. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.4 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below, before installation begins, that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Rolls of Wall-Covering Material:  Full-size units equal to 5 percent of amount of each type installed.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with Part 2 "Wall-Covering Products" Article in which manufacturers and products are named.  See Division 01 Section "Product Requirements" for an explanation of the terms "Available Products" and "Products" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products listed in Part 2 "Wall-Covering Products" Article.

2.2 WALL-COVERING PRODUCTS

A. General:  Provide rolls of each type of wall covering from the same run number or dye lot.

For each wall-covering product retained in this Article that includes a list of either "Products" or "Available Products," coordinate subparagraph and list with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Insert number to complete drawing designation for each product retained below.  Use these designations on Drawings or in a schedule to show where each product is required.

B. Dry Erase Wallcovering:  
1. Available Products:

a. Walltalkers Wallcoverings, erase-rite® manufactured by RJF International Corporation.
Coordinate first subparagraph below with CFFA-W-101 type.

2. Weight:  18 ounces (558 g) ply.
3. Width:  50 inches (1270 mm).

Retain subparagraph below if vinyl wall covering selected has fabric backing; delete if paper backing.

4. Backing Fiber Content:  Polyester cellulose.

Coordinate backing material below with CFFA-W-101 type.

5. Backing Material:  Nonwoven.

Subparagraph below is optional.  Check availability of stain-resistant coating with manufacturer.

6. Coating:  Pigmented vinyl capped with dry erase non-glare film.  

7. Surface:  Smooth low gloss vinyl surface for projection and dry erase markers.

Delete subparagraph below if manufacturer's product name or designation indicates color, texture, and pattern.

8. Colors:  As selected from manufacturer's full range.
2.3 TRIM, TRAY, AND PRESENTATION RAILS
A. Aluminum Tray:  Clear satin, anodized aluminum, snap-on marker and eraser tray with clips.
B. Aluminum Trim:  Clear satin, anodized aluminum, snap-on trim with clips.
C. End Caps:  1/2 inch anodized tray end cap for marker and eraser tray.
D. Wood Tray and Trim: Provide wood tray in random lengths of 8 feet to 12 feet. 
1. Species:  Oak

2. Finish:  Unfinished, Refer to other Division 9 Section, Painting, for surfaces to receive transparent finish.

3. Location:  In offices and other rooms receiving wood standing and running trim.
2.4 ACCESSORIES
A. Adhesives: Heavy-duty clear or clay based premixed vinyl adhesive.
B. Substrate Primer/Sealer: White pigmented acrylic base primer/sealer specifically formulated for use with vinyl wallcoverings.

PART 3 -  EXECUTION

3.1 PREPARATION

A. Prepare substrates to achieve a smooth, dry, clean, structurally sound surface free of flaking, unsound coatings, cracks, and defects.

1. Moisture Content:  Maximum of 4 percent on new plaster, concrete, and concrete masonry units when tested with an electronic moisture meter.

Delete first subparagraph below if priming of gypsum-board surfaces is performed under another Section.

2. Gypsum Board:  Prime with primer recommended by wall-covering manufacturer.

B. Remove hardware and hardware accessories, electrical plates and covers, light fixture trims, and similar items.

C. Acclimatize wall-covering materials by removing them from packaging in the installation areas not less than 24 hours before installation.

3.2 INSTALLATION

A. Install each strip horizontally and in same sequence as cut from the roll.

B. Install wall covering with no gaps or overlaps, no lifted or curling edges, and no visible shrinkage.

C. Fully bond wall covering to substrate.  Remove air bubbles, wrinkles, blisters, and other defects.

1. Trim edges and seams for color uniformity, pattern match, and tight closure.  Butt seams without any overlay or spacing between strips.

END OF SECTION 09720


WALL COVERINGS

09720 - 3

