Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications

SECTION 09910 – PAINTING 
PART 1 -  GENERAL

1.1 SUMMARY
A. This Section includes surface preparation and the application of paint systems on the following interior substrates:

Adjust list below to suit Project.

1. Concrete.

2. Concrete masonry units (CMU).

3. Steel.

4. Galvanized metal.

5. Wood.

6. Gypsum board.

B. This Section includes surface preparation and the application of paint systems on the following exterior substrates:

Adjust list below to suit Project.

1. Steel.

2. Galvanized metal.

3. Plastic trim fabrications.

1.2 SUBMITTALS
A. Product Data:  For each type of product indicated.

B. Samples:  For each finish and for each color and texture required.

C. Product List:  Printout of current "MPI Approved Products List" for each product category specified in Part 2, with the proposed product highlighted.

Retain paragraph below if low-emitting materials are required for LEED Credit EQ 4.2; coordinate with requirements selected in Part 2 for paints and coatings.

D. SPiRiT Submittals:  For Credit IEQ 5.C4, manufacturers' product data for paints, including printed statement of VOC content and chemical components.

1.3 QUALITY ASSURANCE
A. MPI Standards:

1. Products:  Complying with MPI standards indicated and listed in "MPI Approved Products List."

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise subparagraph below and paint systems specified in Part 3.

2. Preparation and Workmanship:  Comply with requirements in "MPI Architectural Painting Specification Manual" for products and paint systems indicated.

Delete paragraph and subparagraphs below if not required.

B. Mockups:  Apply benchmark samples of each paint system indicated and each color and finish selected to verify preliminary selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Architect will select one surface to represent surfaces and conditions for application of each paint system specified in Part 3.

a. Wall and Ceiling Surfaces:  Provide samples of at least 100 sq. ft. (9 sq. m).

b. Other Items:  Architect will designate items or areas required.

2. Apply benchmark samples after permanent lighting and other environmental services have been activated.

3. Final approval of color selections will be based on benchmark samples.

a. If preliminary color selections are not approved, apply additional benchmark samples of additional colors selected by Architect at no added cost to Owner.

1.4 EXTRA MATERIALS
Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that are from same production run (batch mix) as materials applied and that are packaged for storage and identified with labels describing contents.

Retain subparagraph below for projects that require only limited quantities of extra materials.  If necessary, replace percentage with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

1. Quantity:  Furnish an additional 5 percent, but not less than 1 gal. (3.8 L) of each material and color applied.

PART 2 -  PRODUCTS
2.1 PAINT, GENERAL
A. Material Compatibility:

Systems could fail if paints used for individual coats are incompatible.  MPI's paint systems match primers and topcoats and take compatibility into consideration.

1. Provide materials for use within each paint system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

2. For each coat in a paint system, provide products recommended in writing by manufacturers of topcoat for use in paint system and on substrate indicated.

Retain first paragraph and subparagraphs below if low-emitting materials are required for LEED Credit EQ 4.2; coordinate with products selected.  If retaining, consider deleting "VOC Content" subparagraph from each paint type paragraph retained in subsequent articles to avoid the appearance of conflicting requirements.  Chemical component limitations and restrictions are based on Green Seal's GS-11.  For names of products that comply, see products listed as complying with LEED requirements for VOCs on "MPI Approved Products List" (available at www.paintinfo.com).

B. Chemical Components of Field-Applied Interior Paints and Coatings:  Provide products that comply with the following limits for VOC content, exclusive of colorants added to a tint base, when calculated according to 40 CFR 59, Subpart D (EPA Method 24) and the following chemical restrictions; these requirements do not apply to primers or finishes that are applied in a fabrication or finishing shop:

1. Flat Paints and Coatings:  VOC content of not more than 50 g/L.

2. Nonflat Paints and Coatings:  VOC content of not more than 150 g/L.

3. Aromatic Compounds:  Paints and coatings shall not contain more than 1.0 percent by weight of total aromatic compounds (hydrocarbon compounds containing one or more benzene rings).

4. Restricted Components:  Paints and coatings shall not contain any of the following:

a. Acrolein.

b. Acrylonitrile.

c. Antimony.

d. Benzene.

e. Butyl benzyl phthalate.

f. Cadmium.

g. Di (2-ethylhexyl) phthalate.

h. Di-n-butyl phthalate.

i. Di-n-octyl phthalate.

j. 1,2-dichlorobenzene.

k. Diethyl phthalate.

l. Dimethyl phthalate.

m. Ethylbenzene.

n. Formaldehyde.

o. Hexavalent chromium.

p. Isophorone.

q. Lead.

r. Mercury.

s. Methyl ethyl ketone.

t. Methyl isobutyl ketone.

u. Methylene chloride.

v. Naphthalene.

w. Toluene (methylbenzene).

x. 1,1,1-trichloroethane.

y. Vinyl chloride.

C. Colors:  As selected by Architect from manufacturer's full range  .

Paints in subsequent articles are specified by reference to MPI paint categories.  Retaining requirements for VOC content or Environmental Performance Rating (EPR) further limits product selection.

2.2 BLOCK FILLERS
A. Interior/Exterior Latex Block Filler:  MPI #4.

1. Sherwin Williams – PrepRite Int./Ext. Block Filler, B25W25

2. VOC Content:  E Range of E3.

2.3 PRIMERS/SEALERS

A. Interior Latex Primer/Sealer:  MPI #50.

1. Sherwin Williams – PrepRite 400 Interior Latex Primer, B28W400

2. VOC Content:  E Range of  E2.

3. Environmental Performance Rating:  EPR 2.

B. Bonding Primer (Water Based):  MPI #17.

1. Sherwin Williams – PrepRite Bonding Primer, B51W50

2. VOC Content:  E Range of E3.

2.4 METAL PRIMERS
A. Quick-Drying Alkyd Metal Primer:  MPI #76.

1. Sherwin Williams – Industrial & Marine Kem Kromik Alkyd Primer, B50W21

2. VOC Content:  E Range of E2.

B. Cementitious Galvanized-Metal Primer:  MPI #26.

1. Sherwin Williams – Opti-Bond Multi Surface Coating, B50W100

2. VOC Content:  E Range of E1.

2.5 WOOD PRIMERS
A. Interior Latex-Based Wood Primer:  MPI #39.

1. Sherwin Williams – PrepRite ProBlock Int./Ext. Latex Primer/Sealer, B51W20

2. VOC Content:  E Range of E3.

3. Environmental Performance Rating:  EPR 3.

2.6 LATEX PAINTS
A. Interior Latex (Low Sheen):  MPI #44 (Gloss Level 2).

1. Sherwin Williams – ProMar 200 Interior Latex Eg-Shel, B20W2251

2. VOC Content:  E Range of E3.

3. Environmental Performance Rating:  EPR 3.

B. Interior Latex (Semigloss):  MPI #54 (Gloss Level 5).

1. Sherwin Williams – ProMar 200 Interior Latex Gloss, B21W251

2. VOC Content:  E Range of E2.

3. Environmental Performance Rating:  EPR 3 .

C. Exterior Latex (Semigloss):  MPI #11 (Gloss Level 5).

1. Sherwin Williams – A-100 Exterior Gloss Latex, A8W16

2. VOC Content:  E Range of E3.

2.7 ALKYD PAINTS
A. Interior Alkyd (Semigloss):  MPI #47 (Gloss Level 5).

1. Shewin Williams – ProMar 200 Alkyd Semi-Gloss, B34W251

2. VOC Content:  E Range of E1.

3. Environmental Performance Rating:  EPR 1.

B. Exterior Alkyd Enamel (Semigloss):  MPI #94 (Gloss Level 5).

1. Sherwin Williams – Classic 00 Int./Ext. Semi-Gloss Oil, A40W51

2. VOC Content:  E Range of E1.

2.8 QUICK-DRYING ENAMELS
A. Quick-Drying Enamel (Semigloss):  MPI #81 (Gloss Level 5).

1. Sherwin Williams – Industrial & Marine Industrial Enamel, B54 Series


2. VOC Content:  E Range of E2.

PART 3 -  EXECUTION
3.1 EXAMINATION
A. Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of work.

B. Maximum Moisture Content of Substrates:  When measured with an electronic moisture meter as follows:

Percentages in five subparagraphs below are based on "MPI Architectural Painting Specification Manual."

1. Concrete:  12 percent.

2. Masonry (CMU):  12 percent.

3. Wood:  15 percent.

4. Gypsum Board:  12 percent.

C. Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

D. Begin coating application only after unsatisfactory conditions have been corrected and surfaces are dry.

1. Beginning coating application constitutes Contractor's acceptance of substrates and conditions.

3.2 PREPARATION AND APPLICATION

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise first paragraph below and paint systems specified in the Interior Painting Schedule.

A. Comply with manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual" applicable to substrates indicated.

B. Clean substrates of substances that could impair bond of paints, including dirt, oil, grease, and incompatible paints and encapsulants.

Coordination of shop-applied prime coats with topcoats is critical.

1. Remove incompatible primers and reprime substrate with compatible primers as required to produce paint systems indicated.

C. Apply paints to produce surface films without cloudiness, spotting, holidays, laps, brush marks, roller tracking, runs, sags, ropiness, or other surface imperfections.  Cut in sharp lines and color breaks.

First paragraph and subparagraphs below are examples of painting requirements for mechanical and electrical work.  Revise to suit Project.

D. Painting Mechanical and Electrical Work:  Paint items exposed in equipment rooms and occupied spaces including, but not limited to, the following:

1. Mechanical Work:

List below contains mechanical items that are usually field painted.  Add other items to suit Project.

a. Uninsulated metal piping.

b. Uninsulated plastic piping.

c. Pipe hangers and supports.

d. Tanks that do not have factory-applied final finishes.

e. Visible portions of internal surfaces of metal ducts, without liner, behind air inlets and outlets.

f. Duct, equipment, and pipe insulation having cotton or canvas insulation covering or other paintable jacket material.

g. Mechanical equipment that is indicated to have a factory-primed finish for field painting.

2. Electrical Work:

List below contains electrical items that are usually field painted.  Add other items to suit Project.

a. Switchgear.

b. Panelboards.

c. Electrical equipment that is indicated to have a factory-primed finish for field painting.

E. Protect work of other trades against damage from paint application.  Correct damage to work of other trades by cleaning, repairing, replacing, and refinishing, as approved by Architect, and leave in an undamaged condition.

F. At completion of construction activities of other trades, touch up and restore damaged or defaced painted surfaces.

To efficiently edit the Section Text, first edit the Interior Painting Schedule below; then retain, delete, and insert appropriate products in Part 2 to correspond with paint systems specified in the schedule.

3.3 INTERIOR PAINTING SCHEDULE

Paint systems in this Article are based on "MPI Architectural Painting Specification Manual" (hereafter, "MPI Manual").  For renovation projects, consult "MPI Maintenance Repainting Manual" and revise paint systems accordingly.

Coordinate substrates and paint systems retained in this Article with products retained in Part 2.

A. Concrete Substrates, Nontraffic Surfaces:

1. Latex System:  MPI INT 3.1E.

a. Prime Coat:  Interior latex matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex (semigloss).

B. CMU Substrates:

1. Latex System:  MPI INT 4.2A.

a. Prime Coat:  Interior/exterior latex block filler.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex (semigloss).

For areas subject to wetting, consider inserting epoxy system, MPI INT 4.2G; see Division 09 Section "High-Performance Coatings" for system description and products.

C. Steel Substrates:

1. Quick-Drying Enamel System:  MPI INT 5.1A.

a. Prime Coat:  Quick-drying alkyd metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  Quick-drying enamel matching topcoat.

c. Topcoat:  Quick-drying enamel (semigloss).

Galvanized-metal substrates should not be chromate passivated (commercially known as "bonderized") if primers are field applied.  If galvanized metal is chromate passivated, consult manufacturers for appropriate primers.

D. Galvanized-Metal Substrates:

1. Alkyd System:  MPI INT 5.3C.

a. Prime Coat:  Cementitious galvanized-metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  Interior alkyd matching topcoat.

c. Topcoat:  Interior alkyd   (semigloss).

E. Dressed Lumber Substrates:  Including architectural woodwork, doors.

1. Latex System:  MPI INT 6.3T.

a. Prime Coat:  Interior latex-based wood primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; it does not include a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex (semigloss).

F. Gypsum Board Substrates:

1. Latex System:  MPI INT 9.2A.

For a Premium Grade system, select primer/sealer option in subparagraph below.

a. Prime Coat:  Interior latex primer/sealer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Interior latex matching topcoat.

c. Topcoat:  Interior latex   (eggshell) .

3.4 EXTERIOR PAINTING SCHEDULE

Paint systems in this Article are based on "MPI Architectural Painting Specification Manual" (hereafter, "MPI Manual").  For renovation projects, consult "MPI Maintenance Repainting Manual" and revise paint systems accordingly.

Coordinate substrates and paint systems retained in this Article with products retained in Part 2.

A. Steel Substrates:

1. Quick-Drying Enamel System:  MPI EXT 5.1A.

a. Prime Coat:  Quick-drying alkyd metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Quick-drying enamel matching topcoat.

c. Topcoat:  Quick-drying enamel (semigloss).

Galvanized-metal substrates should not be chromate passivated (commercially known as "bonderized") if primer is field applied.  If galvanized metal is chromate passivated, consult manufacturers for appropriate surface preparation and primers.

B. Galvanized-Metal Substrates:

1. Alkyd System:  MPI EXT 5.3B.

a. Prime Coat:  Cementitious galvanized-metal primer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Exterior alkyd enamel matching topcoat.

c. Topcoat:  Exterior alkyd enamel  (semigloss).

C. Plastic Trim Fabrication Substrates:

1. Latex System:  MPI EXT 6.8A.

a. Prime Coat:  Bonding primer (water based).

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat:  Exterior latex matching topcoat.

c. Topcoat:  Exterior latex  (semigloss).

D. Stucco Substrates:  Elastomeric textured coating specified in Section 09963 Elastomeric Coatings.

END OF SECTION 09910

PAINTING

09910 - 7

