Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 10115 - TOILET AND SHOWER COMPARTMENTS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes plastic-laminate units as follows:

Adjust list below to suit Project.  Consult manufacturers to verify that mounting styles selected in subparagraphs below are available for type of unit selected in paragraph above.

1. Toilet Enclosures:  Overhead braced.

2. Urinal Screens:  Overhead braced.

B. This Section also includes solid-polymer shower cubicles.
1.2 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Paragraph below assumes manufacturer's standard-size Samples are acceptable.  Revise to suit Project.

C. Samples:  For each exposed finish.

PART 2 -  PRODUCTS

2.1 PLASTIC-LAMINATE UNITS

A. Plastic Laminate:  NEMA LD 3, HGS, 0.048-inch (1.2-mm) nominal thickness.

1. Color and Pattern:  One color and pattern in each room as selected from manufacturer's full range of colors and patterns.

B. Door, Panel, and Pilaster Construction:  Plastic-laminate facing sheets are pressure laminated to core material without splices or joints in facings or cores.  Laminate is applied to edges before broad surfaces to seal edges and prevent laminate from being pried loose.  Exposed core material is sealed at cutouts to protect core from moisture.

Revise three subparagraphs and associated subparagraphs below to suit Project.  See Evaluations.

1. Core Material:  ANSI A208.1, Grade M-2 particleboard with 45-lb (20.4-kg) density.

2. Doors and Panels:  Finished to not less than 1 inch (25 mm) thick.

Retain option in subparagraph below if more than one type of pilaster construction is acceptable; coordinate with manufacturers selected.

3. Pilasters:  Provide construction to comply with the following:

1-1/4-inch- (32-mm-) thick pilasters with particleboard cores are the predominant standard offering from manufacturers.  Steel reinforcement is usually an upgrade; before retaining option in subparagraph below, verify availability with manufacturers selected.

a. Finished to not less than 1-1/4 inches (32 mm) thick and with internal, 0.1196-inch- (3.0-mm-) thick steel-sheet reinforcement.

C. Pilaster Shoes and Sleeves (Caps):  Stainless steel, ASTM A 666, Type 302 or 304.

D. Brackets (Fittings):

Retain one or both subparagraphs below; if retaining both, indicate locations of each type of fitting on Drawings or by inserts.  If necessary, revise to indicate fitting requirements for specific applications, e.g., heavy-duty urinal-screen brackets.

1. Stirrup Type:  Ear or U-brackets, stainless steel.

2.2 SOLID-POLYMER SHOWER CUBICLES
Retain options for HDPE and PP in first paragraph below to maximize competition among listed manufacturers.  Currently, PP is available only from Capitol and Comtec.  Costs for HDPE and PP units are essentially the same; however, PP has greater scratch and dent resistance than HDPE and is virtually graffiti proof.

A. Panel, and Pilaster Construction:  Solid, high-density polyethylene (HDPE) panel material, not less than 1 inch (25 mm) thick, seamless, with eased edges, and with homogenous color and pattern throughout thickness of material.

1. Color and Pattern:  One color and pattern  in each room as selected from manufacturer's full range of colors and patterns.

2. Dividing Panels:  78-inches (1981 mm) high.

3. Pilasters:  82-inches (2083 mm) high; mounted within a one-piece plastic shoe with star-head security pin, stainless steel barrel bolts.

B. Pilaster Shoes:  Manufacturer's standard design; polymer.

Retain subparagraph below if polymer material is selected in paragraph above.

1. Polymer Color and Pattern:  Matching pilaster.

C. Brackets (Fittings):

Retain one or both of first two subparagraphs below; if retaining both, indicate locations of each type on Drawings or by inserts.  If necessary, revise to indicate fitting requirements for specific applications, e.g., heavy-duty urinal-screen brackets.

Polymer brackets are not recommended for use with ceiling-hung or floor-anchored units.

1. Full-Height (Continuous) Type:  Manufacturer's standard design; stainless steel.

D. Headrail:  Heavy aluminum extrusion (6463-T5 alloy) with bright-dipped anodized finish in anti-grip configuration.
1. Headrail shall be fastened to tops of pilasters and headrail brackets by thru-bolting with star-head security pin, stainless steel barrel bolts (no cadium plated bolts allowed).

2. Brackets:  18 gauge stainless steel.
2.3 ACCESSORIES

A. Hardware and Accessories:  Manufacturer's standard design, heavy-duty operating hardware and accessories.

Retain subparagraph below or revise to suit Project.  See Evaluations.

1. Material:  Stainless steel.

Retain paragraph below for overhead-braced units.  Revise if specific finish is required.  Generally, clear anodized finish is provided.

B. Overhead Bracing:  Manufacturer's standard continuous, extruded-aluminum head rail with antigrip profile and in manufacturer's standard finish.

Revise below to suit Project.

C. Anchorages and Fasteners:  Manufacturer's standard exposed fasteners of stainless steel, finished to match hardware, with theft-resistant-type heads.  Provide sex-type bolts for through-bolt applications.  For concealed anchors, use hot-dip galvanized or other rust-resistant, protective-coated steel.

2.4 FABRICATION

Retain applicable mounting styles in four paragraphs below.

A. Overhead-Braced Units:  Provide manufacturer's standard corrosion-resistant supports, leveling mechanism, fasteners, and anchors at pilasters to suit floor conditions.  Make provisions for setting and securing continuous head rail at top of each pilaster.  Provide shoes at pilasters to conceal supports and leveling mechanism.

Verify requirements of authorities having jurisdiction and revise paragraph and subparagraphs below to suit Project.

B. Doors:  Unless otherwise indicated, provide 24-inch- (610-mm-) wide in-swinging doors for standard toilet compartments and 36-inch- (914-mm-) wide out-swinging doors with a minimum 32-inch- (813-mm-) wide clear opening for compartments indicated to be accessible to people with disabilities.

If desired, insert specific hinge type required in subparagraph below; see Evaluations.  For solid-polymer units, manufacturers' hinges are either preset or adjustable.  If preset hinges are acceptable, insert requirements for hold-open angle.

1. Hinges:  Manufacturer's standard self-closing type that can be adjusted to hold doors open at any angle up to 90 degrees.

Recessed latch-operating devices that are accessible to people with disabilities are available.  Verify requirements of authorities having jurisdiction.

2. Latch and Keeper:  Manufacturer's standard surface-mounted latch unit designed for emergency access and with combination rubber-faced door strike and keeper.  Provide units that comply with accessibility requirements of authorities having jurisdiction at compartments indicated to be accessible to people with disabilities.

3. Coat Hook:  Manufacturer's standard combination hook and rubber-tipped bumper, sized to prevent door from hitting compartment-mounted accessories.

4. Door Bumper:  Manufacturer's standard rubber-tipped bumper at out-swinging doors.

5. Door Pull:  Manufacturer's standard unit at out-swinging doors that complies with accessibility requirements of authorities having jurisdiction.  Provide units on both sides of doors at compartments indicated to be accessible to people with disabilities.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:  Comply with manufacturer's written installation instructions.  Install units rigid, straight, level, and plumb.  Secure units in position with manufacturer's recommended anchoring devices.

1. Maximum Clearances:

a. Pilasters and Panels:  1/2 inch (13 mm).

b. Panels and Walls:  1 inch (25 mm).

Delete subparagraph and associated subparagraphs below if no stirrup brackets.  For solid-polymer units, three brackets are recommended for wall-to-panel and panel-to-pilaster connections to prevent sagging of panel.

2. Stirrup Brackets:  Secure panels to walls and to pilasters with not less than  three brackets attached at midpoint and near top and bottom of panel.

a. Locate wall brackets so holes for wall anchors occur in masonry or tile joints.

b. Align brackets at pilasters with brackets at walls.

3.2 ADJUSTING

Revise hinge adjustment requirements below to suit Project.  Verify accessibility requirements of authorities having jurisdiction.

A. Hardware Adjustment:  Adjust and lubricate hardware according to manufacturer's written instructions for proper operation.  Set hinges on in-swinging doors to hold doors open approximately 30 degrees from closed position when unlatched.  Set hinges on out-swinging doors to return doors to fully closed position.

END OF SECTION 10115

TOILET AND SHOWER COMPARTMENTS

10115 - 1

