Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 10505 - METAL LOCKERS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1.  All-welded, athletic metal lockers.

2. Locker benches.

B. See Division 06 Section " Miscellaneous Carpentry" for furring, blocking, and shims required for installing metal lockers and concealed within other construction before metal locker installation.

1.2 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

1. Show concrete base,sloping tops, filler panels, recess trim and other accessories.

2. Include locker identification system.

First paragraph below assumes manufacturer's standard-size Samples are acceptable.  Revise to suit Project.

C. Samples:  For each exposed finish.

D. Maintenance data.

1.3 QUALITY ASSURANCE

A. Accessibility Requirements:

1. Provide not less than 1 shelf located no higher than  54 inches (1372 mm) above the floor for side reach.

2. Provide 1 shelf located at bottom of locker no lower than 15 inches (381 mm) above the floor for forward  reach.

3. Provide hardware that does not require tight grasping, pinching, or twisting of the wrist, and that operates with a force of not more than 5 lbf (22.2 N).

B. Preinstallation Conference:  Conduct conference at Project site.

1.4 COORDINATION

A. Coordinate size and location of concrete bases for metal lockers.

1.5 WARRANTY

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of metal lockers that fail in materials or workmanship, excluding finish, within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures.

b. Faulty operation of latches and other door hardware.

2. Damage from deliberate destruction and vandalism is excluded.

3. Warranty Period for All-Welded Metal Lockers:  Lifetime from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS

A. Cold-Rolled Steel Sheet:  ASTM A 1008, Commercial Steel (CS) Type B, suitable for exposed applications.

B. Expanded Metal:  ASTM F 1267, Type II (flattened), Class I, 3/4-inch (19-mm) steel mesh, with at least 70 percent open area.

C. Fasteners:  Zinc- or nickel-plated steel, slotless-type exposed bolt heads, and self-locking nuts or lock washers for nuts on moving parts.

D. Anchors:  Select material, type, size, and finish required for secure anchorage to each substrate.

1. Provide nonferrous-metal or hot-dip galvanized anchors and inserts on inside face of exterior walls and elsewhere as required for corrosion resistance.

2. Provide toothed-steel or lead expansion sleeves for drilled-in-place anchors.

Copy first three articles below and re-edit them to suit Project.

Insert number to complete drawing designation.  Use these designations on Drawings to show where each type of metal locker is required.

2.2  ALL-WELDED, ATHLETIC METAL LOCKERS

Retain one of first two paragraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Locker Arrangement:  Single tier.

B. Sizes:  36-inches (914 mm) wide x 24-inches (610 mm) deep, 72-inches (1829 mm) tall.

C. Body:  Assembled by welding body components together.  Fabricate from unperforated, cold-rolled steel sheet with backs 0.0428 inch (1.1 mm) thick, and tops, bottoms, and shelves 0.0528 inch (1.35 mm) thick:

D. Expanded-Metal Sides:  Fabricated from 0.0897-inch- (2.3-mm-) thick expanded metal; welded to 0.0966-inch- (2.5-mm-) thick steel angles or 0.0528-inch- (1.35-mm-) thick, steel channel frames.

E. Frames:  Channel formed; fabricated from 0.0528-inch- (1.35-mm-) thick, cold-rolled steel sheet or 0.0966-inch- (2.5-mm-) thick steel angles; lapped and factory welded at corners; with top and bottom main frames factory welded into vertical main frames.  Form continuous, integral door strike full height on vertical main frames.

First paragraph below applies to DeBourgh's "Varsity Lockers" and "Junior Varsity Lockers," and Lyon's single-, double-, and triple-tier "All-Welded Expanded Metal Lockers."

F. Expanded-Metal Doors:  Fabricated from 0.0897-inch- (2.3-mm-) thick expanded metal; welded to 0.0966-inch- (2.5-mm-) thick steel angle frame; with 0.0897-inch- (2.3-mm-) thick, cold-rolled steel sheet lock panel backed by 0.0528-inch- (1.35-mm-) thick, cold-rolled steel sheet retainer welded to door frame.

G. Hinges:  Self-closing; welded to door and attached to door frame with not less than 2 factory-installed rivets per hinge that are completely concealed and tamper resistant when door is closed; fabricated to swing 180 degrees.

1. Continuous Hinges:  Manufacturer's standard, steel continuous hinge; side or top mounted as required by locker configuration.

Retain one of three paragraphs and associated subparagraphs below.  First two paragraphs and associated subparagraphs are for single-, double-, and triple-tier lockers.  Third paragraph is for box lockers.

H. Recessed Door Handle and Latch:  Stainless-steel cup with integral door pull, recessed so locking device does not protrude beyond face of door; pry resistant.

1. Multipoint Latching:  Finger-lift latch control designed for use with built-in combination locks, built-in cylinder locks, or padlocks; positive automatic and prelocking.

a. Latch Hooks:  Equip doors 48 inches (1219 mm) and higher with 3 latch hooks ; fabricated from minimum 0.1116-inch- (2.8-mm-) thick steel; welded to full-height door strikes; with resilient silencer on each latch hook.

b. Latching Mechanism:  Manufacturer's standard rattle-free latching mechanism and moving components isolated to prevent metal-to-metal contact, and incorporating a prelocking device that allows locker door to be locked while door is open and then closed without unlocking or damaging lock or latching mechanism.

Select one of first three paragraphs and associated subparagraphs below.

I. Combination Padlocks:  Provided by Owner.

J. Equipment:  Equip each metal locker with identification plate and the following, unless otherwise indicated:

Revise first three subparagraphs below to suit manufacturers selected.

1. Single-Tier Units:  Shelf, one double-prong ceiling hook, and two single-prong wall hooks.

2. Coat Rods:  For each compartment of single-tier metal lockers.

K. Accessories:

Delete first subparagraph and associated subparagraph below if concrete base or continuous metal base is required.  Verify availability with manufacturers selected.

1. Continuous Sloping Tops:  Fabricated from minimum 0.0428-inch- (1.1-mm-) thick, cold-rolled steel sheet; approximately 20-degree pitch.

2. Recess Trim:  Fabricated from 0.0428-inch- (1.1-mm-) thick, cold-rolled steel sheet.

3. Filler Panels:  Fabricated from 0.0428-inch- (1.1-mm-) thick, cold-rolled steel sheet.

Boxed end panels below conceal all fasteners and holes and are in addition to standard ends that permit fasteners and unused holes to be exposed.  See Evaluations.

4. Boxed End Panels:  Fabricated from 0.0528-inch- (1.35-mm-) thick, cold-rolled steel sheet.

L. Finish:  Powder coat.

1. Color(s):  As selected from manufacturer's full range.

2.3 LOCKER BENCHES

A. Bench Tops:  Manufacturer's standard 1-piece units, of the following material, minimum 9-1/2 inches (240 mm) wide by 1-1/4 inches (32 mm) thick, with rounded corners and edges:

1. Laminated maple with one coat of clear sealer on all surfaces, and one coat of clear lacquer on top and sides.

Retain one of two paragraphs and associated subparagraphs below.

B. Freestanding Pedestals:  Manufacturer's standard supports, with predrilled fastener holes for attaching bench top; complete with fasteners, and as follows:

Retain one of two materials below or revise to suit manufacturer's proprietary product.

1. Stainless Steel:  1/8-inch-thick by 3-inch- (3-mm-thick by 76-mm-) wide channel or 1/4-inch-thick by 3-inch- (6-mm-thick by 76-mm-) wide bar stock, shaped into trapezoidal form; with nonskid pads at bottom.

2.4 FABRICATION

A. General:  Fabricate metal lockers square, rigid, and without warp; with metal faces flat and free of dents or distortion.  Make exposed metal edges free of sharp edges and burrs, and safe to touch.

1. Form body panels, doors, shelves, and accessories from one-piece steel sheet, unless otherwise indicated.

2. Provide fasteners, filler plates, supports, clips, and closures as required for a complete installation.

B. Unit Principle:  Fabricate each metal locker with an individual door and frame; individual top, bottom, and back; and common intermediate uprights separating compartments.

C. All-Welded Construction:  Factory preassemble metal lockers by welding all joints, seams, and connections, with no bolts, nuts, screws, or rivets used in assembly of main locker groups.  Factory weld main locker groups into one-piece structures.  Grind exposed welds flush.

D. Hooks:  Manufacturer's standard ball-pointed type, aluminum or steel; zinc plated.

E. Coat Rods:  Fabricated from 1-inch- (25-mm-)  diameter steel; nickel plated.

F. Identification Plates:  Manufacturer's standard etched, embossed, or stamped aluminum plates; with numbers and letters at least 3/8 inch (9 mm) high.

G. Continuous Sloping Tops:  Fabricated in lengths as long as practicable, without visible fasteners at splice locations; finished to match lockers. Sloped top corner fillers, mitered.
H. Recess Trim:  Fabricated with minimum 2-1/2-inch (64-mm) face width and in lengths as long as practicable; finished to match lockers.

I. Filler Panels:  Fabricated in an unequal leg angle shape; finished to match lockers.  Provide slip joint filler angle formed to receive filler panel.

J. Finished End Panels:  Designed for concealing unused penetrations and fasteners, except for perimeter fasteners, at exposed ends of nonrecessed metal lockers; finished to match lockers. Provide one-piece panels for double-row (back-to-back) locker ends.
2.5 STEEL SHEET FINISHES

A. Powder-Coat Finish:  Immediately after cleaning and pretreating, electrostatically apply manufacturer's standard baked-polymer thermosetting powder finish.  Comply with resin manufacturer's written instructions for application, baking, and minimum dry film thickness.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:  Install level, plumb, and true; shim as required, using concealed shims.

1. Anchor locker runs at ends and at intervals recommended by manufacturer, but not more than 36 inches (910 mm) o.c.  Install anchors through backup reinforcing plates, channels, or blocking as required to prevent metal distortion, using concealed fasteners.

2. Anchor single rows of metal lockers to walls near top and bottom of lockers.

3. Anchor back-to-back metal lockers to floor.

B. All-Welded Metal Lockers:  Connect groups of all-welded metal lockers together with standard fasteners, with no exposed fasteners on face frames.

C. Equipment and Accessories:  Fit exposed connections of trim, fillers, and closures accurately together to form tight, hairline joints, with concealed fasteners and splice plates.

1. Attach hooks with at least two fasteners.

2. Identification Plates:  Attach plates to each locker door, near top, centered, with at least two aluminum rivets.

Retain applicable subparagraphs below.

3. Attach recess trim to recessed metal lockers with concealed clips.

4. Attach filler panels with concealed fasteners.

5. Attach sloping top units to metal lockers, with closures at exposed ends.

Retain one of two subparagraphs below or delete both if not required.

6. Attach finished end panels with fasteners only at perimeter to conceal exposed ends of nonrecessed metal lockers.

Retain paragraph above or first paragraph below or delete both if no locker benches.

D. Freestanding Locker Benches:  Place benches in locations indicated on Drawings.

E. Clean, lubricate, and adjust hardware.  Adjust doors and latches to operate easily without binding.

END OF SECTION 10505

METAL LOCKERS

10505 - 5

