Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 11160 - LOADING DOCK EQUIPMENT
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.  Other types of equipment that can be added include door guards, safety barriers, and gates.

1. Dock bumpers.

1.2 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Maintenance data.

1.3 QUALITY ASSURANCE

A. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of units required for this Project.

PART 2 -  PRODUCTS

See Editing Instruction No. 2 in the Evaluations before editing Part 2, which requires using the schedule at the end of Part 3.

2.1 DOCK BUMPERS

Delete this Article if all required bumpers are furnished integrally with other specified loading dock equipment.

A. Molded-Rubber Bumpers:  Fabricated from molded-rubber compound reinforced with nylon, rayon, or polyester cord; with Type A Shore durometer hardness of 80, plus or minus 5, when tested according to ASTM D 2240; of size and configuration requiired for application.  Fabricate units with not less than two predrilled anchor holes.

B. Anchorage Devices:  Hot-dip galvanized.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Dock Bumpers:  Attach dock bumpers to face of loading dock in a manner that complies with requirements indicated for spacing, arrangement, and position relative to top of platform and anchorage.

First subparagraph below is not applicable to molded- or extruded-rubber bumpers.

1. Bolted Attachment:  Attach dock bumpers to preset anchor bolts embedded in concrete or to cast-in-place inserts or threaded studs welded to embedded-steel plates or angles.  If preset anchor bolts, cast-in-place inserts, or threaded studs welded to embedded-steel plates or angles are not provided, attach dock bumpers by drilling and anchoring with expansion anchors and bolts.

3.2 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain loading dock equipment.  Refer to Division 01 Section Demonstration and Training."

3.3 LOADING DOCK EQUIPMENT SCHEDULE

END OF SECTION 11160


LOADING DOCK EQUIPMENT

11160 - 1

