Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
11/02 (R 05/05)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 013200 - CONSTRUCTION PROGRESS DOCUMENTATION
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes administrative and procedural requirements for documenting the progress of construction during performance of the Work, including the following:

Adjust list below to suit Project.

1. Preliminary Construction Schedule.

2. Contractor's Construction Schedule.

3. Submittals Schedule.

Adjust list below to suit Project.

4. Daily construction reports.

5. Material location reports.

6. Field condition reports.

7. Special reports.

B. Related Sections include the following:

Subparagraphs below include submittals usually specified in other Sections.  Revise to suit Project.

1. Division 01 Section "Multiple Contract Summary" for preparing a combined Contractor's Construction Schedule.

2. Division 01 Section "Payment Procedures" for submitting the Schedule of Values.

3. Division 01 Section "Project Management and Coordination" for submitting and distributing meeting and conference minutes.

4. Division 01 Section "Photographic Documentation" for submitting construction photographs.

5. Division 01 Section "Submittal Procedures" for submitting schedules and reports.

6. Division 01 Section "Quality Requirements" for submitting a schedule of tests and inspections.

1.3 DEFINITIONS

Definitions in this Article have been adapted from the glossary of terms in AGC's "Construction Planning & Scheduling."  For many projects, most are unnecessary and may be deleted.

A. Activity:  A discrete part of a project that can be identified for planning, scheduling, monitoring, and controlling the construction project.  Activities included in a construction schedule consume time and resources.

1. Critical activities are activities on the critical path.  They must start and finish on the planned early start and finish times.

2. Predecessor Activity:  An activity that precedes another activity in the network.

3. Successor Activity:  An activity that follows another activity in the network.

B. Cost Loading:  The allocation of the Schedule of Values for the completion of an activity as scheduled.  The sum of costs for all activities must equal the total Contract Sum, unless otherwise approved by Architect.

C. CPM:  Critical path method, which is a method of planning and scheduling a construction project where activities are arranged based on activity relationships.  Network calculations determine when activities can be performed and the critical path of Project.

D. Critical Path:  The longest connected chain of interdependent activities through the network schedule that establishes the minimum overall Project duration and contains no float.

E. Event:  The starting or ending point of an activity.

Retain definitions in first paragraph and subparagraphs below for most projects.  Designating ownership of float can save arguments later.  See Evaluations.

F. Float:  The measure of leeway in starting and completing an activity.

1. Float time [belongs to Owner] [is not for the exclusive use or benefit of either Owner or Contractor, but is a jointly owned, expiring Project resource available to both parties as needed to meet schedule milestones and Contract completion date].

2. Free float is the amount of time an activity can be delayed without adversely affecting the early start of the successor activity.

3. Total float is the measure of leeway in starting or completing an activity without adversely affecting the planned Project completion date.

G. Fragnet:  A partial or fragmentary network that breaks down activities into smaller activities for greater detail.

H. Major Area:  A story of construction, a separate building, or a similar significant construction element.

I. Milestone:  A key or critical point in time for reference or measurement.

J. Network Diagram:  A graphic diagram of a network schedule, showing activities and activity relationships.

K. Resource Loading:  The allocation of manpower and equipment necessary for the completion of an activity as scheduled.

1.4 SUBMITTALS

Coordinate first paragraph below with qualification requirements retained in "Quality Assurance" Article.

A. Qualification Data:  For scheduling consultant.

B. Submittals Schedule:  Submit [three] <Insert number> copies of schedule.  Arrange the following information in a tabular format:

Revise list below to suit Project.  Add information, such as scheduled dates for purchasing and installation and the activity or event number, if a CPM construction schedule is used.

1. Scheduled date for first submittal.

2. Specification Section number and title.

3. Submittal category (action or informational).

4. Name of subcontractor.

5. Description of the Work covered.

6. Scheduled date for Architect's[ and Construction Manager's] final release or approval.

C. Preliminary Construction Schedule:  Submit [two] <Insert number> opaque copies.

1. Approval of cost-loaded preliminary construction schedule will not constitute approval of Schedule of Values for cost-loaded activities.

D. Preliminary Network Diagram:  Submit [two] <Insert number> opaque copies, large enough to show entire network for entire construction period.  Show logic ties for activities.

E. Contractor's Construction Schedule:  Submit [two] <Insert number> opaque copies of initial schedule, large enough to show entire schedule for entire construction period.

Retain subparagraph below if required by Owner.

1. Submit an electronic copy of schedule, using software indicated, on CD-R, and labeled to comply with requirements for submittals.  Include type of schedule (Initial or Updated) and date on label.

F. CPM Reports:  Concurrent with CPM schedule, submit [three] <Insert number> copies of each of the following computer-generated reports.  Format for each activity in reports shall contain activity number, activity description, cost and resource loading, original duration, remaining duration, early start date, early finish date, late start date, late finish date, and total float in calendar days.

1. Activity Report:  List of all activities sorted by activity number and then early start date, or actual start date if known.

2. Logic Report:  List of preceding and succeeding activities for all activities, sorted in ascending order by activity number and then early start date, or actual start date if known.

3. Total Float Report:  List of all activities sorted in ascending order of total float.

4. Earnings Report:  Compilation of Contractor's total earnings from [commencement of the Work] [the Notice to Proceed] until most recent Application for Payment.

Number of copies for reports in four paragraphs below assumes that Architect and Owner, or Architect and Construction Manager, each receive a copy.  Revise to suit Project.

G. Daily Construction Reports:  Submit [two] <Insert number> copies at [weekly] [monthly] intervals.

H. Material Location Reports:  Submit [two] <Insert number> copies at [weekly] [monthly] intervals.

I. Field Condition Reports:  Submit [two] <Insert number> copies at time of discovery of differing conditions.

J. Special Reports:  Submit [two] <Insert number> copies at time of unusual event.

1.5 QUALITY ASSURANCE

A. Scheduling Consultant Qualifications:  An experienced specialist in CPM scheduling and reporting, with capability of producing CPM reports and diagrams within 24 hours of Architect's request.

Retain paragraph and subparagraphs below if required to emphasize schedule requirements.

B. Prescheduling Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."  Review methods and procedures related to the Preliminary Construction Schedule and Contractor's Construction Schedule, including, but not limited to, the following:

Revise list below to suit Project.

1. Review software limitations and content and format for reports.

2. Verify availability of qualified personnel needed to develop and update schedule.

3. Discuss constraints, including [phasing] [work stages] [area separations] [interim milestones] [and] [partial Owner occupancy].

4. Review delivery dates for Owner-furnished products.

5. Review schedule for work of Owner's separate contracts.

6. Review time required for review of submittals and resubmittals.

7. Review requirements for tests and inspections by independent testing and inspecting agencies.

8. Review time required for completion and startup procedures.

9. Review and finalize list of construction activities to be included in schedule.

10. Review submittal requirements and procedures.

11. Review procedures for updating schedule.

1.6 COORDINATION

Coordinate requirements in this Article with Part 2 "Submittals Schedule" Article.  If a submittal review sequence policy governs, revise this Article to comply with requirements.  See Evaluations for discussion on submittal review sequence policies.

A. Coordinate preparation and processing of schedules and reports with performance of construction activities and with scheduling and reporting of separate contractors.

B. Coordinate Contractor's Construction Schedule with the Schedule of Values, list of subcontracts, Submittals Schedule, progress reports, payment requests, and other required schedules and reports.

1. Secure time commitments for performing critical elements of the Work from parties involved.

2. Coordinate each construction activity in the network with other activities and schedule them in proper sequence.

PART 2 -  PRODUCTS

2.1 SUBMITTALS SCHEDULE

Revise this Article to suit Project.  If there is an office submittal review sequence policy, insert specific requirements.  See Evaluations for discussion on submittal review sequence policies.

A. Preparation:  Submit a schedule of submittals, arranged in chronological order by dates required by construction schedule.  Include time required for review, resubmittal, ordering, manufacturing, fabrication, and delivery when establishing dates.

1. Coordinate Submittals Schedule with list of subcontracts, the Schedule of Values, and Contractor's Construction Schedule.

If a Preliminary Construction Schedule is not required, delete subparagraph below or revise to require initial submittal within 14 days of date established for commencement of the Work.

2. Initial Submittal:  Submit concurrently with preliminary [bar-chart schedule] [network diagram].  Include submittals required during the first 60 days of construction.  List those required to maintain orderly progress of the Work and those required early because of long lead time for manufacture or fabrication.

Delete subparagraph below if not allowed.

a. At Contractor's option, show submittals on the Preliminary Construction Schedule, instead of tabulating them separately.

Revise subparagraph below if schedule must be continuously updated to reflect current status and changes in timing for submittals.

3. Final Submittal:  Submit concurrently with the first complete submittal of Contractor's Construction Schedule.

2.2 CONTRACTOR'S CONSTRUCTION SCHEDULE, GENERAL

Manual referenced in first paragraph below contains basic recommendations for CPM procedures and methods.

A. Procedures:  Comply with procedures contained in AGC's "Construction Planning & Scheduling."

B. Time Frame:  Extend schedule from date established for [commencement of the Work] [the Notice of Award] [the Notice to Proceed] to date of [Substantial] [Final] Completion.

1. Contract completion date shall not be changed by submission of a schedule that shows an early completion date, unless specifically authorized by Change Order.

C. Activities:  Treat each story or separate area as a separate numbered activity for each principal element of the Work.  Comply with the following:

Revise first subparagraph below to suit Project.  Long activity durations provide less detail and, therefore, less information with which to manage a project.  As an alternative to specifying activity duration, indicate minimum and maximum number of activities, which will result in a similar effect.

1. Activity Duration:  Define activities so no activity is longer than [20] <Insert number> days, unless specifically allowed by Architect.

2. Procurement Activities:  Include procurement process activities for the following long lead items and major items, requiring a cycle of more than 60 days, as separate activities in schedule.  Procurement cycle activities include, but are not limited to, submittals, approvals, purchasing, fabrication, and delivery.

a. <Insert list of major items or pieces of equipment.>

3. Submittal Review Time:  Include review and resubmittal times indicated in Division 01 Section "Submittal Procedures" in schedule.  Coordinate submittal review times in Contractor's Construction Schedule with Submittals Schedule.

4. Startup and Testing Time:  Include not less than <Insert number> days for startup and testing.

5. Substantial Completion:  Indicate completion in advance of date established for Substantial Completion, and allow time for Architect's[ and Construction Manager's] administrative procedures necessary for certification of Substantial Completion.

D. Constraints:  Include constraints and work restrictions indicated in the Contract Documents and as follows in schedule, and show how the sequence of the Work is affected.

Delete subparagraphs below not applicable.

1. Phasing:  Arrange list of activities on schedule by phase.

2. Work under More Than One Contract:  Include a separate activity for each contract.

3. Work by Owner:  Include a separate activity for each portion of the Work performed by Owner.

4. Products Ordered in Advance:  Include a separate activity for each product.  Include delivery date indicated in Division 01 Section "Summary."  Delivery dates indicated stipulate the earliest possible delivery date.

5. Owner-Furnished Products:  Include a separate activity for each product.  Include delivery date indicated in Division 01 Section "Summary."  Delivery dates indicated stipulate the earliest possible delivery date.

6. Work Restrictions:  Show the effect of the following items on the schedule:

Revise list below to suit Project.

a. Coordination with existing construction.

b. Limitations of continued occupancies.

c. Uninterruptible services.

d. Partial occupancy before Substantial Completion.

e. Use of premises restrictions.

f. Provisions for future construction.

g. Seasonal variations.

h. Environmental control.

Retain subparagraph and associated subparagraphs below for large projects and complicated small projects.  Consider limiting it to critical work or important subcontracts.

7. Work Stages:  Indicate important stages of construction for each major portion of the Work, including, but not limited to, the following:

Revise list below to suit Project.

a. Subcontract awards.

b. Submittals.

c. Purchases.

d. Mockups.

e. Fabrication.

f. Sample testing.

g. Deliveries.

h. Installation.

i. Tests and inspections.

j. Adjusting.

k. Curing.

l. Startup and placement into final use and operation.

List critical work and subcontracts here if requirement to indicate stages of the Work is limited only to those elements.

Retain subparagraph and associated subparagraphs below, revised as necessary, for high-rise buildings, multiple-building projects, and other complex structures.  Delete for small projects and for large single-story and single-volume projects.

8. Area Separations:  Identify each major area of construction for each major portion of the Work.  Indicate where each construction activity within a major area must be sequenced or integrated with other construction activities to provide for the following:

Revise list below to suit Project.

a. Structural completion.

b. Permanent space enclosure.

c. Completion of mechanical installation.

d. Completion of electrical installation.

e. Substantial Completion.

Insert a list of major areas here if specific scheduling is required.  List might include nonbuilding work, such as roads, parking, landscape development, and similar work.

9. Other Constraints:  <Insert additional constraints not indicated elsewhere.>

E. Milestones:  Include milestones indicated in the Contract Documents in schedule, including, but not limited to, the Notice to Proceed, Substantial Completion, and Final Completion[.][, and the following interim milestones:]

1. <Insert additional milestones not indicated elsewhere.>

First paragraph below establishes progress measured in dollar volume of the Work.

F. Cost Correlation:  At the head of schedule, provide a cost correlation line, indicating planned and actual costs.  On the line, show dollar volume of the Work performed as of dates used for preparation of payment requests.

1. Refer to Division 01 Section "Payment Procedures" for cost reporting and payment procedures.

Retain three subparagraphs below for CPM schedule.

2. Contractor shall assign cost to construction activities on the CPM schedule.  Costs shall not be assigned to submittal activities unless specified otherwise but may, with Architect's approval, be assigned to fabrication and delivery activities.  Costs shall be under required principal subcontracts for testing and commissioning activities, operation and maintenance manuals, punch list activities, Project Record Documents, and demonstration and training (if applicable), in the amount of 5 percent of the Contract Sum.

3. Each activity cost shall reflect an accurate value subject to approval by Architect.

4. Total cost assigned to activities shall equal the total Contract Sum.

G. Contract Modifications:  For each proposed contract modification and concurrent with its submission, prepare a time-impact analysis using fragnets to demonstrate the effect of the proposed change on the overall project schedule.

Delete paragraph and subparagraph below for small projects.

H. Computer Software:  Prepare schedules using a program that has been developed specifically to manage construction schedules.

Retain paragraph below if Owner wants a specific computer software program.

1. <Insert name of specific software>, Version <Insert designation>, for [Windows 98] [Windows NT] [Windows ME] [Windows 2000] [Macintosh OS7.x] [Macintosh OS8.x] [Macintosh OS9.x] [Macintosh OS X] operating system.

2.3 PRELIMINARY CONSTRUCTION SCHEDULE

Delete this Article for small projects where time is not critical.  Retain it for larger or more complicated projects, even if Project requires CPM Contractor's Construction Schedule; coordinate with preliminary network diagram.  Preliminary Construction Schedule is not required by AIA Document A201; however, it is required by EJCDC Document 1910-8.  See Evaluations for discussion on optional dates below.

A. Bar-Chart Schedule:  Submit preliminary horizontal bar-chart-type construction schedule within [seven] <Insert number> days of date established for [commencement of the Work] [the Notice to Proceed] [the Notice of Award].

B. Preparation:  Indicate each significant construction activity separately.  Identify first workday of each week with a continuous vertical line.  Outline significant construction activities for first [60] <Insert number> days of construction.  Include skeleton diagram for the remainder of the Work and a cash requirement prediction based on indicated activities.

2.4 CONTRACTOR'S CONSTRUCTION SCHEDULE (GANTT CHART)

Gantt-chart schedule in this Article is adequate for many projects.  Delete this Article if Project size and complexity justify CPM construction schedule.  Time in first paragraph below usually needs extending for multiple contracts.

A. Gantt-Chart Schedule:  Submit a comprehensive, fully developed, horizontal Gantt-chart-type, Contractor's Construction Schedule within [30] <Insert number> days of date established for [commencement of the Work] [the Notice to Proceed] [the Notice of Award].  Base schedule on the Preliminary Construction Schedule and whatever updating and feedback was received since the start of Project.

B. Preparation:  Indicate each significant construction activity separately.  Identify first workday of each week with a continuous vertical line.

1. For construction activities that require 3 months or longer to complete, indicate an estimated completion percentage in [10] <Insert number> percent increments within time bar.

2.5 CONTRACTOR'S CONSTRUCTION SCHEDULE (CPM SCHEDULE)

CPM schedules are more complex than Gantt-chart schedules.  Delete this Article if not required.  See Evaluations.

A. General:  Prepare network diagrams using AON (activity-on-node) format.

Projects using CPM schedules should begin with a preliminary network diagram of type described below or a preliminary bar-chart schedule.

B. Preliminary Network Diagram:  Submit diagram within [14] <Insert number> days of date established for [commencement of the Work] [the Notice to Proceed] [the Notice of Award].  Outline significant construction activities for the first [60] <Insert number> days of construction.  Include skeleton diagram for the remainder of the Work and a cash requirement prediction based on indicated activities.

Revise paragraph and subparagraphs below to suit Project.

C. CPM Schedule:  Prepare Contractor's Construction Schedule using a computerized,[ cost- and resource-loaded,] time-scaled CPM network analysis diagram for the Work.

1. Develop network diagram in sufficient time to submit CPM schedule so it can be accepted for use no later than [30] <Insert number> days after date established for [commencement of the Work] [the Notice to Proceed] [the Notice of Award].

a. Failure to include any work item required for performance of this Contract shall not excuse Contractor from completing all work within applicable completion dates, regardless of Architect's approval of the schedule.

2. Conduct educational workshops to train and inform key Project personnel, including subcontractors' personnel, in proper methods of providing data and using CPM schedule information.

3. Establish procedures for monitoring and updating CPM schedule and for reporting progress.  Coordinate procedures with progress meeting and payment request dates.

4. Use "one workday" as the unit of time.  Include list of nonworking days and holidays incorporated into the schedule.

Revise first paragraph and subparagraphs below to suit Project.

D. CPM Schedule Preparation:  Prepare a list of all activities required to complete the Work.  Using the preliminary network diagram, prepare a skeleton network to identify probable critical paths.

1. Activities:  Indicate the estimated time duration, sequence requirements, and relationship of each activity in relation to other activities.  Include estimated time frames for the following activities:

Revise list below to suit Project.

a. Preparation and processing of submittals.

b. Mobilization and demobilization.

c. Purchase of materials.

d. Delivery.

e. Fabrication.

f. Utility interruptions.

g. Installation.

h. Work by Owner that may affect or be affected by Contractor's activities.

i. Testing[ and commissioning].

2. Critical Path Activities:  Identify critical path activities, including those for interim completion dates.  Scheduled start and completion dates shall be consistent with Contract milestone dates.

3. Processing:  Process data to produce output data on a computer-drawn, time-scaled network.  Revise data, reorganize activity sequences, and reproduce as often as necessary to produce the CPM schedule within the limitations of the Contract Time.

4. Format:  Mark the critical path.  Locate the critical path near center of network; locate paths with most float near the edges.

a. Subnetworks on separate sheets are permissible for activities clearly off the critical path.

E. Initial Issue of Schedule:  Prepare initial network diagram from a list of straight "early start-total float" sort.  Identify critical activities.  Prepare tabulated reports showing the following:

1. Contractor or subcontractor and the Work or activity.

2. Description of activity.

3. Principal events of activity.

4. Immediate preceding and succeeding activities.

5. Early and late start dates.

6. Early and late finish dates.

7. Activity duration in workdays.

8. Total float or slack time.

9. Average size of workforce.

10. Dollar value of activity (coordinated with the Schedule of Values).

F. Schedule Updating:  Concurrent with making revisions to schedule, prepare tabulated reports showing the following:

1. Identification of activities that have changed.

2. Changes in early and late start dates.

3. Changes in early and late finish dates.

4. Changes in activity durations in workdays.

5. Changes in the critical path.

6. Changes in total float or slack time.

7. Changes in the Contract Time.

G. Value Summaries:  Prepare two cumulative value lists, sorted by finish dates.

1. In first list, tabulate activity number, early finish date, dollar value, and cumulative dollar value.

2. In second list, tabulate activity number, late finish date, dollar value, and cumulative dollar value.

3. In subsequent issues of both lists, substitute actual finish dates for activities completed as of list date.

4. Prepare list for ease of comparison with payment requests; coordinate timing with progress meetings.

Retain subparagraph below if this report is the prime mechanism for checking payment requests.

a. In both value summary lists, tabulate "actual percent complete" and "cumulative value completed" with total at bottom.

Below automatically results in monthly, biweekly, or other reporting frequency, depending on desired frequency of progress meetings.

b. Submit value summary printouts [one week] <Insert time> before each regularly scheduled progress meeting.

Insert articles for other schedules and lists to suit Project, depending on complexity.

2.6 REPORTS

A. Daily Construction Reports:  Prepare a daily construction report recording the following information concerning events at Project site:

Revise list below to suit Project.

1. List of subcontractors at Project site.

2. List of separate contractors at Project site.

3. Approximate count of personnel at Project site.

4. Equipment at Project site.

5. Material deliveries.

6. High and low temperatures and general weather conditions.

7. Accidents.

8. Meetings and significant decisions.

9. Unusual events (refer to special reports).

10. Stoppages, delays, shortages, and losses.

11. Meter readings and similar recordings.

12. Emergency procedures.

13. Orders and requests of authorities having jurisdiction.

14. Change Orders received and implemented.

Construction Change Directives are used by AIA Document A201.  EJCDC Document 1910-8 uses Work Change Directives.

15. [Construction] [Work] Change Directives received and implemented.

16. Services connected and disconnected.

17. Equipment or system tests and startups.

18. Partial Completions and occupancies.

19. Substantial Completions authorized.

Two paragraphs below are examples of reports that might prove useful.  Delete if not required or revise to suit Project.  See Evaluations.

B. Material Location Reports:  At [weekly] [monthly] intervals, prepare and submit a comprehensive list of materials delivered to and stored at Project site.  List shall be cumulative, showing materials previously reported plus items recently delivered.  Include with list a statement of progress on and delivery dates for materials or items of equipment fabricated or stored away from Project site.

Revise paragraph below to suit Project and special Owner requirements.

C. Field Condition Reports:  Immediately on discovery of a difference between field conditions and the Contract Documents, prepare and submit a detailed report.  Submit with a request for interpretation[ on CSI Form 13.2A].  Include a detailed description of the differing conditions, together with recommendations for changing the Contract Documents.

Insert other reports required.

2.7 SPECIAL REPORTS

Delete this Article on projects with only minimal requirements.

A. General:  Submit special reports directly to Owner within [one] <Insert number> day(s) of an occurrence.  Distribute copies of report to parties affected by the occurrence.

Retain paragraph below if Owner is unusually sensitive about public relations.

B. Reporting Unusual Events:  When an event of an unusual and significant nature occurs at Project site, whether or not related directly to the Work, prepare and submit a special report.  List chain of events, persons participating, response by Contractor's personnel, evaluation of results or effects, and similar pertinent information.  Advise Owner in advance when these events are known or predictable.

PART 3 -  EXECUTION

3.1 CONTRACTOR'S CONSTRUCTION SCHEDULE

Retain first paragraph and subparagraphs below only for very complex projects of long duration.

A. Scheduling Consultant:  Engage a consultant to provide planning, evaluation, and reporting using CPM scheduling.

Delete first subparagraph below if not allowed or if Owner wants to retain an independent consultant.  See Evaluations.

1. In-House Option:  Owner may waive the requirement to retain a consultant if Contractor employs skilled personnel with experience in CPM scheduling and reporting techniques.  Submit qualifications.

2. Meetings:  Scheduling consultant shall attend all meetings related to Project progress, alleged delays, and time impact.

B. Contractor's Construction Schedule Updating:  At [monthly] <Insert time> intervals, update schedule to reflect actual construction progress and activities.  Issue schedule [one week] <Insert time> before each regularly scheduled progress meeting.

1. Revise schedule immediately after each meeting or other activity where revisions have been recognized or made.  Issue updated schedule concurrently with the report of each such meeting.

2. Include a report with updated schedule that indicates every change, including, but not limited to, changes in logic, durations, actual starts and finishes, and activity durations.

3. As the Work progresses, indicate Actual Completion percentage for each activity.

C. Distribution:  Distribute copies of approved schedule to Architect[, Construction Manager,] Owner, separate contractors, testing and inspecting agencies, and other parties identified by Contractor with a need-to-know schedule responsibility.

1. Post copies in Project meeting rooms and temporary field offices.

2. When revisions are made, distribute updated schedules to the same parties and post in the same locations.  Delete parties from distribution when they have completed their assigned portion of the Work and are no longer involved in performance of construction activities.

END OF SECTION 013200

	CONSTRUCTION PROGRESS DOCUMENTATION
	013200 - 1



