Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
11/02 (R 05/05)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 014000 - QUALITY REQUIREMENTS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes administrative and procedural requirements for quality assurance and quality control.

B. Testing and inspecting services are required to verify compliance with requirements specified or indicated.  These services do not relieve Contractor of responsibility for compliance with the Contract Document requirements.

Retain three subparagraphs below to clarify applicability of provisions in this Section.  Revise to suit Project.  Coordinate revisions with the General Conditions and other Division 01 Sections.

1. Specific quality-assurance and -control requirements for individual construction activities are specified in the Sections that specify those activities.  Requirements in those Sections may also cover production of standard products.

2. Specified tests, inspections, and related actions do not limit Contractor's other quality-assurance and -control procedures that facilitate compliance with the Contract Document requirements.

3. Requirements for Contractor to provide quality-assurance and -control services required by Architect, Owner,[ Construction Manager,] or authorities having jurisdiction are not limited by provisions of this Section.

C. Related Sections include the following:

Retain first subparagraph below if Project requires schedule of tests and inspections.

1. Division 01 Section "Allowances" for testing and inspecting allowances.

2. Division 01 Section "Construction Progress Documentation" for developing a schedule of required tests and inspections.

3. Division 01 Section "Cutting and Patching" for repair and restoration of construction disturbed by testing and inspecting activities.

4. Divisions 02 through 49 Sections for specific test and inspection requirements.

1.3 DEFINITIONS

A. Quality-Assurance Services:  Activities, actions, and procedures performed before and during execution of the Work to guard against defects and deficiencies and substantiate that proposed construction will comply with requirements.

B. Quality-Control Services:  Tests, inspections, procedures, and related actions during and after execution of the Work to evaluate that actual products incorporated into the Work and completed construction comply with requirements.  Services do not include contract enforcement activities performed by Architect[ or Construction Manager].

Delete first paragraph below if Project does not require mockups.  Revise if any mockups are to be constructed at an off-site location.

C. Mockups:  Full-size, physical assemblies that are constructed on-site.  Mockups are used to verify selections made under sample submittals, to demonstrate aesthetic effects and, where indicated, qualities of materials and execution, and to review construction, coordination, testing, or operation; they are not Samples.[  Approved mockups establish the standard by which the Work will be judged.]

D. Laboratory Mockups:  Full-size, physical assemblies that are constructed at testing facility to verify performance characteristics.

E. Preconstruction Testing:  Tests and inspections that are performed specifically for the Project before products and materials are incorporated into the Work to verify performance or compliance with specified criteria.

F. Product Testing:  Tests and inspections that are performed by an NRTL, an NVLAP, or a testing agency qualified to conduct product testing and acceptable to authorities having jurisdiction, to establish product performance and compliance with industry standards.

G. Source Quality-Control Testing:  Tests and inspections that are performed at the source, i.e., plant, mill, factory, or shop.

H. Field Quality-Control Testing:  Tests and inspections that are performed on-site for installation of the Work and for completed Work.

I. Testing Agency:  An entity engaged to perform specific tests, inspections, or both.  Testing laboratory shall mean the same as testing agency.

J. Installer/Applicator/Erector:  Contractor or another entity engaged by Contractor as an employee, Subcontractor, or Sub-subcontractor, to perform a particular construction operation, including installation, erection, application, and similar operations.

1. Using a term such as "carpentry" does not imply that certain construction activities must be performed by accredited or unionized individuals of a corresponding generic name, such as "carpenter."  It also does not imply that requirements specified apply exclusively to tradespeople of the corresponding generic name.

Revise the number of projects in paragraph below to suit office policy and Owner's requirements.  Delete if experience requirements are included in individual Specification Sections or are prohibited by law.

K. Experienced:  When used with an entity, "experienced" means having successfully completed a minimum of [five] <Insert number> previous projects similar in size and scope to this Project; being familiar with special requirements indicated; and having complied with requirements of authorities having jurisdiction.

1.4 CONFLICTING REQUIREMENTS

First paragraph and subparagraph below may resolve problems that sometimes arise when using referenced standards.

A. General:  If compliance with two or more standards is specified and the standards establish different or conflicting requirements for minimum quantities or quality levels, comply with the most stringent requirement.  Refer uncertainties and requirements that are different, but apparently equal, to Architect for a decision before proceeding.

B. Minimum Quantity or Quality Levels:  The quantity or quality level shown or specified shall be the minimum provided or performed.  The actual installation may comply exactly with the minimum quantity or quality specified, or it may exceed the minimum within reasonable limits.  To comply with these requirements, indicated numeric values are minimum or maximum, as appropriate, for the context of requirements.  Refer uncertainties to Architect for a decision before proceeding.

Insert an article on special compliance with a governing code only if necessary.  Such provisions belong in the Supplementary Conditions.

1.5 SUBMITTALS

A. Qualification Data:  For testing agencies specified in "Quality Assurance" Article to demonstrate their capabilities and experience.  Include proof of qualifications in the form of a recent report on the inspection of the testing agency by a recognized authority.

Retain paragraph and subparagraphs below if retained in "Quality Control" Article.

B. Schedule of Tests and Inspections:  Prepare in tabular form and include the following:

Revise list below to suit Project.

1. Specification Section number and title.

2. Description of test and inspection.

3. Identification of applicable standards.

4. Identification of test and inspection methods.

5. Number of tests and inspections required.

6. Time schedule or time span for tests and inspections.

7. Entity responsible for performing tests and inspections.

8. Requirements for obtaining samples.

9. Unique characteristics of each quality-control service.

Revise paragraph and subparagraphs below to suit Project.  In the case of multiple contracts, consider assigning responsibility for coordination of submittals to one contract.  See Evaluations.

C. Reports:  Prepare and submit certified written reports that include the following:

Revise list below to suit Project.

1. Date of issue.

2. Project title and number.

3. Name, address, and telephone number of testing agency.

4. Dates and locations of samples and tests or inspections.

5. Names of individuals making tests and inspections.

6. Description of the Work and test and inspection method.

7. Identification of product and Specification Section.

8. Complete test or inspection data.

9. Test and inspection results and an interpretation of test results.

10. Record of temperature and weather conditions at time of sample taking and testing and inspecting.

11. Comments or professional opinion on whether tested or inspected Work complies with the Contract Document requirements.

12. Name and signature of laboratory inspector.

13. Recommendations on retesting and reinspecting.

Retain general requirements in paragraph below.  Specific submittals may be specified in other Sections.

D. Permits, Licenses, and Certificates:  For Owner's records, submit copies of permits, licenses, certifications, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgments, correspondence, records, and similar documents, established for compliance with standards and regulations bearing on performance of the Work.

1.6 QUALITY ASSURANCE

A. General:  Qualifications paragraphs in this Article establish the minimum qualification levels required; individual Specification Sections specify additional requirements.

If more detailed requirements are needed for first paragraph below, add this information to specific individual Sections.  Examples include Installer employing workers trained and approved by manufacturer, Installer being acceptable to manufacturer, and Installer being an authorized representative of manufacturer for both installation and maintenance.

B. Installer Qualifications:  A firm or individual experienced in installing, erecting, or assembling work similar in material, design, and extent to that indicated for this Project, whose work has resulted in construction with a record of successful in-service performance.

C. Manufacturer Qualifications:  A firm experienced in manufacturing products or systems similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

D. Fabricator Qualifications:  A firm experienced in producing products similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

If other design professionals are indicated in Specification Sections, insert qualifications here.

E. Professional Engineer Qualifications:  A professional engineer who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing engineering services of the kind indicated.  Engineering services are defined as those performed for installations of the system, assembly, or product that are similar to those indicated for this Project in material, design, and extent.

Retain first paragraph and subparagraph below if other Specification Sections assign certain items of work to preselected subcontractors (specialists).  Revise to suit Project.  See Evaluations about naming parties other than Owner and Contractor in Specifications.

F. Specialists:  Certain sections of the Specifications require that specific construction activities shall be performed by entities who are recognized experts in those operations.  Specialists shall satisfy qualification requirements indicated and shall be engaged for the activities indicated.

1. Requirement for specialists shall not supersede building codes and regulations governing the Work.

G. Testing Agency Qualifications:  An NRTL, an NVLAP, or an independent agency with the experience and capability to conduct testing and inspecting indicated, as documented according to ASTM E 548; and with additional qualifications specified in individual Sections; and where required by authorities having jurisdiction, that is acceptable to authorities.

1. NRTL:  A nationally recognized testing laboratory according to 29 CFR 1910.7.

2. NVLAP:  A testing agency accredited according to NIST's National Voluntary Laboratory Accreditation Program.

H. Factory-Authorized Service Representative Qualifications:  An authorized representative of manufacturer who is trained and approved by manufacturer to inspect installation of manufacturer's products that are similar in material, design, and extent to those indicated for this Project.

Delete paragraph and subparagraphs below if no preconstruction testing is required.  Indicate in individual Sections whether Owner or Contractor engages testing agency.

I. Preconstruction Testing:  Where testing agency is indicated to perform preconstruction testing for compliance with specified requirements for performance and test methods, comply with the following:

1. Contractor responsibilities include the following:

a. Provide test specimens representative of proposed products and construction.

b. Submit specimens in a timely manner with sufficient time for testing and analyzing results to prevent delaying the Work.

c. Provide sizes and configurations of test assemblies, mockups, and laboratory mockups to adequately demonstrate capability of products to comply with performance requirements.

First subparagraph below attempts to ensure that tested assemblies will be representative of actual construction.  This requirement may complicate testing and add cost.

d. Build site-assembled test assemblies and mockups using installers who will perform same tasks for Project.

e. Build laboratory mockups at testing facility using personnel, products, and methods of construction indicated for the completed Work.

f. When testing is complete, remove test specimens, assemblies, mockups, and laboratory mockups; do not reuse products on Project.

2. Testing Agency Responsibilities:  Submit a certified written report of each test, inspection, and similar quality-assurance service to Architect[, through Construction Manager], with copy to Contractor.  Interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from the Contract Documents.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of specific mockups on Drawings or in individual Specification Sections.  Revise wording if only one mockup is required.

J. Mockups:  Before installing portions of the Work requiring mockups, build mockups for each form of construction and finish required to comply with the following requirements, using materials indicated for the completed Work:

1. Build mockups in location and of size indicated or, if not indicated, as directed by Architect[ or Construction Manager].

2. Notify Architect[ and Construction Manager] [seven] <Insert number> days in advance of dates and times when mockups will be constructed.

3. Demonstrate the proposed range of aesthetic effects and workmanship.

4. Obtain Architect's[ and Construction Manager's] approval of mockups before starting work, fabrication, or construction.

a. Allow [seven] <Insert number> days for initial review and each re-review of each mockup.

5. Maintain mockups during construction in an undisturbed condition as a standard for judging the completed Work.

Retain subparagraph below as the default requirement and add specific requirements in individual Specification Sections.

6. Demolish and remove mockups when directed, unless otherwise indicated.

Paragraph below is usually limited to storefronts and curtain-wall systems.

K. Laboratory Mockups:  Comply with requirements of preconstruction testing and those specified in individual Sections in Divisions 02 through 49.

If needed, insert requirements for mockups that comprise products and materials from multiple Specification Sections.

1.7 QUALITY CONTROL

Retain paragraph and subparagraphs below if some Sections designate Owner as responsible for tests and inspections.

A. Owner Responsibilities:  Where quality-control services are indicated as Owner's responsibility, Owner will engage a qualified testing agency to perform these services.

1. Owner will furnish Contractor with names, addresses, and telephone numbers of testing agencies engaged and a description of types of testing and inspecting they are engaged to perform.

Retain first subparagraph below where cost of quality-control services must be included in the Contract Sum and where Owner wants to retain control of these services over certain construction operations.

2. Payment for these services will be made from testing and inspecting allowances, as authorized by Change Orders.

3. Costs for retesting and reinspecting construction that replaces or is necessitated by work that failed to comply with the Contract Documents will be charged to Contractor[, and the Contract Sum will be adjusted by Change Order].

Retain first paragraph and subparagraphs below for projects where Contractor is responsible for providing quality-control services.  See Evaluations.

B. Tests and inspections not explicitly assigned to Owner are Contractor's responsibility.  Unless otherwise indicated, provide quality-control services specified and those required by authorities having jurisdiction.  Perform quality-control services required of Contractor by authorities having jurisdiction, whether specified or not.

Retain subparagraph below if some Sections require an independent testing agency to perform certain tests and inspections.

1. Where services are indicated as Contractor's responsibility, engage a qualified testing agency to perform these quality-control services.

Retain first subparagraph below to assure validity of agencies' reports.

a. Contractor shall not employ same entity engaged by Owner, unless agreed to in writing by Owner.

2. Notify testing agencies at least [24] <Insert number> hours in advance of time when Work that requires testing or inspecting will be performed.

3. Where quality-control services are indicated as Contractor's responsibility, submit a certified written report, in duplicate, of each quality-control service.

4. Testing and inspecting requested by Contractor and not required by the Contract Documents are Contractor's responsibility.

5. Submit additional copies of each written report directly to authorities having jurisdiction, when they so direct.

C. Manufacturer's Field Services:  Where indicated, engage a factory-authorized service representative to inspect field-assembled components and equipment installation, including service connections.  Report results in writing as specified in Division 01 Section "Submittal Procedures."

Retain paragraph below (which is not covered in the General Conditions) and insert special Project requirements.  Additional requirements might include Architect's or Construction Manager's right to require use of a different laboratory for retesting and reinspecting.

D. Retesting/Reinspecting:  Regardless of whether original tests or inspections were Contractor's responsibility, provide quality-control services, including retesting and reinspecting, for construction that replaced Work that failed to comply with the Contract Documents.

Retain first paragraph and subparagraphs below if Contractor engages testing agency.

E. Testing Agency Responsibilities:  Cooperate with Architect[, Construction Manager,] and Contractor in performance of duties.  Provide qualified personnel to perform required tests and inspections.

1. Notify Architect[, Construction Manager,] and Contractor promptly of irregularities or deficiencies observed in the Work during performance of its services.

2. Determine the location from which test samples will be taken and in which in-situ tests are conducted.

3. Conduct and interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from requirements.

4. Submit a certified written report, in duplicate, of each test, inspection, and similar quality-control service through Contractor.

5. Do not release, revoke, alter, or increase the Contract Document requirements or approve or accept any portion of the Work.

6. Do not perform any duties of Contractor.

F. Associated Services:  Cooperate with agencies performing required tests, inspections, and similar quality-control services, and provide reasonable auxiliary services as requested.  Notify agency sufficiently in advance of operations to permit assignment of personnel.  Provide the following:

1. Access to the Work.

2. Incidental labor and facilities necessary to facilitate tests and inspections.

3. Adequate quantities of representative samples of materials that require testing and inspecting.  Assist agency in obtaining samples.

4. Facilities for storage and field curing of test samples.

Delete first subparagraph below if not required or common practice in Project vicinity.

5. Delivery of samples to testing agencies.

6. Preliminary design mix proposed for use for material mixes that require control by testing agency.

7. Security and protection for samples and for testing and inspecting equipment at Project site.

G. Coordination:  Coordinate sequence of activities to accommodate required quality-assurance and -control services with a minimum of delay and to avoid necessity of removing and replacing construction to accommodate testing and inspecting.

1. Schedule times for tests, inspections, obtaining samples, and similar activities.

Retain paragraph and subparagraph below if quality-control services by testing agencies are extensive and job progress might be hindered if services are not carefully managed.  Revise 30-day period below to suit Project.  Consider requiring submittal concurrently with Contractor's Construction Schedule.  Schedule below is not the statement of special tests and inspections required by some model codes and jurisdictions as a condition for obtaining a building permit.  See Evaluations.

H. Schedule of Tests and Inspections:  Prepare a schedule of tests, inspections, and similar quality-control services required by the Contract Documents.  Submit schedule within [30] <Insert number> days of date established for [commencement of the Work] [the Notice to Proceed].

1. Distribution:  Distribute schedule to Owner, Architect,[ Construction Manager,] testing agencies, and each party involved in performance of portions of the Work where tests and inspections are required.

1.8 SPECIAL TESTS AND INSPECTIONS

Many model codes require both periodic and continuous special inspections for certain types of construction and require Owner or design professional to engage testing agency.  Second option in two paragraphs below uses the term "special inspector," which is consistent with the International Building Code.  Change this term to match that used to identify the entity as defined by authorities having jurisdiction.  Verify requirements with authorities having jurisdiction; some areas may allow Contractor to engage special inspectors; if so, add requirements in "Submittals" Article for Contractor to submit qualifications of special inspectors.

A. Special Tests and Inspections:  Owner will engage a qualified [testing agency] [special inspector] to conduct special tests and inspections required by authorities having jurisdiction as the responsibility of Owner, and as follows:

Below is an alternative to paragraph above that lets individual Specification Sections define who is responsible for special tests and inspections.

B. Special Tests and Inspections:  Conducted by a qualified [testing agency] [special inspector] as required by authorities having jurisdiction, as indicated in individual Specification Sections, and as follows:

Retain six subparagraphs below with either paragraph above.  Retain first subparagraph only with second option in either paragraph above.

1. Verifying that manufacturer maintains detailed fabrication and quality-control procedures and reviewing the completeness and adequacy of those procedures to perform the Work.

2. Notifying Architect[, Construction Manager,] and Contractor promptly of irregularities and deficiencies observed in the Work during performance of its services.

3. Submitting a certified written report of each test, inspection, and similar quality-control service to Architect[, through Construction Manager,] with copy to Contractor and to authorities having jurisdiction.

4. Submitting a final report of special tests and inspections at Substantial Completion, which includes a list of unresolved deficiencies.

5. Interpreting tests and inspections and stating in each report whether tested and inspected work complies with or deviates from the Contract Documents.

6. Retesting and reinspecting corrected work.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION

3.1 ACCEPTABLE TESTING AGENCIES

Delete this Article if Owner does not want to identify specific independent testing agencies acceptable for performing designated tests and inspections.

A. <Insert list of firms acceptable to perform designated tests and inspections.>

3.2 TEST AND INSPECTION LOG

A. Prepare a record of tests and inspections.  Include the following:

1. Date test or inspection was conducted.

2. Description of the Work tested or inspected.

3. Date test or inspection results were transmitted to Architect.

4. Identification of testing agency or special inspector conducting test or inspection.

B. Maintain log at Project site.  Post changes and modifications as they occur.  Provide access to test and inspection log for Architect's[ and Construction Manager's] reference during normal working hours.

3.3 REPAIR AND PROTECTION

A. General:  On completion of testing, inspecting, sample taking, and similar services, repair damaged construction and restore substrates and finishes.

1. Provide materials and comply with installation requirements specified in other Specification Sections.  Restore patched areas and extend restoration into adjoining areas with durable seams that are as invisible as possible.

Retain subparagraph above or below.  Above is for simple projects that do not include a "Cutting and Patching" Section and relies on patching and repair materials being the same as for new construction.

2. Comply with the Contract Document requirements for Division 01 Section "Cutting and Patching."

B. Protect construction exposed by or for quality-control service activities.

C. Repair and protection are Contractor's responsibility, regardless of the assignment of responsibility for quality-control services.

END OF SECTION 014000

	QUALITY REQUIREMENTS
	014000 - 1



