Copyright 2003 and 2005 AIA
MASTERSPEC Full Length
11/03 (R 05/06)

Copyright 2003 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 061600 - SHEATHING
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Wall sheathing.

2. Roof sheathing.

3. Composite nail base insulated roof sheathing.

4. Subflooring.

5. Underlayment.

6. Building paper.

7. Building wrap.

8. Sheathing joint-and-penetration treatment.

9. Flexible flashing at openings in sheathing.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 06 Section "[Rough Carpentry] [Miscellaneous Rough Carpentry]" for plywood backing panels.

1.3 SUBMITTALS

A. Product Data:  For each type of process and factory-fabricated product.  Indicate component materials and dimensions and include construction and application details.

1. Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated plywood complies with requirements.  Indicate type of preservative used and net amount of preservative retained.

Delete subparagraph below if fire-retardant-treated plywood is not required.

2. Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated plywood complies with requirements.  Include physical properties of treated materials.

Delete first subparagraph below if not applicable.

3. For fire-retardant treatments specified to be High-Temperature (HT) type, include physical properties of treated plywood both before and after exposure to elevated temperatures, based on testing by a qualified independent testing agency according to ASTM D 5516.

4. For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to Project site.

5. Include copies of warranties from chemical treatment manufacturers for each type of treatment.

Retain subparagraph below if applicable.

6. For building wrap, include data on air-/moisture-infiltration protection based on testing according to referenced standards.

B. LEED Submittals:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for construction adhesive.

1. Product Data for Credit EQ 4.1:  For adhesives, including printed statement of VOC content.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

2. Product Data for Credit EQ 4.4:  For composite-wood products, documentation indicating that product contains no urea formaldehyde.

Retain subparagraph and associated subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if wood products are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

3. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that products specified to be made from certified wood comply with forest certification requirements.  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Insert specific model code organization in paragraph below or revise if report must be from another source.

C. Research/Evaluation Reports:  For the following, showing compliance with building code in effect for Project:

Edit list below to retain only those products retained in Part 2.

1. Preservative-treated plywood.

2. Fire-retardant-treated plywood.

3. Foam-plastic sheathing.

4. Building wrap.

1.4 QUALITY ASSURANCE

Retain paragraph and subparagraph below for fire-rated assemblies.

A. Fire-Test-Response Characteristics:  For assemblies with fire-resistance ratings, provide materials and construction identical to those of assemblies tested for fire resistance per ASTM E 119 by a testing and inspecting agency acceptable to authorities having jurisdiction.

Indicate design designations of specific assemblies on Drawings.

1. Fire-Resistance Ratings:  Indicated by design designations from [UL's "Fire Resistance Directory."] [GA-600, "Fire Resistance Design Manual."] <Insert listing organization and publication.>

Paragraph and subparagraphs below may be retained to specify wood products made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  An alternative method of complying with Credit MR 7 requirement is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor the option and responsibility for determining how Credit MR 7 requirement will be met.

B. Forest Certification:  For the following wood products, provide materials produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship":

Coordinate list below with products retained in Part 2.  Delete items not required to be made from certified wood; verify that certified wood is available for each item before retaining.

1. Plywood.

2. Oriented strand board.

3. Fiberboard wall sheathing.

4. Particleboard underlayment.

5. Hardboard underlayment.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Stack plywood and other panels flat with spacers between each bundle to provide air circulation.  Provide for air circulation around stacks and under coverings.

PART 2 -  PRODUCTS

2.1 WOOD PANEL PRODUCTS, GENERAL

Select one of two options in paragraph below; usually the second.  DOC PS 2 is a performance-based standard that does not include requirements for grades of veneers.  Second option includes phrase ", unless otherwise indicated" to allow for underlayment that is specified to comply with DOC PS 1 because a minimum face veneer grade is required; delete if phrase is not needed.

A. Plywood:  [DOC PS 1] [Either DOC PS 1 or DOC PS 2, unless otherwise indicated].

Delete paragraph below if oriented strand board is not used.

B. Oriented Strand Board:  DOC PS 2.

Retain first paragraph below if a minimum thickness is shown on Drawings.

C. Thickness:  As needed to comply with requirements specified, but not less than thickness indicated.

D. Factory mark panels to indicate compliance with applicable standard.

2.2 PRESERVATIVE-TREATED PLYWOOD

Delete this Article if not applicable.  See Evaluations for discussion of formulations.

A. Preservative Treatment by Pressure Process:  AWPA C9.

See Evaluations for information about treatment chemicals.

1. Preservative Chemicals:  Acceptable to authorities having jurisdiction[ and containing no arsenic or chromium].

B. Mark plywood with appropriate classification marking of an inspection agency acceptable to authorities having jurisdiction.

Select first option in paragraph below and delete others if total treatment is required; otherwise, select second option with or without third option.

C. Application:  [Treat all plywood, unless otherwise indicated] [Treat items indicated on Drawings][ and plywood in contact with masonry or concrete or used with roofing, flashing, vapor barriers, and waterproofing].

2.3 FIRE-RETARDANT-TREATED PLYWOOD

Delete this Article if not applicable.

A. General:  Comply with performance requirements in AWPA C27.

1. Use treatment that does not promote corrosion of metal fasteners.

Exterior type is suitable for both exterior and interior applications.  Interior type is suitable for interior applications only.  See Evaluations.

2. Use Exterior type for exterior locations and where indicated.

Delete first subparagraph below if not applicable.  Revise description of locations to suit Project.

3. Use Interior Type A, High Temperature (HT) for roof sheathing and where indicated.

4. Use Interior Type A, unless otherwise indicated.

B. Kiln-dry material after treatment to a maximum moisture content of 15 percent.  Do not use material that is warped or does not comply with requirements for untreated material.

C. Identify fire-retardant-treated plywood with appropriate classification marking of UL, U.S. Testing, Timber Products Inspection, or another testing and inspecting agency acceptable to authorities having jurisdiction.

Select first option in paragraph below and delete subparagraphs if all wood is required to be fire-retardant treated; otherwise, select second option and applicable subparagraphs.

D. Application:  [Treat all plywood, unless otherwise indicated.] [Treat plywood indicated on Drawings, and the following:]

Edit list below to suit local code and Project.

1. Roof[ and wall] sheathing within 48 inches (1220 mm) of [fire] [party] walls.

2. Roof sheathing.

3. Subflooring and underlayment for raised platforms.

4. <Insert category of plywood items required to be treated.>

2.4 WALL SHEATHING

If retaining paragraph below, select one of four options.  Structural I provides increased racking resistance.  See Evaluations for information about durability classifications of plywood.

A. Plywood Wall Sheathing:  [Exterior, Structural I] [Exterior] [Exposure 1, Structural I] [Exposure 1] sheathing.

Select one of four options in subparagraph below.

1. Span Rating:  Not less than [16/0] [20/0] [24/0] [32/16].

If retaining subparagraph below, usually select first option for studs 16 inches (406 mm) o.c., second option for studs 24 inches (610 mm) o.c.  Select third option for more stringent requirement.

2. Nominal Thickness:  Not less than [11/32 inch (8.7 mm)] [3/8 inch (9.5 mm)] [1/2 inch (13 mm)].

If retaining paragraph below, select one of two options.  Structural I provides increased racking resistance.  See Evaluations for information about durability classifications of oriented strand board.

B. Oriented-Strand-Board Wall Sheathing:  [Exposure 1, Structural I] [Exposure 1] sheathing.

Select one of five options in subparagraph below.

1. Span Rating:  Not less than [16/0] [20/0] [24/0] [24/16] [32/16].

If retaining subparagraph below, usually select first option for studs 16 inches (406 mm) o.c., second option for studs 24 inches (610 mm) o.c.  Select third option for more stringent requirement.

2. Nominal Thickness:  Not less than [5/16 inch (7.9 mm)] [3/8 inch (9.5 mm)] [1/2 inch (13 mm)].

C. Paper-Surfaced Gypsum Wall Sheathing:  ASTM C 79/C 79M or ASTM C 1396/C 1396M, gypsum sheathing; with water-resistant-treated core and with water-repellent paper bonded to core's face, back, and long edges.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. American Gypsum.

b. LaFarge North America Inc.

c. G-P Gypsum Corporation.

d. National Gypsum Company.

e. Temple-Inland Forest Products Corporation.

f. United States Gypsum Co.

g. <Insert manufacturer's name.>

3. Type and Thickness:  [Regular, 1/2 inch (13 mm)] [Type X, 5/8 inch (15.9 mm)] thick.

Tongue-and-groove edge is only available for regular, 24-by-96-inch (610-by-2438-mm) boards.  Verify availability of SI (metric) module with manufacturers selected.

4. Edge and End Configuration:  [V-shaped, tongue-and-groove long edges; square ends] [Square].

24-by-96-inch (610-by-2438-mm) size is only available for regular boards with tongue-and-groove long edges.  Special-order lengths are available from some manufacturers but only in large quantities.  SI (metric) module dimensions are not readily obtainable; verify availability by special order with manufacturers selected.

Boards 48 inches (1219 mm) or 1200 mm wide can be installed horizontally but are usually installed vertically; horizontal square edges must be protected by a weather-resistant barrier or must be sealed.

5. Size:  [24 by 96 inches (610 by 2438 mm) for horizontal] [48 by 96 inches (1219 by 2438 mm) for vertical] [48 by 108 inches (1219 by 2743 mm) for vertical] [600 by 2400 mm for horizontal] [1200 by 2400 mm for vertical] [1200 by 2750 mm for vertical] installation.

Only G-P Gypsum produces glass-mat gypsum sheathing board.

D. Glass-Mat Gypsum Wall Sheathing:  ASTM C 1177/1177M.

1. Product:  Subject to compliance with requirements, provide "Dens-Glass Gold" by G-P Gypsum Corporation.

2. Type and Thickness:  [Regular, 1/2 inch (13 mm)] [Type X, 5/8 inch (15.9 mm)] thick.

SI (metric) module dimensions are not readily obtainable; verify availability by special order with manufacturer selected.

Boards 48 inches (1219 mm) or 1200 mm wide can be installed horizontally but are usually installed vertically; horizontal square edges must be protected by a weather-resistant barrier or must be sealed.

3. Size:  [48 by 96 inches (1219 by 2438 mm)] [48 by 108 inches (1219 by 2743 mm)] [48 by 120 inches (1219 by 3048 mm)] [1200 by 2400 mm] [1200 by 2750 mm] [1200 by 3050 mm] for vertical installation.

E. Cellulose Fiber-Reinforced Gypsum Sheathing:  ASTM C 1278/C 1278M, gypsum sheathing.

1. Product:  Subject to compliance with requirements, provide "Fiberock Sheathing with Aqua-Tough" by United States Gypsum Co.

2. Type and Thickness:  [Regular, 1/2 inch (13 mm)] [Type X, 5/8 inch (15.9 mm)] thick.

SI (metric) module dimensions are by special order; verify availability with manufacturer.

3. Size:  [48 by 96 inches (1219 by 2438 mm)] [48 by 108 inches (1219 by 2743 mm)] [48 by 120 inches (1219 by 3048 mm)] [1200 by 2400 mm] [1200 by 2750 mm] [1200 by 3050 mm].

Both classes of fiberboard sheathing in first paragraph below require 16-inch (406-mm) stud spacing.  Either may provide adequate corner bracing depending on structural performance required.  Verify availability of products and sizes.  25/32-inch (20-mm) thickness is by special order.

F. Fiberboard Wall Sheathing:  ASTM C 208, Type IV, Grade [1 (Regular)] [2 (Structural)] cellulosic fiberboard sheathing with square edges, [1/2 inch (13 mm)] [25/32 inch (20 mm)] thick.

G. Extruded-Polystyrene-Foam Wall Sheathing:  ASTM C 578, Type IV, in manufacturer's standard lengths and widths with tongue-and-groove or shiplap long edges as standard with manufacturer.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. DiversiFoam Products.

b. Dow Chemical Company (The).

c. Owens Corning.

d. Pactiv, Inc.

e. <Insert manufacturer's name.>

3. Thickness:  [3/4 inch (19 mm)] [1 inch (25 mm)] [As indicated].

Foil facers on product in paragraph below help retain blowing agent, which gives product higher R-values.  Foil facers also act as a radiant barrier if facing an air space of at least 3/4 inch (19 mm) in thickness.

H. Foil-Faced, Polyisocyanurate-Foam Wall Sheathing:  ASTM C 1289, Type I, Class 2, aluminum-foil-faced, glass-fiber-reinforced, rigid, cellular, polyisocyanurate thermal insulation.  Foam-plastic core and facings shall have a flame-spread index of 25 or less when tested individually.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Apache Products Company.

b. Dow Chemical Company (The).

c. Johns Manville; Berkshire Hathaway Inc.

d. Rmax, Inc.

e. <Insert manufacturer's name.>

3. Thickness:  [7/16 inch (11.1 mm)] [1/2 inch (13 mm)] [5/8 inch (15.9 mm)] [3/4 inch (19 mm)] [1 inch (25 mm)] [As indicated].

2.5 ROOF SHEATHING

If retaining paragraph below, select one of four options.  Structural I provides increased racking resistance.  See Evaluations for information about durability classifications of plywood.

A. Plywood Roof Sheathing:  [Exterior, Structural I] [Exterior] [Exposure 1, Structural I] [Exposure 1] sheathing.

1. Span Rating:  Not less than [16/0] [20/0] [24/0] [32/16] [40/20] [48/24].

2. Nominal Thickness:  Not less than [15/32 inch (11.9 mm)] [1/2 inch (13 mm)].

If retaining paragraph below, select one of two options.  Structural I provides increased racking resistance.  See Evaluations for information about durability classifications of oriented strand board.

B. Oriented-Strand-Board Roof Sheathing:  [Exposure 1, Structural I] [Exposure 1] sheathing.

1. Span Rating:  Not less than [16/0] [20/0] [24/0] [24/16] [32/16] [40/20] [48/24].

If retaining subparagraph below, usually select first option for spans of 16 inches (406 mm), second option for spans of 24 inches (610 mm).  Select third option for more stringent requirement.

2. Nominal Thickness:  Not less than [7/16 inch (11.1 mm)] [15/32 inch (11.9 mm)] [1/2 inch (13 mm)].

2.6 COMPOSITE NAIL BASE INSULATED ROOF SHEATHING

Paragraph below describes unvented composite insulated sheathing.

A. Oriented-Strand-Board-Surfaced, Polyisocyanurate-Foam Sheathing:  Rigid, cellular, polyisocyanurate thermal insulation with oriented strand board laminated to one face complying with ASTM C 1289, Type V.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Atlas Roofing Corporation.

b. Cornell Corporation.

c. Dow Chemical Company (The).

d. Johns Manville; Berkshire Hathaway Inc.

e. Rmax, Inc.

f. <Insert manufacturer's name.>

3. Polyisocyanurate-Foam Thickness:  [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (50 mm)] [2-1/2 inches (64 mm)] [3 inches (76 mm)] [3-1/2 inches (89 mm)] [4 inches (102 mm)].

First option in subparagraph below is standard with most manufacturers; select second option if a heavy roofing material such as slate or clay tile is used.

4. Oriented-Strand-Board Nominal Thickness:  [7/16 inch (11.1 mm)] [5/8 inch (15.9 mm)].

Two paragraphs below describe vented composite insulated sheathing, sometimes called "composite vented nail base insulation."

B. Vented, Oriented-Strand-Board-Surfaced, Polyisocyanurate-Foam Sheathing:  Rigid, cellular, polyisocyanurate thermal insulation complying with ASTM C 1289, Type II, Class 1, with oriented strand board adhered to spacers on one face.

Retain paragraph above or below.  Paragraph below describes Cornell's "Vent-Top ThermaCal 2;" if retaining, verify availability of product from other manufacturers before retaining them in list of manufacturers.

C. Vented, Oriented-Strand-Board-Surfaced, Polyisocyanurate-Foam Sheathing:  Rigid, cellular, polyisocyanurate thermal insulation with oriented strand board laminated to one face complying with ASTM C 1289, Type V.  Oriented-strand-board face has a second layer of oriented strand board adhered to it with spacers between.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers below with one of two paragraphs above.  See Division 01 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Atlas Roofing Corporation.

b. Cornell Corporation.

c. Dow Chemical Company (The).

d. Johns Manville; Berkshire Hathaway Inc.

e. Rmax, Inc.

f. <Insert manufacturer's name.>

Retain three subparagraphs below with one of two paragraphs above.

3. Polyisocyanurate-Foam Thickness:  [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (50 mm)] [2-1/2 inches (64 mm)] [3 inches (76 mm)] [3-1/2 inches (89 mm)] [4 inches (102 mm)].

First option in first subparagraph below is standard with most manufacturers; select second option if a heavy roofing material such as slate or clay tile is used.

4. Oriented-Strand-Board Nominal Thickness:  [7/16 inch (11.1 mm)] [5/8 inch (15.9 mm)].

5. Spacers:  Wood furring strips or blocks not less than 3/4 inch (19 mm) thick and spaced not more than [12 inches (300 mm)] [16 inches (400 mm)] [24 inches (600 mm)] o.c.

2.7 SUBFLOORING AND UNDERLAYMENT

For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor.  See Evaluations for information about durability classifications of plywood.

A. Plywood Combination Subfloor-Underlayment:  DOC PS 1, [Exterior, Structural I, C-C Plugged] [Exterior, C-C Plugged] [Exposure 1, Structural I, Underlayment] [Exposure 1, Underlayment] single-floor panels.

1. Span Rating:  Not less than [16] [20] [24] [32] [48] o.c.

If retaining subparagraph below, usually select first option for spans of 16 inches (406 mm); second option for spans of 24 inches (610 mm).  For more stringent requirement, select second option for spans of 16 inches (406 mm) or third option for spans of 24 inches (610 mm).

2. Nominal Thickness:  Not less than [23/32 inch (18.3 mm)] [7/8 inch (22.2 mm)] [1 inch (25 mm)].

3. Edge Detail:  Square.

Retain subparagraph below and delete subparagraph above unless solid blocking is provided under all panel edges or wood strip flooring is installed perpendicular to unsupported panel edges.

4. Edge Detail:  Tongue and groove.

Delete subparagraph below unless required for finish floor selected.

5. Surface Finish:  Fully sanded face.

For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor.  See Evaluations for information about durability classifications of oriented strand board.

B. Oriented-Stand-Board Combination Subfloor-Underlayment:  Exposure 1 single-floor panels.

1. Span Rating:  Not less than [16] [20] [24] [32] [48] o.c.

If retaining subparagraph below, usually select first option for spans of 16 inches (406 mm); second option for spans of 24 inches (610 mm).  For more stringent requirement, select second option for spans of 16 inches (406 mm) or third option for spans of 24 inches (610 mm).

2. Nominal Thickness:  Not less than [23/32 inch (18.3 mm)] [7/8 inch (22.2 mm)] [1 inch (25 mm)].

3. Edge Detail:  Square.

Retain subparagraph below and delete subparagraph above unless solid blocking is provided under all panel edges or wood strip flooring is installed perpendicular to unsupported panel edges.

4. Edge Detail:  Tongue and groove.

Delete subparagraph below unless required for finish floor selected.  Resin-impregnated overlay face is available from J. M. Huber Corporation under the trade name PerformMax.

5. Surface Finish:  [Fully sanded] [Resin-impregnated overlay] face.

If retaining paragraph below, select one of four options.  Structural I provides increased racking resistance.  For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor.  See Evaluations for information about durability classifications of plywood.

C. Plywood Subflooring:  [Exterior, Structural I] [Exterior] [Exposure 1, Structural I] [Exposure 1] single-floor panels or sheathing.

Select one of first five options and possibly one of last three options in subparagraph below.

1. Span Rating:  Not less than [16] [20] [24] [32] [48] o.c. [or] [32/16] [40/20] [48/24].

If retaining subparagraph below, usually select first option for spans of 16 inches (406 mm); second option for spans of 24 inches (610 mm).  For more stringent requirement, select second option for spans of 16 inches (406 mm) or third option for spans of 24 inches (610 mm).

2. Nominal Thickness:  Not less than [23/32 inch (18.3 mm)] [7/8 inch (22.2 mm)] [1 inch (25 mm)].

If retaining paragraph below, select one of two options.  Structural I provides increased racking resistance.  For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor.  See Evaluations for information about durability classifications of oriented strand board.

D. Oriented-Strand-Board Subflooring:  Exposure 1[, Structural I sheathing][ single-floor panels or sheathing].

Select one of first five options and one of last four options in subparagraph below.

1. Span Rating:  Not less than [16] [20] [24] [32] [48] o.c. or [32/16] [40/20] [48/24] [60/32].

If retaining subparagraph below, usually select first option for spans of 16 inches (406 mm); second option for spans of 24 inches (610 mm).  For more stringent requirement, select second option for spans of 16 inches (406 mm) or third option for spans of 24 inches (610 mm).

2. Nominal Thickness:  Not less than [23/32 inch (18.3 mm)] [7/8 inch (22.2 mm)] [1 inch (25 mm)].

E. Underlayment, General:  Provide underlayment in nominal thicknesses indicated or, if not indicated, not less than 1/4 inch (6.4 mm) over smooth subfloors and not less than 3/8 inch (9.5 mm) over board or uneven subfloors.

See Evaluations for information about durability classifications of plywood.

If retaining paragraph below, select one of four grades.  Verify availability of grade selected.

F. Plywood Underlayment for Resilient Flooring:  DOC PS 1, [Exterior A-C] [Exterior B-C] [Exterior, C-C Plugged] [Exposure 1 Underlayment] with fully sanded face.

Paragraph below is based on TCA Methods F 142 and F 143 for installation over plywood subflooring of not less than 5/8-inch (15.9-mm) nominal thickness.  Cementitious backer units specified in Division 09 Section "Tiling" can also be used as underlayment for ceramic tile.

G. Plywood Underlayment for Ceramic Tile:  DOC PS 1, Exterior, C-C Plugged, not less than 5/8-inch (15.9-mm) nominal thickness, for ceramic tile set in [organic] [epoxy] adhesive.

If retaining paragraph below, select one of three grades.  Verify availability of grade selected.

H. Plywood Underlayment for Carpet:  DOC PS 1, [Exterior, C-C Plugged] [Exposure 1, Underlayment] [Interior, Underlayment].

If retaining paragraph below, verify acceptability with floor covering manufacturers.  Select second option if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, which prohibits composite-wood products containing urea formaldehyde.

I. Particleboard Underlayment:  ANSI A208.1, Grade [PBU] [M-2, Exterior Glue, complying with dimensional tolerances and thickness swell requirements of Grade PBU].

If retaining paragraph below, verify acceptability with floor covering manufacturers.

J. Hardboard Underlayment:  AHA A135.4, Class 4 (Service), Surface S1S; with back side sanded.

2.8 FASTENERS

A. General:  Provide fasteners of size and type indicated that comply with requirements specified in this Article for material and manufacture.

1. For roof[ and wall] sheathing, provide fasteners[ with hot-dip zinc coating complying with ASTM A 153/A 153M] [of Type 304 stainless steel].

B. Nails, Brads, and Staples:  ASTM F 1667.

Standard in first paragraph below covers power-driven staples, nails, P-nails, and allied fasteners.

C. Power-Driven Fasteners:  NES NER-272.

D. Wood Screws:  ASME B18.6.1.

E. Screws for Fastening Wood Structural Panels to Cold-Formed Metal Framing:  ASTM C 954, except with wafer heads and reamer wings, length as recommended by screw manufacturer for material being fastened.

1. For wall and roof sheathing panels, provide screws with organic-polymer or other corrosion-protective coating having a salt-spray resistance of more than 800 hours according to ASTM B 117.

Revise first paragraph below if stainless-steel drill screws are required.

F. Screws for Fastening Gypsum Sheathing to Cold-Formed Metal Framing:  Steel drill screws, in length recommended by sheathing manufacturer for thickness of sheathing board to be attached, with organic-polymer or other corrosion-protective coating having a salt-spray resistance of more than 800 hours according to ASTM B 117.

1. For steel framing less than 0.0329 inch (0.835 mm) thick, attach sheathing to comply with ASTM C 1002.

Retain subparagraph above for "drywall-type" non-load-bearing steel framing or subparagraph below for steel framing specified in Division 05 Section "Cold-Formed Metal Framing."

2. For steel framing from 0.033 to 0.112 inch (0.84 to 2.84 mm) thick, attach sheathing to comply with ASTM C 954.

G. Screws for Fastening Oriented-Strand-Board-Surfaced, Polyisocyanurate-Foam Sheathing to Metal Roof Deck:  Steel drill screws, in type and length recommended by sheathing manufacturer for thickness of sheathing board to be attached, with organic-polymer or other corrosion-protective coating having a salt-spray resistance of more than 800 hours according to ASTM B 117.  Provide washers or plates if recommended by sheathing manufacturer.

2.9 WEATHER-RESISTANT SHEATHING PAPER

Usually retain this Article; a weather-resistant sheathing paper over sheathing is inexpensive and is required behind masonry veneers.  Delete Article if it will interfere with exterior insulation and finish systems or similar construction.  See "Weather-Resistive Barriers" Article in the Evaluations.

A. Building Paper:  ASTM D 226, Type 1 (No. 15 asphalt-saturated organic felt), unperforated.

Second option in paragraph below is based on "Super Jumbo Tex 60 Minute" by Fortifiber.

B. Building Paper:  UBC Standard 14-1, Grade D (water-vapor-permeable, kraft building paper)[.] [, except that water resistance shall be not less than 1 hour and water-vapor transmission shall be not less than 75 g/sq. m x 24 h.]

Retain paragraph above or first paragraph and applicable subparagraphs below.  Note that ASTM standard referenced below is for air retarders for low-rise buildings.  See Evaluations.

C. Building Wrap:  ASTM E 1677, Type I air retarder; with flame-spread and smoke-developed indexes of less than 25 and 450, respectively, when tested according to ASTM E 84; UV stabilized; and acceptable to authorities having jurisdiction.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Dow Chemical Company (The); Styrofoam Weathermate Plus Brand Housewrap.

b. DuPont (E. I. du Pont de Nemours and Company); Tyvek [CommercialWrap] [StuccoWrap] [HomeWrap] [HomeWrap and HeaderWrap].

c. Ludlow Coated Products; [Air Stop Housewrap] [Barricade Building Wrap] [EnergyWrap Housewrap] [R-Wrap Protective House Wrap].

d. Pactiv, Inc.; GreenGuard [Classic Wrap] [RainDrop] [Ultra Wrap] [Value Wrap].

e. Raven Industries Inc.; Rufco-Wrap.

f. Reemay, Inc.; Typar HouseWrap.

g. <Insert manufacturer's name; product name or designation.>

Coordinate permeance value retained or inserted in first subparagraph below with products selected.  Consult manufacturers' literature.

3. Water-Vapor Permeance:  Not less than [535] [152] [125] [63] <Insert number> g through 1 sq. m of surface in 24 hours per ASTM E 96, Desiccant Method (Procedure A).

4. Allowable UV Exposure Time:  Not less than three months.

D. Building-Wrap Tape:  Pressure-sensitive plastic tape recommended by building-wrap manufacturer for sealing joints and penetrations in building wrap.

2.10 SHEATHING JOINT-AND-PENETRATION TREATMENT MATERIALS

If desired and a separate weather-resistant barrier over sheathing is not required by authorities having jurisdiction, retain this Article.  See "Weather-Resistive Barriers" Article in the Evaluations.

A. Sealant for [Paper-Surfaced] [Glass-Mat] Gypsum Sheathing Board:  Elastomeric, medium-modulus, neutral-curing silicone joint sealant compatible with joint substrates formed by gypsum sheathing and other materials, recommended by sheathing manufacturer for application indicated, and complying with requirements for elastomeric sealants specified in Division 07 Section "Joint Sealants."

Retain paragraph above or first two paragraphs below.  If retaining above, verify compatibility with sheathing selected.

B. Sealant for [Paper-Surfaced] [Glass-Mat] Gypsum Sheathing Board:  Silicone emulsion sealant complying with ASTM C 834, compatible with sheathing tape and sheathing, and recommended by tape and sheathing manufacturers for use with glass-fiber sheathing tape and for covering exposed fasteners.

Product in first paragraph below is an open mesh tape for use with sealant in paragraph above.

C. Sheathing Tape for Glass-Mat Gypsum Sheathing Board:  Self-adhering glass-fiber tape, minimum 2 inches (50 mm) wide, 10 by 10 or 10 by 20 threads/inch (390 by 390 or 390 by 780 threads/m), of type recommended by sheathing and tape manufacturers for use with silicone emulsion sealant in sealing joints in glass-mat gypsum sheathing board and with a history of successful in-service use.

D. Sheathing Tape for Foam-Plastic Sheathing:  Pressure-sensitive plastic tape recommended by sheathing manufacturer for sealing joints and penetrations in sheathing.

2.11 MISCELLANEOUS MATERIALS

According to APA, only certain solvent-based glues are suitable for nonveneer panels with sealed surfaces and ends.

A. Adhesives for Field Gluing Panels to Framing:  Formulation complying with [APA AFG-01] [ASTM D 3498] that is approved for use with type of construction panel indicated by manufacturers of both adhesives and panels.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limits are those for subfloor adhesives and multipurpose construction adhesives, respectively.

1. Use adhesives that have a VOC content of [50] [70] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

B. Flexible Flashing:  Composite, self-adhesive, flashing product consisting of a pliable, rubberized-asphalt compound, bonded to a high-density, cross-laminated polyethylene film to produce an overall thickness of not less than [0.025 inch (0.6 mm)] [0.030 inch (0.8 mm)] [0.040 inch (1.0 mm)].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Carlisle Coatings & Waterproofing; CCW-705-TWF Thru-Wall Flashing.

b. Grace Construction Products, a unit of W. R. Grace & Co. - Conn.; [Vycor Plus Self-Adhered Flashing] [Vycor V40 Weather Barrier Strips].

c. MFM Building Products Corp.; Window Wrap.

d. Polyguard Products, Inc.; Polyguard 300.

e. Protecto Wrap Company; [BT-20 XL] [PS-45].

f. <Insert manufacturer's name; product name or designation.>

C. Primer for Flexible Flashing:  Product recommended by manufacturer of flexible flashing for substrate.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Do not use materials with defects that impair quality of sheathing or pieces that are too small to use with minimum number of joints or optimum joint arrangement.

B. Cut panels at penetrations, edges, and other obstructions of work; fit tightly against abutting construction, unless otherwise indicated.

C. Securely attach to substrate by fastening as indicated, complying with the following:

1. NES NER-272 for power-driven fasteners.

Retain one of six subparagraphs below, with or without subparagraph above, to comply with requirements of Project and local codes.

2. Table 2304.9.1, "Fastening Schedule," in ICC's "International Building Code."

3. Table 23-II-B-1, "Nailing Schedule," and Table 23-II-B-2, "Wood Structural Panel Roof Sheathing Nailing Schedule," in ICBO's "Uniform Building Code."

4. Table 2305.2, "Fastening Schedule," in BOCA's "BOCA National Building Code."

5. Table 2306.1, "Fastening Schedule," in SBCCI's "Standard Building Code."

6. Table R602.3(1), "Fastener Schedule for Structural Members," and Table R602.3(2), "Alternate Attachments," in ICC's "International Residential Code for One- and Two-Family Dwellings."

7. Table 602.3(1), "Fastener Schedule for Structural Members," and Table 602.3(2), "Alternate Attachments," in ICC's "International One- and Two-Family Dwelling Code."

Retain first paragraph below if wood framing is used.  Revise to indicate other kinds of nails if required.

D. Use common wire nails, unless otherwise indicated.  Select fasteners of size that will not fully penetrate members where opposite side will be exposed to view or will receive finish materials.  Make tight connections.  Install fasteners without splitting wood.

E. Coordinate [wall] [and] [roof] sheathing installation with flashing and joint-sealant installation so these materials are installed in sequence and manner that prevent exterior moisture from passing through completed assembly.

F. Do not bridge building expansion joints; cut and space edges of panels to match spacing of structural support elements.

G. Coordinate sheathing installation with installation of materials installed over sheathing so sheathing is not exposed to precipitation or left exposed at end of the workday when rain is forecast.

3.2 WOOD STRUCTURAL PANEL INSTALLATION

A. General:  Comply with applicable recommendations in APA Form No. E30S, "Engineered Wood Construction Guide," for types of structural-use panels and applications indicated.

B. Fastening Methods:  Fasten panels as indicated below:

Delete fastening methods not required.  Coordinate with building code requirements.

1. Combination Subfloor-Underlayment:

a. [Glue and nail] [Nail] to wood framing.

b. Screw to cold-formed metal framing.

c. Space panels 1/8 inch (3 mm) apart at edges and ends.

2. Subflooring:

a. [Glue and nail] [Nail] [Nail or staple] to wood framing.

b. Screw to cold-formed metal framing.

c. Space panels 1/8 inch (3 mm) apart at edges and ends.

3. Wall and Roof Sheathing:

A continuous bead of glue applied to framing at edges of wall sheathing panels will help seal panel joints so sheathing will function as an air barrier.

a. [Nail] [Nail or staple] to wood framing.[  Apply a continuous bead of glue to framing members at edges of wall sheathing panels.]

b. Screw to cold-formed metal framing.

c. Space panels 1/8 inch (3 mm) apart at edges and ends.

4. Underlayment:

a. [Nail] [Nail or staple] to subflooring.

b. Space panels 1/32 inch (0.8 mm) apart at edges and ends.

Delete subparagraph below if wood structural panels are not used as underlayment for resilient flooring.

c. Fill and sand edge joints of underlayment receiving resilient flooring right before installing flooring.

3.3 GYPSUM SHEATHING INSTALLATION

A. Comply with GA-253 and with manufacturer's written instructions.

Retain applicable subparagraph(s) below or insert requirements to suit Project.

1. Fasten gypsum sheathing to wood framing with [nails] [or] [screws].

2. Fasten gypsum sheathing to cold-formed metal framing with screws.

3. Install boards with a 3/8-inch (9.5-mm) gap where non-load-bearing construction abuts structural elements.

4. Install boards with a 1/4-inch (6.4-mm) gap where they abut masonry or similar materials that might retain moisture, to prevent wicking.

B. Apply fasteners so heads bear tightly against face of sheathing boards but do not cut into facing.

Revise first paragraph below if horizontally installed boards do not have tongue-and-groove edges.

C. Horizontal Installation:  Install sheathing with V-grooved edge down and tongue edge up.  Interlock tongue with groove to bring long edges in contact with edges of adjacent boards without forcing.  Abut ends of boards over centers of studs, and stagger end joints of adjacent boards not less than one stud spacing.  Attach boards at perimeter and within field of board to each steel stud.

1. Space fasteners approximately 8 inches (200 mm) o.c. and set back a minimum of 3/8 inch (9.5 mm) from edges and ends of boards.

Retain subparagraph above or below.  Delete below if not applicable or not permitted.

2. For sheathing under stucco cladding, boards may be initially tacked in place with screws if overlying self-furring metal lath is screw-attached through sheathing to studs immediately after sheathing is installed.

D. Vertical Installation:  Install board vertical edges centered over studs.  Abut ends and edges of each board with those of adjacent boards.  Attach boards at perimeter and within field of board to each stud.

1. Space fasteners approximately 8 inches (200 mm) o.c. and set back a minimum of 3/8 inch (9.5 mm) from edges and ends of boards.

Retain subparagraph above or below.  Delete below if not applicable or not permitted.

2. For sheathing under stucco cladding, boards may be initially tacked in place with screws if overlying self-furring metal lath is screw-attached through sheathing to studs immediately after sheathing is installed.

3.4 FIBERBOARD SHEATHING INSTALLATION

A. Comply with ASTM C 846 and with manufacturer's written instructions.

B. Fasten fiberboard sheathing panels to intermediate supports and then at edges and ends.  Use galvanized roofing nails[ or galvanized staples]; comply with manufacturer's recommended spacing and referenced fastening schedule.  Drive fasteners flush with surface of sheathing and locate perimeter fasteners at least 3/8 inch (9.5 mm) from edges and ends.

C. Install sheathing vertically with long edges parallel to, and centered over, studs.  Install solid wood blocking where end joints do not occur over framing.  Allow 1/8-inch (3-mm) open space between edges and ends of adjacent units.  Stagger horizontal joints if any.

D. Cover sheathing as soon as practical after installation to prevent deterioration from wetting.

3.5 FOAM-PLASTIC SHEATHING INSTALLATION

A. Comply with manufacturer's written instructions.

B. Foam-Plastic Wall Sheathing:  Install vapor-relief strips or equivalent for permitting escape of moisture vapor that otherwise would be trapped in stud cavity behind sheathing.

3.6 PARTICLEBOARD UNDERLAYMENT INSTALLATION

A. Comply with the National Particleboard Association's recommendations for type of subfloor indicated.  Fill and sand gouges, gaps, and chipped edges.  Sand uneven joints flush.

Insert specific nailing requirements to suit Project.

1. Fastening Method:  [Glue and nail] [Nail] [Nail or staple] underlayment to subflooring.

3.7 HARDBOARD UNDERLAYMENT INSTALLATION

A. Comply with AHA's "Application Instructions for Basic Hardboard Products" and with hardboard manufacturer's written instructions for preparing and applying hardboard underlayment.

1. Fastening Method:  [Nail] [Nail or staple] underlayment to subflooring.

Select one of first two articles below depending on method used to provide secondary weather barrier.

3.8 WEATHER-RESISTANT SHEATHING-PAPER INSTALLATION

A. General:  Cover sheathing with weather-resistant sheathing paper as follows:

1. Cut back barrier 1/2 inch (13 mm) on each side of the break in supporting members at expansion- or control-joint locations.

2. Apply barrier to cover vertical flashing with a minimum 4-inch (100-mm) overlap, unless otherwise indicated.

B. Building Paper:  Apply horizontally with a 2-inch (50-mm) overlap and a 6-inch (150-mm) end lap; fasten to sheathing with galvanized staples or roofing nails.

Retain paragraph above or paragraph and subparagraphs below to correspond with products retained in Part 2.

C. Building Wrap:  Comply with manufacturer's written instructions.

1. Seal seams, edges, fasteners, and penetrations with tape.

2. Extend into jambs of openings and seal corners with tape.

3.9 SHEATHING JOINT-AND-PENETRATION TREATMENT

Retain this Article if joints are sealed in lieu of using a weather-resistant barrier; verify requirements of authorities having jurisdiction.

A. Seal sheathing joints according to sheathing manufacturer's written instructions.

1. Apply elastomeric sealant to joints and fasteners and trowel flat.  Apply sufficient quantity of sealant to completely cover joints and fasteners after troweling.  Seal other penetrations and openings.

Retain subparagraph above or below if sealant is used with gypsum sheathing; coordinate with products retained in Part 2.  Subparagraph above is suitable for paper-surfaced or glass-mat gypsum sheathing.  Subparagraph below is suitable for glass-mat gypsum sheathing.

2. Apply glass-fiber sheathing tape to glass-mat gypsum sheathing board joints, and apply and trowel silicone emulsion sealant to embed entire face of tape in sealant.  Apply sealant to exposed fasteners with a trowel so fasteners are completely covered.  Seal other penetrations and openings.

Retain subparagraph below for taping joints in foam-plastic sheathing.

3. Apply sheathing tape to joints between foam-plastic sheathing panels and at items penetrating sheathing.  Apply at upstanding flashing to overlap both flashing and sheathing.

3.10 FLEXIBLE FLASHING INSTALLATION

A. Apply flexible flashing where indicated to comply with manufacturers written instructions.

1. Prime substrates as recommended by flashing manufacturer.

2. Lap seams and junctures with other materials at least 4 inches (100 mm), except that at flashing flanges of other construction, laps need not exceed flange width.

3. Lap flashing over weather-resistant building paper at bottom and sides of openings.

Delete first subparagraph below if head flashing is not used; see Evaluations.

4. Lap weather-resistant building paper over flashing at heads of openings.

5. After flashing has been applied, roll surfaces with a hard rubber or metal roller to ensure that flashing is completely adhered to substrates.

3.11 PROTECTION

A. Paper-Surfaced Gypsum Sheathing:  Protect sheathing by covering exposed exterior surface of sheathing with weather-resistant sheathing paper securely fastened to framing.  Apply covering immediately after sheathing is installed.

Insert requirements for removing protection if it does not become part of final assembly.  Paragraph above assumes that weather-resistant sheathing paper will be installed to comply with requirements for incorporating it into final assembly.

END OF SECTION 061600

SHEATHING
061600 - 1

