Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
08/04 (R 05/06)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 062013 - EXTERIOR FINISH CARPENTRY
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Exterior standing and running trim.

2. [Lumber] [Plywood] [Hardboard] siding.

3. [Plywood] [Hardboard] soffits.

4. Exterior [stairs] [and] [railings].

5. Exterior ornamental wood columns.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

Delete option in first subparagraph below if structural wood is not exposed to view.

1. Division 06 Section "Rough Carpentry" for furring, blocking, and other carpentry work not exposed to view[ and for structural wood decking and framing exposed to view].

2. Division 06 Section "Exterior Architectural Woodwork" for [shop-fabricated exterior woodwork] [exterior woodwork not specified in this Section].

3. Division 07 Section "Wood Shingles and Shakes."

4. Division 07 Section "Siding" for [aluminum] [fiber-cement] [vinyl] siding.

1.3 DEFINITIONS

A. Lumber grading agencies, and the abbreviations used to reference them, include the following:

Coordinate list below with product lists and delete those not required.  See the Evaluations in Division 06 Section "Finish Carpentry."

1. NeLMA:  Northeastern Lumber Manufacturers' Association.

2. NLGA:  National Lumber Grades Authority.

3. RIS:  Redwood Inspection Service.

4. SPIB:  The Southern Pine Inspection Bureau.

5. WCLIB:  West Coast Lumber Inspection Bureau.

6. WWPA:  Western Wood Products Association.

1.4 SUBMITTALS

Delete paragraph and subparagraphs below if not required, or supplement with list of products.

A. Product Data:  For each type of process and factory-fabricated product.  Indicate component materials, dimensions, profiles, textures, and colors and include construction and application details.

1. Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.  Indicate type of preservative used and net amount of preservative retained.  Include chemical treatment manufacturer's written instructions for finishing treated material.

Delete first subparagraph below if fire-retardant-treated wood is not required.

2. Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.

3. For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to Project site.

4. Include copies of warranties from chemical treatment manufacturers for each type of treatment.

Delete paragraph below if colors, profiles, and textures are specified or scheduled.

B. Samples for Initial Selection:  For each type of siding indicated.

Retain first paragraph and subparagraphs below with or without paragraph above.  If retaining below, delete items not needed for control of grain character, color, and finish, or expand to include other items.  Revise if other sizes are required.

C. Samples for Verification:

1. For each species and cut of lumber and panel products, with 1/2 of exposed surface finished; 50 sq. in. (300 sq. cm) for lumber and 8 by 10 inches (200 by 250 mm) for panels.

2. For exterior wood columns, include[ quarter-section] Samples of cap, base, and plinth; and 6-inch- (150-mm-) long[ quarter-section] Sample of shaft.[  Samples need not be same diameter as required columns.]

D. LEED Submittal:

Retain subparagraph and associated subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if lumber or other wood products are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

1. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that products specified to be made from certified wood comply with forest certification requirements.  Include evidence that mill is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Insert specific model code organization in first paragraph below or revise if report must be from another source.

E. Research/Evaluation Reports:  For fire-retardant-treated wood.

F. Compliance Certificates:

1. For lumber that is not marked with grade stamp.

2. For preservative-treated wood that is not marked with treatment quality mark.

3. For fire-retardant-treated wood that is not marked with classification marking of testing and inspecting agency.

G. Warranties:  Special warranties specified in this Section.

1.5 QUALITY ASSURANCE

This Article may be retained to specify lumber and other wood products made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  An alternative method of complying with Credit MR 7 requirement is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor the option and responsibility for determining how Credit MR 7 requirement will be met.

A. Forest Certification:  For the following wood products, provide materials produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship":

Coordinate list below with products retained in Part 2.  Delete items not required to be made from certified wood; verify that certified wood is available for each item before retaining.

1. Exterior standing and running trim.

2. Exterior [lumber] [plywood] [hardboard] siding.

3. Exterior [plywood] [hardboard] soffits.

4. Exterior [stairs] [and] [railings].

5. Exterior ornamental wood columns.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Protect materials against weather and contact with damp or wet surfaces.  Stack lumber, plywood, and other panels flat with spacers between each bundle to provide air circulation.  Provide for air circulation within and around stacks and under temporary coverings.

1.7 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit work to be performed and at least one coat of specified finish can be applied without exposure to rain, snow, or dampness.

1. For exterior ornamental wood columns, comply with manufacturer's written instructions and warranty requirements.

B. Do not install finish carpentry materials that are wet, moisture damaged, or mold damaged.

1. Indications that materials are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

2. Indications that materials are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

1.8 WARRANTY

Delete this Article if not applicable.  When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

Paragraph below is based on Vycom Corp.'s standard warranty and warrants product against types of deterioration that generally do not occur in solid plastics.  Paragraph may be of little value except to help eliminate substitution of materials that are not equivalent.

A. Special Warranty for Cellular PVC Trim:  Manufacturer's standard form, signed by manufacturer, Installer, and Contractor, in which manufacturer agrees to repair or replace trim that fails due to defects in manufacturing within specified warranty period.  Failures include, but are not limited to rotting, corrosion, delamination, and excessive swelling from moisture.

Verify available warranties and insert number in subparagraph below.

1. Warranty Period:  [25] <Insert number> years from date of Substantial Completion.

In first paragraph and subparagraphs below, verify availability of warranties for hardboard siding and trim with manufacturers selected; not all manufacturers offer warranties.  Do not include unrealistic warranty requirements.

B. Special Warranty for Hardboard Siding[ and Trim]:  Manufacturer's standard form, signed by manufacturer, Installer, and Contractor, in which manufacturer agrees to repair or replace siding that fails in materials or workmanship within specified warranty period.  Failures include, but are not limited to, deformation or deterioration beyond normal weathering.

Subparagraphs below are examples only.  Verify terms of warranties with manufacturers selected and revise to suit Project.

1. Warranty Period for Factory-Applied Finish:  [Five] <Insert number> years from date of Substantial Completion.

2. Warranty Period for Siding[ and Trim] (Excluding Finish):  [25] <Insert number> years from date of Substantial Completion.

C. Special Warranty for Columns:  Manufacturer's standard form, signed by manufacturer, Installer, and Contractor, in which manufacturer agrees to repair or replace columns that fail in materials or workmanship within specified warranty period.

Subparagraph below is an example only.  Verify terms of warranties with manufacturers selected and revise to suit Project.

1. Warranty Period for Columns:  [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS, GENERAL

Delete paragraphs in this Article for materials not used.

A. Lumber:  DOC PS 20 and applicable grading rules of inspection agencies certified by ALSC's Board of Review.

1. Factory mark each piece of lumber with grade stamp of inspection agency indicating grade, species, moisture content at time of surfacing, and mill.

Delete option in subparagraph below if authorities having jurisdiction require grade stamps on all materials.

2. For exposed lumber, mark grade stamp on end or back of each piece[, or omit grade stamp and provide certificates of grade compliance issued by inspection agency].

B. Softwood Plywood:  DOC PS 1.

C. Hardboard:  AHA A135.4.

2.2 WOOD-PRESERVATIVE-TREATED MATERIALS

Delete this Article if not applicable.  See the Evaluations in Division 06 Section "Finish Carpentry" for a discussion of preservative formulations.

A. Water-Repellent Preservative Treatment by Nonpressure Process:  AWPA N1 (dip, spray, flood, or vacuum-pressure treatment).

Substitute other formulations for one in first subparagraph below only after verifying availability and compliance with environmental and regulatory controls in effect at Project location.  Retain option if resistance to wood-destroying insects is also required.

1. Preservative Chemicals:  3-iodo-2-propynyl butyl carbamate (IPBC)[, combined with an insecticide containing chloropyrifos (CPF)].

2. Use chemical formulations that do not bleed through or otherwise adversely affect finishes.  Do not use colorants in solution to distinguish treated material from untreated material.

3. Application:  Items not required to be pressure-preservative treated.

Retain subparagraph above or below.

4. Application:  [Exterior trim] [and] [wood siding] <Insert application>.

B. Preservative Treatment by Pressure Process:

1. Lumber:  AWPA C2[ except that lumber that is not in contact with the ground and is continuously protected from liquid water may be treated according to AWPA C31 with inorganic boron (SBX)].  Kiln dry after treatment to a maximum moisture content of 19 percent.

Maximum moisture contents specified in subparagraph above and below are standard limits for preservative-treated lumber and plywood that are kiln dried after treatment.

2. Plywood:  AWPA C9.  Kiln dry after treatment to a maximum moisture content of 18 percent.

See the Evaluations in Division 06 Section "Finish Carpentry" for information about treatment chemicals.

3. Preservative Chemicals:  Acceptable to authorities having jurisdiction[ and containing no arsenic or chromium].

4. For exposed items indicated to receive transparent finish, do not use chemical formulations that contain colorants or that bleed through or otherwise adversely affect finishes.

5. Do not use material that is warped or does not comply with requirements for untreated material.

6. Mark lumber with treatment quality mark of an inspection agency approved by ALSC's Board of Review.

Select only first option in first subparagraph below if authorities having jurisdiction require classification marking on all materials.

a. For exposed lumber indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

7. Mark plywood with appropriate classification marking of an inspection agency acceptable to authorities having jurisdiction.

a. For exposed plywood indicated to receive a stained or natural finish, mark back of each piece.

Unless all exterior lumber and plywood is required to be pressure-preservative treated, insert list of items to be treated in subparagraph below or indicate on Drawings or in other Part 2 articles where they are specified.

8. Application:  [Where indicated] [All exterior lumber and plywood] <Insert application>.

2.3 FIRE-RETARDANT-TREATED MATERIALS

Delete this Article if not applicable.

A. Lumber:  Comply with performance requirements in AWPA C20, Exterior type.  Kiln dry after treatment to a maximum moisture content of 19 percent.

Maximum moisture contents specified in paragraph above and below are standard limits for fire-retardant-treated lumber and plywood that are kiln dried after treatment.

B. Plywood:  Comply with performance requirements in AWPA C27, Exterior type.  Kiln dry after treatment to a maximum moisture content of 15 percent.

Delete first paragraph below if no items are to receive a stained or natural finish.

C. For exposed items indicated to receive a stained or natural finish, use chemical formulations that do not contain colorants and provide materials that do not have marks from spacer sticks on the exposed face.

D. Do not use material that does not comply with requirements for untreated material or is warped or discolored.

E. Identify fire-retardant-treated wood with appropriate classification marking of testing and inspecting agency acceptable to authorities having jurisdiction.

Select only first option in first subparagraph below if authorities having jurisdiction require classification marking on all materials.

1. For exposed lumber indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

2. For exposed plywood indicated to receive a stained or natural finish, mark back of each piece.

Unless all exterior lumber and plywood is required to be fire-retardant treated, insert list of items to be treated in paragraph below or indicate on Drawings or in other Part 2 articles where they are specified.

F. Application:  [Where indicated] [All exterior lumber and plywood] <Insert application>.

2.4 STANDING AND RUNNING TRIM

For hardboard trim, see "Hardboard Siding" Article.

A. Lumber Trim for [Semitransparent-Stained Finish] [Clear Finish] [Unfinished Applications]:

Select and edit, if required, one or more of four subparagraphs below to suit Project.  Verify local availability before selecting species and grade.

1. Species and Grade:  Redwood, [Clear All Heart] [Hart B] [Clear] [Grade B]; RIS.

2. Species and Grade:  Western red cedar, [Clear Heart VG (Vertical Grain)] [Clear Heart] [Grade A] [Grade B]; NLGA, WCLIB, or WWPA.

3. Species and Grade:  Hem-fir, pressure-preservative treated; [1] [2] Common; NLGA, WCLIB, or WWPA.

4. Species and Grade:  Southern pine, pressure-preservative treated; [B & B] [C & Btr] [D]; SPIB.

Maximum moisture content for seasoned or kiln-dried, board-size lumber varies depending on species, grade, and grading agency.  See the Evaluations in Division 06 Section "Finish Carpentry." Pressure-preservative-treated lumber is usually specified to have a maximum moisture content of 19 percent.

5. Maximum Moisture Content:  [19] [15] percent[ with at least 85 percent of shipment at 12 percent or less].

Allowing finger-jointed material may not be advisable because some mills do not use exterior-type glue.

6. Finger Jointing:  [Not allowed] [Allowed if made with wet-use adhesive complying with ASTM D 5572].

7. Face Surface:  [Surfaced (smooth)] [Saw textured].

B. Lumber Trim for [Opaque-Stained] [Painted] Finish:

Select and edit, if required, one or more of five subparagraphs below to suit Project.  Verify local availability before selecting species and grade.

1. Species and Grade:  Redwood, [Clear] [Grade B]; RIS.

2. Species and Grade:  Western red cedar, Grade [A] [B]; NLGA, WCLIB, or WWPA.

3. Species and Grade:  Hem-fir, [Prime or D finish] [1 Common] [2 Common]; NLGA, WCLIB, or WWPA.

4. Species and Grade:  Eastern white pine, eastern hemlock-balsam fir-tamarack, eastern spruce, or white woods; [D Select (Quality)] [Finish or 1 Common (Colonial)] [Premium or 2 Common (Sterling)]; NeLMA, NLGA, WCLIB, or WWPA.

5. Species and Grade:  Northern white cedar, [D Select] [1 Common] [2 Common]; NeLMA or NLGA.

Maximum moisture content for seasoned or kiln-dried, board-size lumber varies depending on species, grade, and grading agency.  See the Evaluations in Division 06 Section "Finish Carpentry."

6. Maximum Moisture Content:  [19] [15] percent[ with at least 85 percent of shipment at 12 percent or less].

Allowing finger-jointed material may not be advisable because some mills do not use exterior-type glue.

7. Finger Jointing:  [Not allowed] [Allowed if made with wet-use adhesive complying with ASTM D 5572].

8. Face Surface:  [Surfaced (smooth)] [Saw textured].

C. Moldings for [Semitransparent-Stained Finish] [Clear Finish] [Unfinished Applications]:  WMMPA WM 4, N-grade wood moldings, without finger jointing.  Made from kiln-dried stock to patterns included in WMMPA WM 12.

1. Species:  [Redwood] [Western red cedar] [Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine].

Four subparagraphs below are examples of molding patterns that might be specified.  Delete all if moldings are sufficiently detailed on Drawings; otherwise, delete those not required and revise or add others to suit Project.  See WMMPA WM 7 for additional patterns.

2. Brick-Mold Pattern:  WM 180, 1-1/4 by 2 inches (32 by 51 mm).

3. Drip-Cap Pattern:  WM 197, 11/16 by 1-5/8 inches (17 by 41 mm).

4. Bed-Mold Pattern:  WM 75, 9/16 by 1-5/8 inches (14 by 41 mm).

5. Screen-Bead Pattern:  WM 144, 1/4 by 3/4 inch (6 by 19 mm).

D. Moldings for [Opaque-Stained] [Painted] Finish:  WMMPA WM 4, P-grade wood moldings.  Made from kiln-dried stock to patterns included in WMMPA WM 12.

1. Species:  [Redwood] [Western red cedar] [Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine] <Insert species>.

Allowing finger-jointed material may not be advisable because some mills do not use exterior-type glue.

2. Finger Jointing:  [Not allowed] [Allowed if made with wet-use adhesive complying with ASTM D 5572].

Four subparagraphs below are examples of molding patterns that might be specified.  Delete all if moldings are sufficiently detailed on Drawings; otherwise, delete those not required and revise or add others to suit Project.  See WMMPA WM 7 for additional patterns.

3. Brick-Mold Pattern:  WM 180, 1-1/4 by 2 inches (32 by 51 mm).

4. Drip-Cap Pattern:  WM 197, 11/16 by 1-5/8 inches (17 by 41 mm).

5. Bed-Mold Pattern:  WM 75, 9/16 by 1-5/8 inches (14 by 41 mm).

6. Screen-Bead Pattern:  WM 144, 1/4 by 3/4 inch (6 by 19 mm).

E. MDO Trim:  Exterior Grade B-B, MDO plywood.

F. Cellular PVC Trim:  Extruded, expanded PVC with a small-cell microstructure, made from UV- and heat-stabilized, rigid material.

See Editing Instruction No. 1 in the Evaluations in Division 06 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

Products listed below do not have equal physical properties; verify acceptability of each before retaining.

a. Ply-Trim, Inc.; DuraBoard.

b. Royal Mouldings Limited; Pro Series Exterior Mouldings.

c. Vycom Corp.; Azek.

d. <Insert manufacturer's name; product name or designation.>

Revise values in five subparagraphs below to match those for products selected and add other physical properties if desired.

3. Density:  Not less than 31 lb/cu. ft. (500 kg/cu. m).

4. Heat Deflection Temperature:  Not less than 130 deg F (54 deg C), per ASTM D 648.

5. Coefficient of Thermal Expansion:  Not more than 4.5 x 10-5 inches/inch x deg F (8.1 x 10-5 mm/mm x deg C).

6. Water Absorption:  Not more than 1 percent, per ASTM D 570.

7. Flame-Spread Index:  75 or less, per ASTM E 84.

G. Foam Plastic Moldings:  Molded product of shapes indicated, with a tough outer skin on exposed surfaces; factory primed.  Exposed surfaces shall not be shaped after molding.  Product is recommended by manufacturer for exterior use.

See Editing Instruction No. 1 in the Evaluations in Division 06 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of three subparagraphs and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

3. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Before retaining manufacturers, verify that their products comply with specified requirements, including those of authorities having jurisdiction.

a. Architectural Moldings Ltd.; Balmer Architectural Mouldings Division.

b. Century Architectural Specialties LLC.

c. Focal Point Architectural Products.

d. Fypon Ltd.

e. <Insert manufacturer's name.>

Requirements in four subparagraphs below are based on requirements in the 2003 IBC for interior foam plastic trim.

4. Density:  Not less than 20 lb/cu. ft. (320 kg/cu. m).

5. Flame-Spread Index:  Not more than [75] <Insert number> when tested according to ASTM E 84.

6. Thickness:  Not more than 1/2 inch (12.7 mm).

7. Width:  Not more than 8 inches (204 mm).

Retain subparagraph below or insert subparagraphs for various types of moldings required (such as crown molding, picture molding, etc.).

8. Patterns:  [As indicated by manufacturer's designations] [Match Architect's samples].

2.5 LUMBER SIDING

A. Provide kiln-dried lumber siding complying with DOC PS 20[, factory coated with exterior alkyd primer].

Select and edit, if required, one of seven paragraphs below to suit Project.  Verify local availability before selecting species and grade.  Siding species and grades are examples only.

B. Species and Grade:  [Clear All Heart VG] [Clear All Heart] [Clear VG (Vertical Grain)] [Clear] [Grade B] redwood; RIS.

C. Species and Grade:  [Clear VG (Vertical Grain) Heart] [Grade A] [Grade B] western red cedar; NLGA, WCLIB, or WWPA.

D. Species and Grade:  Grade [1] [2] Common spruce-pine-fir; NeLMA, NLGA, WCLIB, or WWPA.

E. Species and Grade:  Grade [Prime or D finish] [1 Common] [2 Common], pressure-preservative-treated hem-fir; NLGA, WCLIB, or WWPA.

F. Species and Grade:  Grade [D Select (Quality)] [Finish or 1 Common (Colonial)] [Premium or 2 Common (Sterling)] eastern white pine, eastern hemlock-balsam fir-tamarack, eastern spruce, or white woods; NeLMA, NLGA, WCLIB, or WWPA.

G. Species and Grade:  Grade [D Select] [1 Common] [2 Common] northern white cedar; NeLMA or NLGA.

H. Species and Grade:  Grade [B & B] [C & Btr] [D] [1 Common] [2 Common], pressure-preservative-treated southern pine; SPIB.

Many siding patterns and sizes are available.  Options in three paragraphs below are examples only.  Sizes are from DOC PS 20; other sizes are available.

I. Pattern:  Bevel siding, S1S2E, actual overall dimensions of [5-1/2 by 11/16 inch (140 by 17 mm)] [5-1/2 by 3/4 inch (140 by 19 mm)] [7-1/4 by 3/4 inch (184 by 19 mm)] [9-1/4 by 3/4 inch (235 by 19 mm)] [9-1/4 by 1-3/32 inches (235 by 28 mm)], measured on the face and thick edge at 19 percent moisture content.

J. Pattern:  Drop siding, SPIB or WWPA pattern No. 105, actual face width (coverage) and thickness of [4-7/8 by 9/16 inch (124 by 14 mm)] [4-7/8 by 23/32 inch (124 by 18 mm)] [6-5/8 by 23/32 inch (168 by 18 mm)] [8-5/8 by 23/32 inch (219 by 18 mm)], measured at 19 percent moisture content.

K. Pattern:  V-edge, smooth-faced tongue-and-groove pattern with eased edges, actual face width (coverage) and thickness of [3-1/8 by 9/16 inch (79 by 14 mm)] [3-1/8 by 23/32 inch (79 by 18 mm)] [5-1/8 by 23/32 inch (130 by 18 mm)] [6-7/8 by 23/32 inch (175 by 18 mm)], measured at 19 percent moisture content.

2.6 PLYWOOD SIDING

See Editing Instruction No. 1 in the Evaluations in Division 06 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of first two paragraphs and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Georgia-Pacific Corp.

2. Hardel Mutual Plywood Corporation.

3. International Paper Company.

4. K Ply Inc.

5. McKenzie Forest Products.

6. Pacific Wood Laminates, Inc.

7. Plum Creek Timber Company, Inc.

8. Roseburg Forest Products Co.

9. Roy O. Martin Lumber Management, L.L.C.

10. SDS Lumber Company; Bingen Plywood Division.

11. Stimson Lumber Company, Inc.

12. Swanson Group; Plywood Division.

13. Textured Forest Products, Inc.

14. <Insert manufacturer's name.>

C. Plywood Type:  APA-rated siding[, pressure-preservative treated] [, factory coated with exterior acrylic latex stain], in panel sizes indicated.

Retain one of two subparagraphs below; face grades are examples only.  Face grades in first subparagraph are clear (OC), medium-density overlay (OL), natural rustic (NR), and synthetic rustic (SR).  Face grades in second subparagraph designate type and number of patches allowed ("303-6-S/W" means 6 synthetic or wood patches allowed per panel).  Not all thicknesses, grades, and species are always available; verify local availability before specifying.

1. Face Grade:  303-[OC] [OL] [NR] [SR].

2. Face Grade:  303-[6] [18] [30]-[S] [W] [S/W].

Select one option in first paragraph below.  Not all thicknesses, grades, and species are always available; verify local availability before specifying.  Plain, rough-sawn plywood is available in all thicknesses listed below; channel groove, in all but 19/32 and 5/8 inch (15.1 and 15.9 mm); and Texture 1-11 and reverse board-and-batten, only in 19/32 and 5/8 inch (15.1 and 15.9 mm).

D. Thickness:  [11/32 inch (8.7 mm)] [3/8 inch (9.5 mm)] [15/32 inch (11.9 mm)] [1/2 inch (12.7 mm)] [19/32 inch (15.1 mm)] [5/8 inch (15.9 mm)] [As indicated].

E. Face Species:  [Southern pine] [Douglas fir] [Western red cedar] [Redwood].

F. Pattern:  [Plain.] [Channel groove; grooves 4 inches (101.6 mm) o.c.] [Texture 1-11; grooves 4 inches (101.6 mm) o.c.] [Reverse board-and-batten; grooves 12 inches (304.8 mm) o.c.]

G. Surface:  [Smooth] [Rough sawn].

2.7 HARDBOARD SIDING

See Editing Instruction No. 1 in the Evaluations in Division 06 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of first two paragraphs and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Collins Products LLC; Collins Companies, Inc. (The).

2. Georgia-Pacific Corp.

3. Louisiana-Pacific Corporation.

4. Temple-Inland Inc.

5. <Insert manufacturer's name.>

C. Hardboard Siding:  AHA A135.6, primed with manufacturer's standard exterior primer.

First six subparagraphs below are examples only; select one and edit, if required, to suit Project.

1. Type:  7/16-inch- (11-mm-) thick-by-[6-inch- (152-mm-)] [8-inch- (203-mm-)] wide lap siding.

2. Type:  1/2-inch- (12.7-mm-) thick-by-8-inch- (203-mm-) wide, beaded-edge lap siding.

3. Type:  7/16-inch- (11-mm-) thick, shiplap-edge panels; with grooves 3-5/8 inches (92 mm) o.c., simulating wood drop siding.

4. Type:  1/2-inch- (12.7-mm-) thick, shiplap-edge panels; with grooves 5-1/2 inches (140 mm) o.c., simulating wood drop siding.

5. Type:  7/16-inch- (11-mm-) thick, square-edge flat panels; without grooves.

6. Type:  7/16-inch- (11-mm-) thick, shiplap-edge panels; channel grooved with grooves 8 inches (203.2 mm) o.c.

7. Texture:  [Smooth] [Wood grain] [Shingle] [Stucco].

D. Primed Hardboard Trim:  High-temperature-cured, high-resin, wood-fiber composite; factory primed on faces and edges.  Recommended by manufacturer for exterior use.

Retain one of three options in paragraph below; if retaining first, indicate colors, textures, and patterns in a separate schedule.

E. Colors, Textures, and Patterns:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.8 PLYWOOD SOFFITS

See Editing Instruction No. 1 in the Evaluations in Division 06 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of first two paragraphs and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Georgia-Pacific Corp.

2. Hardel Mutual Plywood Corporation.

3. International Paper Company.

4. K Ply Inc.

5. McKenzie Forest Products.

6. Pacific Wood Laminates, Inc.

7. Plum Creek Timber Company, Inc.

8. Roseburg Forest Products Co.

9. Roy O. Martin Lumber Management, L.L.C.

10. SDS Lumber Company; Bingen Plywood Division.

11. Stimson Lumber Company, Inc.

12. Swanson Group; Plywood Division.

13. Textured Forest Products, Inc.

14. <Insert manufacturer's name.>

C. Plywood Type:  Exterior, [Grade A-C] [Grade B-C] [Grade C-C, plugged and touch sanded] [APA-rated siding].

If selecting last option in paragraph above, retain one of two subparagraphs below; face grades are examples only.  Face grades in first subparagraph are clear (OC), medium-density overlay (OL), natural rustic (NR), and synthetic rustic (SR).  Face grades in second subparagraph designate type and number of patches allowed ("303-6-S/W" means 6 synthetic or wood patches allowed per panel).  Not all thicknesses, grades, and species are always available; verify local availability before specifying.

1. Face Grade:  303-[OC] [OL] [NR] [SR].

2. Face Grade:  303-[6] [18] [30]-[S] [W] [S/W].

Select one option in first paragraph below.  Not all thicknesses, grades, and species are always available; verify local availability before specifying.  Plain, rough-sawn plywood is available in all thicknesses listed below; channel groove, in all but 19/32 inch (15.1 mm); and Texture 1-11, only in 19/32 inch (15.1 mm).

D. Thickness:  [11/32 inch (8.7 mm)] [3/8 inch (9.5 mm)] [15/32 inch (11.9 mm)] [1/2 inch (12.7 mm)] [19/32 inch (15.1 mm)] [As indicated].

E. Face Species:  [Southern pine] [Douglas fir] [Western red cedar] [Redwood].

F. Pattern:  [Plain.] [Channel groove; grooves 4 inches (101.6 mm) o.c.] [Texture 1-11; grooves 4 inches (101.6 mm) o.c.]

G. Surface:  [Smooth] [Rough sawn].

2.9 HARDBOARD SOFFITS

A. Hardboard Soffits:  Primed hardboard, complying with AHA A135.6, with manufacturer's standard exterior primer.

1. Type:  [7/16-inch- (11-mm-)] [1/2-inch- (12.7-mm-)] thick flat panels, [smooth] [wood-grain textured] [stucco textured].

Retain one of three options in paragraph below.  If retaining first, indicate colors, textures, and patterns in a separate schedule.

B. Colors, Textures, and Patterns:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.10 STAIRS AND RAILINGS

A. Stairs:

Revise thickness in first subparagraph below to 1 inch (25 mm) if required.

1. Treads:  1-1/4-inch (32-mm) thick, kiln-dried, pressure-preservative-treated stepping with half-round or rounded edge nosing.

a. Species and Grade:  [Douglas fir, C & Btr VG (Vertical Grain) stepping; NLGA, WCLIB, or WWPA] [Hem-fir, C & Btr VG (Vertical Grain) stepping; NLGA, WCLIB, or WWPA] [Southern pine, B & B stepping; SPIB].

2. Risers:  3/4-inch (19-mm) thick, kiln-dried, pressure-preservative-treated finish boards.

a. Species and Grade:  [Douglas fir, C & Btr or Superior finish; NLGA, WCLIB, or WWPA] [Hem-fir, C & Btr or Superior finish; NLGA, WCLIB, or WWPA] [Southern pine, B & B; SPIB].

B. Railings:  Clear, kiln-dried, solid, [yellow poplar] [pressure-preservative-treated Douglas fir] [pressure-preservative-treated southern pine]; railing stock of pattern indicated.

Revise size in first paragraph below to suit Project.

C. Balusters:  1-1/16-inch- (27-mm-) square, clear, kiln-dried, solid [yellow poplar][, pressure-preservative-treated Douglas fir][, pressure-preservative-treated southern pine].

D. Newel Posts:  Clear, kiln-dried, [yellow poplar] [pressure-preservative-treated, Douglas fir] [pressure-preservative-treated, southern pine], turned newel posts of pattern and size indicated.

Select paragraph above or below.  If retaining below, revise size to suit Project.

E. Newel Posts:  2-3/4-inch- (70-mm-) square, clear, kiln-dried [yellow poplar][, pressure-preservative-treated Douglas fir][, pressure-preservative-treated southern pine]; either solid or laminated.

2.11 ORNAMENTAL WOOD COLUMNS

See Editing Instruction No. 1 in the Evaluations in Division 06 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of first two paragraphs and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Chadsworth's Incorporated.

2. Hartmann-Sanders.

3. Melton Classics Incorporated.

4. Schwerd, A. F. Manufacturing Co. Inc.

5. Somerset Door & Column Company.

6. Turncraft Div.; Cascade Wood Products, Inc.

7. Worthington.

8. <Insert manufacturer's name.>

C. Factory fabricate columns from clear stock, either solid or finger jointed, with a moisture content of not more than [15] [19] percent.

1. Wood Species:  [Redwood] [Western red cedar] [Eastern white, Idaho white, lodgepole, ponderosa, or sugar pine]

Delete option in paragraph below if no columns are fluted.  If retaining, show flutes on Drawings.

D. Shafts:  Built up from tongue-and-groove staves joined with waterproof glue.  Lathe turn shafts to provide base diameter indicated and true architectural entasis taper.[  Precisely mill flutes as indicated.]

Select one of two options in first paragraph below; first is less expensive.  Detail capital and base on Drawings.

E. Capital and Base:  [Molded glass-fiber-reinforced plastic] [Built up from wood components with waterproof glue.  Turn circular elements on lathes].

F. Plinths:  Cast-aluminum or molded glass-fiber-reinforced plastic, constructed to ventilate the interior of column shaft.

G. Treatment and Finishing:

1. Treat wood columns with water-repellant preservative by nonpressure process.

2. Coat inside of column shafts with bituminous mastic.

Delete subparagraph below if opaque-finished columns are not used.

3. Prime columns with two coats of exterior alkyd wood primer compatible with specified topcoats.

2.12 MISCELLANEOUS MATERIALS

A. Fasteners for Exterior Finish Carpentry:  Provide nails or screws, in sufficient length to penetrate not less than 1-1/2 inches (38 mm) into wood substrate.

Delete materials and applications in five subparagraphs below not required.

Delete subparagraph below if countersunk sinker nails are used for fastening siding.  Nails specified in subparagraph below provide better holding power.

1. For face-fastening siding, provide ringed-shank siding nails[ unless hot-dip galvanized nails are used].

California Redwood Association recommends stainless-steel fasteners or hot-dip galvanized fasteners.

2. For redwood, provide [brass/bronze] [stainless-steel] [hot-dip galvanized steel] fasteners.

3. For prefinished items, provide matching prefinished aluminum fasteners where face fastening is required.

4. For pressure-preservative-treated wood, provide [stainless-steel] [hot-dip galvanized steel] fasteners.

5. For applications not otherwise indicated, provide [stainless-steel] [hot-dip galvanized steel] [or] [aluminum] fasteners.

Delete first paragraph below if not required; resorcinol glue is primarily used for stair construction.

B. Wood Glue:  Waterproof resorcinol glue recommended by manufacturer for exterior carpentry use.

C. Adhesive for Cellular PVC Trim:  Product recommended by trim manufacturer.

D. Flashing:  Comply with requirements in Division 07 Section "Sheet Metal Flashing and Trim" for flashing materials installed in exterior finish carpentry.

Delete subparagraph below if no plywood or hardboard panel siding or if flashing is not used.  Stainless-steel flashing should be used if siding is preservative treated.

1. Horizontal Joint Flashing for Panel Siding:  Preformed, [galvanized steel] [aluminum] [prefinished aluminum] [stainless-steel], Z-shaped flashing.

E. Insect Screening for Soffit Vents:  [Aluminum, 18-by-16 (1.4-by-1.6-mm) mesh] [PVC-coated glass-fiber fabric, 18-by-14 (1.4-by-1.8-mm) or 18-by-16 (1.4-by-1.6-mm) mesh] [Stainless steel, 18-by-18 (1.4-by-1.4-mm) mesh].

F. Continuous Soffit Vents:  Aluminum hat channel shape with [stamped louvers] [perforations], 2 inches (51 mm) wide, and in lengths not less than 96 inches (2438 mm).

1. Net Free Area:  [4 sq. in./linear ft. (280 sq. cm/m)] [6 sq. in./linear ft. (420 sq. cm/m)] [8 sq. in./linear ft. (560 sq. cm/m)] <Insert value>.

2. Finish:  [Mill finish] [White paint] [Brown paint] <Insert description>.

G. Round Soffit Vents:  Stamped aluminum louvered vents, [2 inches (51 mm)] [2-1/2 inches (64 mm)] [3 inches (76 mm)] [4 inches (102 mm)] <Insert size> in diameter, made to be inserted into round holes cut into soffit.

1. Finish:  [Mill finish] [White paint] [Brown paint] <Insert description>.

Revise paragraph below to specify an elastomeric sealant if considered necessary or to specify another type or grade of latex sealant.  ASTM C 834 includes Type P (opaque sealants containing color or extended pigments), Type C (clear or translucent sealants), Grade NF (does not have to be tested for low-temperature flexibility), Grade minus 18 deg C, and Grade 0 deg C (must meet requirements for flexibility at minus 18 deg C and 0 deg C, respectively).

H. Sealants:  Latex, complying with ASTM C 834, [Type P, Grade NF] <Insert type and grade> and with applicable requirements in Division 07 Section "Joint Sealants," recommended by sealant manufacturer and manufacturer of substrates for intended application.

See Editing Instruction No. 1 in the Evaluations in Division 06 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Bostik Findley; Chem-Calk 600.

b. Pecora Corporation; AC-20+.

c. Schnee-Morehead, Inc.; SM 8200.

d. Sonneborn, Division of ChemRex Inc.; Sonolac.

e. Tremco; Tremflex 834.

f. <Insert manufacturer's name; product name or designation.>

2.13 FABRICATION

A. Back out or kerf backs of standing and running trim wider than 5 inches (125 mm), except members with ends exposed in finished work.

Revise paragraph below to describe conditions where eased edges are required.  Delete if eased edges are not required.

B. Ease edges of lumber less than 1 inch (25 mm) in nominal thickness to 1/16-inch (1.5-mm) radius and edges of lumber 1 inch (25 mm) or more in nominal thickness to 1/8-inch (3-mm) radius.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance.

B. Examine finish carpentry materials before installation.  Reject materials that are wet, moisture damaged, and mold damaged.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean substrates of projections and substances detrimental to application.

B. Prime lumber to be painted, including both faces and edges.  Cut to required lengths and prime ends.  Comply with requirements in Division 09 Section "Exterior Painting."

3.3 INSTALLATION, GENERAL

A. Do not use materials that are unsound, warped, improperly treated or finished, inadequately seasoned, or too small to fabricate with proper jointing arrangements.

Delete subparagraph below if no manufactured units.

1. Do not use manufactured units with defective surfaces, sizes, or patterns.

B. Install exterior finish carpentry level, plumb, true, and aligned with adjacent materials.  Use concealed shims where necessary for alignment.

1. Scribe and cut exterior finish carpentry to fit adjoining work.  Refinish and seal cuts as recommended by manufacturer.

Revise tolerances in subparagraph below to suit Project.

2. Install to tolerance of 1/8 inch in 96 inches (3 mm in 2438 mm) for level and plumb.  Install adjoining exterior finish carpentry with 1/32-inch (0.8-mm) maximum offset for flush installation and 1/16-inch (1.5-mm) maximum offset for reveal installation.

First subparagraph below, which is based on NFPA 101 requirements, is an example only.  Revise if more stringent tolerances are required.  Coordinate with framing requirements for stairs in Division 06 Section "Rough Carpentry."

3. Install stairs with no more than 3/16-inch (4.7-mm) variation between adjacent treads and risers and with no more than 3/8-inch (9.5-mm) variation between largest and smallest treads and risers within each flight.

4. Coordinate exterior finish carpentry with materials and systems in or adjacent to it.  Provide cutouts for mechanical and electrical items that penetrate exterior finish carpentry.

3.4 STANDING AND RUNNING TRIM INSTALLATION

A. Install flat grain lumber with bark side exposed to weather.

B. Install cellular PVC trim to comply with manufacturer's written instructions.

C. Install trim with minimum number of joints practical, using full-length pieces from maximum lengths of lumber available.  Do not use pieces less than 24 inches (610 mm) long except where necessary.

1. Use scarf joints for end-to-end joints.

2. Stagger end joints in adjacent and related members.

D. Fit exterior joints to exclude water.  Cope at returns and miter at corners to produce tight-fitting joints with full-surface contact throughout length of joint.  Plane backs of casings to provide uniform thickness across joints, where necessary for alignment.

E. Unless otherwise indicated, countersink fasteners, fill surface flush, and sand where face fastening is unavoidable.

3.5 SIDING INSTALLATION

Delete option in paragraph below if no siding warranty.

A. Install siding to comply with manufacturer's written instructions[ and warranty requirements].

Delete siding types in first four paragraphs below not required.

B. Horizontal Lumber Siding:  Apply starter strip along bottom edge of sheathing or sill.  Install first course of siding with lower edge at least 1/8 inch (3 mm) below starter strip and subsequent courses lapped 1 inch (25 mm) over course below.  Nail at each stud.  Do not allow nails to penetrate more than one thickness of siding.

Select paragraph above or below.  Delete both if no lumber siding.  Revise above for tongue-and-groove siding or below for vertical application if required.

C. Diagonal Lumber Siding:  Begin application at corner with tongue edge up.  Install subsequent courses with tongue-and-groove edges tightly fitted together.  Nail at each stud.

Retain subparagraphs below with either paragraph selected above.

1. Leave 1/8-inch (3-mm) gap at trim and corners unless otherwise recommended by manufacturer, and apply sealant.

2. Butt joints only over framing or blocking, nailing top and bottom on each side and staggering joints in subsequent courses.

Delete subparagraph below if no prefabricated corners.

3. Install prefabricated outside corners as recommended by manufacturer of siding materials.

Delete paragraph and subparagraphs below if no plywood siding.

D. Plywood Siding:  Install panels with edges over framing or blocking.  Nail at 6 inches (150 mm) o.c. at panel perimeter and 12 inches (300 mm) o.c. at intermediate supports unless manufacturer recommends closer spacing.  Leave 1/16-inch (1.5-mm) gap between adjacent panels and 1/8-inch (3-mm) gap at perimeter, openings, and horizontal joints unless otherwise recommended by panel manufacturer.

1. Seal butt joints at inside and outside corners and at trim locations.

Delete subparagraphs below if not required.

2. Install continuous metal flashing at horizontal panel joints.

3. Apply battens and corner trim as indicated.[  Countersink nail heads, fill flush, and sand filler.]

Consider deleting option in subparagraph below; countersunk casing nails will not hold as well as siding nails.

4. Conceal fasteners to greatest practical extent[ by countersinking and filling,] by placing in grooves of siding pattern or by concealing with applied trim or battens as detailed.  Do not nail through overlapping pieces.

Delete first paragraph and subparagraphs below if no hardboard siding.

E. Hardboard Siding:  Install hardboard siding complying with AHA's "Recommended Basic Application and Painting Instructions for Hardboard Siding." Install panels with edges over framing or blocking.  Leave 3/16-inch (5-mm) gap at perimeter, openings, and horizontal panel joints unless otherwise recommended by panel manufacturer.

1. Seal butt joints at inside and outside corners and at trim locations.

Delete subparagraphs below if not required.

2. Install continuous metal flashing at horizontal panel joints.

3. Apply battens and corner trim as indicated.

4. Conceal fasteners to greatest practical extent by placing in grooves of siding pattern or by concealing with applied trim or battens as detailed.

F. Flashing:  Install metal flashing as indicated on Drawings and as recommended by siding manufacturer.

Procedure in paragraph below is recommended to prevent sun and weather damage to siding.

G. Finish:  Apply finish within two weeks of installation.

3.6 STAIR AND RAILING INSTALLATION

Descriptive requirements in this Article cover basic stair and railing installation only; for best results, supplement with complete details.

A. Treads and Risers at Exterior Stairs:  Secure treads and risers by gluing and nailing to carriages.  Countersink nail heads, fill flush, and sand filler.  Extend treads over carriages[ and finish with bullnose edge].

B. Balusters:  Fit balusters to treads, glue, and nail in place.  Countersink nail heads, fill flush, and sand filler.  Let into railings and glue in place.

C. Newel Posts:  Secure newel posts to stringers and risers with [through bolts] [lag screws] [countersunk-head wood screws and glue].

D. Railings:  Secure wall rails with metal brackets.  Fasten freestanding railings to newel posts and to trim at walls with countersunk-head wood screws or rail bolts, and glue.

3.7 ORNAMENTAL COLUMN INSTALLATION

A. Install columns to comply with manufacturer's written instructions.  Comply with requirements below unless manufacturer's written instructions state otherwise.

B. Lay out column locations on soffits and beams and plumb down to locate column locations at supports.

C. Set plinths in location, shim as required to temporarily level, and scribe and trim as required so that top of plinths will sit level without use of shims.  Fasten plinths in place to support using pins or fasteners as recommended by manufacturer.

D. Scribe and trim tops of columns to fit to soffits and beams.  Maintain ventilation passages to interior of columns.

E. Seal ends of columns with two coats of wood sealer or primer.

F. Install column caps and flashing on columns and fasten to column.  Install caps and flashing so that loads are not imposed on caps and so that ventilation of column interior is not blocked.

G. Secure columns in place at top and bottom with fasteners recommended by manufacturer.

3.8 ADJUSTING

A. Replace exterior finish carpentry that is damaged or does not comply with requirements.  Exterior finish carpentry may be repaired or refinished if work complies with requirements and shows no evidence of repair or refinishing.  Adjust joinery for uniform appearance.

3.9 CLEANING

A. Clean exterior finish carpentry on exposed and semiexposed surfaces.  Touch up factory-applied finishes to restore damaged or soiled areas.

3.10 PROTECTION

A. Protect installed products from damage from weather and other causes during construction.

B. Remove and replace finish carpentry materials that are wet, moisture damaged, and mold damaged.

1. Indications that materials are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

2. Indications that materials are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

END OF SECTION 062013

EXTERIOR FINISH CARPENTRY
062013 - 1

