Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
05/04 (R 02/06)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 071326 - SELF-ADHERING SHEET WATERPROOFING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Modified bituminous sheet waterproofing.

2. Modified bituminous sheet waterproofing, fabric reinforced.

3. Modified bituminous deck paving sheet waterproofing.

4. Modified bituminous composite panel waterproofing.

5. Adhesive-coated HDPE sheet waterproofing.

6. Molded-sheet drainage panels.

7. Insulation.

8. Plaza deck pavers[ and paver pedestals].

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 07 Section "Joint Sealants" for joint-sealant materials and installation.

1.3 SUBMITTALS

A. Product Data:  Include manufacturer's written instructions for evaluating, preparing, and treating substrate, technical data, and tested physical and performance properties of waterproofing.

B. Shop Drawings:  Show locations and extent of waterproofing.  Include details for substrate joints and cracks, sheet flashings, penetrations, inside and outside corners, tie-ins with adjoining waterproofing, and other termination conditions.

Retain subparagraph below if using pedestal-supported concrete pavers on plaza decks over waterproofing.

1. Include setting drawings showing layout, sizes, sections, profiles, and joint details of pedestal-supported concrete pavers.

C. Samples:  For the following products:

Delete Samples in subparagraphs below not required.  Add number or revise size of Samples if applicable.

1. 12-by-12-inch (300-by-300-mm) square of waterproofing and flashing sheet.

2. 12-by-12-inch (300-by-300-mm) square of insulation.

3. 4-by-4-inch (100-by-100-mm) square of drainage panel.

4. Plaza deck paver, [4-by-4-inch (100-by-100-mm) square] [full sized], in each color and texture required.

5. Paver pedestal assembly.

Retain paragraph below if retaining "Installer Qualifications" Paragraph in "Quality Assurance" Article.

D. Installer Certificates:  Signed by manufacturers certifying that installers comply with requirements.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For Installer.

F. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for waterproofing.

G. Warranties:  Special warranties specified in this Section.

1.4 QUALITY ASSURANCE

Delete paragraph below if not applicable.  For warranty purposes, a manufacturer may qualify an installer.  Coordinate options in paragraph with qualifications that manufacturer requires of Installer.  Retain first option if manufacturer approves or licenses installers.  Retain second option if placing minimal restrictions on Installer.

A. Installer Qualifications:  A firm that is [approved or licensed by] [acceptable to] waterproofing manufacturer for installation of waterproofing required for this Project.

Select applicable products from options in paragraph below.

B. Source Limitations:  Obtain waterproofing materials[, protection course,] [and] [molded-sheet drainage panels] through one source from a single manufacturer.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.  If not using pavers, delete optional sentence in paragraph and option in subparagraph below.

C. Mockups:  Before beginning installation, install waterproofing to 100 sq. ft. (9.3 sq. m) <Insert area> of [deck] [wall] to demonstrate surface preparation, crack and joint treatment, corner treatment, and execution quality.[ Install pavers and paver supports to demonstrate aesthetic affects and set quality standards for materials and execution.]

1. If Architect determines mockups do not comply with requirements, reapply waterproofing[ and reinstall overlying construction] until mockups are approved.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

2. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph and subparagraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.

D. Preinstallation Conference:  Conduct conference at Project site.

1. Review waterproofing requirements including surface preparation, substrate condition and pretreatment, minimum curing period, forecasted weather conditions, special details and sheet flashings, installation procedures, testing and inspection procedures, and protection and repairs.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver liquid materials to Project site in original packages with seals unbroken, labeled with manufacturer's name, product brand name and type, date of manufacture, and directions for storing and mixing with other components.

B. Store liquid materials in their original undamaged packages in a clean, dry, protected location and within temperature range required by waterproofing manufacturer.

C. Remove and replace liquid materials that cannot be applied within their stated shelf life.

D. Store rolls according to manufacturer's written instructions.

E. Protect stored materials from direct sunlight.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  Apply waterproofing within the range of ambient and substrate temperatures recommended by waterproofing manufacturer.  Do not apply waterproofing to a damp or wet substrate.

1. Do not apply waterproofing in snow, rain, fog, or mist.

B. Maintain adequate ventilation during preparation and application of waterproofing materials.

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements." Manufacturers of self-adhering sheet waterproofing rarely offer more than a materials-only warranty.  Manufacturers' warranties customarily do not include costs of excavating and exposing the waterproofing membrane as well as backfilling and restoring affected construction in vertical applications.

A. Special Manufacturer's Warranty:  Manufacturer's standard form in which manufacturer agrees to replace waterproofing material that does not comply with requirements or that fails to remain watertight within specified warranty period.

1. Warranty does not include failure of waterproofing due to failure of substrate prepared and treated according to requirements or formation of new joints and cracks in substrate exceeding 1/16 inch (1.6 mm) in width.

Verify available warranties and insert number in subparagraph below.

2. Warranty Period:  [Three] [Five] <Insert number> years from date of Substantial Completion.

Retain paragraph and subparagraph below if a separate special installer's warranty is required and if this is an accepted practice locally.  Usually retain special manufacturer's warranty above with special Installer's warranty below.  Coordinate requirements of both special warranties to clarify responsibilities.  If a specific installer's warranty form is required, see Division 07 low-slope roofing Sections for examples that may be modified for waterproofing.

B. Special Installer's Warranty:  Specified form, [on warranty form at end of this Section, ]signed by Installer, covering Work of this Section, for warranty period of [two] <Insert number> years.

Retain subparagraph below, revised if necessary, for plaza decks.

1. Warranty includes removing and reinstalling protection board, drainage panels, insulation, pedestals, and pavers on plaza decks.

PART 2 -  PRODUCTS

2.1 MODIFIED BITUMINOUS SHEET WATERPROOFING

Retain option in first paragraph below if application with VOC-conforming auxiliary products is required.

A. Modified Bituminous Sheet:  Not less than 60-mil- (1.5-mm-) thick, self-adhering sheet consisting of 56 mils (1.4 mm) of rubberized asphalt laminated to a 4-mil- (0.10-mm-) thick, polyethylene film with release liner on adhesive side[ and formulated for application with primer or surface conditioner that complies with VOC limits of authorities having jurisdiction].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. American Hydrotech, Inc.; VM 75.

b. American Permaquik Inc.; PQ 7100.

c. Carlisle Coatings & Waterproofing Inc.; CCW MiraDRI 860/861.

d. CETCO Building Materials Group; Envirosheet.

e. Grace, W. R. & Co.; Bituthene [3000] [4000].

f. Henry Company; Blueskin WP 200.

g. Meadows, W. R., Inc.; SealTight Mel-Rol.

h. Nervastral, Inc.; BITU-MEM.

i. Pecora Corporation; Duramem 700-SM.

j. Polyguard Products; Polyguard 650.

k. Progress Unlimited, Inc.; Plastiwrap 60.

l. Tamko Roofing Products, Inc.; TW-60.

m. <Insert manufacturer's name; product name or designation.>

3. Physical Properties:

Verify that products retained meet physical properties in subparagraphs below.  Revise to suit project requirements.

a. Tensile Strength:  250 psi (1.7 MPa) minimum; ASTM D 412, Die C, modified.

b. Ultimate Elongation:  300 percent minimum; ASTM D 412, Die C, modified.

c. Low-Temperature Flexibility:  Pass at minus 20 deg F (minus 29 deg C); ASTM D 1970.

d. Crack Cycling:  Unaffected after 100 cycles of 1/8-inch (3-mm) movement; ASTM C 836.

e. Puncture Resistance:  40 lbf (180 N) minimum; ASTM E 154.

f. Hydrostatic-Head Resistance:  150 feet (45 m) minimum; ASTM D 5385.

g. Water Absorption:  0.15 percent weight-gain maximum after 48-hour immersion at 70 deg F (21 deg C); ASTM D 570.

h. Vapor Permeance:  0.05 perms (2.9 ng/Pa x s x sq. m); ASTM E 96, Water Method.

B. Modified Bituminous Sheet, Fabric Reinforced:  60-mil- (1.5-mm-) thick, self-adhering sheet consisting of rubberized-asphalt membrane embedded in spun-bonded polyester or fiberglass nonwoven fabric reinforcement laminated to a 0.50-mil- (0.01-mm-) thick polyester film with release liner on adhesive side.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Protecto Wrap Company; Jiffy Seal 140/60.

b. Royston Laboratories, Div. of Chase Corporation; Royal-Gard.

c. <Insert manufacturer's name; product name or designation.>

3. Physical Properties:

Physical properties in subparagraphs below represent the few common values published by both manufacturers.  Add other physical properties if required.

a. Pliability:  No cracks when bent 180 degrees over a 1-inch (25-mm) mandrel at minus 25 deg F (minus 32 deg C); ASTM D 146.

b. Hydrostatic-Head Resistance:  150 feet (45 m) minimum.

c. Vapor Permeance:  0.05 perms (2.9 ng/Pa x s x sq. m); ASTM E 96, Water Method.

2.2 MODIFIED BITUMINOUS DECK PAVING SHEET WATERPROOFING

Retain this Article if bridge or parking deck waterproofing membranes paved with hot-mixed asphalt are required.

A. Modified Bituminous Deck Paving Sheet:  Provide [one of the products] [the product] described below:

Retain one or more of three subparagraphs below.  First describes product produced by all but two manufacturers.

1. 65-mil- (1.6-mm-) thick, self-adhering sheets consisting of 53 to 56 mils (1.3 to 1.4 mm) of rubberized asphalt laminated to a heat-resisting, 9- to 12-mil- (0.2- to 0.3-mm-) thick, woven polypropylene geotextile reinforcement with release liner on adhesive side.

Subparagraph below describes "Jiffy Seal 400" from Protecto.

2. 70-mil- (1.8-mm-) thick, self-adhering sheets consisting of rubberized asphalt embedded in inert fabric reinforcement laminated to a reflective geotextile protective topping with release liner on adhesive side.

Subparagraph below describes Royston's products.  Nonwoven option is "10AN Easy Pave ER"; woven option is "10A Easy Pave."

3. 60-mil- (1.5-mm-) thick, self-adhering sheets consisting of rubberized asphalt embedded in [nonwoven] [woven] fiberglass fabric reinforcement laminated to a 0.50-mil- (0.01-mm-) thick polyester mat with release liner on adhesive side.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

4. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

5. Products:  Subject to compliance with requirements, provide one of the following:

a. Carlisle Coatings & Waterproofing Inc.; CCW 711.

b. Grace, W. R. & Co.; Bituthene 5000.

c. Meadows, W. R., Inc.; SealTight Mel-Dek.

d. Pecora Corporation; Duramem 712 Pre-Pave.

e. Polyguard Products; Polyguard 665.

f. Progress Unlimited, Inc.; Plastiwrap 65.

g. Protecto Wrap Company; Jiffy Seal 400.

h. Royston Laboratories, Div. of Chase Corporation; [10AN Easy Pave ER] [10A Easy Pave].

i. Tamko Roofing Products, Inc.; Bridgeguard.

j. <Insert manufacturer's name; product name or designation.>

Retain physical properties below with subparagraph and list selected above.  Add other published properties if further limits are required and edit product lists accordingly.

6. Physical Properties:

a. Tensile Strength, Membrane:  [50 lbf/in (8.75 kN/m)] <Insert value> minimum; ASTM D 882.

b. Pliability:  Unaffected when bent 180 degrees over a 1/4-inch (6.4-mm) mandrel at minus 15 deg F (minus 26 deg C); ASTM D 146.

c. Puncture Resistance, Mesh:  200 lbf (890 N) minimum; ASTM E 154.

2.3 MODIFIED BITUMINOUS COMPOSITE PANEL WATERPROOFING

A. Modified Bituminous Composite Panel:  90-mil- (2.2-mm-) thick, multilaminated panel consisting of a protection course bonded to an asphalt saturated carrier sheet bonded to a rubberized asphalt waterproofing self-adhering membrane with release liner.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Meadows, W. R., Inc.; Mel-Gard.

b. <Insert manufacturer's name; product name or designation.>

2.4 ADHESIVE-COATED HDPE SHEET WATERPROOFING

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two paragraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

B. Products:  Subject to compliance with requirements, provide one of the following:

1. Grace, W. R. & Co.; Preprufe [160R] [and] [300R].

2. <Insert manufacturer's name; product name or designation.>

Select one of two paragraphs and associated subparagraphs below for blind-side waterproofing.  Adhesive-coated HDPE sheet waterproofing develops a mechanical bond to concrete rather than a self-adhesive bond.  First paragraph and subparagraphs describe Grace's "Preprufe 160R" for vertical or wall use; second, Grace's "Preprufe 300R" for horizontal use under below-grade concrete slabs with, or in place of, mud slabs.

C. Adhesive-Coated HDPE Sheet for Vertical Applications:  32-mil- (0.8-mm-) thick, uniform, flexible sheets consisting of 16-mil- (0.4-mm-) thick, HDPE sheet coated with a pressure-sensitive rubber adhesive, a protective adhesive coating, and a release liner with the following physical properties:

1. Tensile Strength, Film:  4000 psi (27.6 MPa) minimum; ASTM D 412.

2. Low-Temperature Flexibility:  Pass at minus 10 deg F (minus 23 deg C); ASTM D 1970.

3. Peel Adhesion to Concrete:  5 lbf/in. (875 N/m); ASTM D 903, modified.

4. Lap Adhesion:  2.5 lbf/in. (440 N/m); ASTM D 1876, modified.

5. Hydrostatic-Head Resistance:  231 feet (70 m); ASTM D 5385, modified.

6. Vapor Permeance:  0.01 perms (0.6 ng/Pa x s x sq. m); ASTM E 96, Water Method.

7. Water Absorption:  0.5 percent; ASTM D 570.

D. Adhesive-Coated HDPE Sheet for Horizontal Applications:  46-mil- (1.2-mm-) thick, uniform, flexible sheets consisting of 30-mil- (0.76-mm-) thick, HDPE sheet coated with a pressure-sensitive rubber adhesive, a protective adhesive coating, a detackifying surface treatment, an uncoated self-adhering side lap strip, and a release liner with the following physical properties:

1. Tensile Strength, Film:  4000 psi (27.6 MPa) minimum; ASTM D 412.

2. Low-Temperature Flexibility:  Pass at minus 10 deg F (minus 23 deg C); ASTM D 1970.

3. Peel Adhesion to Concrete:  5 lbf/in. (875 N/m); ASTM D 903, modified.

4. Lap Adhesion:  2.5 lbf/in. (440 N/m); ASTM D 1876, modified.

5. Hydrostatic-Head Resistance:  231 feet (70 m); ASTM D 5385, modified.

6. Vapor Permeance:  0.01 perms (0.6 ng/Pa x s x sq. m); ASTM E 96, Water Method.

7. Water Absorption:  0.5 percent; ASTM D 570.

2.5 AUXILIARY MATERIALS

A. General:  Furnish auxiliary materials recommended by waterproofing manufacturer for intended use and compatible with sheet waterproofing.

1. Furnish liquid-type auxiliary materials that comply with VOC limits of authorities having jurisdiction.

B. Primer:  Liquid [waterborne] [solvent-borne] primer recommended for substrate by manufacturer of sheet waterproofing material.

C. Surface Conditioner:  Liquid, waterborne surface conditioner recommended for substrate by manufacturer of sheet waterproofing material.

D. Liquid Membrane:  Elastomeric, two-component liquid, cold fluid applied, trowel grade or low viscosity.

E. Substrate Patching Membrane:  Low-viscosity, two-component, asphalt-modified coating.

Retain first paragraph below with modified bituminous sheet waterproofing for concealed strip flashings.  Modified bituminous waterproofing membrane cannot be used for exposed sheet flashings.  Delete if Project uses only adhesive-coated HDPE waterproofing or modified bituminous composite panel waterproofing, and specify applicable detail tape or detail strips below.

F. Sheet Strips:  Self-adhering, rubberized-asphalt sheet strips of same material and thickness as sheet waterproofing.

G. Mastic, Adhesives, and Tape:  Liquid mastic and adhesives, and adhesive tapes recommended by waterproofing manufacturer.

Retain subparagraph below for adhesive-coated HDPE sheet to seal through-wall penetrations, end laps, and tie-ins if applicable.

1. Detail Tape:  Two-sided, pressure-sensitive, self-adhering reinforced tape, 4-1/2 inches (114 mm) wide, with a tack-free protective adhesive coating on one side and release film on self-adhering side.

Retain subparagraph below, which describes Meadows' "Detail Strip" for composite panel waterproofing joints, if applicable.

2. Detail Strips:  62.5-mil- (1.58-mm-) thick, felt-reinforced self-adhesive strip, 9 inches (229 mm) wide, with release film on adhesive side.

H. Metal Termination Bars:  Aluminum bars, approximately 1 by 1/8 inch (25 by 3 mm) thick, predrilled at 9-inch (229-mm) centers.

Select type of protection course from five paragraphs and associated subparagraphs below if required.  Delete if molded-sheet drainage panels or insulation drainage panels will replace protection course.  Verify acceptability of type of protection course with waterproofing manufacturer.  Indicate locations, such as plaza deck and foundation walls, if more than one type of protection course is required.

Asphaltic protection course in paragraph below is manufactured by Henry Company and Meadows and is also available from a number of other waterproofing manufacturers.

I. Protection Course:  ASTM D 6506, semirigid sheets of fiberglass or mineral-reinforced-asphaltic core, pressure laminated between two asphalt-saturated fibrous liners and as follows:

1. Thickness:  [1/8 inch (3 mm)] [1/4 inch (6 mm)], nominal.

2. Thickness:  1/8 inch (3 mm), nominal, for vertical applications; 1/4 inch (6 mm), nominal, elsewhere.

3. Adhesive:  Rubber-based solvent type recommended by waterproofing manufacturer for type of protection course.

Film-faced, fan-folded, extruded-polystyrene protection course in paragraph below describes Dow Chemical Company's "Protection Board III" (first option) and Pactiv Building Products' "Green Guard PB4" (second option).

J. Protection Course:  Fan folded, with a core of extruded-polystyrene board insulation faced [one side] [or] [both sides] with plastic film, nominal thickness 1/4 inch (6 mm), with compressive strength of not less than 8 psi (55 kPa) per ASTM D 1621, and maximum water absorption by volume of 0.6 percent per ASTM C 272.

Unfaced, fan-folded, extruded-polystyrene protection course in paragraph below describes Owens Corning's "Fanfold DWB."

K. Protection Course:  Unfaced, fan-folded, extruded-polystyrene board insulation, nominal thickness 1/4 inch (6 mm) with compressive strength of not less than 8 psi (55 kPa) per ASTM D 1621.

Unfaced, extruded-polystyrene protection course in first paragraph below describes Owens Corning's "Foamular Half-Inch."

L. Protection Course:  Extruded-polystyrene board insulation, unfaced, ASTM C 578, Type X, 1/2 inch (13 mm) thick.

M. Protection Course:  Molded-polystyrene board insulation, ASTM C 578, Type I, 0.90-lb/cu. ft. (15-kg/cu. m) minimum density, 1-inch (25-mm) minimum thickness.

2.6 MOLDED-SHEET DRAINAGE PANELS

Retain this Article if molded-sheet drainage panels are required.  Retain paragraph below if molded-sheet drainage panel products are specified in another Section.

A. Molded-Sheet Drainage Panel:  Comply with Division 33 Section "Subdrainage."

Retain one or both paragraphs below if specifying drainage panels in this Section.  Retain first paragraph if specifying nonwoven-geotextile-faced drainage panels, usually for foundation walls.  Examples of products described below include Carlisle's "CCW MiraDRAIN 6200" and "CCW MiraDRAIN 6200XL," Grace's "Hydroduct 220" and "Hydroduct 660" with a polymeric facing, and Carlisle's "CCW MiraDRAIN 6000" and "CCW MiraDRAIN 6000XL" without a polymeric facing.

B. Nonwoven-Geotextile-Faced, Molded-Sheet Drainage Panel:  Manufactured composite subsurface drainage panels consisting of a nonwoven, needle-punched geotextile facing with an apparent opening size not exceeding No. 70 (0.21-mm) sieve laminated to one side [with] [or] [without] a polymeric film bonded to the other side of a studded, nonbiodegradable, molded-plastic-sheet drainage core, with a vertical flow rate of 9 to 15 gpm per ft. (112 to 188 L/min. per m).

Retain paragraph below if specifying woven-geotextile-faced drainage panels, usually for plaza decks.  Examples of products described below include Grace's "Hydroduct 225" with a polymeric film facing and Carlisle's "CCW MiraDRAIN 9000" and "CCW MiraDRAIN 9900" without a polymeric facing.

C. Woven-Geotextile-Faced, Molded-Sheet Drainage Panel:  Manufactured composite subsurface drainage panels consisting of a woven-geotextile facing with an apparent opening size not exceeding No. 40 (0.425-mm) sieve laminated to one side [with] [or] [without] a polymeric film bonded to the other side of a studded, nonbiodegradable, molded-plastic-sheet drainage core, with a horizontal flow rate not less than 2.8 gpm per ft. (35 L/min. per m).

2.7 INSULATION

Retain paragraph and subparagraphs below if board insulation is required over waterproofing and if board insulation forms the first layer beneath an insulation drainage panel.

A. Board Insulation:  Extruded-polystyrene board insulation complying with ASTM C 578, [square] [or] [shiplap] edged.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Diversifoam Products.

b. Dow Chemical Company (The).

c. Owens Corning.

d. Pactiv Building Products.

e. T. Clear Corporation.

f. <Insert manufacturer's name.>

Types IV and VI insulation are usually limited to vertical applications.  Types VII and V insulation, with higher compressive strengths, are used on plaza decks.

3. Type IV, 25-psi (173-kPa) minimum compressive strength.

4. Type VI, 40-psi (276-kPa) minimum compressive strength.

5. Type VII, 60-psi (414-kPa) minimum compressive strength.

6. Type V, 100-psi (690-kPa) minimum compressive strength.

Retain paragraph and subparagraphs below for unfaced insulation drainage panels for foundation wall applications.  Diversifoam's "CertiFoam 25 Drainage Board," Dow's "Perimate," and Pactiv's "Green-Guard-DC" are Type IV.  Diversifoam's "CertiFoam 40 Drainage Board" is Type VI.

B. Unfaced Wall Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type IV, 25-psi (173-kPa)] [or] [Type VI, 40-psi (276-kPa)] minimum compressive strength; unfaced; fabricated with shiplap or channel edges and with 1 side having grooved drainage channels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Diversifoam Products; CertiFoam [25] [40] Drainage Board.

b. Dow Chemical Company (The); Perimate.

c. Pactiv Building Products; Green-Guard-DC.

d. <Insert manufacturer's name; product name or designation.>

Retain paragraph and subparagraphs below for geotextile-faced insulation drainage panels for foundation wall applications.  Owens Corning's "Insul-Drain" is Type IV; T. Clear's "Thermadry 1250" is Type VI.

C. Geotextile-Faced Wall Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type IV, 25-psi (173-kPa)] [or] [Type VI, 40-psi (276-kPa)] minimum compressive strength; fabricated with tongue-and-groove edges and with 1 side having grooved drainage channels faced with nonwoven geotextile filter fabric.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Owens Corning; Insul-Drain.

b. T. Clear Corporation; Thermadry 1250.

c. <Insert manufacturer's name; product name or designation.>

Retain paragraph and subparagraphs below for plaza deck applications if unfaced insulation drainage panels with ribbed drainage channels are required.  Retain Type VI insulation for limited, intermittent pedestrian traffic or Type VII for heavier pedestrian traffic.  Dow's "Styrofoam Ribbed Roofmate" and Owens Corning's "Foamular 404 RB" are Type VI; Diversifoam's "CertiFoam Plaza Deck" and Owens Corning's "Foamular 604 RB" are Type VII.

D. Unfaced Plaza Deck Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type VI, 40-psi (276-kPa)] [Type VII, 60-psi (414-kPa)] minimum compressive strength; unfaced; fabricated with shiplapped or channel edges and with 1 side having ribbed drainage channels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Diversifoam Products; CertiFoam Plaza Deck.

b. Dow Chemical Company (The); Styrofoam Ribbed Roofmate.

c. Owens Corning; Foamular [404 RB] [604 RB].

d. <Insert manufacturer's name; product name or designation.>

Retain paragraph below if Type VII geotextile-faced insulation is required for heavy pedestrian traffic.

E. Geotextile-Faced Plaza Deck Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, Type VII, 60-psi (414-kPa) minimum compressive strength; fabricated with tongue-and-groove edges and with 1 side having grooved drainage channels faced with manufacturer's standard, nonwoven geotextile filter fabric.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. T. Clear Corporation; Thermadry 1750.

b. <Insert manufacturer's name; product name or designation.>

2.8 PLAZA DECK PAVERS

Retain this Article if plaza deck pavers are required.  Retain one of two paragraphs below if cross-referencing paver materials from other Sections.

A. Plaza Deck Pavers:  [Brick] [Concrete] [Asphalt-block] pavers specified in Division 32 Section "Unit Paving."

B. Plaza Deck Pavers:  [Granite] [Limestone] [Marble] [Quartz-based stone] [Slate] pavers specified in Division 09 Section "Stone Flooring."

Delete both paragraphs above and retain paragraph below if plaza deck concrete pavers are required.  Verify availability of deck pavers with characteristics selected.  Below describes concrete pavers commonly used in pedestal set applications over insulation and waterproofing or for placing on a setting bed.  Limit pedestal systems to pedestrian plazas.

C. Plaza Deck Pavers:  Heavyweight, hydraulically pressed, concrete units, [square edged] [with top edges beveled 3/16 inch (5 mm)], manufactured for use as plaza deck pavers; minimum compressive strength [7500 psi (52 MPa)] [6500 psi (45 MPa)] <Insert value>, ASTM C 140; absorption not greater than 5 percent, ASTM C 140; no breakage and maximum 1 percent mass loss when tested for freeze-thaw resistance according to ASTM C 67.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

3. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. Hanover Architectural Products.

b. Hastings Pavement Co., Inc.

c. Roofblok Limited.

d. Sunny Brook Pressed Concrete Co.

e. Wausau Tile, Inc.; Terra-Paving Div.

f. Westile Roofing Products.

g. <Insert manufacturer's name.>

Select one thickness and one face size from options in first two subparagraphs below.  Include special paver sizes and add descriptions of custom pavers such as stair tread and riser units, coping or curbed termination pavers, and oversize pavers.

4. Thickness:  [1-5/8 inches (41 mm)] [1-3/4 inches (45 mm)] [2 inches (51 mm)] [2-3/8 inches (60 mm)] <Insert dimension>.

5. Face Size:  [8-7/8 inches (225 mm) square] [9 inches (229 mm) square] [9 by 18 inches (229 by 457 mm)] [12 inches (305 mm) square] [12 by 24 inches (305 by 610 mm)] [18 inches (457 mm) square] [24 inches (610 mm) square] [As indicated] <Insert dimensions and shape>.

6. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Delete paragraph below if using pedestal systems for paver supports.

D. Setting Bed:  Provide [aggregate] [mortar] [bituminous] setting-bed materials specified in Division 32 Section "Unit Paving."

Delete paragraph and subparagraphs below if setting-bed systems are required.  Apart from paver producers, paver pedestal manufacturers include Envirospec and Bison ScrewJack Pedestals.

E. Paver Pedestals:  Paver manufacturer's standard SBR rubber, HDPE, or polyurethane paver support assembly, including [fixed-height] [adjustable or stackable] pedestals, shims, and spacer tabs for joint spacing of [1/8 inch (3 mm)] [3/16 inch (5 mm)] [1/8 to 3/16 inch (3 to 5 mm)].

Retain one of two subparagraphs and insert list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

Retain subparagraph below if specifying Wausau's tilting and telescoping pedestals.

3. Concrete Fill:  ACI 301, compressive strength of 5000 psi (34 MPa) at 28 days and air content of 6 percent.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements and other conditions affecting performance.

1. Verify that concrete has cured and aged for minimum time period recommended by waterproofing manufacturer.

2. Verify that concrete is visibly dry and free of moisture.  Test for capillary moisture by plastic sheet method according to ASTM D 4263.

Retain first subparagraph below if installing adhesive-coated HDPE sheet over compacted subgrade.

3. Verify that compacted subgrade is dry, smooth, and sound; and ready to receive adhesive-coated HDPE sheet.

4. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 SURFACE PREPARATION

Retain this Article for vertical or wall applications and for horizontal or plaza deck applications.

A. Clean, prepare, and treat substrates according to manufacturer's written instructions.  Provide clean, dust-free, and dry substrates for waterproofing application.

Remaining paragraphs and subparagraphs in this Article apply to each type of waterproofing except adhesive-coated HDPE.  Delete if only adhesive-coated HDPE sheet is used.

B. Mask off adjoining surfaces not receiving waterproofing to prevent spillage and overspray affecting other construction.

C. Remove grease, oil, bitumen, form-release agents, paints, curing compounds, and other penetrating contaminants or film-forming coatings from concrete.

D. Remove fins, ridges, mortar, and other projections and fill honeycomb, aggregate pockets, holes, and other voids.

E. Prepare, fill, prime, and treat joints and cracks in substrates.  Remove dust and dirt from joints and cracks according to ASTM D 4258.

Retain subparagraph below if sheet waterproofing will cover nonmoving joints and cracks.  Consult manufacturers because recommendations may differ.  Consistent with ACI terminology, the term "contraction joint" is used in place of "control joint." Usually retain the smaller joint width option below.  Some manufacturers of modified bituminous deck paving waterproofing permit a joint width of 1/8 inch (3 mm) before requiring strip reinforcement.

1. Install sheet strips and center over treated construction and contraction joints and cracks exceeding a width of [1/16 inch (1.6 mm)] [or] [1/8 inch (3 mm) for modified bituminous deck paving waterproofing].

Treatment at expansion joints, isolation joints, and other discontinuous joints varies.  Verify recommendations of sheet waterproofing manufacturers.  Besides a primary architectural expansion joint, building expansion joints may need a continuous sheet waterproofing covering.  Coordinate expansion-joint treatment with Division 07 Section "Expansion Control." Specialty manufacturers such as Situra also produce membrane-type waterproofing expansion joints.

F. Bridge and cover [isolation joints] [expansion joints] [and] discontinuous deck-to-wall and deck-to-deck joints with overlapping sheet strips.

Description in subparagraph below is based on Grace's details.

1. Invert and loosely lay first sheet strip over center of joint.  Firmly adhere second sheet strip to first and overlap to substrate.

G. Corners:  Prepare, prime, and treat inside and outside corners according to ASTM D 6135.

Retain subparagraph and associated subparagraphs below if modified bituminous sheet waterproofing is used on Project.  Delete if basic recommendations in ASTM D 6135 suffice.

1. Install membrane strips centered over vertical inside corners.  Install 3/4-inch (19-mm) fillets of liquid membrane on horizontal inside corners and as follows:

a. At footing-to-wall intersections, extend liquid membrane each direction from corner or install membrane strip centered over corner.

b. At plaza deck-to-wall intersections, extend liquid membrane or sheet strips onto deck waterproofing and to finished height of sheet flashing.

H. Prepare, treat, and seal vertical and horizontal surfaces at terminations and penetrations through waterproofing and at drains and protrusions according to ASTM D 6135.

3.3 MODIFIED BITUMINOUS SHEET WATERPROOFING APPLICATION

Retain this Article for modified bituminous sheet and fabric-reinforced modified bituminous sheet in vertical or wall applications and in horizontal or plaza deck applications.

A. Install modified bituminous sheets according to waterproofing manufacturer's written instructions and according to recommendations in ASTM D 6135.

B. Apply primer to substrates at required rate and allow to dry.  Limit priming to areas that will be covered by sheet waterproofing in same day.  Reprime areas exposed for more than 24 hours.

C. Apply and firmly adhere sheets over area to receive waterproofing.  Accurately align sheets and maintain uniform 2-1/2-inch- (64-mm-) minimum lap widths and end laps.  Overlap and seal seams and stagger end laps to ensure watertight installation.

Retain subparagraph below for modified bituminous sheets if applicable.  Verify that selected manufacturers produce low-temperature products.  An upper-limit temperature may be recommended by sheet manufacturer to reduce workmanship problems with more aggressive adhesion.

1. When ambient and substrate temperatures range between 25 and 40 deg F (minus 4 and plus 5 deg C), install self-adhering, modified bituminous sheets produced for low-temperature application.  Do not use low-temperature sheets if ambient or substrate temperature is higher than 60 deg F (16 deg C).

Two-ply application in paragraph below is seldom used; delete if not required.

D. Two-Ply Application:  Install sheets to form a membrane with lap widths not less than 50 percent of sheet widths to provide a minimum of 2 thicknesses of sheet membrane over areas to receive waterproofing.

Delete first paragraph below if no plaza deck or near-horizontal conditions occur on Project.

E. Horizontal Application:  Apply sheets from low point to high point of decks to ensure that side laps shed water.

F. Apply continuous sheets over sheet strips bridging substrate cracks, construction, and contraction joints.

G. Seal exposed edges of sheets at terminations not concealed by metal counterflashings or ending in reglets with mastic.

Delete first paragraph below if not terminating into other waterproofing.

H. Install sheet waterproofing and auxiliary materials to tie into adjacent waterproofing.

I. Repair tears, voids, and lapped seams in waterproofing not complying with requirements.  Slit and flatten fishmouths and blisters.  Patch with sheet waterproofing extending 6 inches (150 mm) beyond repaired areas in all directions.

J. Install protection course with butted joints over waterproofing membrane immediately.

Retain applicable options in subparagraph below if drainage panels or board insulation will be used and are permitted by waterproofing manufacturer to replace protection course.

1. [Molded-sheet drainage panels] [Insulation drainage panels] [Board insulation] may be used in place of a separate protection course to vertical applications when approved by waterproofing manufacturer and installed immediately.

K. Correct deficiencies in or remove sheet waterproofing that does not comply with requirements; repair substrates, reapply waterproofing, and repair sheet flashings.

3.4 MODIFIED BITUMINOUS DECK PAVING SHEET WATERPROOFING APPLICATION

Retain this Article for horizontal carpark or bridge deck applications to receive deck paving sheets before application of hot-mixed asphalt paving.

A. Install modified bituminous deck paving sheets according to waterproofing manufacturer's written instructions.

B. Apply primer to substrates at required rate and allow to dry.  Limit priming to areas that will be covered by sheet waterproofing in same day.  Reprime areas exposed for more than 24 hours.

C. Apply and firmly adhere sheets over areas to receive waterproofing.  Accurately align sheets and maintain uniform 2-1/2-inch- (64-mm-) minimum lap widths and 6-inch (150-mm) end laps.  Overlap and seal seams and stagger end laps to ensure watertight installation.

D. Apply sheet waterproofing from low point to high point of decks to ensure that side laps shed water.

E. Apply continuous sheets over sheet strips bridging substrate cracks, construction, and contraction joints.

F. Seal edges of sheet waterproofing terminations with mastic.

Delete first paragraph below if not terminating into other waterproofing.

G. Install sheet waterproofing and auxiliary materials to tie into adjacent waterproofing.

H. Repair tears, voids, and lapped seams in waterproofing not complying with requirements.  Slit and flatten fishmouths and blisters.  Patch with sheet waterproofing extending 6 inches (150 mm) beyond repaired areas in all directions.

I. Correct deficiencies in or remove sheet waterproofing that does not comply with requirements; repair substrates, reapply waterproofing, and repair sheet flashings.

3.5 MODIFIED BITUMINOUS COMPOSITE PANEL WATERPROOFING APPLICATION

Retain this Article for vertical or wall applications and for horizontal or plaza deck applications.

A. Install modified bituminous composite panels according to waterproofing manufacturer's written instructions.

B. Apply primer to substrate at required rate and allow to dry.  Limit priming to areas that will be covered by waterproofing in same day.  Reprime areas exposed for more than 24 hours.

C. Install and firmly adhere composite panels over area to receive waterproofing.  Accurately align and butt vertical and horizontal joints.

D. Seal vertical and horizontal butt joints and exposed top, side, and bottom edges at composite panel waterproofing terminations with detail strips.

E. Correct deficiencies in or remove composite panel waterproofing that does not comply with requirements; repair substrates, reapply waterproofing, and repair detail strips.

3.6 ADHESIVE-COATED HDPE SHEET WATERPROOFING APPLICATION

Retain this Article when membrane is applied vertically as blind-side waterproofing against timber lagging, shotcrete, or similar soil-retaining construction.

A. Install adhesive-coated HDPE sheets according to manufacturer's written instructions.

Molded-sheet drainage panels may be used for horizontal or vertical drainage or, in vertical applications, to provide a smooth surface over shotcrete or timber lagging.  Delete paragraph below if not required.

B. Place and secure molded-sheet drainage panels over substrate.  Lap edges and ends of geotextile to maintain continuity.

Retain paragraph and subparagraph below for wall or near-vertical applications to timber lagging or shotcrete.

C. Vertical Applications:  Install adhesive-coated HDPE sheet with HDPE face against substrate.  Accurately align sheets and maintain uniform 3-inch- (75-mm-) minimum lap widths and end laps.  Overlap and seal seams and stagger and tape end laps to ensure watertight installation.  Mechanically fasten to substrate.

1. Securely fasten top termination of membrane with continuous metal termination bar anchored into substrate and cover with detailing tape.

Retain first paragraph below for below-grade, split-slab applications or near-horizontal, under-slab applications.

D. Horizontal Applications:  Install adhesive-coated HDPE sheet with HDPE face against substrate.  Accurately align sheets and maintain uniform 3-inch- (75-mm-) minimum lap widths and end laps.  Overlap and seal seams.  Overlap, stagger, and seal end laps with detail tape to ensure watertight installation.

E. Corners:  Seal lapped terminations and cut edges of sheet waterproofing at inside and outside corners with detail tape.

F. Seal penetrations through sheet waterproofing to provide watertight seal with detail tape patches or wraps and a liquid-membrane troweling.

G. Install sheet waterproofing and auxiliary materials to produce a continuous watertight tie into adjacent waterproofing.

H. Repair tears, voids, and lapped seams in waterproofing not complying with requirements.  Tape perimeter of damaged or nonconforming area extending 6 inches (150 mm) beyond repaired areas in all directions.  Apply a patch of sheet waterproofing and firmly secure with detail tape.

I. Correct deficiencies in or remove waterproofing that does not comply with requirements; repair substrates, reapply waterproofing, and repair sheet flashings.

3.7 MOLDED-SHEET DRAINAGE PANEL INSTALLATION

A. Place and secure molded-sheet drainage panels, with geotextile facing away from wall or deck substrate, according to manufacturer's written instructions.  Use adhesives[ or mechanical fasteners] that do not penetrate waterproofing.  Lap edges and ends of geotextile to maintain continuity.  Protect installed molded-sheet drainage panels during subsequent construction.

Retain subparagraph below if board insulation or protection course is installed before installing molded-sheet drainage panels.

1. For vertical applications, install [board insulation] [protection course] before installing drainage panels.

3.8 INSULATION INSTALLATION

A. Install [one or more layers of board insulation to achieve required thickness] [and] [insulation drainage panels] over waterproofed surfaces.  Cut and fit to within 3/4 inch (19 mm) of projections and penetrations.

Delete first paragraph below if support is not required during backfilling.

B. On vertical surfaces, set insulation units in adhesive or tape applied according to manufacturer's written instructions.

C. On horizontal surfaces, loosely lay insulation units according to manufacturer's written instructions.  Stagger end joints and tightly abut insulation units.

3.9 PLAZA DECK PAVER INSTALLATION

Delete first paragraph below if using paver pedestal supports.

A. Setting Bed:  Install setting bed in locations and of thickness indicated to comply with requirements in Division [09 Section "Stone Flooring] [32 Section "Unit Paving]."."

B. Install concrete pavers in locations indicated according to manufacturer's written instructions.

Retain two paragraphs and associated subparagraph below if setting pavers on paving pedestals.

C. Accurately install [fixed] [adjustable]-height paver pedestals and accessories in locations and to elevations required.  Adjust for final level and slope with shims.

Delete concrete fill in subparagraph below unless using Wausau's tilting and telescoping paver pedestals.

1. Fill paver pedestal with concrete mix, strike smooth with top of pedestal, and cure according to ACI 301.

D. Loosely lay pavers on pedestals, maintaining a uniform open joint width.  Tightly seat pavers against spacers to eliminate lateral movement or drift of paving assembly.  Align joint patterns parallel in each direction.

Revise subparagraph below to suit Project.  Consider paved area layout, paver module, and construction tolerances when imposing limits.  Verify minimum dimensions with paver manufacturer.  Minimum pedestal dimensions may also govern.  Custom-dimensioned pavers or pavers scored to repeat module may be available.

1. Lay out pavers to avoid less-than-half-width pavers at perimeter or other terminations.

Add special installation requirements here.  Examples might include tread/riser units on tabs or treatment of pavers at plaza/building expansion joints.

E. Install pavers to not vary more than 1/16 inch (1.6 mm) in elevation between adjacent pavers or more than 1/16 inch (1.6 mm) from surface plane elevation of individual paver.

F. Maintain tolerances of paving installation within [1/4 inch in 10 feet (1:48)] <Insert surface tolerance> of surface plane in any direction.

3.10 FIELD QUALITY CONTROL

Retain paragraph below if a manufacturer's site representative is required.  Manufacturer may also require this as a warranty condition.

A. Engage a full-time site representative qualified by waterproofing membrane manufacturer to inspect substrate conditions; surface preparation; membrane application, flashings, protection, and drainage components; and to furnish daily reports to Architect.

Delete flood testing when waterproofing is limited to vertical applications.  Revise first paragraph and subparagraphs below by identifying particular areas on Project to flood test when preferred.  Limit water depth to not exceed load capacity of deck.

B. Flood Testing:  Flood test each deck area for leaks, according to recommendations in ASTM D 5957, after completing waterproofing but before overlying construction is placed.  Install temporary containment assemblies, plug or dam drains, and flood with potable water.

1. Flood to an average depth of 2-1/2 inches (64 mm) with a minimum depth of 1 inch (25 mm) and not exceeding a depth of 4 inches (100 mm).  Maintain 2 inches (51 mm) of clearance from top of sheet flashings.

ASTM D 5957 sets 24 hours as minimum and 72 hours as maximum duration for flood testing.

2. Flood each area for [24] [48] [72] hours.

3. After flood testing, repair leaks, repeat flood tests, and make further repairs until waterproofing installation is watertight.

C. [Owner will engage] [Engage] an independent testing agency to observe flood testing and examine underside of decks and terminations for evidence of leaks during flood testing.

3.11 PROTECTION AND CLEANING

Retain first paragraph below for horizontal applications except for composite panel and heavy-duty, modified bituminous sheet waterproofing.

A. Do not permit foot or vehicular traffic on unprotected membrane.

B. Protect waterproofing from damage and wear during remainder of construction period.

Retain first paragraph below when board insulation or insulation drainage panels are required and may be exposed for a period of time on plaza decks.

C. Protect installed [board insulation] [insulation drainage panels] from damage due to UV light, harmful weather exposures, physical abuse, and other causes.  Provide temporary coverings where insulation will be subject to abuse and cannot be concealed and protected by permanent construction immediately after installation.

D. Clean spillage and soiling from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

Add Special Installer's Warranty Form here if required.

END OF SECTION 071326

	SELF-ADHERING SHEET WATERPROOFING
	071326 - 1



