Copyright 2005 AIA
MASTERSPEC Full Length
11/05

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 071413 - HOT FLUID-APPLIED RUBBERIZED ASPHALT WATERPROOFING
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Rubberized-asphalt waterproofing membrane[, unreinforced] [, reinforced].

2. Molded-sheet drainage panels.

3. Insulation.

4. Plaza deck pavers.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 07 Section "Fluid-Applied Protected Membrane Roofing" for hot fluid-applied, rubberized-asphalt roofing.

2. Division 07 Section "Joint Sealants" for joint-sealant materials and installation.

3. Division 07 Section "Expansion Control" for expansion-joint systems.

1.3 SUBMITTALS

First three paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include manufacturer's written instructions for evaluating, preparing, and treating substrate, technical data, and tested physical and performance properties of waterproofing.

B. Shop Drawings:  Show locations and extent of waterproofing.  Include details for substrate joints and cracks, sheet flashings, penetrations, inside and outside corners, tie-ins to adjoining waterproofing, and other termination conditions.

Retain subparagraph below if using pedestal-supported concrete pavers on plaza decks over waterproofing.

1. Include setting drawings showing layout, sizes, sections, profiles, and joint details of pedestal-supported concrete pavers.

C. Samples:  For the following products in manufacturer's standard sizes unless otherwise indicated:

Retain required Samples in six subparagraphs below.  Insert number or revise size of Samples if applicable.

1. Flashing sheet.

2. Membrane-reinforcing fabric.

3. Insulation.

4. Drainage panel.

5. Plaza deck paver[, full sized] in each color and texture required.

6. Paver pedestal assembly.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

D. Qualification Data:  For qualified [Installer] [testing agency].

E. Product Test Reports:  For waterproofing, based on evaluation of comprehensive tests performed by a qualified testing agency.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

F. Field quality-control reports.

G. Warranties:  Sample of special warranties.

1.4 QUALITY ASSURANCE

Retain first paragraph below if applicable.  For warranty purposes, manufacturer may qualify an installer.  Coordinate paragraph with qualifications manufacturer requires of Installer.

A. Installer Qualifications:  A firm that is [approved or licensed by] [acceptable to] manufacturer for installation of waterproofing required for this Project and is eligible to receive special warranties specified.

Retain products from options in first paragraph below if a total system warranty is required from single manufacturer.

B. Source Limitations:  Obtain waterproofing materials [sheet flashings] [protection course] [molded-sheet drainage panels] [insulation] [pavers] [and] [pedestals] from single source from single manufacturer.

If use of pavers is required, retain optional sentence in first paragraph and option in first subparagraph below.

C. Mockups:  Install waterproofing to [100 sq. ft. (9.3 sq. m)] <Insert area> of [deck] [wall] to demonstrate surface preparation, crack and joint treatment, corner treatment, thickness, texture, and execution quality.[  Install pavers and paver supports to demonstrate aesthetic affects and set quality standards for materials and execution.]

1. If Architect determines mockups do not comply with requirements, reapply waterproofing[ and reinstall overlaying construction] until mockups are approved.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

2. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

D. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

Retain subparagraph below if additional requirements are necessary; include information about conference.

1. Review waterproofing requirements including surface preparation, substrate condition and pretreatment, minimum curing period, forecasted weather conditions, special details and sheet flashings, installation procedures, testing and inspection procedures, and protection and repairs.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Store liquid materials in their original undamaged containers in a clean, dry, protected location and within the temperature range required by waterproofing manufacturer.

B. Remove and replace liquid materials that cannot be applied within their stated shelf life.

C. Protect stored materials from direct sunlight.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  Apply waterproofing within the range of ambient and substrate temperatures recommended by waterproofing manufacturer.  Do not apply waterproofing to a damp or wet substrate, or when temperature is below 0 deg F (minus 18 deg C).

1. Do not apply waterproofing in snow, rain, fog, or mist.

B. Maintain adequate ventilation during application and curing of waterproofing materials.

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements." Example in first paragraph below is a labor-and-material warranty.  Verify coverage with manufacturers.  Manufacturers' warranties customarily do not include costs of excavating and exposing the waterproofing membrane as well as backfilling and restoring affected construction in vertical applications.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace waterproofing and sheet flashings that do not comply with requirements or that fail to remain watertight within specified warranty period.

In addition to special warranty covering waterproofing and sheet flashings above, some manufacturers offer total-system warranties for plaza decks that include insulation and pavers.  These warranties may include the costs of removing and reinstalling readily removable construction overlaying waterproofing.  Verify coverage with manufacturers.

1. Warranty insulation will retain 80 percent of original published thermal value.

2. Warranty pavers will not dish or warp and will not crack, split, or disintegrate in freeze-thaw conditions.

3. Warranty includes removing and reinstalling protection board, drainage panels, insulation, pedestals, and pedestal-mounted pavers on plaza decks.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles.  Fabric-reinforced, hot fluid-applied waterproofing may qualify for 10-year warranties from some manufacturers.

4. Warranty Period:  [Five] [10] <Insert number> years from date of Substantial Completion.

Retain paragraph below if a separate special installer's warranty is required and if it is an accepted practice locally.  Usually retain "Special Warranty" Paragraph above with "Special Installer's Warranty" Paragraph below.  Coordinate requirements of both special warranties to clarify responsibilities.  If a specific installer's warranty form is required, see Division 07 low-slope roofing Sections for examples that can be revised for waterproofing.

B. Special Installer's Warranty:  Specified form[, on warranty form at end of this Section,] signed by Installer, covering Work of this Section, for warranty period of [two] <Insert number> years.

Retain subparagraph below for plaza decks if applicable; revise if required.

1. Warranty includes removing and reinstalling protection board, drainage panels, insulation, pedestals, and pedestal-mounted pavers on plaza decks.

PART 2 -  PRODUCTS

2.1 WATERPROOFING MEMBRANE

A. Hot Fluid-Applied, Rubberized-Asphalt Waterproofing Membrane:  Single component; 100 percent solids; hot fluid-applied, rubberized asphalt.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. American Hydrotech, Inc.; Monolithic Membrane 6125.

b. American Permaquik Inc.; Permaquik 6100.

c. Barrett Company; Ram-Tough 250.

d. Carlisle Coatings & Waterproofing Inc.; CCW-500R.

e. Henry Company; 790-11.

f. Tamko Waterproofing; TW-Hot Melt.

g. Tremco Incorporated; Tremproof 150.

h. <Insert manufacturer's name; product name or designation>.

Insert product physical and performance properties below if required.  Manufacturers still report properties according to withdrawn CAN/CGSB-37.50, "Hot Applied, Rubberized Asphalt for Roofing and Waterproofing."  See Evaluations for discussion and a listing of these properties.

2.2 FLASHING SHEET MATERIALS

Retain paragraph below if elastomeric flashing sheets are used as concealed flashings.  Revise or insert proprietary flashing sheets, such as self-adhering, rubberized asphalt with fabric facer or modified bituminous sheet, if flashing is not subject to hydrostatic head or frequent immersion in water.

A. Elastomeric Flashing Sheet:  50-mil- (1.3-mm-) minimum, uncured sheet neoprene as follows:

1. Tensile Strength:  1400 psi (9.6 MPa) minimum; ASTM D 412, Die C.

2. Elongation:  300 percent minimum; ASTM D 412.

3. Tear Resistance:  125 psi (860 kPa) minimum; ASTM D 624, Die C.

4. Brittleness:  Does not break at minus 30 deg F (34 deg C); ASTM D 2137.

2.3 AUXILIARY MATERIALS

Revise primer and adhesives in this article to manufacturer-approved, VOC-conforming products when VOC limits apply.

A. Primer:  ASTM D 41, asphaltic primer.

Retain first paragraph below if elastomeric sheets are used to reinforce joints, cracks, and terminations.

B. Elastomeric Sheet:  50-mil- (1.3-mm-) minimum, uncured sheet neoprene as follows:

1. Tensile Strength:  1400 psi (9.6 MPa) minimum; ASTM D 412, Die C.

2. Elongation:  300 percent minimum; ASTM D 412.

3. Tear Resistance:  125 psi (860 kPa) minimum; ASTM D 624, Die C.

4. Brittleness:  Does not break at minus 30 deg F (34 deg C); ASTM D 2137.

Retain first paragraph below if required by manufacturer to fasten top edge of elastomeric flashing sheet against wall at expansion or moving joints.

C. Metal Termination Bars:  Manufacturer's standard, predrilled stainless-steel or aluminum termination bars; approximately 1 by 1/8 inch (25 by 3 mm) thick; with anchors.

D. Sealants and Accessories:  Manufacturer's recommended sealants and accessories.

Retain first paragraph below for joint-reinforcing fabric strips and for reinforced waterproofing membrane.

E. Reinforcing Fabric:  Manufacturer's recommended, spun-bonded polyester fabric.

Retain one of two paragraphs below or revise to insert other protection materials.  Distinguish locations such as plaza deck and foundation walls if more than one type of protection course is required.

Asphaltic protection course in first paragraph below is manufactured by W. R. Meadows and is also available from several other waterproofing manufacturers.

F. Protection Course:  ASTM D 6506, semirigid sheets of fiberglass or mineral-reinforced-asphaltic core, pressure laminated between two asphalt-saturated fibrous liners and as follows:

1. Thickness:  [1/8 inch (3 mm)] [1/4 inch (6 mm)], nominal.

2. Thickness:  1/8 inch (3 mm), nominal, for vertical applications; 1/4 inch (6 mm), nominal, elsewhere.

G. Protection Course:  Manufacturer's standard, 80- to 90-mil- (2.0- to 2.3-mm-) thick, fiberglass-reinforced rubberized asphalt or modified bituminous sheet.

2.4 MOLDED-SHEET DRAINAGE PANELS

Retain this article if drainage panels are required.  Retain first paragraph below if specifying nonwoven-geotextile-faced drainage panels, usually for foundation walls.

A. Nonwoven-Geotextile-Faced, Molded-Sheet Drainage Panel:  Manufactured composite subsurface drainage panels consisting of a nonwoven, needle-punched geotextile facing with an apparent opening size not exceeding No. 70 (0.21-mm) sieve, laminated to one side [with] [or] [without] a polymeric film bonded to the other side of a studded, nonbiodegradable, molded-plastic-sheet drainage core, with a vertical flow rate of 9 to 15 gpm/ft. (112 to 188 L/min. per m).

Retain paragraph below if specifying woven-geotextile-faced drainage panels, usually for plaza decks.

B. Woven-Geotextile-Faced, Molded-Sheet Drainage Panel:  Manufactured composite subsurface drainage panels consisting of a woven-geotextile facing with an apparent opening size not exceeding No. 40 (0.43-mm) sieve, laminated to one side [with] [or] [without] a polymeric film bonded to the other side of a studded, nonbiodegradable, molded-plastic-sheet drainage core, with a horizontal flow rate not less than 2.8 gpm/ft. (35 L/min. per m).

2.5 INSULATION

Retain first paragraph below if board insulation is required over waterproofing and if board insulation forms the first layer beneath an insulation drainage panel.

A. Board Insulation:  Extruded-polystyrene board insulation complying with ASTM C 578, [square] [or] [shiplap] edged.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. DiversiFoam Products.

b. Dow Chemical Company (The).

c. Owens Corning.

d. Pactiv Corporation.

e. T. Clear Corporation.

f. <Insert manufacturer's name>.

Type IV and Type VI insulation in first two subparagraphs below are usually limited to vertical applications.  Type VII and Type V insulation, with higher compressive strengths, are used on plaza decks.

2. Type IV, 25-psi (173-kPa) minimum compressive strength.

3. Type VI, 40-psi (276-kPa) minimum compressive strength.

4. Type VII, 60-psi (414-kPa) minimum compressive strength.

5. Type V, 100-psi (690-kPa) minimum compressive strength.

Retain first paragraph below for unfaced insulation drainage panels for foundation wall applications.  DiversiFoam's "CertiFoam 25 Drainage Board" and Dow's "Perimate" are Type IV.  DiversiFoam's "CertiFoam 40 Drainage Board" is Type VI.

B. Unfaced Wall Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type IV, 25-psi (173-kPa)] [or] [Type VI, 40-psi (276-kPa)] minimum compressive strength; unfaced; fabricated with shiplap or channel edges and with one side having grooved drainage channels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. DiversiFoam Products; [CertiFoam 25] [CertiFoam 40] Drainage Board.

b. Dow Chemical Company (The); Perimate.

c. <Insert manufacturer's name; product name or designation>.

Retain first paragraph below for geotextile-faced insulation drainage panels for foundation wall applications.  Owens Corning's "Insul-Drain" and T. Clear's "Thermadry 750" are Type IV; T. Clear's "Thermadry 1250" is Type VI.

C. Geotextile-Faced Wall Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type IV, 25-psi (173-kPa)] [or] [Type VI, 40-psi (276-kPa)] minimum compressive strength; fabricated with tongue-and-groove edges and with one side having grooved drainage channels faced with a nonwoven, geotextile filter fabric.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Owens Corning; Insul-Drain.

b. T. Clear Corporation; [Thermadry 750] [Thermadry 1250].

c. <Insert manufacturer's name; product name or designation>.

Retain first paragraph below for plaza deck applications if an unfaced insulation drainage panel with ribbed drainage channels is required.  Retain Type VI insulation for limited, intermittent pedestrian traffic or Type VII for heavier pedestrian traffic.  Dow's "Styrofoam Ribbed Roofmate" and Owens Corning's "Foamular 404 RB" are Type VI; DiversiFoam's "CertiFoam Plaza Deck" and Owens Corning's "Foamular 604 RB" are Type VII.

D. Unfaced Plaza Deck Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type VI, 40-psi (276-kPa)] [Type VII, 60-psi (414-kPa)] minimum compressive strength; unfaced; fabricated with shiplapped or channel edges and with one side having ribbed drainage channels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. DiversiFoam Products; CertiFoam Plaza Deck.

b. Dow Chemical Company (The); Styrofoam Ribbed Roofmate.

c. Owens Corning; [Foamular 404 RB] [Foamular 604 RB].

d. <Insert manufacturer's name; product name or designation>.

Retain paragraph below if Type VII geotextile-faced insulation is required for heavy pedestrian traffic.

E. Geotextile-Faced Plaza Deck Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, Type VII, 60-psi (414-kPa) minimum compressive strength; fabricated with tongue-and-groove edges and with one side having grooved drainage channels faced with a nonwoven, geotextile filter fabric.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. T. Clear Corporation; Thermadry 1750.

b. <Insert manufacturer's name; product name or designation>.

2.6 PLAZA DECK PAVERS

Retain this article if plaza deck pavers are required.  Retain one of first two paragraphs below if cross-referencing paver materials from other Sections.

A. Plaza Deck Pavers:  [Brick] [Concrete] [Asphalt-block] pavers specified in Division 32 Section "Unit Paving."

B. Plaza Deck Pavers:  [Granite] [Limestone] [Marble] [Quartz-based stone] [Slate] pavers specified in Division 09 Section "Stone Flooring."

Delete both paragraphs above and retain first paragraph below if plaza deck concrete pavers are required.  Verify availability of deck pavers with characteristics selected.  Below describes concrete pavers commonly used in pedestal-set applications over insulation and waterproofing or for placement on a setting bed.  Limit pedestal systems to pedestrian plazas.

C. Plaza Deck Pavers:  Heavyweight, hydraulically pressed, concrete units, [square edged] [with top edges beveled 3/16 inch (5 mm)], manufactured for use as plaza deck pavers; minimum compressive strength [7500 psi (52 MPa)] [6500 psi (45 MPa)] <Insert value>, ASTM C 140; absorption not greater than 5 percent, ASTM C 140; no breakage and maximum 1 percent mass loss when tested for freeze-thaw resistance according to ASTM C 67.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. Hanover Architectural Products.

b. Hastings Pavement Company, LLC.

c. Roofblok Limited.

d. Sunny Brook Pressed Concrete.

e. Wausau Tile, Inc.; Terra-Paving Division.

f. Westile Roofing Products.

g. <Insert manufacturer's name>.

Select one thickness and one face size from options in first two subparagraphs below.  Include special paver sizes and insert descriptions of custom pavers such as stair tread and riser units, coping or curbed termination pavers, and oversize pavers.

3. Thickness:  [1-5/8 inches (41 mm)] [1-3/4 inches (45 mm)] [2 inches (51 mm)] [2-3/8 inches (60 mm)] <Insert dimension>.

4. Face Size:  [8-7/8 inches (225 mm) square] [9 inches (229 mm) square] [9 by 18 inches (229 by 457 mm)] [12 inches (305 mm) square] [12 by 24 inches (305 by 610 mm)] [18 inches (457 mm) square] [24 inches (610 mm) square] [As indicated] <Insert dimensions and shape>.

5. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Retain first paragraph below if setting-bed systems are required.

D. Setting Bed:  Provide [aggregate] [mortar] [bituminous] setting-bed materials specified in Division 32 Section "Unit Paving."

Retain paragraph below if using pedestal systems for paver supports.

E. Paver Supports:  Paver manufacturer's standard SBR rubber, high-density polyethylene, or polyurethane paver support assembly, including [fixed-height] [adjustable or stackable] pedestals, shims, and spacer tabs for joint spacing of [1/8 inch (3 mm)] [3/16 inch (5 mm)] [1/8 to 3/16 inch (3 to 5 mm)].

Retain subparagraph below if specifying Wausau Tile's "Terr-Adjust" tilting and telescoping pedestals.

1. Concrete Fill:  ACI 301, compressive strength of 5000 psi (34 MPa) at 28 days, and air content of 6 percent.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

1. Verify that concrete has cured and aged for minimum time period recommended by waterproofing manufacturer.

2. Verify that substrate is visibly dry and free of moisture.  Test for capillary moisture by plastic sheet method according to ASTM D 4263.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean and prepare substrates according to manufacturer's written instructions.  Provide clean, dust-free, and dry substrate for waterproofing application.

B. Mask off adjoining surfaces not receiving waterproofing to prevent spillage and overspray affecting other construction.

C. Close off deck drains and other deck penetrations to prevent spillage and migration of waterproofing fluids.

D. Remove grease, oil, form-release agents, paints, curing compounds, and other penetrating contaminants or film-forming coatings from concrete.

Retain subparagraph below if required for waterproofing adhesion.  Verify substrate acceptability with manufacturers.

1. Abrasive blast clean concrete surfaces uniformly to expose top surface of fine aggregate according to ASTM D 4259 with a self-contained, recirculating, blast-cleaning apparatus.  Remove material to provide a sound surface free of laitance, glaze, efflorescence, curing compounds, concrete hardeners, or form-release agents.  Remove remaining loose material and clean surfaces according to ASTM D 4258.

E. Remove fins, ridges, and other projections and fill honeycomb, aggregate pockets, and other voids.

3.3 JOINTS, CRACKS, AND TERMINATIONS

A. Prepare and treat substrates to receive waterproofing membrane, including joints and cracks, deck drains, corners, and penetrations according to manufacturer's written instructions.

1. Rout and fill joints and cracks in substrate.  Before filling, remove dust and dirt according to ASTM D 4258.

Usually retain first two subparagraphs below.  Retain first for reinforcing strips over moving or large joints and cracks.

2. Adhere strip of elastomeric sheet to substrate in a layer of hot rubberized asphalt.  Extend elastomeric sheet a minimum of 6 inches (150 mm) on each side of moving joints and cracks or joints and cracks exceeding 1/8 inch (3 mm) thick, and beyond deck drains and penetrations.  Apply second layer of hot fluid-applied, rubberized asphalt over elastomeric sheet.

Retain first subparagraph below for reinforcing strips over nonmoving joints and cracks not exceeding 1/8 inch (3 mm) thick.

3. Embed strip of reinforcing fabric into a layer of hot rubberized asphalt.  Extend reinforcing fabric a minimum of 6 inches (150 mm) on each side of nonmoving joints and cracks not exceeding 1/8 inch (3 mm) thick, and beyond roof drains and penetrations.

Retain subparagraph below with fabric-reinforced joints for unreinforced waterproofing membrane.

a. Apply second layer of hot fluid-applied, rubberized asphalt over reinforcing fabric.

Revise or delete paragraph below if using expansion-joint gaskets or expansion-joint cover assemblies.  Do not use modified bituminous flashing sheets for this condition.

B. At expansion joints and discontinuous deck-to-wall or deck-to-deck joints, bridge joints with elastomeric sheet extended a minimum of 6 inches (150 mm) on each side of joints and adhere to substrates in a layer of hot rubberized asphalt.  Apply second layer of hot fluid-applied, rubberized asphalt over elastomeric sheet.

3.4 FLASHING INSTALLATION

A. Install elastomeric flashing sheets at terminations of waterproofing membrane according to manufacturer's written instructions.

Retain first paragraph below for smooth surfaces of masonry and concrete walls and parapets.

B. Prime substrate with asphalt primer.

C. Install elastomeric flashing sheet and adhere to deck and wall substrates in a layer of hot rubberized asphalt.

Revise dimensions in first paragraph below if required.  Verify minimum and maximum height limits with manufacturers if required.

D. Extend elastomeric flashing sheet up walls or parapets a minimum of 8 inches (200 mm) above plaza deck pavers and 6 inches (150 mm) onto deck to be waterproofed.

Verify need for termination bars and mechanical fastening with manufacturer.  Paragraph below is an example only.

E. Install termination bars and mechanically fasten to top of elastomeric flashing sheet at terminations and perimeter of roofing.

3.5 MEMBRANE APPLICATION

A. Apply primer, at manufacturer's recommended rate, over prepared substrate and allow to dry.

B. Heat and apply rubberized asphalt according to manufacturer's written instructions.

1. Heat rubberized asphalt in an oil- or air-jacketed melter with mechanical agitator specifically designed for heating rubberized asphalt.

Retain first paragraph below if applicable.

C. Start application with manufacturer's authorized representative present.

D. Unreinforced Membrane:  Apply hot rubberized asphalt to substrates and adjoining surfaces indicated.  Spread to form a uniform, unreinforced, seamless membrane, [180-mil (4.5-mm) minimum thickness] [180-mil (4.5-mm) average thickness, but not less than 125 mil (3.2 mm) thick].

Retain last paragraph above or first below, or both.  If retaining both, indicate location of each system on Drawings.

E. Reinforced Membrane:  Apply hot rubberized asphalt to substrates and adjoining surfaces indicated.  Spread to a thickness of 90 mils (2.3 mm); embed reinforcing fabric, overlapping sheets 2 inches (50 mm); spread another 125-mil- (3.2-mm-) thick layer to provide a uniform, reinforced, seamless membrane 215 mils (5.5 mm) thick.

F. Apply waterproofing over prepared joints and up wall terminations and vertical surfaces to heights indicated or required by manufacturer.

Protection course also prevents insulation from sticking to membrane.  Select first option in paragraph below for foundation wall applications and second option for horizontal applications.

G. Cover waterproofing with protection course with overlapped joints before membrane is subject to [backfilling] [construction or vehicular traffic].

3.6 MOLDED-SHEET DRAINAGE PANEL INSTALLATION

A. Place and secure molded-sheet drainage panels, with geotextile facing away from wall or deck substrate according to manufacturer's written instructions.  Use methods that do not penetrate waterproofing.  Lap edges and ends of geotextile to maintain continuity.  Protect installed molded-sheet drainage panels during subsequent construction.

Retain subparagraph below if board insulation or protection course is installed before installing molded-sheet drainage panels.

1. For vertical applications, install [board insulation] [protection course] before installing drainage panels.

3.7 INSULATION INSTALLATION

A. Install [one or more layers of board insulation to achieve required thickness] [and] [insulation drainage panels] over waterproofed surfaces.  Cut and fit to within 3/4 inch (19 mm) of projections and penetrations.

Retain first paragraph below if support is required during backfilling.

B. On vertical surfaces, set insulation units into rubberized asphalt according to manufacturer's written instructions.

C. On horizontal surfaces, loosely lay insulation units according to manufacturer's written instructions.  Stagger end joints and tightly abut insulation units.

3.8 PLAZA DECK PAVER INSTALLATION

Delete first paragraph below if using paver pedestal supports.

A. Setting Bed:  Install setting bed in locations and of thickness indicated to comply with requirements in [Division 32 Section "Unit Paving."] [Division 09 Section "Stone Flooring."]

B. Install concrete pavers in locations indicated according to manufacturer's written instructions.

Retain first two paragraphs below if setting pavers on paving pedestals.

C. Accurately install [fixed] [adjustable]-height paver pedestals and accessories in locations and to elevations required.  Adjust for final level and slope with shims.

Retain concrete fill in subparagraph below if using Wausau Tile's "Terr-Adjust" tilting and telescoping paver pedestals.

1. Fill paver pedestal with concrete mix, strike smooth with top of pedestal, and cure according to ACI 301.

D. Loosely lay pavers on pedestals, maintaining a uniform open joint width.  Tightly seat pavers against spacers to eliminate lateral movement or drift of paving assembly.  Align joint patterns parallel in each direction.

Revise subparagraph below to suit Project.  Consider paved area layout, paver module, and construction tolerances when imposing limits.  Verify minimum dimensions with paver manufacturer.  Minimum pedestal dimensions may also govern.  Custom-dimensioned pavers or pavers scored to repeat module may be available.

1. Lay out pavers to avoid less-than-half-width pavers at perimeter or other terminations.

Insert special installation requirements below.  Examples might include tread/riser units on tabs or treatment of pavers at plaza/building expansion joints.

E. Install pavers to not vary more than 1/16 inch (1.6 mm) in elevation between adjacent pavers or more than 1/16 inch (1.6 mm) from surface plane elevation of individual paver.

F. Maintain tolerances of paving installation within [1/4 inch in 10 feet (1:48)] <Insert surface tolerance> of surface plane in any direction.

3.9 FIELD QUALITY CONTROL

Retain first paragraph below if a manufacturer's site representative is required.  Manufacturer may also require this as a warranty condition.

A. Engage a full-time site representative qualified by waterproofing membrane manufacturer to inspect substrate conditions; surface preparation; and application of the membrane, flashings, protection, and drainage components; furnish daily reports to Architect.

Delete flood testing if waterproofing is limited to vertical applications.  Revise first paragraph below by identifying particular areas on Project to flood test when applicable.  Limit water depth to not exceed load capacity of deck.  Electronic leak testing methods such as electric field vector mapping may be available; if required, delete below and replace with details of testing proposed.

B. Flood Testing:  Flood test each deck area for leaks, according to recommendations in ASTM D 5957, after completing and protecting waterproofing but before overlaying construction is placed.  Install temporary containment assemblies, plug or dam drains, and flood with potable water.

1. Flood to an average depth of 2-1/2 inches (65 mm) with a minimum depth of 1 inch (25 mm) and not exceeding a depth of 4 inches (100 mm).  Maintain 2 inches (50 mm) of clearance from top of sheet flashings.

ASTM D 5957 sets 24 hours as the minimum and 72 hours as the maximum duration for flood testing.

2. Flood each area for [24] [48] [72] hours.

3. After flood testing, repair leaks, repeat flood tests, and make further repairs until waterproofing installation is watertight.

C. [Owner will engage] [Engage] an independent testing agency to observe flood testing and examine underside of decks and terminations for evidence of leaks during flood testing.

3.10 CLEANING AND PROTECTION

A. Protect waterproofing from damage and wear during remainder of construction period.

Retain first paragraph below when board insulation or insulation drainage panels are required and may be exposed for a period on plaza decks.

B. Protect installed [board insulation] [insulation drainage panels] from damage due to UV light, harmful weather exposures, physical abuse, and other causes.  Provide temporary coverings where insulation will be subject to abuse and cannot be concealed and protected by permanent construction immediately after installation.

C. Clean spillage and soiling from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

Insert Special Installer's Warranty Form below if required.

END OF SECTION 071413

	HOT FLUID-APPLIED RUBBERIZED ASPHALT WATERPROOFING
	071413 - 1



