Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
08/04 (R 05/05)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 072713 - MODIFIED BITUMINOUS SHEET AIR BARRIERS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes self-adhering, vapor-retarding, modified bituminous sheet air barriers.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 01 Section "Allowances" for testing and inspecting allowances.

2. Division 04 Section "Unit Masonry" for embedded flashings.

3. Division 06 Section "Sheathing" for wall sheathings, wall sheathing joint-and-penetration treatments, building paper, and building wraps.

4. Division 07 low-slope roofing Sections for roof air barriers.

5. Division 07 Section "Thermal Insulation" for foam-plastic board insulation.

6. Division 07 Section "Fluid-Applied Membrane Air Barriers."

7. Division 07 Section "Sheet Metal Flashing and Trim" for sheet metal flashings.

8. Division 07 Section "Joint Sealants" for joint-sealant materials and installation.

1.3 DEFINITIONS

Retain abbreviation and term that remain after this Section has been edited.

A. ABAA:  Air Barrier Association of America.

B. Air Barrier Assembly:  The collection of air barrier materials and auxiliary materials applied to an opaque wall, including joints and junctions to abutting construction, to control air movement through the wall.

1.4 PERFORMANCE REQUIREMENTS

Retain option in paragraph below if air barrier will serve as a primary or secondary drainage plane.

A. General:  Air barrier shall be capable of performing as a continuous vapor-retarding air barrier[ and as a liquid-water drainage plane flashed to discharge to the exterior incidental condensation or water penetration].  Air barrier assemblies shall be capable of accommodating substrate movement and of sealing substrate expansion and control joints, construction material changes, penetrations, and transitions at perimeter conditions without deterioration and air leakage exceeding specified limits.

Retain paragraph below if quantitative testing in Part 1 "Preconstruction Testing" Article or in Part 3 "Field Quality Control" Article is retained.  Air leakage values below are for whole opaque wall assemblies, excluding windows, doors, and other openings.  Although this Section is limited to one component of the assembly (the membrane air barrier), the performance of the air barrier assembly, made up of several components, is verifiable.

B. Air Barrier Assembly Air Leakage:  Not to exceed [0.01 cfm/sq. ft. of surface area at 1.57 lbf/sq. ft. (0.05 L/s x sq. m of surface area at 75 Pa)] [0.02 cfm/sq. ft. of surface area at 1.57 lbf/sq. ft. (0.1 L/s x sq. m of surface area at 75 Pa)] [0.03 cfm/sq. ft. of surface area at 1.57 lbf/sq. ft. (0.15 L/s x sq. m of surface area at 75 Pa)] [0.04 cfm/sq. ft. of surface area at 1.57 lbf/sq. ft. (0.2 L/s x sq. m of surface area at 75 Pa)]; [ASTM E 283] [ASTM E 783] <Insert test>.

1.5 PRECONSTRUCTION TESTING

Retain this Article if preconstruction testing of mockups is required.  Mockup testing is usually limited to buildings with complex, unusual, or previously untested exterior envelope construction.  Coordinate mockup testing with mockup requirements in "Quality Assurance" Article and with Owner's testing and inspection requirements.

A. Mockup Testing:  Air barrier assemblies shall comply with performance requirements indicated, as evidenced by reports based on mockup testing by a qualified testing agency.

1. Owner will engage a qualified testing agency.

Retain subparagraph below if nonquantitative testing is required.

2. Qualitative Testing: Mockups will be tested for evidence of air leakage according to [ASTM E 1186, smoke pencil with pressurization or depressurization] [ASTM E 1186, chamber pressurization or depressurization with smoke tracers] [ASTM E 1186, chamber depressurization using detection liquids].

Delete subparagraph below if quantitative air leakage testing of mockup is not required.

3. Quantitative Air Leakage Testing:  Testing of the mockup for air leakage will be conducted not to exceed the test pressure differential, positive and negative, indicated in "Performance Requirements" Article for air barrier assembly air leakage when tested according to [ASTM E 283] [ASTM E 783] <Insert test>.

Retain subparagraph below if required.

4. Notify Architect [seven] <Insert number> days in advance of the dates and times when mockup testing will take place.

1.6 SUBMITTALS

A. Product Data:  Include manufacturer's written instructions for evaluating, preparing, and treating substrate; technical data; and tested physical and performance properties of air barrier.

B. Shop Drawings:  Show locations and extent of air barrier.  Include details for substrate joints and cracks, counterflashing strip, penetrations, inside and outside corners, terminations, and tie-ins with adjoining construction.

1. Include details of interfaces with other materials that form part of air barrier.

2. Include details of mockups.

C. Product Certificates:  For air barriers, certifying compatibility of air barrier and accessory materials with Project materials that connect to or that come in contact with air barrier; signed by product manufacturer.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

D. Qualification Data:  For Applicator.

E. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for air barriers.

1.7 QUALITY ASSURANCE

Delete paragraph below if not applicable.  ABAA-licensed contractors may not be readily available; verify availability before specifying.

A. Applicator Qualifications:  A firm experienced in applying air barrier materials similar in material, design, and extent to those indicated for this Project, whose work has resulted in applications with a record of successful in-service performance [and who is an ABAA-licensed contractor] <Insert qualifications>.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.  Retain below with or without "Preconstruction Testing" Article and coordinate requirements.

B. Mockups:  Before beginning installation of air barrier, build mockups of exterior wall assembly [shown on Drawings][, 150 sq. ft. (14 sq. m)] <Insert dimensions>, incorporating backup wall construction, external cladding, window, door frame and sill, insulation, and flashing to demonstrate surface preparation, crack and joint treatment, and sealing of gaps, terminations, and penetrations of air barrier membrane.

1. Coordinate construction of mockup to permit inspection by Owner's testing agency of air barrier before external insulation and cladding is installed.

2. Include junction with roofing membrane[, building corner condition,] [and] [foundation wall intersection].

3. If Architect determines mockups do not comply with requirements, reconstruct mockups and apply air barrier until mockups are approved.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph and subparagraphs below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.

C. Preinstallation Conference:  Conduct conference at Project site.

1. Include installers of other construction connecting to air barrier, such as roofing, waterproofing, architectural precast concrete, masonry, joint sealants, windows, glazed curtain walls, and door frames.

2. Review air barrier requirements including surface preparation, substrate condition and pretreatment, minimum substrate curing period, forecasted weather conditions, special details and sheet flashings, mockups, installation procedures, sequence of installation, testing and inspecting procedures, and protection and repairs.

1.8 DELIVERY, STORAGE, AND HANDLING

A. Store liquid materials in their original undamaged packages in a clean, dry, protected location and within temperature range required by air barrier manufacturer.

B. Remove and replace liquid materials that cannot be applied within their stated shelf life.

C. Store rolls according to manufacturer's written instructions.

D. Protect stored materials from direct sunlight.

1.9 PROJECT CONDITIONS

A. Environmental Limitations:  Apply air barrier within the range of ambient and substrate temperatures recommended by air barrier manufacturer.  Protect substrates from environmental conditions that affect performance of air barrier.  Do not apply air barrier to a damp or wet substrate or during snow, rain, fog, or mist.

PART 2 -  PRODUCTS

2.1 SELF-ADHERING SHEET AIR BARRIER

Self-adhering sheets function as air barriers and vapor retarders and are usually located on the warm side of primary wall insulation.  Because the warm-side location within a wall cross section in cold northern climates may be different from warm southern climates, dew point calculations or more sophisticated vapor-flow analyses may be required to determine location of air barrier.

Retain option in paragraph below if application with VOC-conforming auxiliary products is required by authorities having jurisdiction.

A. Modified Bituminous Sheet:  40-mil- (1.0-mm-) thick, self-adhering sheet consisting of 36 mils (0.9 mm) of rubberized asphalt laminated to a 4-mil- (0.1-mm-) thick, polyethylene film with release liner on adhesive side[ and formulated for application with primer that complies with VOC limits of authorities having jurisdiction].

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Air Barriers" for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

Consult ABAA's Web site for a current listing of reviewed air barrier products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Carlisle Coatings & Waterproofing; CCW-705.

b. Grace, W. R. & Co.; Perm-A-Barrier.

c. Henry Company; Blueskin SA.

d. Meadows, W. R., Inc.; SealTight Air-Shield.

e. NEI; AC AirSeal.

f. Rubber Polymer Corporation; Rub-R-Wall SA.

g. Tremco, Incorporated; ExoAir 110

h. <Insert manufacturer's name; product name or designation.>

3. Physical and Performance Properties:

Air permeance in first subparagraph below is based on energy-conservation requirements of the Massachusetts State Building Code, 780 CMR, Chapter 13.  Revise to suit Project.

a. Membrane Air Permeance:  Not to exceed [0.004 cfm/sq. ft. of surface area at 1.57-lbf/sq. ft. (0.02 L/s x sq. m of surface area at 75-Pa)] <Insert value> pressure difference; ASTM E 2178.

b. Tensile Strength:  [250 psi (1.7 MPa)] <Insert value> minimum; ASTM D 412, Die C, modified.

c. Ultimate Elongation:  [200 percent] <Insert number> minimum; ASTM D 412, Die C, modified.

d. Low-Temperature Flexibility:  Pass at [minus 20 deg F (minus 29 deg C)] <Insert temperature>; ASTM D 1970.

e. Crack Cycling:  Unaffected after [100] <Insert number> cycles of 1/8-inch (3-mm) movement; ASTM C 836.

f. Puncture Resistance:  [40 lbf (180 N)] <Insert value> minimum; ASTM E 154.

g. Water Absorption:  [0.15] <Insert number> percent weight-gain maximum after 48-hour immersion at 70 deg F (21 deg C); ASTM D 570.

h. Vapor Permeance:  [0.05 perms (2.9 ng/Pa x s x sq. m)] <Insert value>; ASTM E 96, Water Method.

2.2 AUXILIARY MATERIALS

A. General:  Auxiliary materials recommended by air barrier manufacturer for intended use and compatible with air barrier.  Liquid-type auxiliary materials shall comply with VOC limits of authorities having jurisdiction.

Both types of liquid primer in paragraph below may be used on concrete, masonry, gypsum and wood-based sheathings, metal, and painted substrates.

B. Primer:  Liquid [waterborne] [solvent-borne] primer recommended for substrate by manufacturer of air barrier material.

Modified bituminous self-adhering strip in paragraph below is used to counterflash metal flashings.

C. Counterflashing Strip:  Modified bituminous 40-mil- (1.0-mm-) thick, self-adhering sheet consisting of 32 mils (0.8 mm) of rubberized asphalt laminated to an 8-mil- (0.2-mm-) thick, crosslaminated polyethylene film with release liner backing.

Butyl-based self-adhering strip in paragraph below is used to terminate air barrier to EPDM or TPO roofing membranes.

D. Butyl Strip:  Vapor-retarding, 30- to 40-mil- (0.76- to 1.0-mm-) thick, self adhering; polyethylene-film-reinforced top surface laminated to layer of butyl adhesive, with release liner backing.

Modified bituminous self-adhering strip in first paragraph below is used to cover cracks and joints and terminate air barrier to compatible roofing membranes.  Verify compatibility with roofing membranes and revise strip material if necessary.

E. Modified Bituminous Strip:  Vapor-retarding, 40-mil- (1.0-mm-) thick, smooth-surfaced, self-adhering; consisting of 36 mils (0.9 mm) of rubberized asphalt laminated to a 4-mil- (0.1-mm-) thick polyethylene film with release liner backing.

F. Termination Mastic:  Cold fluid-applied elastomeric liquid; trowel grade.

G. Substrate Patching Membrane:  Manufacturer's standard trowel-grade substrate filler.

H. Adhesive and Tape:  Air barrier manufacturer's standard adhesive and pressure-sensitive adhesive tape.

I. Stainless-Steel Sheet:  ASTM A 240/A 240M, Type 304, [0.0187 inch (0.5 mm)] [0.0250 inch (0.64 mm)] <Insert dimension> thick, and Series 300 stainless-steel fasteners.

Foam sealant in paragraph below is used to fill gaps at penetrations and openings.

J. Sprayed Polyurethane Foam Sealant:  1- or 2-component, foamed-in-place, polyurethane foam sealant, 1.5 to 2.0 lb/cu. ft. (24 to 32 kg/cu. m) density; flame spread index of 25 or less according to ASTM E 162; with primer and noncorrosive substrate cleaner recommended by foam sealant manufacturer.

Retain one or more of first three paragraphs below for materials to seal air barrier terminations with windows, doors, curtain walls, and storefront systems.  Retain first paragraph if using a modified bituminous transition strip. Retain second paragraph if using an elastomeric flashing sheet.  Retain third paragraph if using a preformed silicone-sealant extrusion.

K. Modified Bituminous Transition Strip:  Vapor-retarding, 40-mil- (1.0-mm-) thick, smooth-surfaced, self-adhering; consisting of 36 mils (0.9 mm) of rubberized asphalt laminated to a 4-mil- (0.1-mm-) thick polyethylene film with release liner backing.

L. Elastomeric Flashing Sheet:  ASTM D 2000, 2BC415 to 3BC620, minimum 50- to 65-mil- (1.3- to 1.6-mm-) thick, cured sheet neoprene with manufacturer's recommended contact adhesives and lap sealant with [stainless-steel termination bars and fasteners] [aluminum termination bars and stainless-steel fasteners] [galvanized steel termination bars and fasteners].

Products described in paragraph below include Dow Corning Corporation's "123 Silicone Seal," GE Silicones' "UltraSpan US1100," Pecora Corporation's "Sil-Span," and Tremco Incorporated's "Spectrem EZ Seal."

M. Preformed Silicone-Sealant Extrusion:  Manufacturer's standard system consisting of cured low-modulus silicone extrusion, sized to fit opening widths, with a single-component, neutral-curing, Class 100/50 (low-modulus) silicone sealant for bonding extrusions to substrates.

Revise paragraph below to specify another compatible joint sealant if required.  Polysulfide or polyurethane joint sealants may be incompatible with bituminous sheet materials or with bituminous-based materials on adjoining surfaces.

N. Joint Sealant:  ASTM C 920, single-component, neutral-curing silicone; Class 100/50 (low-modulus), Grade NS, Use NT related to exposure, and, as applicable to joint substrates indicated, Use O.  Comply with Division 07 Section "Joint Sealants."

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements and other conditions affecting performance.

1. Verify that substrates are sound and free of oil, grease, dirt, excess mortar, or other contaminants.

2. Verify that concrete has cured and aged for minimum time period recommended by air barrier manufacturer.

3. Verify that concrete is visibly dry and free of moisture.  Test for capillary moisture by plastic sheet method according to ASTM D 4263.

4. Verify that masonry joints are flush and completely filled with mortar.

5. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 SURFACE PREPARATION

A. Clean, prepare, and treat substrate according to manufacturer's written instructions.  Provide clean, dust-free, and dry substrate for air barrier application.

B. Mask off adjoining surfaces not covered by air barrier to prevent spillage and overspray affecting other construction.

C. Remove grease, oil, bitumen, form-release agents, paints, curing compounds, and other penetrating contaminants or film-forming coatings from concrete.

D. Remove fins, ridges, mortar, and other projections and fill honeycomb, aggregate pockets, holes, and other voids in concrete with substrate-patching membrane.

E. Remove excess mortar from masonry ties, shelf angles, and other obstructions.

F. Prepare, fill, prime, and treat joints and cracks in substrates.  Remove dust and dirt from joints and cracks according to ASTM D 4258.

Retain subparagraph below if air barrier sheet will cover nonmoving joints and cracks.  Consult manufacturers because recommendations may differ.

1. Install modified bituminous strips and center over treated construction and contraction joints and cracks exceeding a width of 1/16 inch (1.6 mm).

Treatment at expansion joints, isolation joints, and other discontinuous joints varies.  Verify recommendations of air barrier sheet manufacturers.  Description in first paragraph below is based on W. R. Grace's details.  Not only primary architectural expansion joints but also building expansion joints may need continuous air barriers.  Coordinate expansion-joint treatment with Division 07 Section "Expansion Control."

G. Bridge and cover [isolation joints] [expansion joints] [and] discontinuous deck-to-wall and deck-to-deck joints with overlapping modified bituminous strips.

H. At changes in substrate plane, apply sealant or termination mastic beads at sharp corners and edges to form a smooth transition from one plane to another.

I. Cover gaps in substrate plane and form a smooth transition from one substrate plane to another with stainless-steel sheet mechanically fastened to structural framing to provide continuous support for air barrier.

3.3 INSTALLATION

Revise this Article to coordinate with drawing details.  Sheet materials should be placed over a firm backing to provide structural support for achieving an effective and permanent air barrier.

A. Install modified bituminous sheets according to air barrier manufacturer's written instructions and according to recommendations in ASTM D 6135.

Retain subparagraph below if installation at low temperatures may be required.  Verify that selected manufacturers produce low-temperature products.  An upper-limit temperature may be recommended by sheet manufacturer to reduce workmanship problems with more aggressive adhesion.

1. When ambient and substrate temperatures range between 25 and 40 deg F (minus 4 and plus 5 deg C), install self-adhering, modified bituminous air barrier sheets produced for low-temperature application.  Do not use low-temperature sheets if ambient or substrate temperature is higher than 60 deg F (16 deg C).

B. Corners:  Prepare, prime, and treat inside and outside corners according to ASTM D 6135.

1. Install modified bituminous strips centered over vertical inside corners.  Install 3/4-inch (19-mm) fillets of termination mastic on horizontal inside corners.

C. Prepare, treat, and seal vertical and horizontal surfaces at terminations and penetrations with termination mastic and according to ASTM D 6135.

D. Apply primer to substrates at required rate and allow to dry.  Limit priming to areas that will be covered by air barrier sheet in same day.  Reprime areas exposed for more than 24 hours.

Delete subparagraph below if glass-fiber-surfaced gypsum sheathing is not used.

1. Prime glass-fiber-surfaced gypsum sheathing with number of prime coats needed to achieve required bond, with adequate drying time between coats.

E. Apply and firmly adhere modified bituminous sheets horizontally over area to receive air barrier sheets.  Accurately align sheets and maintain a uniform 2-1/2-inch- (64-mm-) minimum lap widths and end laps.  Overlap and seal seams and stagger end laps to ensure airtight installation.

1. Apply sheets in a shingled manner to shed water without interception by any exposed sheet edges.

2. Roll sheets firmly to enhance adhesion to substrate.

F. Apply continuous modified bituminous sheets over modified bituminous strips bridging substrate cracks, construction, and contraction joints.

Delete paragraph and subparagraphs below if masonry ties will be installed after air barrier placement.  Retain if installing air barrier sheet after projecting interior wythe masonry ties or joint reinforcement has been installed.  Coordinate vertical spacing of ties and joint reinforcement with air barrier sheet width.

G. CMU:  Install air barrier sheet horizontally against the CMU beginning at base of wall.  Align top edge of air barrier sheet immediately below protruding masonry ties or joint reinforcement or ties and firmly adhere in place.

1. Overlap horizontally adjacent sheets a minimum of 2 inches (50 mm) and roll seams.

2. Apply overlapping sheets with bottom edge slit to fit around masonry reinforcing or ties.  Roll firmly into place.

3. Seal around masonry reinforcing or ties and penetrations with termination mastic.

4. Continue the membrane into all openings in the wall, such as doors, windows, and terminate at points to maintain an airtight barrier that will not be visible from interior.

Retain first option in first paragraph below if flashings are nonmetallic; retain second option for metal through-wall flashings.

H. Seal top of through-wall flashings to air barrier sheet with an additional 6-inch- (150-mm-) wide, [modified bituminous] [counterflashing] strip.

I. Seal exposed edges of sheets at seams, cuts, penetrations, and terminations not concealed by metal counterflashings or ending in reglets with termination mastic.

J. Install air barrier sheets and auxiliary materials to form a seal with adjacent construction and to maintain a continuous air barrier.

1. Coordinate the installation of air barrier with installation of roofing membrane and base flashing to ensure continuity of air barrier with roofing membrane.

2. Install [butyl] [modified bituminous] strip on roofing membrane or base flashing so that a minimum of 3 inches (75 mm) of coverage is achieved over both substrates.

K. Connect and seal exterior wall air barrier membrane continuously to roofing membrane air barrier, concrete below-grade structures, floor-to floor construction, exterior glazing and window systems, glazed curtain-wall systems, storefront systems, exterior louvers, exterior door framing, and other construction used in exterior wall openings using accessory materials [as indicated] [and according to manufacturer's tested assembly].

L. Wall Openings:  Prime concealed perimeter frame surfaces of windows, curtain walls, storefronts, and doors.  Apply [modified bituminous transition strip] [elastomeric flashing sheet] [preformed silicone-sealant extrusion] so that a minimum of 3 inches (75 mm) of coverage is achieved over both substrates.  Maintain 3 inches (75 mm) of full contact over firm bearing to perimeter frames with not less than 1 inch (25 mm) of full contact.

Retain one of three subparagraphs below, depending on option selected in paragraph above.

1. Modified Bituminous Transition Strip:  Roll firmly to enhance adhesion.

2. Elastomeric Flashing Sheet:  Apply adhesive to wall, frame, and flashing sheet.  Install flashing sheet and termination bars, fastened at 6 inches (150 mm) o.c.  Apply lap sealant over exposed edges and on cavity side of flashing sheet.

3. Preformed Silicone-Sealant Extrusion:  Set in full bed of silicone sealant applied to walls, frame, and membrane.

M. Fill gaps in perimeter frame surfaces of windows, curtain walls, storefronts, doors, and miscellaneous penetrations of air barrier membrane with foam sealant.

N. At end or each working day, seal top edge of membrane to substrate with termination mastic.

O. Apply joint sealants forming part of air barrier assembly within manufacturer's recommended application temperature ranges.  Consult manufacturer when sealant cannot be applied within these temperature ranges.

P. Repair punctures, voids, and deficient lapped seams in air barrier.  Slit and flatten fishmouths and blisters.  Patch with air barrier sheet extending 6 inches (150 mm) beyond repaired areas in all directions.

Q. Do not cover air barrier until it has been tested and inspected by Owner's testing agency.

R. Correct deficiencies in or remove air barrier that does not comply with requirements; repair substrates and reapply air barrier components.

3.4 FIELD QUALITY CONTROL

Coordinate test and inspection requirements in this Article with input from Owner's testing agency.

A. Testing Agency:  Owner will engage a qualified testing agency to perform tests and inspections and prepare test reports.

B. Inspections:  Air barrier materials and installation are subject to inspection for compliance with requirements.  Inspections may include the following:

Retain list of inspections below if required for Contractor's information.

1. Continuity of air barrier system has been achieved throughout the building envelope with no gaps or holes.

2. Continuous structural support of air barrier system has been provided.

3. Masonry and concrete surfaces are smooth, clean and free of cavities, protrusions, and mortar droppings.

4. Site conditions for application temperature and dryness of substrates have been maintained.

5. Maximum exposure time of materials to UV deterioration has not been exceeded.

6. Surfaces have been primed.

7. Laps in sheet materials have complied with the minimum requirements and have been shingled in the correct direction (or mastic applied on exposed edges), with no fishmouths.

8. Termination mastic has been applied on cut edges.

9. Air barrier has been firmly adhered to substrate.

10. Compatible materials have been used.

11. Transitions at changes in direction and structural support at gaps have been provided.

12. Connections between assemblies (membrane and sealants) have complied with requirements for cleanliness, preparation and priming of surfaces, structural support, integrity, and continuity of seal.

13. All penetrations have been sealed.

C. Tests:  Testing to be performed will be determined by Owner's testing agency from among the following tests:

Retain subparagraph below if nonquantitative testing is required.

1. Qualitative Testing: Air barrier assemblies will be tested for evidence of air leakage according to [ASTM E 1186, smoke pencil with pressurization or depressurization] [ASTM E 1186, chamber pressurization or depressurization with smoke tracers] [ASTM E 1186, chamber depressurization using detection liquids].

Other quantitative tests may include ASTM E 779; CAN/CGSB 149.10, "Determination of the Airtightness of Building Envelopes by the Fan Depressurization Method"; and CAN/CGSB 149.15, "Determination of the Overall Envelope Airtightness of Office Buildings by the Fan Depressurization Method Using the Building's Air Handling System."  Insert other testing requirements below if applicable.

Delete subparagraph below if quantitative air leakage testing of mockup is not required.

2. Quantitative Air Leakage Testing:  Testing not to exceed the test pressure differential, positive and negative, indicated in "Performance Requirements" Article for air barrier assembly air leakage according to [ASTM E 283] [ASTM E 783] [ASTM E 1677] <Insert test>.

D. Remove and replace deficient air barrier components and retest as specified above.

3.5 CLEANING AND PROTECTION

A. Protect air barrier system from damage during application and remainder of construction period, according to manufacturer's written instructions.

1. Protect air barrier from exposure to UV light and harmful weather exposure as required by manufacturer.  Remove and replace air barrier exposed to these conditions for more than 30 days.

2. Protect air barrier from contact with creosote, uncured coal-tar products, TPO, EPDM, flexible PVC membranes, and sealants not approved by air barrier manufacturer.

B. Clean spills, stains, and soiling from adjacent construction that would be exposed in the completed work using cleaning agents and procedures recommended by manufacturer of affected construction.

END OF SECTION 072713

	MODIFIED BITUMINOUS SHEET AIR BARRIERS
	072713 - 1



