Copyright 2006 AIA
MASTERSPEC Full Length
02/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 074213 - METAL WALL PANELS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Exposed-fastener, lap-seam metal wall panels.

2. Concealed-fastener, lap-seam metal wall panels.

3. Metal liner panels.

4. Metal soffit panels.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 05 Section "Cold-Formed Metal Framing" for support framing, including girts, studs, and bracing.

2. Division 07 Section "Air Barriers" for continuous air barrier systems.

3. Division 07 Section "Insulated-Core Metal Wall Panels" for foamed-in-place, laminated and honeycomb insulated metal wall panels.

4. Division 07 Section "Metal Plate Wall Panels" for solid metal plate wall panels

5. Division 07 Section "Composite Wall Panels" for metal-faced composite wall panels.

6. Division 07 Section "Sheet Metal Flashing and Trim" for flashing and other sheet metal work that is not part of metal wall panel assemblies.

1.3 DEFINITION

Retain definition remaining after this Section has been edited.

A. Metal Wall Panel Assembly:  Metal wall panels, attachment system components, miscellaneous metal framing, thermal insulation, and accessories necessary for a complete weathertight wall system.

1.4 PERFORMANCE REQUIREMENTS

A. General Performance:  Metal wall panel assemblies shall comply with performance requirements without failure due to defective manufacture, fabrication, installation, or other defects in construction.

Retain first paragraph below if Contractor is required to assume responsibility for design.

B. Delegated Design:  Design metal wall panel assembly, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Revise rate of air leakage in first paragraph below to suit Project.

C. Air Infiltration:  Air leakage through assembly of not more than [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert rate> of wall area when tested according to ASTM E 283 at the following test-pressure difference:

Value in subparagraph below is ASTM E 283 default; revise to suit Project.  1.57 lbf/sq. ft. (75 Pa) is equivalent to a 25-mph (40-km/h) wind.

1. Test-Pressure Difference:  [1.57 lbf/sq. ft. (75 Pa)] <Insert pressure>.

First paragraph below refers to static-pressure test method, which is method most frequently specified.  ASTM E 331 indicates that "water contained within drainage flashings, gutters, and sills is not considered failure."

D. Water Penetration under Static Pressure:  No water penetration when tested according to ASTM E 331 at the following test-pressure difference:

Revise value in subparagraph below to suit Project.  6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

1. Test-Pressure Difference:  [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

First paragraph below refers to dynamic-pressure test method, which evaluates resistance to shifting wind gusts and windblown water.  Although more expensive than static-pressure testing in paragraph above, dynamic testing may be required for large projects or designs using the rainscreen principle.

Designs passing static testing may fail dynamic testing, and vice versa.  Retain paragraph above and below to provide added assurance that system will perform satisfactorily.

Design pressure indicated in first paragraph below is an example only; revise to suit Project.  Air-pressure differential of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

E. Water Penetration under Dynamic Pressure:  No evidence of water leakage when tested according to AAMA 501.1 under dynamic pressure equal to 20 percent of inward-acting, wind-load design pressure of not less than [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure difference> and not more than 12 lbf/sq. ft. (575 Pa).

Retain one of two subparagraphs below.  AAMA 501.1's definition of water leakage allows up to 1/2 oz. (15 mL) of water to accumulate on an interior stop or stool integral to system in a 15-minute period in addition to water contained within drained flashings, gutters and sills.  Retain second subparagraph if this is unacceptable or revise to suit Project.

1. Water Leakage:  As defined according to AAMA 501.1.

2. Water Leakage:  Uncontrolled water infiltrating the system or appearing on system's normally exposed interior surfaces from sources other than condensation.  Water controlled by flashing and gutters that is drained back to the exterior and cannot damage adjacent materials or finishes is not water leakage.

ASTM E 1592 in first paragraph below is for wall panels of single-skin construction (not composite panels or panels with multiple-layer construction) that are spanning structural supports.

F. Structural Performance:  Provide metal wall panel assemblies capable of withstanding the effects the following loads and stresses within limits and under conditions indicated, based on testing according to ASTM E 1592:

Requirements under each set of performance criteria in subparagraphs below are examples only.  Insert design loads to suit Project.  Consult a structural engineer experienced in engineering metal wall panel assemblies of type indicated to quantify design loads.  Verify compliance with codes.

1. Wind Loads:  Determine loads based on the following minimum design wind pressures:

Retain one of first two subparagraphs below.  If retaining second, indicate pressures on appropriate elevation Drawings.

a. Uniform pressure of [20 lbf/sq. ft. (957 Pa)] [30 lbf/sq. ft. (1436 Pa)] <Insert design wind pressure>, acting inward or outward.

b. Uniform pressure as indicated on Drawings.

2. Deflection Limits:  Metal wall panel assemblies shall withstand wind loads with horizontal deflections no greater than [1/180] [1/240] <Insert deflection> of the span.

G. Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values (for aluminum in particular) in subparagraph below are suitable for most of the U.S.; revise to suit Project.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

1.5 SUBMITTALS

First four paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of wall panel and accessory.

B. Shop Drawings:  Show fabrication and installation layouts of metal wall panels; details of edge conditions, joints, panel profiles, corners, anchorages, attachment system, trim, flashings, closures, and accessories; and special details.  Distinguish between factory-, shop- and field-assembled work.

1. Accessories:  Include details of the following items, at a scale of not less than 1-1/2 inches per 12 inches (1:10):

Revise list below to suit Project.

a. Flashing and trim.

b. Anchorage systems.

C. Samples for Initial Selection:  For each type of metal wall panel indicated with factory-applied color finishes.

1. Include similar Samples of trim and accessories involving color selection.

2. Include manufacturer's color charts consisting of strips of cured sealants showing the full range of colors available for each sealant exposed to view.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

D. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below.

Sample in first subparagraph below may be difficult to obtain if custom color is specified.

1. Metal [Wall] [and] [Soffit] Panels:  12 inches (305 mm) long by actual panel width.  Include fasteners, closures, and other metal wall panel accessories.

2. Trim and Closures:  12 inches (305 mm) long.  Include fasteners and other exposed accessories.

3. Accessories:  12-inch- (305-mm-) long Samples for each type of accessory.

First paragraph below is defined in Division 01 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

E. Delegated-Design Submittal:  For metal wall panel assembly indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Drawings do not include detailed exterior elevations or if Project involves unusual coordination requirements.

F. Coordination Drawings:  Exterior elevations drawn to scale and coordinating penetrations and wall-mounted items.  Show the following:

Revise subparagraphs below to suit Project.

1. Wall panels and attachments.

2. [Girts] [Stud framing].

3. Wall-mounted items including doors, windows, louvers, and lighting fixtures.

4. Penetrations of wall by pipes and utilities.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For [Installer] [professional engineer] [and] [testing agency].

H. Material Certificates:  For [thermal insulation] [and] [vapor retarders], signed by manufacturers.

I. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each product.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

J. Field quality-control reports.

K. Maintenance Data:  For metal wall panels to include in maintenance manuals.

Retain paragraph below if required.  Submittal of sample warranty provides Architect or Owner an opportunity to further verify that warranty coverage meets requirements.

L. Warranties:  Sample of special warranties.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  An employer of workers trained and approved by manufacturer.

Retain first paragraph below if Contractor selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.  Qualification requirements are in addition to those specified in Division 01 Section "Quality Requirements," which also includes the definition for "NRTL" (nationally recognized testing laboratory).

B. Testing Agency Qualifications:  Qualified according to ASTM E 329 for testing indicated.

C. Source Limitations:  Obtain each type of metal wall panel from single source from single manufacturer.

Retain first paragraph below only if products specified in Part 2 are part of a fire-resistance-rated assembly.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

D. Fire-Resistance Ratings:  Where indicated, provide metal wall panels identical to those of assemblies tested for fire resistance per ASTM E 119 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

1. Indicate design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

E. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

Retain first subparagraph below for large-scale mockup.  Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.  Revise to suit Project or if larger mockup is needed for field performance testing.

1. Build mockup of typical [wall] [corner] panel[, including soffit,] as shown on Drawings; approximately [one bay wide by one story high] <Insert size> by full thickness, including insulation, supports, attachments, and accessories.

2. Conduct water spray test of mockup of metal wall panel assembly, testing for water penetration according to AAMA 501.2.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

F. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if additional requirements are necessary; revise to include more specific information about conference.

1. Meet with Owner, Architect, Owner's insurer if applicable, testing and inspecting agency representative, metal wall panel Installer, metal wall panel manufacturer's representative, structural-support Installer, and installers whose work interfaces with or affects metal wall panels, including installers of doors, windows, and louvers.

2. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

3. Review methods and procedures related to metal wall panel installation, including manufacturer's written instructions.

4. Examine support conditions for compliance with requirements, including alignment between and attachment to structural members.

5. Review flashings, special siding details, wall penetrations, openings, and condition of other construction that will affect metal wall panels.

6. Review governing regulations and requirements for insurance, certificates, and tests and inspections if applicable.

7. Review temporary protection requirements for metal wall panel assembly during and after installation.

8. Review wall panel observation and repair procedures after metal wall panel installation.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver components, sheets, metal wall panels, and other manufactured items so as not to be damaged or deformed.  Package metal wall panels for protection during transportation and handling.

B. Unload, store, and erect metal wall panels in a manner to prevent bending, warping, twisting, and surface damage.

C. Stack metal wall panels horizontally on platforms or pallets, covered with suitable weathertight and ventilated covering.  Store metal wall panels to ensure dryness, with positive slope for drainage of water.  Do not store metal wall panels in contact with other materials that might cause staining, denting, or other surface damage.

D. Retain strippable protective covering on metal wall panel for period of metal wall panel installation.

E. Protect foam-plastic insulation as follows:

1. Do not expose to sunlight, except to extent necessary for period of installation and concealment.

2. Protect against ignition at all times.  Do not deliver foam-plastic insulation materials to Project site before installation time.

3. Complete installation and concealment of plastic materials as rapidly as possible in each area of construction.

1.8 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit assembly of metal wall panels to be performed according to manufacturers' written instructions and warranty requirements.

B. Field Measurements:  Verify locations of structural members and wall opening dimensions by field measurements before metal wall panel fabrication, and indicate measurements on Shop Drawings.

1.9 COORDINATION

A. Coordinate metal wall panel assemblies with rain drainage work, flashing, trim, and construction of [girts,] [studs,] soffits, and other adjoining work to provide a leakproof, secure, and noncorrosive installation.

1.10 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of metal wall panel assemblies that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including rupturing, cracking, or puncturing.

b. Deterioration of metals and other materials beyond normal weathering.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

2. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

Delete paragraph below if metal wall panels are left unfinished.

B. Special Warranty on Panel Finishes:  Manufacturer's standard form in which manufacturer agrees to repair finish or replace metal wall panels that show evidence of deterioration of factory-applied finishes within specified warranty period.

Coordinate first subparagraph below with finishes retained in Part 2.

1. Exposed Panel Finish:  Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Verify available warranties for metal wall panel finishes and insert number in subparagraph below.  20-year period is for fluoropolymer finish and is maximum included with manufacturers' published data; 10-year period is usually available for siliconized polyester.  Longer periods for premium finishes may be available.

2. Finish Warranty Period:  [20] [10] <Insert number> years from date of Substantial Completion.

Insert requirements for special weathertightness warranty if needed.  Panel manufacturers do not typically offer such warranties on wall systems.

PART 2 -  PRODUCTS

2.1 PANEL MATERIALS

Finishes for panel materials in this article are specified here rather than in a separate "Finishes" Article because coil-coated materials are finished before forming panels.

A. Metallic-Coated Steel Sheet:  Restricted flatness steel sheet metallic coated by the hot-dip process and prepainted by the coil-coating process to comply with ASTM A 755/A 755M.

Retain one of first two subparagraphs below.  Coordinate with products specified.

1. Zinc-Coated (Galvanized) Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating designation; structural quality.

2. Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792/A 792M, Class AZ50 coating designation, Grade 40 (Class AZM150 coating designation, Grade 275); structural quality.

3. Surface:  [Smooth, flat] [Embossed] finish.

4. Exposed Coil-Coated Finish:

Select one exposed finish from first eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 621 are not sufficient.  See Evaluations.

a. 2-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. 3-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. 4-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 621.  2-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 621.  3-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 621.  2-coat fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in first subparagraph below is usually an economy system although newer, more expensive formulations can provide performance approaching that of high-performance organic coatings.

g. Siliconized-Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Finish in first subparagraph below is used for industrial applications where high corrosion resistance is needed.

h. Plastisol:  Epoxy primer and vinyl plastisol topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 3.8 mil (0.97 mm) for topcoat.

Finish in subparagraph below is frequently used as a factory finish for interior surfaces.

5. Concealed Finish:  Apply pretreatment and manufacturer's standard white or light-colored acrylic or polyester backer finish consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

B. Aluminum Sheet:  Coil-coated sheet, ASTM B 209 (ASTM B 209M), alloy as standard with manufacturer, with temper as required to suit forming operations and structural performance required.

1. Surface:  [Smooth, flat] [Embossed] finish.

2. Exposed Coil-Coated Finish:

Select one exposed finish from first eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 620 are not sufficient.  See Evaluations.

a. 2-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. 3-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. 4-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 620.  2-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 620.  3-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 620.  2-coat fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in first subparagraph below is usually an economy system although newer, more expensive formulations can provide performance approaching that of high-performance organic coatings.

g. Siliconized-Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Finish in first subparagraph below is used for industrial applications where high corrosion resistance is needed.

h. Plastisol:  Epoxy primer and vinyl plastisol topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 3.8 mil (0.97 mm) for topcoat.

3. Exposed Anodized Finish:

Retain one of two options in first subparagraph below.  Class I finish is heavy anodized.  Verify availability with manufacturers.

a. Clear Anodic Finish:  AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first subparagraph below.  Verify availability with manufacturers.

b. Color Anodic Finish:  AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

Finish in subparagraph below is frequently used as a factory finish for interior surfaces.

4. Concealed Finish:  Apply pretreatment and manufacturer's standard white or light-colored acrylic or polyester backer finish consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

C. Copper Sheet:  ASTM B 370, cold-rolled copper sheet, H00 temper.

1. Exposed Finish:  Apply the following finish, as specified or indicated on Drawings.

Retain one of four subparagraphs below.

a. Natural finish.

b. Brushed Satin:  CDA M32-06x (Mechanical Finish:  directionally textured, medium satin; Coating:  clear organic, air drying, as specified below):

c. Mirror Polished:  CDA M22-06x (Mechanical Finish:  buffed, specular; Coating:  clear organic, air drying, as specified below):

Retain first subparagraph below with either of last two subparagraphs above.

1) Clear, Organic Coating:  Clear, air-drying, acrylic lacquer specially developed for coating copper-alloy products, applied by air spray in two coats per manufacturer's written instructions, with interim drying, to a total thickness of 1 mil (0.025 mm).

d. Pre-patinated:  ASTM B 882.  Copper sheets artificially aged by chemical reaction to convert surface to inorganic crystalline structure with color range and durability of naturally-formed patina.

D. Stainless-Steel Sheet:  ASTM A 240/A 240M, Type [304] [316], fully annealed.

1. Surface Preparation:  Remove tool and die marks and stretch lines, or blend into finish.

2. Polished Finish:  Grind and polish surfaces to produce uniform finish, free of cross scratches.

Retain first subparagraph below for directional finishes.

a. Run grain of directional finishes with long dimension of each piece.

b. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

c. Directional Satin Finish:  No. 4.

Retain subparagraph below for nondirectional finish.

3. Bright, Cold-Rolled, Unpolished Finish:  No. 2B.

Insert requirements for zinc-tin alloy-coated (terne-coated) stainless steel, zinc, titanium, or other exotic metals if required.  Verify availability with manufacturers.

E. Panel Sealants:

1. Sealant Tape:  Pressure-sensitive, 100 percent solids, gray polyisobutylene compound sealant tape with release-paper backing.  Provide permanently elastic, nonsag, nontoxic, nonstaining tape 1/2 inch (13 mm) wide and 1/8 inch (3 mm) thick.

2. Joint Sealant:  ASTM C 920; elastomeric polyurethane, polysulfide, or silicone sealant; of type, grade, class, and use classifications required to seal joints in metal wall panels and remain weathertight; and as recommended in writing by metal wall panel manufacturer.

3. Butyl-Rubber-Based, Solvent-Release Sealant:  ASTM C 1311.

2.2 FIELD-INSTALLED THERMAL INSULATION

Delete this article if not required.  If retaining, indicate thicknesses on Drawings.

Retain first paragraph below and delete remainder of article if building insulation is included in Division 07 Section "Thermal Insulation."

A. Refer to Division 07 Section "Thermal Insulation."

Retain one of first five paragraphs below.  Board insulation, which is typically installed over wall sheathing or fitted within cavity between liner and exterior panels, requires Z-shaped furring or channels to support metal wall panels.

B. Unfaced, Polyisocyanurate Board Insulation:  ASTM C 591, Type II, compressive strength of 35 psi (241 kPa), with maximum flame-spread index of 75 and smoke-developed index of 450.

C. Faced, Polyisocyanurate Board Insulation:  ASTM C 1289, [Type I (foil facing), Class 1 or 2] [Type II (asphalt felt or glass-fiber mat facing), Class 2 or 3, Grade 3], with maximum flame-spread index of 75 and smoke-developed index of 450, based on tests performed on unfaced core.

D. Extruded-Polystyrene Board Insulation:  ASTM C 578, Type IV, 1.60-lb/cu. ft. (26-kg/cu. m), with maximum flame-spread index of 75 and smoke-developed index of 450.

E. Molded-Polystyrene Board Insulation:  ASTM C 578, [Type I, 0.9 lb/cu. ft. (15 kg/cu. m)] [Type II, 1.35 lb/cu. ft. (22 kg/cu. m)], with maximum flame-spread index of 75 and smoke-developed index of 450.

F. Unfaced, Glass-Fiber Board Insulation:  ASTM C 612, Type IA or Types IA and IB; with maximum flame-spread index of 25 and smoke-developed index of 50, and with a nominal density of 3 lb/cu. ft. (48 kg/cu. m).

Retain first paragraph below for blanket insulation fitted within cavity between liner and exterior panels.  Verify type of insulation needed to obtain a fire-resistance rating if required.

G. Mineral-Fiber-Blanket Insulation:  ASTM C 665, type indicated below; consisting of fibers manufactured from [glass, slag wool, or rock wool] [glass] [slag or rock wool].

1. Type I (blankets without membrane covering), passing ASTM E 136 for combustion characteristics.

2. Type II (blankets with nonreflective membrane covering), Category 1 (membrane is a vapor retarder), Class A (membrane-faced surface with a flame-spread index of 25 or less).

3. Type III (blankets with reflective membrane covering), Category 1 (membrane is a vapor retarder), Class A (membrane-faced surface with a flame-spread index of 25 or less).

Metal building insulation in paragraph below is commonly used with metal wall panels installed over girts, especially if it is to be exposed on the interior.  Type I insulation is unfaced; Type II is faced.

H. Metal Building Insulation:  [ASTM C 991, Type I; or NAIMA 202] [ASTM C 991, Type II], glass-fiber-blanket insulation; 0.5-lb/cu. ft. (8-kg/cu. m) density; 2-inch- (50-mm-) wide, continuous, vapor-tight edge tabs; and with a flame-spread index of 25 or less.

NAIMA recommends that metal building insulation have a vapor-retarder facing with a permeance not greater than 0.10 perm (5.75 ng/Pa x s x sq. m).  Facing selection may also be affected by light reflectivity and cold-weather workability.

1. Vapor-Retarder Facing:  ASTM C 1136, with permeance not greater than 0.02 perm (1.15 ng/Pa x s x sq. m) when tested according to ASTM E 96, Desiccant Method:

Select composition from one of five options in first subparagraph below or delete all and insert manufacturer's proprietary product.  Fifth option (vinyl faced, scrim reinforced, polyester backing) has premium cost but offers very high puncture resistance.

a. Composition:  [Polypropylene faced, scrim reinforced, and kraft-paper backing] [Foil faced, scrim reinforced, and kraft-paper backing with vapor-retarder coating] [Polypropylene faced, scrim reinforced, and foil backing] [Vinyl faced, scrim reinforced, and foil backing] [Vinyl faced, scrim reinforced, and polyester backing] <Insert facing>.

2. Insulation Retainer Strips:  0.019-inch- (0.48-mm-) thick, formed galvanized steel or PVC retainer clips colored to match insulation facing.

2.3 MISCELLANEOUS METAL FRAMING

See "Miscellaneous Metal Framing" Article in the Evaluations for a discussion of corrosion-resistant coatings on components.  First option in first paragraph below is minimum permitted by ASTM C 645; second option gives greater corrosion resistance.

A. Miscellaneous Metal Framing, General:  ASTM C 645, cold-formed metallic-coated steel sheet, [ASTM A 653/A 653M, G40 (Z120) hot-dip galvanized] [ASTM A 653/A 653M, G60 (Z180) hot-dip galvanized] or coating with equivalent corrosion resistance unless otherwise indicated.

Retain any of seven paragraphs below as required.  Revise to suit Project.

B. Subgirts:  Manufacturer's standard C- or Z-shaped sections, 0.064-inch (1.63-mm) nominal thickness.

C. Zee Clips:  0.079-inch (2.01-mm) nominal thickness.

D. Base or Sill [Angles] [Channels]:  0.079-inch (2.01-mm) nominal thickness.

E. Hat-Shaped, Rigid Furring Channels:

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.025 inch (0.64 mm)] [0.040 inch (1.02 mm)] <Insert thickness>.

2. Depth:  [As indicated] [7/8 inch (22 mm)] [1-1/2 inches (38 mm)] <Insert depth>.

F. Cold-Rolled Furring Channels:  Minimum 1/2-inch- (13-mm-) wide flange.

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.064 inch (1.63 mm)] <Insert thickness>.

2. Depth:  [As indicated] [3/4 inch (19 mm)] <Insert depth>.

3. Furring Brackets:  Adjustable, corrugated-edge type of steel sheet with 0.040-inch (1.02-mm) nominal thickness.

4. Tie Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.57-mm-) diameter wire, or double strand of 0.048-inch- (1.22-mm-) diameter wire.

Retain first paragraph below for metal wall panels installed over unfaced board insulation.  Z-shaped furring is available in 1-, 1-1/2-, 2-, 2-1/2-, and 3-inch (25-, 38-, 51-, 64-, and 76-mm) depths.

G. Z-Shaped Furring:  With slotted or nonslotted web, face flange of 1-1/4 inches (32 mm), wall attachment flange of 7/8 inch (22 mm), and depth required to fit insulation thickness indicated.

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.025 inch (0.64 mm)] <Insert thickness>.

H. Fasteners for Miscellaneous Metal Framing:  Of type, material, size, corrosion resistance, holding power, and other properties required to fasten miscellaneous metal framing members to substrates.

2.4 MISCELLANEOUS MATERIALS

A. Panel Fasteners:  Self-tapping screws, bolts, nuts, self-locking rivets and bolts, end-welded studs, and other suitable fasteners designed to withstand design loads.  Provide exposed fasteners with heads matching color of metal wall panels by means of plastic caps or factory-applied coating.  Provide EPDM, PVC, or neoprene sealing washers.

Profile requirements in articles below are often better shown graphically than described verbally.  Coordinate with Drawings.

2.5 EXPOSED-FASTENER, LAP-SEAM METAL WALL PANELS

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics for each product required.

Copy paragraphs below and re-edit for each product.

Insert number to complete drawing designation for each product required.  Use these designations on Drawings to identify each product.

A. General:  Provide factory-formed metal wall panels designed to be field assembled by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.  Include accessories required for weathertight installation.

B. Corrugated-Profile, Exposed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with alternating curved ribs spaced at 2.67 inches (68 mm) o.c. across width of panel.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Alcoa Architectural Products (USA).

c. ATAS International, Inc.

d. CENTRIA Architectural Systems.

e. Copper Sales, Inc.

f. Englert, Inc.

g. Fabral.

h. Flexospan Steel Buildings, Inc.

i. Industrial Building Panels.

j. MBCI; Div. of NCI Building Systems.

k. McElroy Metal, Inc.

l. Metal Sales Manufacturing Corporation.

m. Metecno-Morin.

n. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Panel Coverage:  [21.3 inches (541 mm)] [29.3 inches (744 mm)] [34.6 inches (881 mm)] [37.3 inches (947 mm)] [42.6 inches (1084 mm)] [45.3 inches (1151 mm)] <Insert dimension>.

7. Panel Height:  [0.5 inch (13 mm)] [0.875 inch (22 mm)] <Insert dimension>.

C. Tapered-Rib-Profile, Exposed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Architectural Metal Systems.

c. Berridge Manufacturing Company.

d. Butler Manufacturing Company

e. CENTRIA Architectural Systems.

f. Copper Sales, Inc.

g. Englert, Inc.

h. Fabral.

i. Flexospan Steel Buildings, Inc.

j. Galvamet.

k. MBCI; Div. of NCI Building Systems.

l. McElroy Metal, Inc.

m. Metal Sales Manufacturing Corporation.

n. Metecno-Morin.

o. Petersen Aluminum Corporation.

p. Steelox Systems, L.L.C.

q. United Steel Deck, Inc.; Subsidiary of Bouras Industries Inc.

r. VICWEST; Div. of Jenisys Engineered Products.

s. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for copper and stainless-steel sheet if required; verify availability with manufacturers.

6. Major-Rib Spacing:  [6 inches (152 mm)] [8 inches (203 mm)] [9 inches (229 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

7. Panel Coverage:  [24 inches (610 mm)] [36 inches (914 mm)] <Insert dimension>.

8. Panel Height:  [0.625 inch (16 mm)] [0.75 inch (19 mm)] [1.0 inch (25 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

D. Reverse-Rib-Profile, Exposed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with recessed, trapezoidal major valleys and [intermediate stiffening valleys symmetrically spaced] [flat pan] between major valleys.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Architectural Metal Systems.

b. Flexospan Steel Buildings, Inc.

c. Steelox Systems, L.L.C.

d. United Steel Deck, Inc.; Subsidiary of Bouras Industries Inc.

e. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Major-Rib Spacing:  [12 inches (305 mm)] <Insert dimension> o.c.

6. Panel Coverage:  [36 inches (914 mm)] <Insert dimension>.

7. Panel Height:  [1.25 inches (32 mm)] <Insert dimension>.

E. Vee-Rib-Profile, Exposed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with raised, V-shaped ribs and recesses that are approximately same size, evenly spaced across panel width, and with rib/recess sides angled at approximately 45 degrees.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Alcoa Architectural Products (USA).

c. ATAS International, Inc.

d. CENTRIA Architectural Systems.

e. Copper Sales, Inc.

f. Englert, Inc.

g. Fabral.

h. Flexospan Steel Buildings, Inc.

i. Galvamet.

j. Industrial Building Panels.

k. MBCI; Div. of NCI Building Systems.

l. McElroy Metal, Inc.

m. Metal Sales Manufacturing Corporation.

n. Metecno-Morin.

o. United Steel Deck, Inc.; Subsidiary of Bouras Industries Inc.

p. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] [0.064-inch (1.63-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] [0.064-inch (1.63-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for copper and stainless-steel sheet if required; verify availability with manufacturers.

6. Rib Spacing:  [5.3 inches (135 mm)] [7.2 inches (183 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

7. Panel Coverage:  [30 inches (762 mm)] [32 inches (813 mm)] [36 inches (914 mm)] [40 inches (1016 mm)] <Insert dimension>.

8. Panel Height:  [1.375 inches (35 mm)] [1.5 inches (38 mm)] [1.75 inches (44 mm)] [2.0 inches (51 mm)] [3.0 inches (76 mm)] <Insert dimension>.

F. Box-Rib-Profile, Exposed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with raised, box-shaped ribs, evenly spaced across panel width, and with rib/recess sides angled 60 degrees or more.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Alcoa Architectural Products (USA).

c. Fabral.

d. Galvamet.

e. Industrial Building Panels.

f. MBCI; Div. of NCI Building Systems.

g. Metal Sales Manufacturing Corporation.

h. United Steel Deck, Inc.; Subsidiary of Bouras Industries Inc.

i. VICWEST; Div. of Jenisys Engineered Products.

j. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Rib Spacing:  [2.67 inches (68 mm)] [4.0 inches (102 mm)] [5.3 inches (135 mm)] [6.0 inches (152 mm)] <Insert dimension> o.c.

7. Panel Coverage:  [24 inches (610 mm)] [28 inches (711 mm)] [30 inches (762 mm)] [32 inches (813 mm)] [36 inches (914 mm)] <Insert dimension>.

8. Panel Height:  [0.625 inch (16 mm)] [1.0 inch (25 mm)] [1.5 inches (38 mm)] [2.0 inches (51 mm)] <Insert dimension>.

G. Deep-Box-Rib-Profile, Exposed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with raised, box-shaped ribs, evenly spaced across panel width, and with rib/recess sides angled more than 60 degrees.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATAS International, Inc.

b. CENTRIA Architectural Systems.

c. Fabral.

d. Metal Sales Manufacturing Corporation.

e. Metecno-Morin.

f. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] [0.064-inch (1.63-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] [0.064-inch (1.63-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Rib Spacing:  [12 inches (305 mm)] <Insert dimension> o.c.

7. Panel Coverage:  [24 inches (610 mm)] <Insert dimension>.

8. Panel Height:  [3.0 inches (76 mm)] [4.0 inches (102 mm)] <Insert dimension>.

2.6 CONCEALED-FASTENER, LAP-SEAM METAL WALL PANELS

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics for each product required.

Copy paragraphs below and re-edit for each product.

Insert number to complete drawing designation for each product required.  Use these designations on Drawings to identify each product.

A. General:  Provide factory-formed metal wall panels designed to be field assembled by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.  Include accessories required for weathertight installation.

B. Flush-Profile, Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with flush joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Alcoa Architectural Products (USA).

c. Architectural Building Components.

d. Architectural Metal Systems.

e. ATAS International, Inc.

f. Berridge Manufacturing Company.

g. CENTRIA Architectural Systems.

h. Dimension Metals, Inc.

i. Fabral.

j. Flexospan Steel Buildings, Inc.

k. Industrial Building Panels.

l. MBCI; Div. of NCI Building Systems.

m. Metal-Fab Manufacturing, L.L.C.

n. Metecno-Morin.

o. Petersen Aluminum Corporation.

p. United Steel Deck, Inc.; Subsidiary of Bouras Industries Inc.

q. VICWEST; Div. of Jenisys Engineered Products.

r. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

6. Panel Coverage:  [12 inches (305 mm)] <Insert dimension>.

7. Panel Height:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] <Insert dimension>.

C. Reveal-Joint, Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with narrow reveal joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATAS International, Inc.

b. CENTRIA Architectural Systems.

c. Metal Sales Manufacturing Corporation.

d. Metecno-Morin.

e. Petersen Aluminum Corporation.

f. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

6. Panel Coverage:  [12 inches (305 mm)] <Insert dimension>.

7. Panel Height:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] <Insert dimension>.

D. Wide-Reveal-Joint, Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with vertical panel edges and stepped profile between panel edges resulting in wide reveal joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alcoa Architectural Products (USA).

b. Architectural Metal Systems.

c. ATAS International, Inc.

d. CENTRIA Architectural Systems.

e. Fabral.

f. Flexospan Steel Buildings, Inc.

g. Industrial Building Panels.

h. Metecno-Morin.

i. Steelox Systems, L.L.C.

j. United Steel Deck, Inc.; Subsidiary of Bouras Industries Inc.

k. VICWEST; Div. of Jenisys Engineered Products.

l. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

6. Panel Coverage:  [12 inches (305 mm)] <Insert dimension>.

7. Panel Height:  [1.5 inches (38 mm)] <Insert dimension>.

E. V-Groove-Profile, Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATAS International, Inc.

b. Berridge Manufacturing Company.

c. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] <Insert dimension> nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Panel Coverage:  [6 inches (152 mm)] [8 inches (203 mm)] [12 inches (305 mm)] <Insert dimension>.

6. Panel Height:  [0.625 inch (16 mm)] [1.25 inches (32 mm)] <Insert dimension>.

F. Tapered-Rib-Profile, Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATAS International, Inc.

b. Dimensional Metals, Inc.

c. Metal Sales Manufacturing Corporation.

d. Metecno-Morin.

e. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] <Insert dimension> nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

5. Panel Coverage:  [12 inches (305 mm)] [14 inches (356 mm)] <Insert dimension>.

6. Panel Height:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] <Insert dimension>.

G. Curved-Rib-Profile, Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with raised, curved-side major ribs and flat pan between major ribs; with reveal joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alcoa Architectural Products (USA).

b. ATAS International, Inc.

c. Metecno-Morin.

d. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

6. Panel Coverage:  [12 inches (305 mm)] <Insert dimension>.

7. Panel Height:  [0.875 inch (22 mm)] [1.5 inches (38 mm)] <Insert dimension>.

H. Creased-Profile, Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with vertical panel edges and center-creased pan between panel edges; with flush joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Metecno-Morin.

b. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

6. Panel Coverage:  [12 inches (305 mm)] <Insert dimension>.

7. Panel Height:  [1.5 inches (38 mm)] <Insert dimension>.

I. Creased-Rib-Profile, Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with raised, center-creased, trapezoidal major ribs; with reveal joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alcoa Architectural Products (USA).

b. ATAS International, Inc.

c. Metecno-Morin.

d. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

6. Panel Coverage:  [12 inches (305 mm)] <Insert dimension>.

7. Panel Height:  [0.875 inch (22 mm)] [1.5 inches (38 mm)] <Insert dimension>.

2.7 METAL LINER PANELS

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics for each product required.

Copy paragraphs below and re-edit for each product.

Insert number to complete drawing designation for each product required.  Use these designations on Drawings to identify each product.

A. General:  Provide factory-formed metal liner panels designed for interior side of metal wall panel assemblies and field assembled by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.  Include accessories required for a complete installation.

B. Flush-Profile Metal Liner Panels <Insert drawing designation>:  [Solid] [Perforated] panels formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with flush joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alcoa Architectural Products (USA).

b. Architectural Metal Systems.

c. Berridge Manufacturing Company.

d. CENTRIA Architectural Systems.

e. Englert, Inc.

f. Fabral.

g. Flexospan Steel Buildings, Inc.

h. MBCI; Div. of NCI Building Systems.

i. Metal Sales Manufacturing Corporation.

j. Metecno-Morin.

k. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

6. Panel Coverage:  [12 inches (305 mm)] [16 inches (406 mm)] [24 inches (610 mm)] [36 inches (914 mm)] <Insert dimension>.

7. Panel Height:  [1.5 inches (38 mm)] [2.0 inches (51 mm)] [3.0 inches (76 mm)] <Insert dimension>.

Retain subparagraph below for perforated panels or revise to suit Project.  Coordinate with selection of field-installed insulation.

8. Acoustical Performance:  Where sound-absorption requirement is indicated, fabricate interior liner panels with 1/8-inch- (3-mm-) diameter holes uniformly spaced approximately 1000 holes/sq. ft. (10 750 holes/sq. m).

a. NRC of not less than [0.65] [0.85] [1.00] <Insert rating> when tested according to ASTM C 423.

2.8 METAL SOFFIT PANELS

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics for each product required.

Copy paragraphs below and re-edit for each product.

Insert number to complete drawing designation for each product required.  Use these designations on Drawings to identify each product.

Some metal soffit panels can be used for fasciae, mansards, and equipment screens, as well as for soffits; verify applications with manufacturers.

A. General:  Provide factory-formed metal soffit panels designed to be installed by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.  Include accessories required for weathertight installation.

B. Metal Soffit Panels:  Match profile and material of metal wall panels.

1. Finish:  [Match finish and color of metal wall panels] [As indicated on Drawings].

Retain subparagraph below if required.  Verify availability with manufacturers.

2. Sealant:  Factory applied within interlocking joint.

Retain paragraph above or one or more paragraphs below for metal soffit panels.  Delete paragraphs below if retaining paragraph above.

Not all manufacturers offer perforated panels; verify availability.

C. Flush-Profile Metal Soffit Panels <Insert drawing designation>:  [Solid] [Perforated] panels formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with flush joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Architectural Building Components.

c. ATAS International, Inc.

d. Berridge Manufacturing Company.

e. CENTRIA Architectural Systems.

f. Copper Sales, Inc.

g. Dimensional Metals, Inc.

h. Englert, Inc.

i. Fabral.

j. Innovative Metals Company, Inc.

k. MBCI; Div. of NCI Building Systems.

l. McElroy Metal, Inc.

m. Merchant & Evans Inc.

n. Metal-Fab Manufacturing, L.L.C.

o. Metal Sales Manufacturing Corporation.

p. Petersen Aluminum Corporation.

q. Ultra Seam Incorporated.

r. <Insert manufacturer's name>.

3. Material:  Same material, finish, and color as metal wall panels.

Retain subparagraph above or one of four "Material" subparagraphs below.

4. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

7. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished].

Insert requirements for stainless steel if required.  Verify availability with manufacturers.

8. Panel Coverage:  [8 inches (203 mm)] [12 inches (305 mm)] [16 inches (406 mm)] [20 inches (508 mm)] <Insert dimension>.

9. Panel Height:  [0.875 inch (22 mm)] [1.0 inch (25 mm)] [1.5 inches (38 mm)] [3.0 inches (76 mm)] <Insert dimension>.

Retain subparagraph below if required.  Verify availability with manufacturers.

10. Sealant:  Factory applied within interlocking joint.

Not all manufacturers offer perforated panels; verify availability.

D. Reveal-Joint-Profile Metal Soffit Panels <Insert drawing designation>:  [Solid] [Perforated] panels formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with recessed reveal joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATAS International, Inc.

b. Cheney Flashing Company.

c. Copper Sales, Inc.

d. Merchant & Evans Inc.

e. Metal Fab Manufacturing, LLC.

f. Petersen Aluminum Corporation.

g. <Insert manufacturer's name>.

3. Material:  Same material, finish, and color as metal wall panels.

Retain subparagraph above or one of three "Material" subparagraphs below.

4. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum-zinc alloy-coated steel sheet, 0.028-inch (0.71-mm) nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for copper and stainless steel if required.  Verify availability with manufacturers.

7. Panel Coverage:  [8 inches (203 mm)] [12 inches (305 mm)] [16 inches (406 mm)] [20 inches (508 mm)] <Insert dimension>.

8. Panel Height:  [0.75 inch (19 mm)] [1.0 inch (25 mm)] [1.5 inches (38 mm)] <Insert dimension>.

Not all manufacturers offer perforated panels; verify availability.

E. V-Groove-Profile Metal Soffit Panels <Insert drawing designation>:  [Solid] [Perforated] panels formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with V-groove joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATAS International, Inc.

b. Berridge Manufacturing Company.

c. Dimensional Metals, Inc.

d. Englert, Inc.

e. Fabral.

f. Innovative Metals Company, Inc.

g. Petersen Aluminum Corporation.

h. <Insert manufacturer's name>.

3. Material:  Same material, finish, and color as metal wall panels.

Retain subparagraph above or one of three "Material " subparagraphs below.

4. Material:  Zinc-coated (galvanized) steel sheet, 0.028-inch (0.71-mm) nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum-zinc alloy-coated steel sheet, 0.028-inch (0.71-mm) nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Aluminum sheet, [0.024 inch (0.65 mm)] [0.032 inch (0.81 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.fluoropolymer
b. Color:  [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

7. Panel Coverage:  [6 inches (152 mm)] [12 inches (305 mm)] [14 inches (356 mm)] <Insert dimension>.

8. Panel Height:  [0.375 inch (10 mm)] [0.44 inch (11 mm)] [0.50 inch (13 mm)] [0.625 inch (16 mm)] <Insert dimension>.

2.9 ACCESSORIES

Retain accessories required and coordinate with those specified in Division 07 Section "Sheet Metal Flashing and Trim."

Revise first paragraph below if necessary.

A. Wall Panel Accessories:  Provide components required for a complete metal wall panel assembly including trim, copings, fasciae, mullions, sills, corner units, clips, flashings, sealants, gaskets, fillers, closure strips, and similar items.  Match material and finish of metal wall panels, unless otherwise indicated.

1. Closures:  Provide closures at eaves and rakes, fabricated of same metal as metal wall panels.

2. Backing Plates:  Provide metal backing plates at panel end splices, fabricated from material recommended by manufacturer.

3. Closure Strips:  Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin-foam or closed-cell laminated polyethylene; minimum 1-inch- (25-mm-) thick, flexible closure strips; cut or premolded to match metal wall panel profile.  Provide closure strips where indicated or necessary to ensure weathertight construction.

B. Flashing and Trim:  Formed from 0.018-inch (0.46-mm) minimum thickness, zinc-coated (galvanized) steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating.  Provide flashing and trim as required to seal against weather and to provide finished appearance.  Locations include, but are not limited to, bases, drips, sills, jambs, corners, endwalls, framed openings, rakes, fasciae, parapet caps, soffits, reveals, and fillers.  Finish flashing and trim with same finish system as adjacent metal wall panels.

Insert requirements for explosion relief panels, including special fasteners, cables, and supports, if required.  Verify availability with manufacturers.

2.10 FABRICATION

Insert unique general fabrication requirements, if any, to suit Project.

A. General:  Fabricate and finish metal wall panels and accessories at the factory to greatest extent possible, by manufacturer's standard procedures and processes, as necessary to fulfill indicated performance requirements demonstrated by laboratory testing.  Comply with indicated profiles and with dimensional and structural requirements.

B. Fabricate metal wall panels in a manner that eliminates condensation on interior side of panel and with joints between panels designed to form weathertight seals.

C. Provide panel profile, including major ribs and intermediate stiffening ribs, if any, for full length of panel.

Retain first paragraph below if gaskets or sealants are factory installed.

D. Fabricate metal wall panel joints with factory-installed captive gaskets or separator strips that provide a tight seal and prevent metal-to-metal contact, and that will minimize noise from movements within panel assembly.

E. Sheet Metal Accessories:  Fabricate flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to the design, dimensions, metal, and other characteristics of item indicated.

1. Form exposed sheet metal accessories that are without excessive oil canning, buckling, and tool marks and that are true to line and levels indicated, with exposed edges folded back to form hems.

2. Seams for Aluminum:  Fabricate nonmoving seams with flat-lock seams.  Form seams and seal with epoxy seam sealer.  Rivet joints for additional strength.

3. Seams for Other Than Aluminum:  Fabricate nonmoving seams in accessories with flat-lock seams.  Tin edges to be seamed, form seams, and solder.

4. Sealed Joints:  Form nonexpansion but movable joints in metal to accommodate elastomeric sealant to comply with SMACNA standards.

5. Conceal fasteners and expansion provisions where possible.  Exposed fasteners are not allowed on faces of accessories exposed to view.

6. Fabricate cleats and attachment devices from same material as accessory being anchored or from compatible, noncorrosive metal recommended by metal wall panel manufacturer.

a. Size:  As recommended by SMACNA's "Architectural Sheet Metal Manual" or metal wall panel manufacturer for application but not less than thickness of metal being secured.

2.11 GENERAL FINISH REQUIREMENTS

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical and painted finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, metal wall panel supports, and other conditions affecting performance of work.

Retain one or both of first two subparagraphs below.

1. Examine wall framing to verify that girts, angles, channels, studs, and other structural panel support members and anchorage have been installed within alignment tolerances required by metal wall panel manufacturer.

2. Examine wall sheathing to verify that sheathing joints are supported by framing or blocking and that installation is within flatness tolerances required by metal wall panel manufacturer.

Retain first subparagraph below for systems that depend on weather-resistant sheathing paper to prevent air infiltration or water penetration.

3. Verify that weather-resistant sheathing paper has been installed over sheathing or backing substrate to prevent air infiltration or water penetration.

Retain subparagraph below if required.

4. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of work.

B. Examine roughing-in for components and systems penetrating metal wall panels to verify actual locations of penetrations relative to seam locations of metal wall panels before metal wall panel installation.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Miscellaneous Framing:  Install subgirts, base angles, sills, furring, and other miscellaneous wall panel support members and anchorages according to ASTM C 754 and metal wall panel manufacturer's written recommendations.

Furring channels in subparagraph below must be wire-tied to supports in most fire-resistance-rated assemblies.  Verify requirements of assemblies and revise subparagraph to suit Project.

1. Soffit Framing:  Wire-tie[ or clip] furring channels to supports[, as required to comply with requirements for assemblies indicated].

3.3 THERMAL INSULATION INSTALLATION

Retain first paragraph below for field-assembled metal wall panel assemblies consisting of exterior panel and interior liner with board insulation in cavity.

A. Board Insulation:  Extend insulation in thickness indicated to cover entire wall.  Comply with installation requirements in Division 07 Section "Thermal Insulation."

Retain one of two subparagraphs below; first is for metal wall panels supported by a solid substrate such as wall sheathing; second is for insulation installed within wall cavity created when a metal liner panel is used.

1. Erect insulation horizontally and hold in place with Z-shaped furring members spaced 24 inches (610 mm) o.c.  Attach furring members to substrate with screws spaced 24 inches (610 mm) o.c.

2. Retain insulation in place by metal clips and straps or integral pockets within panels, spaced at intervals according to insulation manufacturer's instructions.  Maintain cavity width between insulation and metal liner panel of dimension indicated.

Retain paragraph below for metal wall panels supported by girts.

B. Blanket Insulation:  Install insulation concurrently with metal wall panel installation, in thickness indicated to cover entire wall, according to manufacturer's written instructions and as follows:

Retain first two subparagraphs below if insulation is faced with vapor retarder.

1. Set vapor-retarder-faced insulation with vapor-retarder facing [building exterior] [building interior] [as indicated on Drawings].  Do not obstruct ventilation spaces, except for firestopping.

2. Tape joints and ruptures in vapor retarder, and seal each continuous area of insulation to surrounding construction to ensure airtight installation.

3. Install insulation straight and true in one-piece lengths.  Comply with the following installation method:

a. Over-Framing Installation:  Extend insulation over and perpendicular to top flange of framing members.

4. Retainer Strips:  Install retainer strips at each longitudinal insulation joint, straight and taut, nesting with framing to hold insulation in place.

3.4 METAL WALL PANEL INSTALLATION

A. General:  Install metal wall panels according to manufacturer's written instructions in orientation, sizes, and locations indicated on Drawings.  Install panels perpendicular to girts and subgirts unless otherwise indicated.  Anchor metal wall panels and other components of the Work securely in place, with provisions for thermal and structural movement.

1. Commence metal wall panel installation and install minimum of [300 sq. ft. (27.8 sq. m.)] <Insert size> in presence of factory-authorized representative.

2. Shim or otherwise plumb substrates receiving metal wall panels.

3. Flash and seal metal wall panels at perimeter of all openings.  Fasten with self-tapping screws.  Do not begin installation until weather barrier and flashings that will be concealed by metal wall panels are installed.

4. Install screw fasteners in predrilled holes.

5. Locate and space fastenings in uniform vertical and horizontal alignment.

6. Install flashing and trim as metal wall panel work proceeds.

7. Locate panel splices over, but not attached to, structural supports.  Stagger panel splices and end laps to avoid a four-panel lap splice condition.

8. Apply elastomeric sealant continuously between metal base channel (sill angle) and concrete and elsewhere as indicated or, if not indicated, as necessary for waterproofing.

9. Align bottom of metal wall panels and fasten with blind rivets, bolts, or self-tapping screws.  Fasten flashings and trim around openings and similar elements with self-tapping screws.

10. Provide weathertight escutcheons for pipe and conduit penetrating exterior walls.

B. Fasteners:

1. Steel Wall Panels:  Use stainless-steel fasteners for surfaces exposed to the exterior; use galvanized steel fasteners for surfaces exposed to the interior.

2. Aluminum Wall Panels:  Use aluminum or stainless-steel fasteners for surfaces exposed to the exterior; use aluminum or galvanized steel fasteners for surfaces exposed to the interior.

3. Copper Wall Panels:  Use copper, stainless-steel or hardware-bronze fasteners.

4. Stainless-Steel Wall Panels:  Use stainless-steel fasteners.

C. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action as recommended by metal wall panel manufacturer.

D. Joint Sealers:  Install gaskets, joint fillers, and sealants where indicated and where required for weathertight performance of metal wall panel assemblies.  Provide types of gaskets, fillers, and sealants indicated or, if not indicated, types recommended by metal wall panel manufacturer.

1. Seal metal wall panel end laps with double beads of tape or sealant, full width of panel.  Seal side joints where recommended by metal wall panel manufacturer.

Retain subparagraph below if joint-sealant work is part of this Section.

2. Prepare joints and apply sealants to comply with requirements in Division 07 Section "Joint Sealants."

E. Lap-Seam Metal Wall Panels:  Fasten metal wall panels to supports with fasteners at each lapped joint at location and spacing recommended by manufacturer.

1. Lap ribbed or fluted sheets one full rib corrugation.  Apply panels and associated items for neat and weathertight enclosure.  Avoid "panel creep" or application not true to line.

2. Provide metal-backed washers under heads of exposed fasteners bearing on weather side of metal wall panels.

3. Locate and space exposed fasteners in uniform vertical and horizontal alignment.  Use proper tools to obtain controlled uniform compression for positive seal without rupture of washer.

4. Install screw fasteners with power tools having controlled torque adjusted to compress washer tightly without damage to washer, screw threads, or panels.  Install screws in predrilled holes.

5. Provide sealant tape at lapped joints of metal wall panels and between panels and protruding equipment, vents, and accessories.

6. Apply a continuous ribbon of sealant tape to weather-side surface of fastenings on end laps; on side laps of nesting-type panels; on side laps of corrugated nesting-type, ribbed, or fluted panels; and elsewhere as needed to make panels weathertight.

7. At panel splices, nest panels with minimum 6-inch (152-mm) end lap, sealed with butyl-rubber sealant and fastened together by interlocking clamping plates.

F. Zee Clips:  Provide Zee clips of size indicated or, if not indicated, as required to act as standoff from subgirts for thickness of insulation indicated.  Attach to subgirts with fasteners.

G. Metal Liner Panels:  Install panels on [exterior side of girts with girts exposed to the interior] [interior side of girts with flush appearance on the inside] [girts as indicated on Drawings].

Substrate boards in paragraph below are specified in Division 06 Section "Sheathing."

H. Fire-Rated Metal Wall Panel Assemblies:  Install metal liner panels on exterior side of girts, fastening through faces of panels, with girts exposed to the interior.  Install subgirts horizontally, fastened to legs of metal liner panels.  Install substrate board as indicated in Division 06 Section "Sheathing," in number of layers required for fire rating, over subgirts, attached with board fasteners.  Install second set of subgirts horizontally, fastened through substrate board into first set of subgirts.  Install exterior metal wall panels, fastened to second set of subgirts.

1. Comply with [UL] [FMG] requirements for fire-rated construction.

3.5 METAL SOFFIT PANEL INSTALLATION

A. In addition to complying with requirements of "Metal Wall Panel Installation, General" Article, install metal soffit panels to comply with the requirements of this article.

B. Metal Soffit Panels:  Provide metal soffit panels full width of soffits.  Install panels perpendicular to support framing.

1. Flash and seal panels with weather closures where metal soffit panels meet walls and at perimeter of all openings.

3.6 ACCESSORY INSTALLATION

Revise first paragraph below to suit Project.  Delete items not required.

A. General:  Install accessories with positive anchorage to building and weathertight mounting, and provide for thermal expansion.  Coordinate installation with flashings and other components.

1. Install components required for a complete metal wall panel assembly including trim, copings, corners, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

B. Flashing and Trim:  Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual."  Provide concealed fasteners where possible, and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

1. Install exposed flashing and trim that is without excessive oil canning, buckling, and tool marks and that is true to line and levels indicated, with exposed edges folded back to form hems.  Install sheet metal flashing and trim to fit substrates and to result in waterproof and weather-resistant performance.

2. Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim.  Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (605 mm) of corner or intersection.  Where lapped expansion provisions cannot be used or would not be sufficiently weather resistant and waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with mastic sealant (concealed within joints).

3.7 FIELD QUALITY CONTROL

Retain first paragraph below to identify who shall perform tests and inspections.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified independent testing and inspecting agency to perform field tests and inspections and prepare test reports.

If retaining first paragraph below, indicate test areas on Drawings.

B. Water Penetration:  Test areas of installed system indicated on Drawings for compliance with system performance requirements according to ASTM E 1105 at minimum differential pressure of 20 percent of inward-acting, wind-load design pressure as defined by SEI/ASCE 7, but not less than 6.24 lbf/sq. ft. (300 Pa).

Retain first paragraph below for less expensive test to check system's resistance to water penetration.  Revise indicated test-area requirements to suit Project.

C. Water-Spray Test:  After completing the installation of 75-foot- (23-m-) by-2-story minimum area of metal wall panel assembly, test assembly for water penetration according to AAMA 501.2 in a 2-bay area directed by Architect.

Retain first paragraph below to require a factory-authorized service representative to perform inspections and tests.

D. Manufacturer's Field Service:  Engage a factory-authorized service representative to inspect and test completed metal wall panel installation, including accessories.

E. Remove and replace metal wall panels where tests and inspections indicate that they do not comply with specified requirements.

F. Additional tests and inspections, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

3.8 CLEANING AND PROTECTION

A. Remove temporary protective coverings and strippable films, if any, as metal wall panels are installed, unless otherwise indicated in manufacturer's written installation instructions.  On completion of metal wall panel installation, clean finished surfaces as recommended by metal wall panel manufacturer.  Maintain in a clean condition during construction.

B. After metal wall panel installation, clear weep holes and drainage channels of obstructions, dirt, and sealant.

C. Replace metal wall panels that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

END OF SECTION 074213

	METAL WALL PANELS
	074213 - 1



