Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
02/04 (R 05/05)

Copyright 2004 and 2005 (R 08/04) by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 079500 - EXPANSION CONTROL
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Architectural joint systems for building interiors.

2. Architectural joint systems for building exteriors.

3. Architectural joint systems for open-air structures.

B. Related Sections include the following:

List below only products that the reader might expect to find in this Section but are specified elsewhere.

Retain first subparagraph below if cast-in frames are included in Project.  Coordinate with Part 2 joint system articles.

1. Division 03 Section "Cast-in-Place Concrete" for cast-in architectural-joint-system frames furnished, but not installed, in this Section.

2. Division 04 Section "Unit Masonry" for masonry wall joint systems.

3. Division 07 Section "Sheet Metal Roofing" for sheet metal roof joint systems.

4. Division 07 Section "Sheet Metal Flashing and Trim" for sheet metal wall joint systems.

5. Division 07 Section "Manufactured Roof Expansion Joints" for factory-fabricated roof joint systems.

6. Division 07 Section "Fire-Resistive Joint Systems" for liquid-applied joint sealants in fire-resistive building joints.

7. Division 07 Section "Joint Sealants" for liquid-applied joint sealants.

1.3 DEFINITIONS

Retain definitions and terms that remain after this Section has been edited.

A. Maximum Joint Width:  Widest linear gap a joint system tolerates and in which it performs its designed function without damaging its functional capabilities.

B. Minimum Joint Width:  Narrowest linear gap a joint system tolerates and in which it performs its designed function without damaging its functional capabilities.

C. Movement Capability:  Value obtained from the difference between widest and narrowest widths of a joint opening typically expressed in numerical values (mm or inches) or a percentage (plus or minus) of nominal value of joint width.

Definition in paragraph below is from UL 2079.

D. Nominal Joint Width:  The width of the linear opening specified in practice and in which the joint system is installed.

1.4 SUBMITTALS

A. Shop Drawings:  Provide the following for each joint system specified:

1. Placement Drawings:  Include line diagrams showing plans, elevations, sections, details, splices, blockout requirement, entire route of each joint system, and attachments to other work.  Where joint systems change planes, provide isometric or clearly detailed drawing depicting how components interconnect.

Retain subparagraph and associated subparagraphs below for large and complex projects or projects with multiple expansion joints.

2. Architectural Joint System Schedule:  Prepared by or under the supervision of the supplier.  Include the following information in tabular form:

a. Manufacturer and model number for each joint system.

b. Joint system location cross-referenced to Drawings.

c. Nominal joint width.

d. Movement capability.

e. Classification as thermal or seismic.

f. Materials, colors, and finishes.

g. Product options.

Retain subparagraph below if fire-resistance-rated joints systems are included in Project.

h. Fire-resistance ratings.

B. Samples for Initial Selection:  For each type of joint system indicated.

1. Include manufacturer's color charts showing the full range of colors and finishes available for each exposed metal and elastomeric seal material.

Delete paragraph and subparagraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph and subparagraph below with or without above.

C. Samples for Verification:  For each type of architectural joint system indicated.

1. Full width by 6 inches (150 mm) long, for each system required.

D. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for current products.

1.5 QUALITY ASSURANCE

Usually delete paragraph below unless factory training for installers is offered by manufacturer and will result in increased warranty.

A. Installer Qualifications:  An employer of workers trained and approved by manufacturer.

Retain paragraph below where aesthetics are of primary concern or if fire-resistance-rated systems are required.

B. Source Limitations:  Obtain[ interior] architectural joint systems through one source from a single manufacturer.

Retain paragraph and subparagraph below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Coordinate with Division 01 requirements.

C. Product Options:  Drawings indicate size, profiles, and dimensional requirements of architectural joint systems and are based on the specific systems indicated.  Refer to Division 01 Section "Product Requirements."

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

Retain paragraph below for floor joint systems.

D. Accessibility Requirements:  Comply with applicable provisions in [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA), Accessibility Guidelines (ADAAG)" ] [and] [ICC A117.1].

Delete paragraph and subparagraph below if no fire-resistance-rated assemblies are required.  See Evaluations for discussion of fire-resistance test methods.

E. Fire-Test-Response Characteristics:  Where indicated, provide architectural joint system and fire-barrier assemblies identical to those of assemblies tested for fire resistance per UL 2079[ or ASTM E 1966] by a testing and inspecting agency acceptable to authorities having jurisdiction.

Delete subparagraph below if Project does not contain wall-to-wall or wall-to-ceiling assemblies.

1. Hose Stream Test:  Wall-to-wall and wall-to-ceiling assemblies shall be subjected to hose stream testing.

1.6 COORDINATION

Delete this Article if exterior joint systems are not part of Project.

A. Coordinate installation of exterior wall[ and soffit] joint systems with roof expansion assemblies to ensure that wall transitions are watertight.  Roof expansion assemblies are specified in Division 07.

PART 2 -  PRODUCTS

2.1 MATERIALS

Delete materials in this Article that are not required.

A. Aluminum:  ASTM B 221 (ASTM B 221M), Alloy 6063-T5 for extrusions; ASTM B 209 (ASTM B 209M), Alloy 6061-T6 for sheet and plate.

1. Apply manufacturer's standard protective coating on aluminum surfaces to be placed in contact with cementitious materials.

Retain finishes in subparagraphs below to suit Project.  Coordinate with Part 2 joint system articles.  Verify availability of finishes with manufacturer before specifying.  Revise if custom finish is required.

2. Mill Finish:  AA-M10 (Mechanical Finish:  as fabricated, unspecified).

Select clear or color anodic finish and class from subparagraphs below.  Class II is standard finish with many manufacturers.  Class I is thicker; verify availability before specifying.

3. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

4. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

5. Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

6. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Subparagraph below references AAMA standards for high-performance organic coatings on extrusions and panels.  Revise if specific products are required.

7. High-Performance Organic Finish (Two-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard two-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2604 and with coating and resin manufacturers' written instructions.

B. Stainless Steel:  ASTM A 666, Type 304 for plates, sheet, and strips.

1. Remove tool and die marks and stretch lines or blend into finish.

Retain finish in subparagraph below to suit Project.  Coordinate with Part 2 joint system articles.  Verify availability of finishes with manufacturer before specifying.  Revise if custom finish is required.

2. Finish:  No. [2B, bright, cold-rolled, unpolished] [4, directional satin].

Retain two subparagraphs below if directional finishes are required.

a. Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.

b. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

In first two paragraphs below, the term "brass" refers to copper alloys that have a brassy-yellow color, and the term "bronze" refers to alloys that are darker in color, similar to "architectural bronze"; none are true tin-bronzes.

C. Brass:  ASTM B 36/B 36M, UNS Alloy C26000 for half hard sheet and coil.

D. Bronze:  ASTM B 455, Alloy C38500 for extrusions; Alloy C23000 red brass for plates.

E. Elastomeric Seals:  Preformed elastomeric membranes or extrusions to be installed in metal frames.

F. Compression Seals:  ASTM E 1612; preformed rectangular elastomeric extrusions having internal baffle system and designed to function under compression.

G. Strip Seals:  ASTM E 1783; preformed elastomeric membrane or tubular extrusions having an internal baffle system and secured in or over a joint by a metal locking rail.

H. Cellular Foam Seals:  Extruded, compressible foam designed to function under compression.

I. Elastomeric Concrete:  Modified epoxy or polyurethane extended into a prepackaged aggregate blend, specifically designed for bonding to concrete substrates.

J. Fire Barriers:  Any material or material combination, when fire tested after cycling, designated to resist the passage of flame and hot gases through a movement joint and to meet performance criteria for required rating period.

K. Moisture Barrier:  Flexible elastomeric material, [PVC , minimum 30 mils thick] [EPDM, minimum 45 mils thick] [Santoprene].

L. Accessories:  Manufacturer's standard anchors, clips, fasteners, set screws, spacers, and other accessories compatible with material in contact, as indicated or required for complete installations.

2.2 ARCHITECTURAL JOINT SYSTEMS, GENERAL

A. General:  Provide architectural joint systems of design, basic profile, materials, and operation indicated.  Provide units with capability to accommodate variations in adjacent surfaces.

1. Furnish units in longest practicable lengths to minimize field splicing.  Install with hairline mitered corners where joint changes direction or abuts other materials.

2. Include factory-fabricated closure materials and transition pieces, tee-joints, corners, curbs, cross-connections, and other accessories as required to provide continuous joint systems.

B. Design architectural joint systems for the following size and movement characteristics:

1. Nominal Joint Width:  [As indicated on Drawings] [As scheduled] <Insert width>.

Retain first two subparagraphs below, or delete both and retain third subparagraph.

2. Maximum Joint Width:  [As indicated on Drawings] [As scheduled] <Insert width>.

3. Minimum Joint Width:  [As indicated on Drawings] [As scheduled] <Insert width>.

4. Movement Capability:  [Plus or minus 25 percent] [Plus or minus 50 percent] [Plus or minus 100 percent] [As indicated on Drawings] [As scheduled] <Insert movement capability>.

Retain one option in subparagraph below.  Thermal joint systems move in two directions to accommodate seasonal temperature fluctuations.  Seismic joint systems move in multiple directions to accommodate earthquake events.

5. Type of Movement:  [As indicated on Drawings] [As scheduled] [Thermal] [Seismic] [Wind sway].

Refer to the tables for architectural joint systems at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalog or product data to insert series, type, model, and designations of other characteristics.

2.3 ARCHITECTURAL JOINT SYSTEMS FOR BUILDING INTERIORS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide the products [indicated on Drawings] [specified in individual subparagraphs below as basis-of-design products] or a comparable product by one of the following:

1. Architectural Art Mfg., Inc.

2. Balco, Inc.

3. Construction Specialties, Inc.

4. JointMaster/InPro Corporation.

5. Michael Rizza Company, LLC.

6. MM Systems Corporation.

7. Nystrom, Inc.

8. Watson Bowman Acme Corp.

9. <Insert manufacturer's name.>

Retain paragraphs and subparagraphs remaining in this Article if Project contains only one type and size of architectural joint system for each location.  For projects with multiple joint systems, consider providing a schedule, or distinguish between systems by giving each a number designation, such as "AJS-1" and "AJS-2," and creating an additional set of requirements and products for each variation.

D. Floor-to-Floor Joint Systems:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of two "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  [Cover plate] [Center plate] [Glide plate] [Hidden sightline] [Pan] [Surface mounted].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.  Mill finish is most durable and is standard finish for most aluminum floor joint systems.  Color finishes are not recommended for traffic-bearing joint systems.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic].

Finishes in first subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

3. Type:  [Elastomeric] [Dual elastomeric] seal.

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.  Mill finish is most durable and is standard finish for most aluminum floor joint systems.  Color finishes are not recommended for traffic-bearing joint systems.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic].

Finishes in subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

Santoprene in first subparagraph below is most common seal material.

b. Seal Material:  [Santoprene] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Retain one of two subparagraphs below or delete both if no cover-plate options are available.  Serrated covers contain grooves or ridges to resist slipping.

4. Cover-Plate Design:  [Plain] [Serrated] [Abrasive filled].

5. Cover-Plate Design:  Recessed to accept field-applied finish materials.

Retain one of two subparagraphs below with last subparagraph above.

a. Recess Depth:  As required to accommodate adjacent flooring.

b. Recess Depth:  [1/8 inch (3 mm)] [3/8 inch (10 mm)] <Insert depth>.

Coordinate attachment method in subparagraph below with Part 3 installation requirements.  If retaining second option, verify that Division 03 concrete Section is referenced in Part 1.

6. Attachment Method:  [Mechanical anchors] [Cast in].

Retain one of two subparagraphs and associated subparagraphs below.  Categories in first subparagraph vary according to manufacturer.

7. Load Capacity:  [Standard] [Heavy] [Extra heavy] duty.

8. Load Capacity:

Subparagraphs below are examples only.  Verify loading requirements with structural engineer and availability with manufacturer.

a. Uniform Load:  [150 lb/sq. ft. (732 kg/sq. m)] <Insert loading>.

b. Concentrated Load:  [2000 lb (907 kg)] <Insert loading>.

c. Maximum Deflection:  [0.5 inch (13 mm)] <Insert deflection>.

Delete subparagraph below if fire-resistance ratings are not required.

9. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

Delete subparagraph below if moisture barriers are not required.

10. Moisture Barrier:  Manufacturer's standard.

E. Floor-to-Wall Joint Systems:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of two "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  [Cover plate] [Center plate] [Glide plate] [Hidden sightline] [Pan] [Surface mounted].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.  Mill finish is most durable and is standard finish for most aluminum floor joint systems.  Color finishes are not recommended for traffic-bearing joint systems.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic].

Finishes in first subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

3. Type:  [Elastomeric] [Dual elastomeric] seal.

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.  Mill finish is most durable and is standard finish for most aluminum floor joint systems.  Color finishes are not recommended for traffic-bearing joint systems.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic].

Finishes in subparagraph below are for stainless steel only.

3) Finish:  No.[ 2B] [4].

Santoprene in first subparagraph below is most common seal material.

b. Seal Material:  [Santoprene] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Retain one of two subparagraphs below or delete both if no cover-plate options are available.  Serrated covers contain grooves or ridges to resist slipping.

4. Cover-Plate Design:  [Plain] [Serrated] [Abrasive filled].

5. Cover-Plate Design:  Recessed to accept field-applied finish materials.

Retain one of two subparagraphs below with last subparagraph above.

a. Recess Depth:  As required to accommodate adjacent flooring.

b. Recess Depth:  [1/8 inch (3 mm)] [3/8 inch (10 mm)] <Insert depth>.

Coordinate attachment method in subparagraph below with Part 3 installation requirements.  If retaining second option, verify that Division 03 concrete Section is referenced in Part 1.

6. Attachment Method:  [Mechanical anchors] [Cast in].

Delete subparagraph below if fire-resistance ratings are not required.

7. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

Delete subparagraph below if moisture barriers are not required.

8. Moisture Barrier:  Manufacturer's standard.

F. Wall-to-Wall Joint Systems:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of three "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  [Vertical cover plate] [Glide plate] [Hidden sightline] [Snap-on cover] [Clip-in cover].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in first subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

3. Type:  [Elastomeric seal] [Dual elastomeric seal] [Accordion].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

Santoprene in first subparagraph below is most common seal material.  PVC is used for accordion seals.

b. Seal Material:  [Santoprene] [PVC] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Type:  Flat seal.

Santoprene in first subparagraph below is most common seal material.

a. Seal Material:  [Santoprene] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Delete subparagraph below if fire-resistance ratings are not required.

5. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

Delete subparagraph below if moisture barriers are not required.

6. Moisture Barrier:  Manufacturer's standard.

G. Wall Corner Joint Systems:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of three "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  [Vertical cover plate] [Glide plate] [Hidden sightline] [Snap-on cover] [Clip-in cover].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in first subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

3. Type:  [Elastomeric seal] [Dual elastomeric seal] [Accordion].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

Santoprene in first subparagraph below is most common seal material.  PVC is used for accordion seals.

b. Seal Material:  [Santoprene] [PVC] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Type:  Flat seal.

Santoprene in first subparagraph below is most common seal material.

a. Seal Material:  [Santoprene] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Delete subparagraph below if fire-resistance ratings are not required.

5. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

Delete subparagraph below if moisture barriers are not required.

6. Moisture Barrier:  Manufacturer's standard.

H. Wall-to-Ceiling Joint Systems:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of three "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  [Cover plate] [Glide plate] [Snap-on cover] [Clip-in cover].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in first subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

3. Type:  [Elastomeric seal] [Dual elastomeric seal] [Accordion].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

Santoprene in first subparagraph below is most common seal material.  PVC is used for accordion seals.

b. Seal Material:  [Santoprene] [PVC] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Type:  Flat seal.

Santoprene in first subparagraph below is most common seal material.

a. Seal Material:  [Santoprene] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Delete subparagraph below if fire-resistance ratings are not required.

5. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

Delete subparagraph below if moisture barriers are not required.

6. Moisture Barrier:  Manufacturer's standard.

I. Ceiling-to-Ceiling Joint Systems:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of three "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  [Cover plate] [Glide plate] [Snap-on cover] [Clip-in cover].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in first subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

3. Type:  [Elastomeric seal] [Dual elastomeric seal] [Accordion].

a. Exposed Metal:  [Aluminum] [Stainless steel] [Bronze] [Brass].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

Santoprene in first subparagraph below is most common seal material.  PVC is used for accordion seals.

b. Seal Material:  [Santoprene] [PVC] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Type:  Flat seal.

Santoprene in first subparagraph below is most common seal material.

a. Seal Material:  [Santoprene] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Delete subparagraph below if fire-resistance ratings are not required.

5. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

Delete subparagraph below if moisture barriers are not required.

6. Moisture Barrier:  Manufacturer's standard.

2.4 ARCHITECTURAL JOINT SYSTEMS FOR BUILDING EXTERIORS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide the products [indicated on Drawings] [specified in individual subparagraphs below as basis-of-design products] or a comparable product by one of the following:

1. Architectural Art Mfg., Inc.

2. Balco, Inc.

3. Capital Services.

4. Construction Specialties, Inc.

5. EMSEAL Joint Systems, Ltd.

6. E-Poxy Engineered Materials, LLC.

7. Erie Metal Specialties.

8. JointMaster/InPro Corporation.

9. LymTal International, Inc.

10. Michael Rizza Company, LLC.

11. MM Systems Corporation.

12. Nystrom, Inc.

13. R. J. Watson, Inc.

14. Schul International, Inc.

15. Stellar-Mark, Inc.

16. Thermal-Chem.

17. Tremco Sealant/Weatherproofing Division.

18. Watson Bowman Acme Corp.

19. Williams Products, Inc.

20. <Insert manufacturer's name.>

Retain paragraph and subparagraphs remaining in this Article if Project contains only one type and size of architectural joint system for each location.  For projects with multiple joint systems, consider providing a schedule, or distinguish between systems by giving each a number designation, such as "AJS-1" and "AJS-2," and creating an additional set of requirements and products for each variation.

D. Architectural Joint Systems for Exterior Walls[ and Soffits]:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of three "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  Vertical cover-plate.

a. Exposed Metal:  [Aluminum] [Stainless steel].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

Secondary seal in first subparagraph below is required to prevent water infiltration into building.

b. Secondary Seal:  Manufacturer's standard extruded-elastomeric seal designed to prevent water and moisture infiltration.

3. Type:  Flat seal.

Santoprene in first subparagraph below is most common seal material.  Silicone can be spliced without heat using a sealant but is more expensive.

a. Seal Material:  [Santoprene] [Silicone] <Insert material>.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Secondary seal in subparagraph below is required to prevent water infiltration into building.

b. Secondary Seal:  Manufacturer's standard extruded-elastomeric seal designed to prevent water and moisture infiltration.

Retain first subparagraph below if required for wind-load support.  Most manufacturers offer pantograph mechanism for joint systems 9 inches (229 mm) and larger.

c. Pantograph Mechanism:  Manufacturer's standard nylon pantographic wind-load support mechanism with stainless-steel fasteners.

4. Type:  Preformed cellular foam.

Foam materials in subparagraph below vary according to manufacturers.  Verify availability.

a. Foam Material:  [Manufacturer's standard] [Non-extruded, low-density, crosslinked, nitrogen-blown, ethylene-vinyl-acetate copolymer] [Polyurethane].

Foams materials in subparagraph above are available in a variety of colors.

1) Color:  [Manufacturer's standard] [As selected by Architect from manufacturer's full range] <Insert color>.

Delete subparagraph below if fire-resistance ratings are not required.

5. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

2.5 ARCHITECTURAL JOINT SYSTEMS FOR OPEN-AIR STRUCTURES

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide the products [indicated on Drawings] [specified in individual subparagraphs below as basis-of-design products] or a comparable product by one of the following:

1. American Permaquik, Inc.

2. Architectural Art Mfg., Inc.

3. Balco, Inc.

4. Capital Services.

5. Construction Specialties, Inc.

6. D. S. Brown Company (The).

7. EMSEAL Joint Systems, Ltd.

8. E-Poxy Engineered Materials, LLC.

9. Erie Metal Specialties.

10. JointMaster/InPro Corporation.

11. Larsen Products Corp.

12. LymTal International, Inc.

13. Michael Rizza Company, LLC.

14. MM Systems Corporation.

15. Nystrom, Inc.

16. R. J. Watson, Inc.

17. Schul International, Inc.

18. Stellar-Mark, Inc.

19. Thermal-Chem.

20. Tremco Sealant/Weatherproofing Division.

21. Watson Bowman Acme Corp.

22. Williams Products, Inc.

23. <Insert manufacturer's name.>

Retain paragraphs and subparagraphs remaining in this Article if Project contains only one type and size of architectural joint system for each location.  For projects with multiple joint systems, consider providing a schedule, or distinguish between systems by giving each a number designation, such as "AJS-1" and "AJS-2," and creating an additional set of requirements and products for each variation.

D. Slab-to-Slab Joint Systems for [Parking Structures] [Plaza Decks] [Stadiums] <Insert type of structure>:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of two "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  Metal plate.

a. Exposed Metal:  [Aluminum] [Stainless steel].

Retain one of three "Finish" subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.  Mill finish is most durable and is standard finish for most aluminum floor joint systems.  Color finishes are not recommended for traffic-bearing joint systems.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic].

Finishes in first subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

3. Type:  [Sealant T-joint] [Rubber pad] [Compression seal] [Strip seal] [Winged seal] [Epoxy-bonded seal] [Split-slab membrane].

Seal materials in subparagraph below vary according to manufacturer.  Verify availability.

a. Seal Material:  [Santoprene] [Neoprene] [Silicone] [EPDM] [PVC] [Manufacturer's standard].

Neoprene in subparagraph above is available in black only; other seal materials are available in colors.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Coordinate attachment method in subparagraph below with Part 3 installation requirements.  If retaining second option, verify that Division 03 concrete Section is referenced in Part 1.

4. Attachment Method:  [Mechanical anchors] [Cast in] [Elastomeric concrete header] [Compressed, epoxy adhered] [Compressed, lubricant adhesive adhered].

Retain one of two subparagraphs and associated subparagraphs below.  Categories in first subparagraph vary according to manufacturer.

5. Load Capacity:  [Heavy] [Extra heavy] duty.

6. Load Capacity:

Subparagraphs below are examples only.  Verify loading requirements with structural engineer and availability with manufacturer.

a. Uniform Load:  [150 lb/sq. ft. (732 kg/sq. m)] <Insert loading>.

b. Concentrated Load:  [2000 lb (907 kg)] <Insert loading>.

c. Maximum Deflection:  [0.5 inch (13 mm)] <Insert deflection>.

Delete subparagraph below if fire-resistance ratings are not required.

7. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

Delete subparagraph below if gutter is not required.

8. Gutter:  Flexible, fabric-reinforced neoprene gutter system with drain tubes.

E. Slab-to-Wall Joint Systems for [Parking Structures] [Plaza Decks] [Stadiums] <Insert type of structure>:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of two "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  Metal plate.

a. Exposed Metal:  [Aluminum] [Stainless steel].

Retain one of three "Finish" subparagraphs and associated subparagraphs below.

1) Finish:  Manufacturer's standard finish.

Finishes in subparagraph below are for aluminum only.

2) Finish:  [Mill] [Class I, clear anodic] [Class II, clear anodic] [Class I, color anodic] [Class II, color anodic] [High-performance organic].

Retain one of two subparagraphs below for color anodic or high-performance organic finishes.  First lists standard anodic colors.  Second is for premium or custom anodic colors or high-performance organic finish.

a) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

b) Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

Finishes in first subparagraph below are for stainless steel only.

3) Finish:  No. [2B] [4].

3. Type:  [Sealant T-joint] [Rubber pad] [Compression seal] [Strip seal] [Winged seal] [Epoxy-bonded seal] [Split-slab membrane].

Seal materials in subparagraph below vary according to manufacturer.  Verify availability.

a. Seal Material:  [Santoprene] [Neoprene] [Silicone] [EPDM] [PVC] [Manufacturer's standard].

Neoprene in subparagraph above is available in black only; other seal materials are available in colors.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

Coordinate attachment method in subparagraph below with Part 3 installation requirements.  If retaining second option, verify that Division 03 concrete Section is referenced in Part 1.

4. Attachment Method:  [Mechanical anchors] [Cast in] [Elastomeric concrete header] [Compressed, epoxy adhered] [Compressed, lubricant adhesive adhered].

Delete subparagraph below if fire-resistance ratings are not required.

5. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

Delete subparagraph below if gutter is not required.

6. Gutter:  Flexible, fabric reinforced neoprene gutter system with drain tubes.

F. Wall-to-Wall Joint Systems for [Parking Structures] [Plaza Decks] [Stadiums] <Insert type of structure>:

Delete subparagraph below if no basis-of-design product or if basis-of-design product is indicated on Drawings or scheduled elsewhere.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

Retain one of two "Type" subparagraphs and associated subparagraphs below.  See Evaluations for discussion.

2. Type:  Compression seal.

Seal materials in subparagraph below vary according to manufacturer.  Verify availability.

a. Seal Material:  [Santoprene] [Neoprene] [Silicone] [EPDM] [PVC] [Manufacturer's standard].

Neoprene in subparagraph above is available in black only; other seal materials are available in colors.

1) Color:  [Black] [Brown] [Beige] [Tan] [Gray] [White] [As selected by Architect from manufacturer's full range] <Insert color>.

3. Type:  Preformed cellular foam.

Foam materials in subparagraph below vary according to manufacturer.  Verify availability.

a. Foam Material:  [Manufacturer's standard] [Non-extruded, low-density, crosslinked, nitrogen-blown, ethylene-vinyl-acetate copolymer] [Polyurethane].

Foams materials in subparagraph above are available in a variety of colors.

1) Color:  [Manufacturer's standard] [As selected by Architect from manufacturer's full range] <Insert color>.

Coordinate attachment method in subparagraph below with Part 3 installation requirements.  If retaining second option, verify that Division 03 concrete Section is referenced in Part 1.

4. Attachment Method:  [Mechanical anchors] [Cast in] [Compressed, epoxy adhered] [Compressed, lubricant adhesive adhered].

Delete subparagraph below if fire-resistance ratings are not required.

5. Fire-Resistance Rating:  Provide joint system and fire-barrier assembly with a rating not less than [that indicated] [that of adjacent construction] [1 hour] [1-1/2 hours] [2 hours] [3 hours] [4 hours] <Insert rating>.

2.6 FINISHES

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine surfaces [and blockouts ]where architectural joint systems will be installed for installation tolerances and other conditions affecting performance of work.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Prepare substrates according to architectural joint system manufacturer's written instructions.

B. Repair concrete slabs and blockouts using manufacturer's recommended repair grout of compressive strength adequate for anticipated structural loadings.

C. Coordinate and furnish anchorages, setting drawings, and instructions for installing joint systems.  Provide fasteners of metal, type, and size to suit type of construction indicated and to provide for secure attachment of joint systems.

Delete paragraph below if no cast-in frames.  Coordinate with products in Part 2.

D. Cast-In Frames:  Coordinate and furnish frames to be cast into concrete.

3.3 INSTALLATION

A. Comply with manufacturer's written instructions for storing, handling, and installing architectural joint assemblies and materials unless more stringent requirements are indicated.

B. Metal Frames:  Perform cutting, drilling, and fitting required to install joint systems.

1. Install in true alignment and proper relationship to joints and adjoining finished surfaces measured from established lines and levels.

2. Adjust for differences between actual structural gap and nominal design gap due to ambient temperature at time of installation.  Notify Architect where discrepancies occur that will affect proper joint installation and performance.

3. Cut and fit ends to accommodate thermal expansion and contraction of metal without buckling of frames.

4. Locate in continuous contact with adjacent surfaces.

Retain one or both of first two subparagraphs below to suit Project.

5. Standard-Duty Systems:  Shim to level where required.  Support underside of frames continuously to prevent vertical deflection when in service.

6. Heavy-Duty Systems:  Repair or grout blockout as required for continuous frame support and to bring frame to proper level.  Shimming is not allowed.

7. Locate anchors at interval recommended by manufacturer, but not less than 3 inches (75 mm) from each end and not more than 24 inches (600 mm) o.c.

Delete paragraph and subparagraphs below if not applicable.

C. Seals in Metal Frames:  Install elastomeric seals and membranes in frames to comply with manufacturer's written instructions.  Install with minimum number of end joints.

1. Provide in continuous lengths for straight sections.

2. Seal transitions according to manufacturer's written instructions.  Vulcanize or heat-weld field-spliced joints as recommended by manufacturer.

3. Installation:  Mechanically lock seals into frames or adhere to frames with adhesive or pressure-sensitive tape as recommended by manufacturer.

Retain paragraph below for compression seals.

D. Compression Seals:  Apply adhesive or lubricant adhesive as recommended by manufacturer to both [frame interfaces] [sides of slabs] before installing compression seals.

Retain paragraph below for foam seals.

E. Foam Seals:  Install with adhesive recommended by manufacturer.

Retain first paragraph below for epoxy-bonded seals.

F. Epoxy-Bonded Seals:  Pressurize seal for time period and to pressure recommended by manufacturer.  Do not overpressurize.

G. Terminate exposed ends of joint assemblies with field- or factory-fabricated termination devices.

Delete first paragraph and subparagraph below if no fire-resistance-rated assemblies.

H. Fire-Resistance-Rated Assemblies:  Coordinate installation of architectural joint assembly materials and associated work so complete assemblies comply with assembly performance requirements.

1. Fire Barriers:  Install fire barriers to provide continuous, uninterrupted fire resistance throughout length of joint, including transitions and field splices.

I. Water Barrier:  Provide water barrier at exterior joints and where called for on Drawings.  Provide drainage fittings[ at a maximum of 50 feet (15.2 m) or] where indicated.

3.4 PROTECTION

A. Do not remove protective covering until finish work in adjacent areas is complete.  When protective covering is removed, clean exposed metal surfaces to comply with manufacturer's written instructions.

B. Protect the installation from damage by work of other Sections.  Where necessary due to heavy construction traffic, remove and properly store cover plates or seals and install temporary protection over joints.  Reinstall cover plates or seals prior to Substantial Completion of the Work.

END OF SECTION 079500

	EXPANSION CONTROL
	079500 - 1



