Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
02/04 (R 05/06)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 092216 - NON-STRUCTURAL METAL FRAMING
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes non-load-bearing steel framing members for the following applications:

Adjust list below to suit Project.

1. Interior framing systems (e.g., supports for partition walls, framed soffits, furring, etc.).

2. Interior suspension systems (e.g., supports for ceilings, suspended soffits, etc.).

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 05 Section "Cold-Formed Metal Framing" for exterior and interior load-bearing and exterior non-load-bearing wall studs; floor joists; roof rafters and ceiling joists; and roof trusses.

Delete first subparagraph below if no Z-shaped furring.

2. Division 07 Section "Thermal Insulation" for insulation installed with Z-shaped furring members.

3. Division 07 Section "Fire-Resistive Joint Systems" for head-of-wall joint systems installed with non-load-bearing steel framing.

4. Division 09 Section "Gypsum Plastering" for metal lath supported by non-load-bearing steel framing.

5. Division 09 Section "Portland Cement Plastering" for metal lath supported by non-load-bearing steel framing.

6. Division 09 Section "Gypsum Board Shaft Wall Assemblies" for non-load-bearing metal shaft-wall framing, gypsum panels, and other components of shaft-wall assemblies.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. LEED Submittal:

Retain subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of meeting LEED Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor option and responsibility for determining how LEED Credit MR 4.1 and MR 4.2 requirement will be met.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

1.4 QUALITY ASSURANCE

Retain paragraph below where framing is part of fire-resistance-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

A. Fire-Test-Response Characteristics:  For fire-resistance-rated assemblies that incorporate non-load-bearing steel framing, provide materials and construction identical to those tested in assembly indicated according to ASTM E 119 by an independent testing agency.

Retain paragraph below where framing is part of STC-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

B. STC-Rated Assemblies:  For STC-rated assemblies, provide materials and construction identical to those tested in assembly indicated according to ASTM E 90 and classified according to ASTM E 413 by an independent testing agency.

PART 2 -  PRODUCTS

2.1 NON-LOAD-BEARING STEEL FRAMING, GENERAL

Retain first paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that steel sheet is made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products:  Provide products with average recycled content of steel products such that postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

B. Framing Members, General:  Comply with ASTM C 754 for conditions indicated.

1. Steel Sheet Components:  Comply with ASTM C 645 requirements for metal, unless otherwise indicated.

See "Corrosion Protection of Steel Framing" Article in the Evaluations for a discussion of corrosion-resistant coatings on components.

2. Protective Coating:  [ASTM A 653/A 653M, G40 (Z120)] [ASTM A 653/A 653M, G60 (Z180)] [Coating with equivalent corrosion resistance of ASTM A 653/A 653M, G40 (Z120)], hot-dip galvanized, unless otherwise indicated.

2.2 SUSPENSION SYSTEM COMPONENTS

Delete this Article if no suspended or furred ceilings or soffits.

A. Tie Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.0625-inch- (1.59-mm-) diameter wire, or double strand of 0.0475-inch- (1.21-mm-) diameter wire.

B. Hanger Attachments to Concrete:

Retain anchors or powder-actuated fasteners below for hanger attachment to concrete decks.  Coordinate with hangers specified and verify safety factors with Project's structural engineer.

1. Anchors:  Fabricated from corrosion-resistant materials with holes or loops for attaching wire hangers and capable of sustaining, without failure, a load equal to [5] <Insert number> times that imposed by construction as determined by testing according to ASTM E 488 by an independent testing agency.

a. Type:  [Cast-in-place anchor, designed for attachment to concrete forms] [Postinstalled, chemical anchor] [Postinstalled, expansion anchor].

2. Powder-Actuated Fasteners:  Suitable for application indicated, fabricated from corrosion-resistant materials with clips or other devices for attaching hangers of type indicated, and capable of sustaining, without failure, a load equal to [10] <Insert number> times that imposed by construction as determined by testing according to ASTM E 1190 by an independent testing agency.

C. Wire Hangers:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.162-inch (4.12-mm) diameter.

Retain hanger paragraph above or below, or insert requirements to suit Project.  Verify requirements of authorities having jurisdiction.  If more than one type of hanger is required, indicate locations of each on Drawings.

D. Flat Hangers:  Steel sheet, [in size indicated on Drawings] [1 by 3/16 inch (25.4 by 4.76 mm) by length indicated] <Insert size>.

E. Carrying Channels:  Cold-rolled, commercial-steel sheet with a base-metal thickness of 0.0538 inch (1.37 mm) and minimum 1/2-inch- (12.7-mm-) wide flanges.

1. Depth:  [As indicated on Drawings] [2-1/2 inches (64 mm)] [2 inches (51 mm)] [1-1/2 inches (38 mm)].

F. Furring Channels (Furring Members):

Retain one of four furring channel subparagraphs and associated subparagraphs below or, if more than one is required, indicate locations of each on Drawings.

1. Cold-Rolled Channels:  0.0538-inch (1.37-mm) bare-steel thickness, with minimum 1/2-inch- (12.7-mm-) wide flanges, 3/4 inch (19.1 mm) deep.

2. Steel Studs:  ASTM C 645.

a. Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.0179 inch (0.45 mm)] [0.0312 inch (0.79 mm)] <Insert thickness>.

b. Depth:  [As indicated on Drawings] [1-5/8 inches (41.3 mm)] [2-1/2 inches (63.5 mm)] [3-5/8 inches (92.1 mm)] <Insert depth>.

3. Hat-Shaped, Rigid Furring Channels:  ASTM C 645, 7/8 inch (22.2 mm) deep.

a. Minimum Base Metal Thickness:  [As indicated on Drawings] [0.0179 inch (0.45 mm)] [0.0312 inch (0.79 mm)] <Insert thickness>.

4. Resilient Furring Channels:  1/2-inch- (12.7-mm-) deep members designed to reduce sound transmission.

a. Configuration:  [Asymmetrical or hat shaped] [Asymmetrical] [Hat shaped].

Grid suspension systems are suitable for use with gypsum board.  They might not be acceptable for gypsum veneer plaster; consult gypsum veneer plaster and grid suspension system manufacturers before specifying them.

G. Grid Suspension System for Ceilings:  ASTM C 645, direct-hung system composed of main beams and cross-furring members that interlock.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming products, retain subparagraph above for nonproprietary or first subparagraph below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Armstrong World Industries, Inc.; Drywall Grid Systems.

b. Chicago Metallic Corporation; [640-C] [Fire Front 650-C] [660-C] [Fire Front 670-C] Drywall Furring System.

c. USG Corporation; Drywall Suspension System.

d. <Insert manufacturer's name; product name or designation.>

2.3 STEEL FRAMING FOR FRAMED ASSEMBLIES

A. Steel Studs and Runners:  ASTM C 645.

GA-600 recommends 0.0312-inch- (0.79-mm-) thick studs at fire-door frames supporting standard and heavyweight doors, but it includes an alternate detail for nested 0.0179-inch (0.45-mm) studs for standard-weight doors.

For framing supporting ceramic tile substrates, 0.0312-inch- (0.79-mm-) thick studs are generally recommended.

If runners must have a heavier base-metal thickness than studs, revise subparagraph below.

1. Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.0179 inch (0.45 mm)] [0.027 inch (0.7 mm)] [0.0312 inch (0.79 mm)].

2. Depth:  [As indicated on Drawings] [3-5/8 inches (92.1 mm)] [6 inches (152.4 mm)] [4 inches (101.6 mm)] [2-1/2 inches (63.5 mm)] [1-5/8 inches (41.3 mm)].

For slip joint at stud and top-track interface (head joint) that avoids axial loading of partition by overhead structure, retain paragraph and one or all of the following types of head joints.  See "Crack Control" Article in the Evaluations.

B. Slip-Type Head Joints:  Where indicated, provide[ one of] the following:

If retaining single-track systems below, indicate type of bridging required on Drawings or by inserts.  Strap and 1-1/2-inch (38.1-mm) cold-rolled channel are commonly used.

1. Single Long-Leg Runner System:  ASTM C 645 top runner with 2-inch- (50.8-mm-) deep flanges in thickness not less than indicated for studs, installed with studs friction fit into top runner and with continuous bridging located within 12 inches (305 mm) of the top of studs to provide lateral bracing.

If retaining double-runner system below and if deflection might be great, evaluate the lateral stability of outer-runner flanges and consider using steel channels for tracks instead of nonstructural runners.

2. Double-Runner System:  ASTM C 645 top runners, inside runner with 2-inch- (50.8-mm-) deep flanges in thickness not less than indicated for studs and fastened to studs, and outer runner sized to friction fit inside runner.

3. Deflection Track:  Steel sheet top runner manufactured to prevent cracking of finishes applied to interior partition framing resulting from deflection of structure above; in thickness not less than indicated for studs and in width to accommodate depth of studs.

a. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

If naming products, retain last subparagraph above for nonproprietary or first subparagraph below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

b. Products:  Subject to compliance with requirements, provide one of the following:

1) Steel Network Inc. (The); [VertiClip SLD] [VertiTrack VTD] Series.

2) Superior Metal Trim; Superior Flex Track System (SFT).

3) <Insert manufacturer's name; product name or designation.>

Paragraph below specifies firestop tracks for isolating partition framing from structure above in specific fire-resistance-rated assemblies.  If retaining, revise to coordinate with rated assemblies selected and indicate design designations of assemblies on Drawings.

C. Firestop Tracks:  Top runner manufactured to allow partition heads to expand and contract with movement of the structure while maintaining continuity of fire-resistance-rated assembly indicated; in thickness not less than indicated for studs and in width to accommodate depth of studs.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Fire Trak Corp.; Fire Trak [attached to studs with Fire Trak Slip Clip].

b. Metal-Lite, Inc.; The System.

c. <Insert manufacturer's name; product name or designation.>

Retain paragraph and subparagraph below for flat-strap blocking and bracing for fixture attachment.  Indicate locations, lengths, and widths on Drawings.

D. Flat Strap and Backing Plate:  Steel sheet for blocking and bracing in length and width indicated.

1. Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.0179 inch (0.45 mm)] [0.027 inch (0.7 mm)] [0.0312 inch (0.79 mm)] <Insert thickness>.

Retain first paragraph and subparagraphs below for channel bridging for fixture attachment or lateral bracing.  Indicate locations and details of installation on Drawings.

E. Cold-Rolled Channel Bridging:  0.0538-inch (1.37-mm) bare-steel thickness, with minimum 1/2-inch- (12.7-mm-) wide flanges.

1. Depth:  [As indicated on Drawings] [1-1/2 inches (38.1 mm)] <Insert depth>.

2. Clip Angle:  Not less than 1-1/2 by 1-1/2 inches (38.1 by 38.1 mm), 0.068-inch- (1.73-mm-) thick, galvanized steel.

F. Hat-Shaped, Rigid Furring Channels:  ASTM C 645.

1. Minimum Base Metal Thickness:  [As indicated on Drawings] [0.0179 inch (0.45 mm)] [0.0312 inch (0.79 mm)] <Insert thickness>.

2. Depth:  [As indicated on Drawings] [7/8 inch (22.2 mm)] [1-1/2 inches (38.1 mm)].

G. Resilient Furring Channels:  1/2-inch- (12.7-mm-) deep, steel sheet members designed to reduce sound transmission.

1. Configuration:  [Asymmetrical or hat shaped] [Asymmetrical] [Hat shaped].

H. Cold-Rolled Furring Channels:  0.0538-inch (1.37-mm) bare-steel thickness, with minimum 1/2-inch- (12.7-mm-) wide flanges.

1. Depth:  [As indicated on Drawings] [3/4 inch (19.1 mm)] <Insert depth>.

2. Furring Brackets:  Adjustable, corrugated-edge type of steel sheet with minimum bare-steel thickness of 0.0312 inch (0.79 mm).

3. Tie Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.0625-inch- (1.59-mm-) diameter wire, or double strand of 0.0475-inch- (1.21-mm-) diameter wire.

Z-shaped furring is available in 1-, 1-1/2-, 2-, 2-1/2-, and 3-inch (25.4-, 38.1-, 50.8-, 63.5-, and 76.2-mm) depths.  Coordinate Z-shaped furring requirements with insulation specified in Division 07 Section "Thermal Insulation."

I. Z-Shaped Furring:  With slotted or nonslotted web, face flange of 1-1/4 inches (31.8 mm), wall attachment flange of 7/8 inch (22.2 mm), minimum bare-metal thickness of 0.0179 inch (0.45 mm), and depth required to fit insulation thickness indicated.

2.4 AUXILIARY MATERIALS

A. General:  Provide auxiliary materials that comply with referenced installation standards.

1. Fasteners for Metal Framing:  Of type, material, size, corrosion resistance, holding power, and other properties required to fasten steel members to substrates.

B. Isolation Strip at Exterior Walls:  Provide[ one of] the following:

Retain both subparagraphs below and option in paragraph above to allow Contractor to choose type of isolation strip.

1. Asphalt-Saturated Organic Felt:  ASTM D 226, Type I (No. 15 asphalt felt), nonperforated.

2. Foam Gasket:  Adhesive-backed, closed-cell vinyl foam strips that allow fastener penetration without foam displacement, 1/8 inch (3.2 mm) thick, in width to suit steel stud size.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas and substrates, with Installer present, and including welded hollow-metal frames, cast-in anchors, and structural framing, for compliance with requirements and other conditions affecting performance.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

Delete first paragraph and subparagraph below if only postinstalled anchors are used for installing suspended assemblies.

A. Suspended Assemblies:  Coordinate installation of suspension systems with installation of overhead structure to ensure that inserts and other provisions for anchorages to building structure have been installed to receive hangers at spacing required to support the Work and that hangers will develop their full strength.

1. Furnish concrete inserts and other devices indicated to other trades for installation in advance of time needed for coordination and construction.

B. Coordination with Sprayed Fire-Resistive Materials:

Detail requirements on Drawings for attaching metal framing to construction protected by sprayed fire-resistive materials.

1. Before sprayed fire-resistive materials are applied, attach offset anchor plates or ceiling runners (tracks) to surfaces indicated to receive sprayed fire-resistive materials.  Where offset anchor plates are required, provide continuous plates fastened to building structure not more than 24 inches (600 mm) o.c.

2. After sprayed fire-resistive materials are applied, remove them only to extent necessary for installation of non-load-bearing steel framing.  Do not reduce thickness of fire-resistive materials below that required for fire-resistance ratings indicated.  Protect adjacent fire-resistive materials from damage.

3.3 INSTALLATION, GENERAL

A. Installation Standard:  ASTM C 754, except comply with framing sizes and spacing indicated.

Standards listed in four subparagraphs below include framing installation requirements not in ASTM C 754.  Retain applicable subparagraphs to suit Project.

1. Gypsum Plaster Assemblies:  Also comply with requirements in ASTM C 841 that apply to framing installation.

2. Portland Cement Plaster Assemblies:  Also comply with requirements in ASTM C 1063 that apply to framing installation.

3. Gypsum Veneer Plaster Assemblies:  Also comply with requirements in ASTM C 844 that apply to framing installation.

4. Gypsum Board Assemblies:  Also comply with requirements in ASTM C 840 that apply to framing installation.

B. Install supplementary framing, and blocking to support fixtures, equipment services, heavy trim, grab bars, toilet accessories, furnishings, or similar construction.

C. Install bracing at terminations in assemblies.

Detail control and expansion joints on Drawings.

D. Do not bridge building control and expansion joints with non-load-bearing steel framing members.  Frame both sides of joints independently.

3.4 INSTALLING SUSPENSION SYSTEMS

A. Install suspension system components in sizes and spacings indicated on Drawings, but not less than those required by referenced installation standards for assembly types and other assembly components indicated.

B. Isolate suspension systems from building structure where they abut or are penetrated by building structure to prevent transfer of loading imposed by structural movement.

C. Suspend hangers from building structure as follows:

1. Install hangers plumb and free from contact with insulation or other objects within ceiling plenum that are not part of supporting structural or suspension system.

a. Splay hangers only where required to miss obstructions and offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

2. Where width of ducts and other construction within ceiling plenum produces hanger spacings that interfere with locations of hangers required to support standard suspension system members, install supplemental suspension members and hangers in the form of trapezes or equivalent devices.

a. Size supplemental suspension members and hangers to support ceiling loads within [performance limits established by referenced installation standards] <Insert deflection limit>.

3. Wire Hangers:  Secure by looping and wire tying, either directly to structures or to inserts, eye screws, or other devices and fasteners that are secure and appropriate for substrate, and in a manner that will not cause hangers to deteriorate or otherwise fail.

4. Flat Hangers:  Secure to structure, including intermediate framing members, by attaching to inserts, eye screws, or other devices and fasteners that are secure and appropriate for structure and hanger, and in a manner that will not cause hangers to deteriorate or otherwise fail.

Delete inapplicable construction types below.

Delete first subparagraph below if steel roof deck can carry ceiling loads; verify with structural engineer.  In 2002, SDI changed its recommendation against suspending loads from roof deck.  It deleted commentary in SDI Publication No. 30 that stated, "Suspended ceilings, light fixtures, ducts, or other utilities shall not be supported by the steel deck."

5. Do not attach hangers to steel roof deck.

6. Do not attach hangers to permanent metal forms.  Furnish cast-in-place hanger inserts that extend through forms.

7. Do not attach hangers to rolled-in hanger tabs of composite steel floor deck.

8. Do not connect or suspend steel framing from ducts, pipes, or conduit.

Furring channels must be wire tied to supports in most fire-resistance-rated assemblies.  Verify requirements of fire-resistance-rated assemblies and revise paragraph below to suit Project.

D. Fire-Resistance-Rated Assemblies:  Wire tie furring channels to supports.

Retain paragraph below for seismic bracing and revise to include specific provisions to suit Project.

E. Seismic Bracing:  Sway-brace suspension systems [with hangers used for support] <Insert requirements>.

Grid suspension systems are suitable for use with gypsum board.  They might not be acceptable for gypsum veneer plaster; consult gypsum veneer plaster and grid suspension system manufacturers before specifying them.

F. Grid Suspension Systems:  Attach perimeter wall track or angle where grid suspension systems meet vertical surfaces.  Mechanically join main beam and cross-furring members to each other and butt-cut to fit into wall track.

Example tolerance below is based on ASTM C 636 for acoustical ceilings.

G. Installation Tolerances:  Install suspension systems that are level to within [1/8 inch in 12 feet (3 mm in 3.6 m)] <Insert tolerance> measured lengthwise on each member that will receive finishes and transversely between parallel members that will receive finishes.

3.5 INSTALLING FRAMED ASSEMBLIES

Retain first paragraph below if studs will abut dissimilar metals at exterior walls or exterior masonry walls that may become damp.

A. Where studs are installed directly against exterior masonry walls or dissimilar metals at exterior walls, install isolation strip between studs and exterior wall.

B. Install studs so flanges within framing system point in same direction.

Generally, delete subparagraph below and indicate stud spacings on Drawings.  ASTM C 754 includes tabulations of maximum framing spacing based on thickness and orientation of gypsum board panels and deflection and lateral loading.

1. Space studs as follows:

a. Single-Layer Application:  [16 inches (406 mm)] [24 inches (610 mm)] [400 mm] [600 mm] o.c., unless otherwise indicated.

b. Multilayer Application:  [16 inches (406 mm)] [24 inches (610 mm)] [400 mm] [600 mm] o.c., unless otherwise indicated.

c. Tile backing panels:  [16 inches (406 mm)] [400 mm] o.c., unless otherwise indicated.

C. Install tracks (runners) at floors and overhead supports.  Extend framing full height to structural supports or substrates above suspended ceilings, except where partitions are indicated to terminate at suspended ceilings.  Continue framing around ducts penetrating partitions above ceiling.

Indicate locations and details of slip-type and fire-rated head joints on Drawings.  See "Crack Control" Article in the Evaluations.

1. Slip-Type Head Joints:  Where framing extends to overhead structural supports, install to produce joints at tops of framing systems that prevent axial loading of finished assemblies.

2. Door Openings:  Screw vertical studs at jambs to jamb anchor clips on door frames; install runner track section (for cripple studs) at head and secure to jamb studs.

Usually retain subparagraph below.  For heavy doors, 200 to 300 lb (91 to 136 kg) that are up to 48 inches (1219 mm) wide, GA-600 recommends using 0.0312-inch- (0.79-mm-) thick studs.  Design framing for doors more than 48 inches (1219 mm) wide, double doors, and extra-heavy doors to meet loading conditions.

a. Install two studs at each jamb, unless otherwise indicated.

Retain subparagraph below if one-piece control joints are required at heads of doors.

b. Install cripple studs at head adjacent to each jamb stud, with a minimum 1/2-inch (12.7-mm) clearance from jamb stud to allow for installation of control joint in finished assembly.

Retain subparagraph below if suspended ceilings cannot withstand forces generated by opening and closing doors.

c. Extend jamb studs through suspended ceilings and attach to underside of overhead structure.

Delete first subparagraph below if no framed openings other than doors, or revise to suit Project.  Fully detail framing for large openings on Drawings.

3. Other Framed Openings:  Frame openings other than door openings the same as required for door openings, unless otherwise indicated.  Install framing below sills of openings to match framing required above door heads.

4. Fire-Resistance-Rated Partitions:  Install framing to comply with fire-resistance-rated assembly indicated and support closures and to make partitions continuous from floor to underside of solid structure.

Indicate locations and details of firestop track on Drawings.

a. Firestop Track:  Where indicated, install to maintain continuity of fire-resistance-rated assembly indicated.

5. Sound-Rated Partitions:  Install framing to comply with sound-rated assembly indicated.

6. Curved Partitions:

a. Bend track to uniform curve and locate straight lengths so they are tangent to arcs.

b. Begin and end each arc with a stud, and space intermediate studs equally along arcs.  On straight lengths of not less than 2 studs at ends of arcs, place studs 6 inches (150 mm) o.c.

D. Direct Furring:

1. Screw to wood framing.

2. Attach to concrete or masonry with stub nails, screws designed for masonry attachment, or powder-driven fasteners spaced 24 inches (610 mm) o.c.

E. Z-Furring Members:

1. Erect insulation (specified in Division 07 Section "Thermal Insulation") vertically and hold in place with Z-furring members spaced [24 inches (610 mm)] [600 mm] o.c.

2. Except at exterior corners, securely attach narrow flanges of furring members to wall with concrete stub nails, screws designed for masonry attachment, or powder-driven fasteners spaced 24 inches (600 mm) o.c.

3. At exterior corners, attach wide flange of furring members to wall with short flange extending beyond corner; on adjacent wall surface, screw-attach short flange of furring channel to web of attached channel.  At interior corners, space second member no more than 12 inches (300 mm) from corner and cut insulation to fit.

Paragraph below is based on recommendation in GA-216 for wood framing and ASTM C 840 for metal framing.

F. Installation Tolerance:  Install each framing member so fastening surfaces vary not more than 1/8 inch (3 mm) from the plane formed by faces of adjacent framing.

END OF SECTION 092216

NON-STRUCTURAL METAL FRAMING
092216 - 1

