Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
05/04 (R 05/06)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 095123 - ACOUSTICAL TILE CEILINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes acoustical tiles for ceilings and the following:

Adjust list below to suit Project.

1. Concealed suspension systems.

2. Direct attachment of tiles to substrates with adhesive.

3. Direct attachment of tiles to substrates with staples.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 09 Section "Acoustical Panel Ceilings" for ceilings consisting of mineral-base and glass-fiber-base acoustical panels and exposed suspension systems.

2. Division 09 Section "Acoustical Metal Pan Ceilings."

3. Division 09 Section "Linear Metal Ceilings."

4. Division 09 Section "Suspended Decorative Grids."

Delete paragraph below if cast-in-place attachment devices are not required for Project or if piercing hangar tabs are specified in Division 05 Section "Steel Decking" for floor deck.

C. Products furnished, but not installed under this Section, include anchors, clips, and other ceiling attachment devices to be cast in concrete at ceilings.

1.3 DEFINITIONS

Retain abbreviations that remain after this Section has been edited.

A. AC:  Articulation Class.

B. CAC:  Ceiling Attenuation Class.

C. LR:  Light-Reflectance coefficient.

D. NRC:  Noise Reduction Coefficient.

1.4 SUBMITTALS

A. Product Data:  For each type of product indicated.

Retain first paragraph and subparagraphs below if Drawings do not include detailed reflected ceiling plans or if Project involves unusual coordination requirements.

B. Coordination Drawings:  Reflected ceiling plans, drawn to scale, on which the following items are shown and coordinated with each other, based on input from installers of the items involved:

Edit five subparagraphs and associated subparagraph below to suit Project.

1. Ceiling suspension system members.

2. Method of attaching hangers to building structure.

Delete first subparagraph below if cast-in-place attachment devices are not required for Project.

a. Furnish layouts for cast-in-place anchors, clips, and other ceiling attachment devices whose installation is specified in other Sections.

3. Size and location of initial access modules for acoustical tile.

4. Ceiling-mounted items including lighting fixtures, diffusers, grilles, speakers, sprinklers, access panels, and special moldings.

5. Minimum Drawing Scale:  [1/4 inch = 1 foot (1:48)] [1/8 inch = 1 foot (1:96)] [1:50] [1:100] <Insert scale>.

C. Samples for Initial Selection:  For components with factory-applied color finishes.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each component indicated and for each exposed finish required, prepared on Samples of size indicated below.

1. Acoustical Tile:  Set of full-size Samples of each type, color, pattern, and texture.

2. Concealed Suspension System Members:  12-inch- (300-mm-) long Sample of each type.

3. Exposed Moldings and Trim:  Set of 12-inch- (300-mm-) long Samples of each type and color.

E. LEED Submittals:

Retain subparagraph and associated subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2; coordinate with requirements for materials in Part 2.

1. Product Data for Credit MR 4.1[ and MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives and sealants.

2. Product Data for Credit EQ 4.1:  For [adhesives] [and] [sealants], including printed statement of VOC content.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For testing agency.

Retain first paragraph below if Contractor is responsible for field quality-control testing.

G. Field quality-control test reports.

H. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each acoustical tile ceiling.

Insert specific model code organization in first paragraph below or revise if report must be from another source.  Option below may be required by the IBC.

I. Research/Evaluation Reports:  For acoustical tile ceiling and components[ and anchor and fastener type].

J. Maintenance Data:  For finishes to include in maintenance manuals.

1.5 QUALITY ASSURANCE

Retain first paragraph below if Contractor or manufacturer selects testing agency.

A. Acoustical Testing Agency Qualifications:  An independent testing laboratory, or an NVLAP-accredited laboratory, with the experience and capability to conduct the testing indicated.  NVLAP-accredited laboratories must document accreditation, based on a "Certificate of Accreditation" and a "Scope of Accreditation" listing the test methods specified.

B. Source Limitations:

1. Acoustical Ceiling Tile:  Obtain each type through one source from a single manufacturer.

2. Suspension System:  Obtain each type through one source from a single manufacturer.

Retain paragraph and subparagraphs above or first paragraph below.  Retain below if warranty requirements favor single-source ceiling systems or if ceiling units will fit only same manufacturer's suspension system.  Armstrong World Industries and USG Interiors offer both ceiling units and generic concealed suspension systems.

C. Source Limitations:  Obtain each type of acoustical ceiling tile and supporting suspension system through one source from a single manufacturer.

D. Fire-Test-Response Characteristics:  Provide acoustical tile ceilings that comply with the following requirements:

Delete subparagraph and associated subparagraphs below if no fire-resistance-rated assemblies are required.

1. Fire-Resistance Characteristics:  Where indicated, provide acoustical tile ceilings identical to those of assemblies tested for fire resistance per ASTM E 119 by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.

Revise first subparagraph below if only assemblies tested by one or more specifically named testing and inspecting agencies are acceptable.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

a. Fire-Resistance Ratings:  Indicated by design designations from [UL's "Fire Resistance Directory" or from the listings of another testing and inspecting agency] <Insert testing agency>.

b. Identify materials with appropriate markings of applicable testing and inspecting agency.

Retain one option in subparagraph below.  Class A systems have a flame-spread index not exceeding 25 and a smoke-developed index not exceeding 50; Class B systems have a flame-spread index not exceeding 75 on face side; and Class C systems have a flame-spread index not exceeding 200 on face side.  Most products available in the U.S. are Class A.

2. Surface-Burning Characteristics:  Provide acoustical tiles with the following surface-burning characteristics complying with ASTM E 1264 for Class [A] [B] [C] materials as determined by testing identical products per ASTM E 84:

Retain subparagraph below if retaining option for Class B or C in subparagraph above.  ASTM E 1264 does not specify a smoke-developed index for these two classes.  The IBC and NFPA 5000 set 450 as the maximum allowed smoke-developed index for finish materials of Classes A through C.  Verify value in subparagraph with authorities having jurisdiction.

a. Smoke-Developed Index:  450 or less.

E. Seismic Standard:  Provide acoustical tile ceilings designed and installed to withstand the effects of earthquake motions according to the following:

Verify requirements of authorities having jurisdiction as to which subparagraphs below to reference if any.

1. Standard for Ceiling Suspension Systems Requiring Seismic Restraint:  Comply with ASTM E 580.

2. CISCA's Recommendations for Acoustical Ceilings:  Comply with CISCA's "Recommendations for Direct-Hung Acoustical Tile and Lay-in Panel Ceilings--Seismic Zones 0-2."

3. CISCA's Guidelines for Systems Requiring Seismic Restraint:  Comply with CISCA's "Guidelines for Seismic Restraint of Direct-Hung Suspended Ceiling Assemblies--Seismic Zones 3 & 4."

4. UBC Standard 25-2, "Metal Suspension Systems for Acoustical Tile and for Lay-in Panel Ceilings."

5. ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 9, "Earthquake Loads."

6. <Insert requirement of authorities having jurisdiction.>

Delete paragraph and subparagraph below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

F. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

1. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

G. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Deliver acoustical tiles, suspension system components, and accessories to Project site in original, unopened packages and store them in a fully enclosed, conditioned space where they will be protected against damage from moisture, humidity, temperature extremes, direct sunlight, surface contamination, and other causes.

B. Before installing acoustical tiles, permit them to reach room temperature and a stabilized moisture content.

C. Handle acoustical tiles carefully to avoid chipping edges or damaging units in any way.

1.7 PROJECT CONDITIONS

Retain this Article to prevent voiding manufacturer's warranty.  Limitations in paragraph and subparagraph below are also necessary for best results in many locations.  If construction scheduling or other conditions conflict with requirements below, consider products, such as "Humiguard" by Armstrong, "Ultra 90+" by BPB USA, and "ClimaPlus" by USG, that can be installed under less-than-ideal conditions without voiding warranty.  Revise below if humidity-resistant products do not need stringent environmental limitations.  See Evaluations and manufacturers' product data and warranties.

A. Environmental Limitations:  Do not install acoustical tile ceilings until spaces are enclosed and weatherproof, wet work in spaces is complete and dry, work above ceilings is complete, and ambient temperature and humidity conditions are maintained at the levels indicated for Project when occupied for its intended use.

Retain subparagraph below to comply with CISCA's recommendations for cleaning duct system and protecting ceiling units in pressurized plenums from damage and soiling caused by blowing dirt and dust that may be present when duct system is first operated.

1. Pressurized Plenums:  Operate ventilation system for not less than 48 hours before beginning acoustical tile ceiling installation.

1.8 COORDINATION

A. Coordinate layout and installation of acoustical tiles and suspension system with other construction that penetrates ceilings or is supported by them, including light fixtures, HVAC equipment, fire-suppression system, and partition assemblies.

1.9 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Revise subparagraphs below to suit Project.  If preferred, replace percentage with a specific number of tiles and pieces of each suspension component and their lengths.

1. Acoustical Ceiling Units:  Full-size tiles equal to [2.0] <Insert number> percent of quantity installed.

2. Suspension System Components:  Quantity of each concealed grid and exposed component equal to [2.0] <Insert number> percent of quantity installed.

PART 2 -  PRODUCTS

If more than one acoustical ceiling is required, give each set of tile and suspension systems a ceiling designation, such as "ATC-1" for the first set and "ATC-2" for the second, and create an additional set of requirements and products for each variation.

If one component, such as the suspension system, is paired with more than one tile type, add a second ceiling designation to the article title describing the suspension system and coordinate with each tile type.

2.1 ACOUSTICAL TILES, GENERAL

Retain "Acoustical Tiles for Acoustical Tile Ceiling" Article along with this Article.

Retain first paragraph below to specify recycled content if required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  Recycled content of tiles varies; consult manufacturers before inserting requirement.  An alternative method of meeting LEED Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor option and responsibility for determining how LEED Credit MR 4.1 and MR 4.2 requirement will be met.

A. Recycled Content:  Provide acoustical tiles with recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content constitutes a minimum of <Insert number> percent by weight.

B. Acoustical Tile Standard:  Provide manufacturer's standard tiles of configuration indicated that comply with ASTM E 1264 classifications as designated by types, patterns, acoustical ratings, and light reflectances, unless otherwise indicated.

Subparagraph below represents standard mounting referenced in ASTM E 1264.  Revise if testing units with another mounting method is required for Project.

1. Mounting Method for Measuring NRC:  Type E-400; plenum mounting in which face of test specimen is 15-3/4 inches (400 mm) away from test surface per ASTM E 795.

C. Acoustical Tile Colors and Patterns:  Match appearance characteristics indicated for each product type.

Retain subparagraph below only if patterns are exclusively specified by using pattern designations in ASTM E 1264.

1. Where appearance characteristics of acoustical tiles are indicated by referencing pattern designations in ASTM E 1264 and not manufacturers' proprietary product designations, provide products selected by Architect from each manufacturer's full range that comply with requirements indicated for type, pattern, color, light reflectance, acoustical performance, edge detail, and size.

D. Broad Spectrum Antimicrobial Fungicide and Bactericide Treatment:  Provide acoustical tiles treated with manufacturer's standard antimicrobial formulation that inhibits fungus, mold, mildew, and gram-positive and gram-negative bacteria and showing no mold, mildew, or bacterial growth when tested according to ASTM D 3273 and evaluated according to ASTM D 3274 or ASTM G 21.

Treatment in paragraph above is both a fungicide and antimicrobial and is available from manufacturers, each with their own licensed formulation.  Treatment in paragraph below is to inhibit mold and mildew and is available from Armstrong.  If retaining above or below, coordinate with tile product characteristics in subsequent Part 2 article.  Verify extent of application and, if a specific fungal or bacterial agent is a concern, the performance of these coatings with manufacturers.  Delete if not needed or if treatment is not available for product selected.  Retaining below risks a proprietary specification.

E. Antimicrobial Fungicide Treatment:  Provide acoustical tiles with face and back surfaces coated with antimicrobial treatment consisting of manufacturer's standard formulation with fungicide added to inhibit growth of mold and mildew and showing no mold or mildew growth when tested according to ASTM D 3273 and evaluated according to ASTM D 3274 or ASTM G 21.

Insert designation in article title below to indicate the ceiling that acoustical tiles are intended for.  Use same designation for both acoustical tiles in Article below and the suspension system in "Metal Suspension System for Acoustical Tile Ceiling" Article that together make up the ceiling.  Use these designations on Drawings to show where each ceiling is required.  Copy this Article for each ceiling and each acoustical tile required and re-edit to suit Project.

2.2 ACOUSTICAL TILES FOR ACOUSTICAL TILE CEILING <Insert drawing designation>

Retain "Acoustical Tiles, General" Article with this Article.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs below.  Retain list of manufacturers with one of first two paragraphs; insert list of manufacturers if retaining third paragraph.  See Division 01 Section "Product Requirements."

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

B. Products:  Subject to compliance with requirements, provide one of the following:

1. Armstrong World Industries, Inc.; <Insert product name or designation>.

2. BPB USA; <Insert product name or designation>.

3. USG Interiors, Inc.; <Insert product name or designation>.

4. <Insert manufacturer's name; product name or designation.>

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. <Insert, in separate subparagraphs, manufacturer's name.>

Do not assume that every combination of fire-resistance rating, classification, pattern, color, light reflectance, acoustical rating, edge detail, thickness, and size listed under each product description is available.  Before selecting options below to insert salient characteristics, verify availability with manufacturers' product data.

Retain option in first paragraph below along with permitted fire-resistance-rated suspension system if fire-rated assembly is required for Project.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

D. Classification:  Provide[ fire-resistance-rated] tiles complying with ASTM E 1264 for type, form, and pattern as follows:

1. Type III, mineral base with painted finish; Form [1, nodular] [2, water felted] [4, cast or molded].

Retain subparagraph above or below.

2. Type and Form:  <Insert type and form.>

Select or insert at least one pattern designation from options in subparagraph below; use more than one for combination patterns.

3. Pattern:  [C (perforated, small holes)] [CD (perforated, small holes and fissured)] [CE (perforated, small holes and lightly textured)] [D (fissured)] [E (lightly textured)] [F (heavily textured)] [G (smooth)] [I (embossed)] [J (embossed-in-register)] [As indicated by manufacturer's designation] <Insert pattern>.

E. Color:  [White] [As selected from manufacturer's full range] [Match Architect's sample] [As indicated by manufacturer's designation] [As indicated on Drawings] [As indicated in a schedule] <Insert color>.

F. LR:  Not less than [0.65] [0.70] [0.75] [0.80] <Insert LR>.

G. NRC:  Not less than [0.50] [0.55] [0.60] [0.65] [0.70] <Insert NRC>.

H. CAC:  Not less than [20] [25] [30] [35] [40] <Insert CAC>.

I. AC:  Not less than [170] [180] [190] [200] [210] <Insert AC>.

J. Edge/Joint Detail:  [Square, kerfed and rabbeted, or tongue and grooved, or butt] [Beveled, kerfed and rabbeted, or tongue and grooved, or butt] [Beveled, kerfed and rabbeted long edges and square, butt on short edges] <Insert manufacturer's special proprietary edge detail>.

K. Thickness:  [5/8 inch (15 mm)] [3/4 inch (19 mm)] [As indicated on Drawings] [As indicated in a schedule] <Insert thickness>.

L. Modular Size:  [12 by 12 inches (305 by 305 mm)] [300 by 300 mm] [As indicated on Drawings] [As indicated in a schedule] <Insert size>.

Retaining paragraph below risks a proprietary specification.  Verify availability of option for antimicrobial treatment selected.

M. Antimicrobial Treatment:  [Broad spectrum fungicide and bactericide] [Fungicide] based.

2.3 METAL SUSPENSION SYSTEMS, GENERAL

Retain this Article with "Metal Suspension System for Acoustical Tile Ceiling" Article.

Retain first paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that steel sheet is made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

A. Recycled Content:  Provide products made from steel sheet with average recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

B. Metal Suspension System Standard:  Provide manufacturer's standard metal suspension systems of types, structural classifications, and finishes indicated that comply with applicable requirements in ASTM C 635.

C. Finishes and Colors, General:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.  Provide manufacturer's standard factory-applied finish for type of system indicated.

D. Attachment Devices:  Size for five times the design load indicated in ASTM C 635, Table 1, "Direct Hung," unless otherwise indicated.  Comply with seismic design requirements.

Subparagraph below does not apply to power-actuated fasteners; delete if no anchorage to concrete is required or if power-actuated fasteners are acceptable.  Verify safety factor with Project's structural engineer.  Revise testing methods below if required by authorities having jurisdiction.

1. Anchors in Concrete:  Anchors of type and material indicated below, with holes or loops for attaching hangers of type indicated and with capability to sustain, without failure, a load equal to [five] <Insert safety factor> times that imposed by ceiling construction, as determined by testing per ASTM E 488 or ASTM E 1512 as applicable, conducted by a qualified testing and inspecting agency.

Select type from three options in subparagraph below.  Verify with Project's structural engineer.

a. Type:  [Cast-in-place] [Postinstalled expansion] [Postinstalled bonded] anchors.

Retain one of two subparagraphs below or, if both are required, indicate by inserting location of each on Drawings.  Zinc plating of mild class indicated protects against corrosion from an indoor atmosphere with rare condensation and subject to minimum wear or abrasion; revise thickness to suit more corrosive conditions or use stainless steel or insert requirements for nickel-copper alloy, depending on conditions.  If postinstalled expansion anchors are used to attach nickel-copper-alloy wire hangers and braces, consider retaining nickel-copper anchors after verifying availability with manufacturers.

b. Corrosion Protection:  Carbon-steel components zinc plated to comply with ASTM B 633, Class Fe/Zn 5 (0.005 mm) for Class SC 1 service condition.

c. Corrosion Protection:  Stainless-steel components complying with ASTM F 593 and ASTM F 594, Group 1 Alloy 304 or 316 for bolts; Alloy 304 or 316 for anchors.

Delete subparagraph below if power-actuated fasteners are not allowed.  Verify safety factor with Project's structural engineer.

2. Power-Actuated Fasteners in Concrete:  Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with clips or other accessory devices for attaching hangers of type indicated, and with capability to sustain, without failure, a load equal to [10] <Insert safety factor> times that imposed by ceiling construction, as determined by testing per ASTM E 1190, conducted by a qualified testing and inspecting agency.

E. Wire Hangers, Braces, and Ties:  Provide wires complying with the following requirements:

1. Zinc-Coated, Carbon-Steel Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper.

Retain second option in subparagraph below if required by authorities having jurisdiction or if desired for extra security and quality (including corrosion allowance).  Because large sizes are difficult to work with, their use could result in poor leveling tolerance.

2. Size:  Select wire diameter so its stress at 3 times hanger design load (ASTM C 635, Table 1, "Direct Hung") will be less than yield stress of wire, but provide not less than [0.106-inch- (2.69-mm-)] [0.135-inch- (3.5-mm-)] <Insert dimension> diameter wire.

F. [Hanger Rods] [Flat Hangers]:  Mild steel, zinc coated or protected with rust-inhibitive paint.

Delete paragraph above and first paragraph below if not required.  Insert sizes here or show on Drawings.

G. Angle Hangers:  Angles with legs not less than 7/8 inch (22 mm) wide; formed with 0.04-inch- (1-mm-) thick, galvanized steel sheet complying with ASTM A 653/A 653M, G90 (Z275) coating designation; with bolted connections and 5/16-inch- (8-mm-) diameter bolts.

H. Seismic Struts:  Manufacturer's standard compression struts designed to accommodate lateral forces.

Retain paragraph above and below if required.  Coordinate with manufacturer's requirements and authorities having jurisdiction.

I. Seismic Clips:  Manufacturer's standard seismic clips designed and spaced to secure acoustical tiles in-place.

Insert drawing designation in article title below if more than one acoustical tile ceiling system is required.  Use same designation for both suspension system in the Article below and the acoustical tiles in "Acoustical Tiles for Acoustical Tile Ceiling" Article that together make up the ceiling.  Copy and re-edit this Article for each ceiling and each suspension system required for Project.

2.4 METAL SUSPENSION SYSTEM FOR ACOUSTICAL TILE CEILING <Insert drawing designation>

Retain this Article along with "Metal Suspension Systems, General" Article.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs below.  Retain list of manufacturers with one of first two paragraphs; insert list of manufacturers if retaining third paragraph.  See Division 01 Section "Product Requirements."

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

B. Products:  Subject to compliance with requirements, provide one of the following:

1. Armstrong World Industries, Inc.; <Insert product name or designation>.

2. USG Interiors, Inc.; <Insert product name or designation>.

3. <Insert manufacturer's name; product name or designation.>

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. <Insert, in separate subparagraphs, manufacturer's name.>

Retain one of two paragraphs and associated subparagraphs below.  Paragraphs are examples of suspension systems for acoustical tile ceilings; retain or revise to suit Project.  "Concealed Z" by Armstrong is the only indirect-hung system currently available.

Before selecting options below to insert salient characteristics, verify availability with manufacturers' product data.  Coordinate edge and joint details of acoustical tiles with main- and cross-runner configurations of suspension systems under consideration, to ensure compatibility between tiles and system members.

Retain option in paragraph below along with permitted fire-resistance-rated acoustical tile if fire-rated assembly is required for Project.

D. Direct-Hung, Double-Web[, Fire-Rated] Suspension System:  Main and cross runners roll formed from and capped with cold-rolled steel sheet, prepainted, electrolytically zinc coated, or hot-dip galvanized according to ASTM A 653/A 653M, G30 (Z90) coating designation.

1. Structural Classification:  [Intermediate] [Heavy]-duty system.

2. Access:  [Upward] [Downward] and [end pivoted,] [side pivoted,] [end or side pivoted,] with initial access openings of size indicated below and located throughout ceiling within each module formed by main and cross runners, with additional access available by progressively removing remaining acoustical tiles.

a. Initial Access Opening:  In each module, <Insert option>.

Retain option in paragraph below along with permitted fire-resistance-rated acoustical tile if fire-rated assembly is required for Project.

E. Indirect-Hung[, Fire-Rated] Suspension System:  Main and cross runners roll formed from cold-rolled steel sheet, prepainted, electrolytically zinc coated, or hot-dip galvanized according to ASTM A 653/A 653M, G30 (Z90) coating designation.

1. Structural Classification:  [Intermediate] [Heavy]-duty system.

2. Carrying Channels:  Cold-rolled steel, 0.059850-inch- (1.52-mm-) minimum base (uncoated) metal thickness, not less than 3/16-inch- (4.7-mm-) wide flanges by 1-1/2-inch- (38-mm-) deep steel channels, 475 lb/1000 feet (0.707 kg/m), [with rust-inhibitive paint finish] [hot-dip galvanized according to ASTM A 653/A 653M, G60 (Z180) coating designation].

3. Access:  Where access is indicated, provide special cross runners or split splines to allow for removal of acoustical units in indicated access areas.  Identify access tile with manufacturer's standard unobtrusive markers for each access unit.

2.5 METAL EDGE MOLDINGS AND TRIM

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs below.  Retain list of manufacturers with one of first two paragraphs; insert list of manufacturers if retaining third paragraph.  See Division 01 Section "Product Requirements."

If more than one type of metal edge molding and trim is required to suit Project, indicate on Drawings or in a schedule.

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

B. Products:  Subject to compliance with requirements, provide one of the following:

1. Armstrong World Industries, Inc.; <Insert product name or designation>.

2. BPB USA; <Insert product name or designation>.

3. Chicago Metallic Corporation; <Insert product name or designation>.

4. Fry Reglet Corporation; <Insert product name or designation>.

5. Gordon, Inc.; <Insert product name or designation>.

6. USG Interiors, Inc.; <Insert product name or designation>.

7. <Insert manufacturer's name; product name or designation.>

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. <Insert, in separate subparagraphs, manufacturer's name.>

D. Roll-Formed, Sheet-Metal Edge Moldings and Trim:  Type and profile indicated or, if not indicated, manufacturer's standard moldings for edges and penetrations that comply with seismic design requirements; formed from sheet metal of same material, finish, and color as that used for exposed flanges of suspension system runners.

Revise subparagraphs below to suit Project and products selected; show profiles on Drawings.

1. Provide manufacturer's standard edge moldings that fit acoustical tile edge details and suspension systems indicated and that match width and configuration of exposed runners, unless otherwise indicated.

2. For circular penetrations of ceiling, provide edge moldings fabricated to diameter required to fit penetration exactly.

E. Extruded-Aluminum Edge Moldings and Trim:  Where indicated, provide manufacturer's extruded-aluminum edge moldings and trim of profile indicated or referenced by manufacturer's designations, including splice plates, corner pieces, and attachment and other clips, complying with seismic design requirements and the following:

Revise subparagraphs below to suit Project and products selected; show profiles on Drawings.

1. Aluminum Alloy:  Alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with not less than the strength and durability properties of aluminum extrusions complying with ASTM B 221 (ASTM B 221M) for Alloy and Temper 6063-T5.

2. Finish designations prefixed by AA comply with system established by the Aluminum Association for designating aluminum finishes.

Retain finish requirements in one of first four subparagraphs and associated subparagraph below, or delete below and insert others.

3. Conversion-Coated Finish:  AA-M12C42 (Chemical Finish:  cleaned with inhibited chemicals; acid-chromate-fluoride-phosphate conversion coating).

4. Conversion-Coated and Factory-Primed Finish:  AA-M12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; acid-chromate-fluoride-phosphate conversion coating; organic coating as follows):

Specify field-painting requirements in Division 09 Sections.  Verify compatibility of factory finishes with field-applied coats.

a. Manufacturer's standard factory-applied prime-coat finish ready for field painting.

5. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

6. Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; organic coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

a. Organic Coating:  Thermosetting, enamel primer/topcoat system with a minimum dry film thickness of 0.8 to 1.2 mils (0.02 to 0.03 mm).

7. <Insert finish.>

2.6 ACOUSTICAL SEALANT

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs below.  Retain list of manufacturers with one of first two paragraphs; insert list of manufacturers if retaining third paragraph.  See Division 01 Section "Product Requirements."

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

B. Products:  Subject to compliance with requirements, provide one of the following:

1. Acoustical Sealant for Exposed and Concealed Joints:

a. Pecora Corporation; AC-20 FTR Acoustical and Insulation Sealant.

b. USG Corporation; SHEETROCK Acoustical Sealant.

c. <Insert manufacturer's name; product name or designation.>

2. Acoustical Sealant for Concealed Joints:

a. OSI Sealants, Inc.; Pro-Series SC-175 Rubber Base Sound Sealant.

b. Pecora Corporation; BA-98.

c. Tremco, Inc.; Tremco Acoustical Sealant.

d. <Insert manufacturer's name; product name or designation.>

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. <Insert, in separate subparagraphs, manufacturer's name.>

Retain option in two paragraphs below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.  If retaining option, verify that manufacturers' products selected can comply with VOC limit.

D. Acoustical Sealant for Exposed and Concealed Joints:  Manufacturer's standard nonsag, paintable, nonstaining latex sealant[, with a VOC content of 250 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24),] complying with ASTM C 834 and effective in reducing airborne sound transmission through perimeter joints and openings in building construction as demonstrated by testing representative assemblies according to ASTM E 90.

E. Acoustical Sealant for Concealed Joints:  Manufacturer's standard nondrying, nonhardening, nonskinning, nonstaining, gunnable, synthetic-rubber sealant[, with a VOC content of 250 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24),] recommended for sealing interior concealed joints to reduce airborne sound transmission.

2.7 MISCELLANEOUS MATERIALS

Delete paragraph below if no glue-up tile.

A. Tile Adhesive:  Type recommended by tile manufacturer, bearing UL label for Class 0-25 flame spread.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for adhesives for porous materials other than wood.

1. Use adhesives that have a VOC content of 50 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete paragraph below if no stapled tile.

B. Staples:  5/16-inch- (8-mm-) long, divergent-point staples.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, including structural framing and substrates to which acoustical tile ceilings attach or abut, with Installer present, for compliance with requirements specified in this and other Sections that affect ceiling installation and anchorage and with requirements for installation tolerances and other conditions affecting performance of acoustical tile ceilings.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

Delete first paragraph below if no glue-up tile.

A. Testing Substrates:  Before installing adhesively applied tiles on wet-placed substrates such as cast-in-place concrete or plaster, test and verify that moisture level is below tile manufacturer's recommended limits.

B. Measure each ceiling area and establish layout of acoustical tiles to balance border widths at opposite edges of each ceiling.  Avoid using less-than-half-width tiles at borders, and comply with layout shown on reflected ceiling plans.

3.3 INSTALLATION, SUSPENDED ACOUSTICAL TILE CEILINGS

A. General:  Install acoustical tile ceilings to comply with [ASTM C 636] [UBC Standard 25-2] and seismic design requirements indicated, per manufacturer's written instructions and CISCA's "Ceiling Systems Handbook."

Delete subparagraph below if no fire-rated assembly.

1. Fire-Rated Assembly:  Install fire-rated ceiling systems according to tested fire-rated design.

B. Suspend ceiling hangers from building's structural members and as follows:

1. Install hangers plumb and free from contact with insulation or other objects within ceiling plenum that are not part of supporting structure or of ceiling suspension system.

2. Splay hangers only where required to miss obstructions; offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

Delete subparagraph above or first subparagraph below.  Retain below only if fire-resistance-rated ceilings are selected.

3. Splay hangers only where required[ and, if permitted with fire-resistance-rated ceilings,] to miss obstructions; offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

4. Where width of ducts and other construction within ceiling plenum produces hanger spacings that interfere with location of hangers at spacings required to support standard suspension system members, install supplemental suspension members and hangers in form of trapezes or equivalent devices.

5. Secure wire hangers to ceiling suspension members and to supports above with a minimum of three tight turns.  Connect hangers directly either to structures or to inserts, eye screws, or other devices that are secure and appropriate for substrate and that will not deteriorate or otherwise fail due to age, corrosion, or elevated temperatures.

Delete subparagraph above or below unless both types of hangers are required and their locations are indicated on Drawings or by inserts.

6. Secure flat, angle, channel, and rod hangers to structure, including intermediate framing members, by attaching to inserts, eye screws, or other devices that are secure and appropriate for both structure to which hangers are attached and type of hanger involved.  Install hangers in a manner that will not cause them to deteriorate or fail due to age, corrosion, or elevated temperatures.

Delete subparagraphs below that refer to inapplicable construction types.  Revise first subparagraph if power-actuated fasteners are not allowed.

7. Do not support ceilings directly from permanent metal forms or floor deck.  Fasten hangers to cast-in-place hanger inserts, postinstalled mechanical or adhesive anchors, or power-actuated fasteners that extend through forms into concrete.

8. When steel framing does not permit installation of hanger wires at spacing required, install carrying channels or other supplemental support for attachment of hanger wires.

9. Do not attach hangers to steel deck tabs.

Revise first subparagraph below if structural members are spaced too far apart for hangers and another method is required.  For alternatives that may need to be detailed on Drawings, consult structural engineer and refer to CISCA's guidelines.  See SDI Publication No. 29 and the Evaluations in Division 05 Section "Steel Decking."

10. Do not attach hangers to steel roof deck.  Attach hangers to structural members.

11. Space hangers not more than 48 inches (1200 mm) o.c. along each member supported directly from hangers, unless otherwise indicated; provide hangers not more than 8 inches (200 mm) from ends of each member.

12. Size supplemental suspension members and hangers to support ceiling loads within performance limits established by referenced standards and publications.

First paragraph below is based on requirements by the Division of the State Architect in California, for ceilings in hospitals and schools.  Revise or delete if not required.

C. Secure bracing wires to ceiling suspension members and to supports with a minimum of four tight turns.  Suspend bracing from building's structural members as required for hangers, without attaching to permanent metal forms, steel deck, or steel deck tabs.  Fasten bracing wires into concrete with cast-in-place or postinstalled anchors.

D. Install edge moldings and trim of type indicated at perimeter of acoustical tile ceiling area and where necessary to conceal edges of acoustical tiles.

Retain subparagraphs below to eliminate air movement and light and sound leaks at edges of ceiling.

1. Apply acoustical sealant in a continuous ribbon concealed on back of vertical legs of moldings before they are installed.

2. Screw attach moldings to substrate at intervals not more than 16 inches (400 mm) o.c. and not more than 3 inches (75 mm) from ends, leveling with ceiling suspension system to a tolerance of 1/8 inch in 12 feet (3.2 mm in 3.6 m).  Miter corners accurately and connect securely.

Delete subparagraph below or qualify if exposed fasteners are allowed.

3. Do not use exposed fasteners, including pop rivets, on moldings and trim.

Delete paragraph below if no suspended tile.

E. Install suspension system runners so they are square and securely interlocked with one another.  Remove and replace dented, bent, or kinked members.

Delete first paragraph and subparagraphs below if no directionally patterned tiles are specified.

F. Arrange directionally patterned acoustical tiles as follows:

Retain one of three subparagraphs below.

1. As indicated on reflected ceiling plans.

2. Install tiles with pattern running in one direction parallel to [long] [short] axis of space.

3. Install tiles in a basket-weave pattern.

G. Install acoustical tiles in coordination with suspension system and exposed moldings and trim.  Place splines or suspension system flanges into kerfed edges so tile-to-tile joints are closed by double lap of material.

1. Fit adjoining tile to form flush, tight joints.  Scribe and cut tile for accurate fit at borders and around penetrations through tile.

2. Hold tile field in compression by inserting leaf-type, spring-steel spacers between tile and moldings, spaced 12 inches (305 mm) o.c.

Delete subparagraph below if no fire-resistance-rated assemblies.

3. Protect lighting fixtures and air ducts to comply with requirements indicated for fire-resistance-rated assembly.

3.4 INSTALLATION, DIRECTLY ATTACHED ACOUSTICAL TILE CEILINGS

Delete this Article if no cemented or stapled, directly attached systems.

Delete paragraph and subparagraphs below if no glue-up tile.

A. Adhesive Installation:  Install acoustical tile by bonding to substrate, using amount of adhesive and procedure recommended in writing by tile manufacturer and as follows:

1. Remove loose dust from backs of tiles by brushing and prime them with a thin coat of adhesive.

2. Install splines in joints between tiles; maintain level of bottom surface of tiles to a tolerance of 1/8 inch in 12 feet (3 mm in 3.6 m) and not exceeding 1/4 inch (6.35 mm) cumulatively.

3. Maintain tight butt joints, aligned in both directions and coordinated with ceiling fixtures.

Delete first paragraph and subparagraphs below if no stapled tile.

B. Stapled Installation:  Fasten acoustical tile to substrate using a minimum of two staples per tile that are installed in flanges of tile and as follows:

1. Form double-lapped joint between tiles by securely pressing tile tongues into corresponding tile grooves.

2. Maintain level of bottom surface of tiles to a tolerance of 1/8 inch in 12 feet (3 mm in 3.6 m) and not exceeding 1/4 inch (6.35 mm) cumulatively.  Shim tile or correct substrate as required to maintain tolerance.

3. Maintain tight butt joints, aligned in both directions and coordinated with ceiling fixtures.

C. Install edge moldings and trim of type indicated at perimeter of acoustical tile ceiling area and where necessary to conceal edges of acoustical units.

D. Arrange directionally patterned acoustical tiles as follows:

Retain one of four subparagraphs below.

1. As indicated on reflected ceiling plans.

2. Install tiles with pattern running in one direction parallel to long axis of space.

3. Install tiles with pattern running in one direction parallel to short axis of space.

4. Install tiles in a basket-weave pattern.

3.5 FIELD QUALITY CONTROL

Delete this Article if not applicable.  ASCE 7 requires special inspections for suspended ceiling systems in Seismic Design Categories D, E, and F; verify requirements of applicable building code.  Testing requirements are examples only and apply only to ceilings with hangers attached to concrete by power-actuated fasteners and postinstalled anchors.

Retain first option in paragraph below if Owner engages special inspector.  If authorities having jurisdiction permit Contractor to engage special inspector, retain second option and retain option for submitting special inspections reports in Part 1 "Submittals" Article.

A. Special Inspections:  [Owner will engage] [Engage] a qualified special inspector to perform the following special inspections and prepare reports:

1. Suspended ceiling system.

2. Hangers, anchors and fasteners.

3. <Insert special inspections.>

Retain first option in first paragraph below if Owner engages testing agency.  If authorities having jurisdiction permit Contractor to engage testing agency, retain second option and retain option for submitting special inspections reports in Part 1 "Submittals" Article.

B. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections and prepare test reports.

C. Tests and Inspections:  Testing and inspecting of completed installations of acoustical tile ceiling hangers and anchors and fasteners shall take place in successive stages, in areas of extent and using methods as follows.  Do not proceed with installations of acoustical tile ceiling hangers for the next area until test results for previously completed installations of acoustical tile ceiling hangers show compliance with requirements.

1. Extent of Each Test Area:  When installation of ceiling suspension systems on each floor has reached 20 percent completion but no tiles have been installed.

Verify loadings in first subparagraph below with structural engineer based on ceiling loadings and seismic zone where Project is located.  CISCA's "Guidelines for Seismic Restraint of Direct-Hung Suspended Ceiling Assemblies--Seismic Zones 3 & 4" requires hanger wire attachment devices to be "capable of supporting 100 lbf (445 N)."

a. Within each test area, testing agency will select 1 of every 10 power-actuated fasteners and postinstalled anchors used to attach hangers to concrete and will test them for 200 lbf (890 N) of tension; it will also select one of every 2 postinstalled anchors used to attach bracing wires to concrete and will test them for 440 lbf (1957 N) of tension.

b. When testing discovers fasteners and anchors that do not comply with requirements, testing agency will test those anchors not previously tested until 20 pass consecutively and then will resume initial testing frequency.

D. Remove and replace acoustical tile ceiling hangers and anchors and fasteners that do not pass tests and inspections and retest as specified above.

Insert other field quality-control procedures required for Project.

3.6 CLEANING

A. Clean exposed surfaces of acoustical tile ceilings, including trim and edge moldings.  Comply with manufacturer's written instructions for cleaning and touchup of minor finish damage.  Remove and replace tiles and other ceiling components that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

END OF SECTION 095123

ACOUSTICAL TILE CEILINGS
095123 - 1

