Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
11/04 (R 05/06)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 095133 - ACOUSTICAL METAL PAN CEILINGS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes [clip-in] [lay-in] [snap-in] [torsion-spring] <Insert type> acoustical metal pans and the following suspension system for ceilings:

1. Direct hung, exposed [tee] [slot-bolt] <Insert type> grid.

Retain subparagraph above for clip-in, lay-in, and torsion-spring metal pans; retain subparagraph below for snap-in metal pans.

2. [Direct] [Indirect]-hung, concealed grid designed to support metal pans.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 09 Section "Acoustical Panel Ceilings" for ceilings consisting of mineral-base and glass-fiber-base acoustical panels and exposed suspension systems.

2. Division 09 Section "Acoustical Tile Ceilings" for ceilings consisting of mineral-base acoustical tiles used with concealed suspension systems, stapling, or adhesive bonding.

3. Division 09 Section "Linear Metal Ceilings."

4. Division 09 Section "Suspended Decorative Grids."

Retain subparagraph below if ceiling manufacturer's units are not added to this Section.

5. Divisions 21, 23, and 26 Sections for light fixtures, sprinklers, and air-distribution components.

1.3 DEFINITIONS

Retain definitions remaining after this Section has been edited.

A. CAC:  Ceiling Attenuation Class.

B. LR:  Light Reflectance coefficient.

C. NRC:  Noise Reduction Coefficient.

1.4 PERFORMANCE REQUIREMENTS

Delete this article if no exterior ceiling systems.

Some metal pans and suspension systems, such as acoustical snap-in metal pan ceilings, may be suitable for exterior use and for unconditioned interior spaces and interior spaces with severe or extreme conditions.  Verify the suitability of exterior ceiling installations with manufacturers, perform engineering analysis or delegate the responsibility to a qualified professional engineer, and carefully evaluate materials and coatings before retaining this article.  See the Evaluations.

A. Structural Performance:  Exterior snap-in metal pan ceilings shall withstand exterior exposure and the effects of gravity loads and the following loads and stresses without showing permanent deformation of ceiling system components including pans and suspension system; noise or metal fatigue caused by vibration, deflection, and displacement of ceiling units; or permanent damage to fasteners and anchors.

Insert specific loads determined by Project's structural engineer in subparagraph below or indicate on Drawings.  Model building codes and SEI/ASCE 7 set criteria for building components and claddings subject to wind loads.  Verify requirements of authorities having jurisdiction.

1. Wind Load:  Uniform pressure [of 20 lbf/sq. ft. (960 Pa)] [of 30 lbf/sq. ft. (1436 Pa)] [as indicated on Drawings] <Insert pressure>, acting inward or outward.

B. Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change (Range):  [100 deg F (55 deg C)] <Insert temperature>.

1.5 SUBMITTALS

First five paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

B. LEED Submittals:

Retain subparagraph and associated subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2; coordinate with requirements for materials in Part 2.

1. Product Data for Credit MR 4.1[ and MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for sealants.

2. Product Data for Credit EQ 4.1:  For sealants, including printed statement of VOC content.

C. Samples for Initial Selection:  For components with factory-applied color and other decorative finishes.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

D. Samples for Verification:  For each component indicated and for each exposed finish required, prepared on Samples of size indicated below:

Delete first option in first subparagraph below if pan sizes make requirement impractical.

1. Metal Pans:  Set of [full-size] [6-inch- (150-mm-) square] Samples of each type, finish, color, pattern, and texture.  Show pan edge profile.

2. Exposed Suspension System Members, Moldings and Trim:  Set of 12-inch- (300-mm-) long Samples of each type, finish, and color.

3. Sound Absorber:  Match size of Sample metal pan.

Retain first paragraph below if products are required to withstand specific design loads and other criteria and Architect either has delegated design responsibility to Contractor or wants to review structural data as another way to verify product's compliance with performance requirements.

E. Performance Data:  For installed products indicated to comply with design loads and other criteria, include structural analysis and other analytical data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Drawings do not include detailed reflected ceiling plans or if Project involves unusual coordination requirements.

F. Coordination Drawings:  Reflected ceiling plans, drawn to scale, on which the following items are shown and coordinated with each other, using input from Installers of the items involved:

Revise subparagraphs below to suit Project.

1. Ceiling suspension members.

2. Method of attaching hangers to building structure.

Delete first subparagraph below if cast-in-place attachment devices are not required for Project.

a. Furnish layouts for cast-in-place anchors, clips, and other ceiling attachment devices whose installation is specified in other Sections.

3. Ceiling-mounted items including lighting fixtures, diffusers, grilles, speakers, sprinklers, access panels, and special moldings.

4. Ceiling perimeter and penetrations through the ceiling; and trim and moldings.

5. Minimum Drawing Scale:  [1/4 inch = 1 foot (1:48)] [1/8 inch = 1 foot (1:96)] [1:50] [1:100] <Insert scale>.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For testing agency.

H. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each acoustical metal pan ceiling.

Retain option in first paragraph below if required by the International Building Code.

I. Evaluation Reports:  For each acoustical metal pan ceiling and components[ and anchor and fastener type].

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

J. Field quality-control reports.

K. Maintenance Data:  For finishes to include in maintenance manuals.

1.6 QUALITY ASSURANCE

Retain first paragraph below if Contractor or manufacturer selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.  Qualification requirements are in addition to those specified in Division 01 Section "Quality Requirements," which also includes the definition for "NRTL" (nationally recognized testing laboratory).

A. Acoustical Testing Agency Qualifications:  An independent testing laboratory or an NVLAP-accredited laboratory, with the experience and capability to conduct the testing indicated.  NVLAP-accredited laboratories must document accreditation, based on a "Certificate of Accreditation" and a "Scope of Accreditation" listing the test methods specified.

B. Source Limitations:

1. Acoustical Ceiling Pans:  Obtain each type from single source from single manufacturer.

2. Suspension Systems:  Obtain each type from single source from single manufacturer.

Retain paragraph above or first paragraph below.  Generally delete below unless warranty considerations are more favorable if below is retained or if ceiling units, such as snap-in metal pans, will fit only same manufacturer's suspension system.

C. Source Limitations for Acoustical Metal Pan Ceilings:  Obtain each combination of acoustical metal pans and exposed suspension systems from one source with resources to provide products of consistent quality in appearance, physical properties, and performance.

Unlike mineral composition units, acoustical metal pan units and ceilings are not tested per ASTM E 119, are not listed in UL's "Fire Resistance Directory," and do not carry UL classification marking.

Retain option in first paragraph below or insert another; comply with requirements of authorities having jurisdiction.  Class A systems have a flame-spread index not exceeding 25 and a smoke-developed index not exceeding 50; Class B systems have a flame-spread index not exceeding 75 on face side; and Class C systems have a flame-spread index not exceeding 200 on face side.  ASTM E 1264 specifies a smoke-developed index only for Class A.

D. Surface-Burning Characteristics:  Complying with ASTM E 1264 for [Class A] <Insert class> materials as determined by testing identical products according to ASTM E 84 by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.

E. Seismic Standard:  Provide acoustical metal pan ceilings designed and installed to withstand the effects of earthquake motions according to the following:

Verify requirements of authorities having jurisdiction as to which of first five subparagraphs below to reference if any.

1. Standard for Ceiling Suspension Systems Requiring Seismic Restraint:  Comply with ASTM E 580.

2. CISCA's Recommendations for Acoustical Ceilings:  Comply with CISCA's "Recommendations for Direct-Hung Acoustical Tile and Lay-in Panel Ceilings - Seismic Zones 0-2."

3. CISCA's Guidelines for Systems Requiring Seismic Restraint:  Comply with CISCA's "Guidelines for Seismic Restraint of Direct-Hung Suspended Ceiling Assemblies - Seismic Zones 3 & 4."

4. UBC Standard 25-2, "Metal Suspension Systems for Acoustical Tile and for Lay-in Panel Ceilings."

5. SEI/ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 9, "Earthquake Loads."

6. <Insert requirement of authorities having jurisdiction>.

F. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

1. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

G. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver acoustical metal pans, suspension system components, and accessories to Project site in original, unopened packages and store them in a fully enclosed, conditioned space where they will be protected against damage from moisture, humidity, temperature extremes, direct sunlight, surface contamination, and other causes.

B. Handle acoustical metal pans, suspension system components, and accessories carefully to avoid damaging units and finishes in any way.

1.8 PROJECT CONDITIONS

Retain this article to comply with manufacturer's written instructions.  Limitations in paragraph below are necessary for best results in many locations.

A. Environmental Limitations:  Do not install acoustical metal pan ceilings until spaces are enclosed and weathertight, wet work in spaces is complete and dry, work above ceilings is complete, and ambient temperature and humidity conditions are maintained at the levels indicated for Project when occupied for its intended use.

1.9 COORDINATION

A. Coordinate layout and installation of acoustical metal pans and suspension system with other construction that penetrates ceilings or is supported by them, including light fixtures, HVAC equipment, fire-suppression system, and partition assemblies.

1.10 EXTRA MATERIALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Revise subparagraphs below to suit Project.  If preferred, replace percentage with a specific number of metal pans and pieces of each suspension component and their lengths.

1. Acoustical Metal Pans:  Full-size units equal to [2] <Insert number> percent of quantity installed.

2. Suspension System Components:  Quantity of each grid and exposed molding and trim equal to [2] <Insert number> percent of quantity installed.

3. Hold-Down Clips:  [Equal to 2 percent of quantity installed] <Insert number>.

PART 2 -  PRODUCTS

2.1 ACOUSTICAL METAL CEILING PANS

Delete first paragraph below if ceiling pans are not specified by reference to ASTM E 1264 for purposes of specifying type, acoustical ratings, and light reflectance.

A. Acoustical Metal Pan Standard:  Provide manufacturer's standard acoustical metal pans of configuration indicated that comply with ASTM E 1264 classifications as designated by types, acoustical ratings, and light reflectances unless otherwise indicated.

Subparagraph below represents standard mounting referenced in ASTM E 1264.  Revise if testing units with another mounting method is required for Project.

1. Mounting Method for Measuring NRC:  Type E-400; plenum mounting in which face of test specimen is 15-3/4 inches (400 mm) away from test surface per ASTM E 795.

B. Sheet Metal Characteristics:  For metal components exposed to view in the completed Work, provide materials with smooth, flat surfaces without blemishes.  Do not use materials with exposed pitting, seam marks, roller marks, roughness, stains, or discolorations.

Select one or more of three subparagraphs below for applicable sheet metal material.

1. Aluminum Sheet:  Roll-formed aluminum sheet, complying with ASTM B 209 (ASTM B 209M); alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated.

2. Steel Sheet:  Commercial-quality, cold-rolled, carbon-steel sheet; stretcher leveled; with protective coating complying with ASTM C 635.

Retain first subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that steel sheet is made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

a. Recycled Content:  Provide products made from steel sheet with average recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

ASTM C 635 includes requirements for coatings and finishes for suspension system components.  USG Interiors no longer uses electrolytic zinc-coated steel.  Contact USG Interiors for information about its protective coating.

b. Painted Finishes:  Electrolytic zinc-coated steel complying with ASTM A 591/A 591M, 40Z (12G) coating, surface treatment as recommended by finish manufacturer for type of use and finish indicated.

Retain or revise subparagraph above for painted finishes or first subparagraph below for chemical/mechanical finishes.  See Table 3 in the Evaluations and verify availability of finishes with manufacturers.

c. Chemical/Mechanical Finishes:  Uncoated steel sheet complying with ASTM A 1008/A 1008M with luster or bright finish as required by finisher for applying electroplating or other metallic-finishing processes.

Stainless steel is available from most manufacturers as a custom, rather than a standard, product.  Some manufacturers offer only Type 430, which is a general-purpose ferritic stainless steel with less corrosion resistance than the 300-Series austenitic alloys.  See Evaluations.

3. Stainless-Steel Sheet:  Complying with ASTM A 240/A 240M, [Type 304] [Type 430] <Insert type>.

Retain first paragraph below for sound-absorbent fabric; retain second paragraph for pads to reduce noise within a closed space.  Coordinate with acoustical performance requirements if any.

C. Sound-Absorbent Fabric Layer:  Provide fabric layer, sized to fit concealed surface of pan, and consisting of black, nonwoven, nonflammable, sound-absorbent material with surface-burning characteristics for flame-spread index of 25 or less and smoke-developed index of 50 or less, as determined by testing per ASTM E 84.

Verify availability of sound-absorbent fabric with manufacturer.  Retain subparagraph below if standard with manufacturer.

1. Bond fabric layer to panels in the factory with manufacturer's standard nonflammable adhesive.

D. Sound-Absorbent Pads:  Provide width and length to completely fill concealed surface of pan, with surface-burning characteristics for flame-spread index of 25 or less and smoke-developed index of 50 or less, as determined by testing per ASTM E 84, and to comply with the following requirements:

Verify availability, material, thickness, density, and color of wrap and pad with manufacturer.

1. Plastic Sheet-Wrapped Mineral-Fiber Insulation:  Pads consisting of nonrigid, PVC plastic sheet encapsulating unfaced mineral-fiber insulation complying with ASTM C 553, Type I, II, or III, and as follows:

Retain first subparagraph below to specify recycled content if required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of meeting LEED Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor option and responsibility for determining how LEED Credit MR 4.1 and MR 4.2 requirement will be met.

a. Recycled Content:  Provide mineral fiber with recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content constitutes a minimum of <Insert number> percent by weight.

b. Mineral-Fiber Type and Thickness:  Glass fiber; [1 inch (25 mm)] [1-1/2 inches (38 mm)] [3 inches (76 mm)] <Insert thickness>.

Revise subparagraph above if mineral-wool fiber rather than glass fiber is required.  Coordinate thickness retained above and density retained in first subparagraph below with acoustical performance requirements if any.

c. Mineral-Fiber Density:  [3/4 lb/cu. ft. (12 kg/cu. m)] [1 lb/cu. ft. (16 kg/cu. m)] [1-1/2 lb/cu. ft. (24 kg/cu. m)] <Insert density>.

d. Plastic Sheet Thickness and Color:  Not less than 0.003 inch (0.076 mm); [clear] [flat black] [white].

Retain subparagraph above or first subparagraph below.  In a standard-height ceiling, clear or white plastic sheet is usually recommended for pans with perforations of 1/8 inch (3 mm) or less in diameter; black plastic sheet is usually recommended for pans with perforations exceeding 1/8 inch (3 mm) in diameter.  Verify with pan manufacturer for pattern selected.

e. Plastic Sheet Thickness and Color:  <Insert requirements>.

Verify availability of unwrapped pad material with manufacturer and verify suitability for indoor air and environmental quality of Project.

2. Unwrapped, Glass-Fiber Insulation:  Black coated, unfaced, complying with ASTM C 553, Type I, II, or III; not less than 1-lb/cu. ft. (16-kg/cu. m) density; treated to be nondusting; and as follows:

Retain first subparagraph below to specify recycled content if required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of meeting LEED Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor option and responsibility for determining how LEED Credit MR 4.1 and MR 4.2 requirement will be met.

a. Recycled Content:  Provide insulation with recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content constitutes a minimum of <Insert number> percent by weight.

b. Thickness:  [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert thickness>.

3. Spacer Grids:  Provide manufacturer's standard [aluminum] [galvanized-steel] grid units that provide an air cushion between metal pans and insulation pads and that act to improve sound absorption.

Retain subparagraph below for improved acoustical privacy, such as where partitions are not extended to structure above.

4. Sound Attenuation Panels:  Provide manufacturer's standard [aluminum] [galvanized-steel] unperforated metal backing unit that acts as a sound-attenuating pan to reduce the travel of sound through ceiling plenum into adjoining rooms.

Retain or revise subparagraph below if secondary pad is different from primary pad; delete if not needed for Project.

a. Sound-Absorbent Pads:  Provide secondary sound-absorbent pads, [same as specified for primary pads] <Insert requirements>, for placement over sound attenuation pan to reduce plenum sound.

First three articles below are examples of acoustical metal pans for acoustical metal pan ceilings.

2.2 ALUMINUM PANS FOR ACOUSTICAL METAL PAN CEILING <Insert drawing designation>

Retain "Acoustical Metal Ceiling Pans " Article with this article.

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use same designation for both the aluminum pans and the suspension system selected that together make up the ceiling.  Use these designations on Drawings to identify each ceiling.

A. Aluminum Metal Pans:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. American Decorative Ceilings; <Insert product name or designation>.

b. Armstrong World Industries, Inc.; <Insert product name or designation>.

c. Ceilings Plus; <Insert product name or designation>.

d. Chicago Metallic Corporation; <Insert product name or designation>.

e. Gage Corporation International (The); <Insert product name or designation>.

f. Hunter Douglas Architectural Products, Inc.; <Insert product name or designation>.

g. Simplex Ceilings, a division of Intalite Inc.; <Insert product name or designation>.

h. Steel Ceilings Inc.; <Insert product name or designation>.

i. USG Interiors, Inc.; <Insert product name or designation>.

j. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

B. Classification:  Units complying with ASTM E 1264 for [Type VII, perforated aluminum facing (pan) with mineral- or glass-fiber-base backing] [Type XX, other types described as perforated aluminum facing (pan) units with sound-absorbent fabric backing] [Type XX, other types described as unperforated aluminum facing (pan) units] <Insert Type XX description>.

Retain one of three subparagraphs below for perforated pans.  Coordinate pattern with acoustical performance and sound-absorbent assembly specified.

1. Pattern:  Pattern A (perforated, regularly spaced large holes), arranged in [diagonal] [parallel] alignment to pan edge with uniform perforations of dimension, holes per square foot or inch, and percent open area as [indicated by product designation] [selected from manufacturer's full range].

2. Pattern:  Pattern C (perforated, small holes) regularly spaced, with uniform perforations of dimension, holes per square foot or inch, and percent open area as [specified by product designation] [selected from manufacturer's full range].

3. Pattern:  <Insert pattern designation for perforated pans and any requirements for perforation alignment, hole shape and size, holes per square foot or inch, and percent open area>.

C. Pan Fabrication:  Manufacturer's standard units of size, profile, and edge treatment indicated, formed from metal indicated and finished to comply with requirements indicated.

Retain one of five subparagraphs below to suit Project.  Coordinate pans with suspension system for a complete acoustical metal pan ceiling.

1. Lay-in Pans:  Formed to set in exposed suspension grid.

2. Clip-in Pans:  Designed to clip-in and be securely retained in exposed suspension grid by formed edges or accessory clips.

3. Snap-in Pans:  Designed with dimples or continuous beads on flanges for snap-in, secure engagement with concealed suspension system.

4. Torsion-Spring-Hinged Pans:  Designed to be securely retained in preslotted exposed suspension grid by torsion springs.

5. <Insert type and description>.

D. Pan Thickness:  Not less than [0.020 inch (0.5 mm)] [0.025 inch (0.6 mm)] [0.032 inch (0.8 mm)] [0.040 inch (1.0 mm)] <Insert thickness>.

E. Pan Edge Detail:  [Square] [Beveled] [Reveal] [Manufacturer's standard edge detail].

Retain first paragraph below if joint detail is not obvious for metal pan and suspension system selected.

F. Pan Joint Detail:  [Butt] [Wide reveal, not less than 15/16 inch (24 mm) wide] [Narrow reveal, not greater than 9/16 inch (15 mm) wide] [Flush narrow reveal, not greater than 9/16 inch (15 mm) wide].

G. Pan Size:  [12 by 12 inches (305 by 305 mm)] [12 by 24 inches (305 by 610 mm)] [12 by 36 inches (305 by 915 mm)] [24 by 24 inches (610 by 610 mm)] [24 by 48 inches (610 by 1220 mm)] [24 by 60 inches (610 by 1525 mm)] [30 by 30 inches (760 by 760 mm)] [30 by 60 inches (760 by 1525 mm)] [As indicated on Drawings] <Insert size>.

Retain first paragraph below if applicable.  Verify availability with manufacturers.

H. Scoring:  Score pans at intervals to appear as [12-by-12-inch (305-by-305-mm)] <Insert dimensions> ceiling units.

I. Pan Face Finish:  [Mill] [Lacquered mill] [Clear anodized] [Clear mirror-anodized] [Painted white] [Painted to match color indicated by product designation] [Painted to match Architect's sample] [Painted in color selected from manufacturer's full range] [Bright-reflective metallic finish selected from manufacturer's full range] <Insert finish>.

Retain first paragraph below if applicable.  Values are examples of units with baked white finish.

J. LR:  Not less than [0.70] [0.75] <Insert LR>.

Retain first paragraph below if unperforated pans are not specified.  Coordinate option retained with perforation pattern, sound absorber, and accessories selected.

K. NRC:  Not less than [0.60] [0.65] [0.70] [0.75] [0.80] [0.85] [0.90] [0.95] <Insert NRC>.

Retain paragraph below if applicable for acoustical ceiling.  Revise if STC is required and add abbreviation to "Definitions" Article.  Coordinate option retained with perforation pattern, sound absorber, and accessories selected.

L. CAC:  Not less than [35] [40] [45] <Insert CAC>.

2.3 STEEL PANS FOR ACOUSTICAL METAL PAN CEILING <Insert drawing designation>

Retain "Acoustical Metal Ceiling Pans " Article with this article.

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use same designation for both the steel pans and the suspension system selected that together make up the ceiling.  Use these designations on Drawings to identify each ceiling.

A. Steel Pans:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. American Decorative Ceilings; <Insert product name or designation>.

b. Armstrong World Industries, Inc.; <Insert product name or designation>.

c. Ceilings Plus; <Insert product name or designation>.

d. Chicago Metallic Corporation; <Insert product name or designation>.

e. Hunter Douglas Architectural Products, Inc.; <Insert product name or designation>.

f. Simplex Ceilings, a division of Intalite Inc.; <Insert product name or designation>.

g. Steel Ceilings Inc.; <Insert product name or designation>.

h. USG Interiors, Inc.; <Insert product name or designation>.

i. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

B. Classification:  Units complying with ASTM E 1264 for [Type V, perforated steel facing (pan) with mineral- or glass-fiber-base backing] [Type XX, other types described as perforated steel facing (pan) units with sound-absorbent fabric backing] [Type XX, other types described as unperforated steel facing (pan) units] <Insert Type XX description>.

Retain one of three subparagraphs below for perforated pans.  Coordinate pattern with acoustical performance and sound-absorbent assembly specified.

1. Pattern:  Pattern A (perforated, regularly spaced large holes), arranged in [diagonal] [parallel] alignment to pan edge with uniform perforations of dimension, holes per square foot or inch, and percent open area as [indicated by product designation] [selected from manufacturer's full range].

2. Pattern:  Pattern C (perforated, small holes) regularly spaced, with uniform perforations of dimension, holes per square foot or inch, and percent open area as [specified by product designation] [selected from manufacturer's full range].

3. Pattern:  <Insert pattern designation for perforated pans and any requirements for perforation alignment, hole shape and size, holes per square foot or inch, and percent open area>.

C. Pan Fabrication:  Manufacturer's standard units of size, profile, and edge treatment indicated, formed from metal indicated and finished to comply with requirements indicated.

Retain one of five subparagraphs below to suit Project.  Coordinate pans with suspension system for a complete acoustical metal pan ceiling.

1. Lay-in Pans:  Formed to set in exposed suspension grid.

2. Clip-in Pans:  Designed to clip-in and be securely retained in exposed suspension grid by formed edges or accessory clips.

3. Snap-in Pans:  Designed with dimples or continuous beads on flanges for snap-in, secure engagement with concealed suspension system.

4. Torsion-Spring-Hinged Pans:  Designed to be securely retained in preslotted exposed suspension grid by torsion springs.

5. <Insert type and description>.

D. Pan Thickness:  Not less than [0.010-inch (0.25-mm)] [0.020-inch (0.5-mm)] [0.024-inch (0.6-mm)] [0.030-inch (0.75-mm)] [0.036-inch (0.9-mm)] <Insert thickness> nominal thickness.

E. Pan Edge Detail:  [Square] [Beveled] [Reveal] [Manufacturer's standard edge detail].

Retain first paragraph below if joint detail is not obvious for metal pan and suspension system selected.

F. Pan Joint Detail:  [Butt] [Wide reveal, not less than 15/16 inch (24 mm) wide] [Narrow reveal, not greater than 9/16 inch (15 mm) wide] [Flush narrow reveal, not greater than 9/16 inch (15 mm) wide].

G. Pan Size:  [12 by 12 inches (305 by 305 mm)] [12 by 24 inches (305 by 610 mm)] [12 by 36 inches (305 by 915 mm)] [24 by 24 inches (610 by 610 mm)] [24 by 48 inches (610 by 1220 mm)] [24 by 60 inches (610 by 1525 mm)] [30 by 30 inches (760 by 760 mm)] [30 by 60 inches (760 by 1525 mm)] [As indicated on Drawings] <Insert size>.

Retain first paragraph below if applicable.  Verify availability with manufacturers.

H. Scoring:  Score pans at intervals to appear as [12-by-12-inch (305-by-305-mm)] <Insert dimensions> ceiling units.

I. Pan Face Finish:  [Painted white] [Painted to match color indicated by product designation] [Painted to match Architect's sample] [Painted in color selected from manufacturer's full range] [Plated with metallic finish, as selected from manufacturer's full range] [Bright-reflective metallic finish selected from manufacturer's full range]<Insert finish>.

Retain first paragraph below if applicable.  Values are examples of units with baked white finish.

J. LR:  Not less than [0.70] [0.75] <Insert LR>.

Retain first paragraph below if unperforated pans are not specified.  Coordinate option retained with perforation pattern, sound absorber, and accessories selected.

K. NRC:  Not less than [0.60] [0.65] [0.70] [0.75] [0.80] [0.85] [0.90] [0.95] <Insert NRC>.

Retain paragraph below if applicable for acoustical ceiling.  Revise if STC is required and add abbreviation to "Definitions" Article.  Coordinate option retained with perforation pattern, sound absorber, and accessories selected.

L. CAC:  Not less than [35] [40] [45] <Insert CAC>.

2.4 STAINLESS-STEEL PANS FOR ACOUSTICAL METAL PAN CEILING <Insert drawing designation>

Retain "Acoustical Metal Ceiling Pans" Article with this article.

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use same designation for both the stainless-steel pans and the suspension system selected that together make up the ceiling.  Use these designations on Drawings to identify each ceiling.

A. Stainless-Steel Pans:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Ceilings Plus; <Insert product name or designation>.

b. Chicago Metallic Corporation; <Insert product name or designation>.

c. Hunter Douglas Architectural Products, Inc.; <Insert product name or designation>.

d. Simplex Ceilings, a division of Intalite Inc.; <Insert product name or designation>.

e. Steel Ceilings Inc.; <Insert product name or designation>.

f. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

B. Classification:  Units complying with ASTM E 1264 for [Type VI, perforated stainless-steel facing (pan) with mineral- or glass-fiber-base backing] [Type XX, other types described as perforated stainless-steel facing (pan) units with sound-absorbent fabric backing] [Type XX, other types described as unperforated stainless-steel facing (pan) units] <Insert Type XX description>.

Retain one of two subparagraphs below for perforated pans.  Perforated pattern listed in first subparagraph is the only pattern offered by Steel Ceilings for a 0.019-inch- (0.5-mm-) thick pan.  Coordinate pattern with acoustical performance and sound-absorbent assembly specified.

1. Pattern:  Pattern A (perforated, regularly spaced large holes), arranged in parallel alignment to pan edge with uniform perforations of 0.109-inch (2.8-mm) diameter, 1800 holes/sq. ft. or inch, and 11.8 percent open area.

2. Pattern:  <Insert pattern designation for perforated pans and any requirements for perforation alignment, hole shape and size, holes per square foot or inch, and percent open area>.

C. Pan Fabrication:  Manufacturer's standard units of size, profile, and edge treatment indicated, formed from metal indicated and finished to comply with requirements indicated.

Retain one of five subparagraphs below to suit Project.  Coordinate pans with suspension system for a complete acoustical metal pan ceiling.

1. Lay-in Pans:  Formed to set in exposed suspension grid.

2. Clip-in Pans:  Designed to clip-in and be securely retained in exposed suspension grid by formed edges or accessory clips.

3. Snap-in Pans:  Designed with dimples or continuous beads on flanges for snap-in, secure engagement with concealed suspension system.

4. Torsion-Spring-Hinged Pans:  Designed to be securely retained in preslotted exposed suspension grid by torsion springs.

5. <Insert type and description>.

D. Pan Thickness:  Not less than [0.019 inch (0.5 mm)] [0.025 inch (0.65 mm)] [0.030 inch (0.76 mm)] <Insert thickness>.

E. Pan Edge Detail:  [Square] [Beveled] [Reveal] [Manufacturer's standard edge detail].

Retain first paragraph below if joint detail is not obvious for metal pan and suspension system selected.

F. Pan Joint Detail:  [Butt] [Wide reveal, not less than 15/16 inch (24 mm) wide] [Narrow reveal, not greater than 9/16 inch (15 mm) wide] [Flush narrow reveal, not greater than 9/16 inch (15 mm) wide].

G. Pan Size:  [12 by 12 inches (305 by 305 mm)] [12 by 24 inches (305 by 610 mm)] [12 by 36 inches (305 by 915 mm)] [24 by 24 inches (610 by 610 mm)] [24 by 48 inches (610 by 1220 mm)] [30 by 30 inches (760 by 760 mm)] [As indicated on Drawings] <Insert size>.

Retain first paragraph below if applicable.  Verify availability with manufacturers.

H. Scoring:  Score pans at intervals to appear as [12-by-12-inch (305-by-305-mm)] <Insert dimensions> ceiling units.

I. Pan Face Finish:  [Brushed, directional polish] [Satin, directional polish] [Mirrorlike reflective, nondirectional polish] <Insert finish>.

Retain first paragraph below if unperforated pans are not specified.  Coordinate option retained with perforation pattern, sound absorber, and accessories selected.

J. NRC:  Not less than [0.60] [0.65] [0.70] [0.75] [0.80] [0.85] [0.90] [0.95] <Insert NRC>.

Retain paragraph below if applicable for acoustical ceiling.  Revise if STC is required and add abbreviation to "Definitions" Article.  Coordinate option retained with perforation pattern, sound absorber, and accessories selected.

K. CAC:  Not less than [35] [40] [45] <Insert CAC>.

2.5 METAL SUSPENSION SYSTEMS

Retain first paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that steel sheet is made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

A. Recycled Content:  Provide products made from steel sheet with average recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

B. Metal Suspension System Standard:  Provide manufacturer's standard metal suspension systems of types, structural classifications, and finishes indicated that comply with applicable ASTM C 635 requirements.

C. Suspension Systems:  Provide systems complete with carriers, runners, splice sections, connector clips, alignment clips, leveling clips, hangers, molding, trim, retention clips, load-resisting struts, and other suspension components required to support ceiling units and other ceiling-supported construction.

D. Attachment Devices:  Size for five times the design load indicated in ASTM C 635, Table 1, "Direct Hung," unless otherwise indicated.  Comply with seismic design requirements.

First subparagraph below does not apply to power-actuated fasteners.  Delete if no anchorage to concrete is required or if power-actuated fasteners are acceptable.  Verify safety factor with Project's structural engineer.  Revise testing methods below if required by authorities having jurisdiction.

1. Anchors in Concrete:  Anchors of type and material indicated below, with holes or loops for attaching hangers of type indicated and with capability to sustain, without failure, a load equal to [five] <Insert safety factor> times that imposed by ceiling construction, as determined by testing per ASTM E 488 or ASTM E 1512 as applicable, conducted by a qualified testing and inspecting agency.

Select type of anchors from options in first subparagraph below; verify suitability with Project's structural engineer.

a. Type:  [Cast-in-place] [Postinstalled expansion] [Postinstalled bonded] anchors.

Retain one of first three subparagraphs below or, if more than one is required, indicate by inserting location of each on Drawings.  Zinc plating of mild class indicated protects against corrosion from an indoor atmosphere with rare condensation and subject to minimum wear or abrasion; revise thickness to suit more corrosive conditions or use stainless steel or nickel-copper alloy, depending on conditions.  If postinstalled expansion anchors are used to attach nickel-copper-alloy wire hangers and braces, consider retaining nickel-copper anchors after verifying availability with manufacturers.

b. Corrosion Protection:  Carbon-steel components zinc plated to comply with ASTM B 633, Class Fe/Zn 5 (0.005 mm) for Class SC 1 service condition.

c. Corrosion Protection:  Stainless-steel components complying with ASTM F 593 and ASTM F 594, Group 1 Alloy 304 or 316 for bolts; Alloy 304 or 316 for anchor.

d. Corrosion Protection:  Components fabricated from nickel-copper-alloy rods complying with ASTM B 164 for UNS No. N04400 alloy.

Delete subparagraph below if power-actuated fasteners are not allowed.  Verify safety factor with Project's structural engineer.

2. Power-Actuated Fasteners in Concrete:  Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with clips or other accessory devices for attaching hangers of type indicated, and with capability to sustain, without failure, a load equal to [10] <Insert safety factor> times that imposed by ceiling construction, as determined by testing per ASTM E 1190, conducted by a qualified testing and inspecting agency.

E. Wire Hangers, Braces, and Ties:  Provide wires complying with the following requirements:

Retain one of first three subparagraphs below unless more than one type of wire is required.  If more than one type is required, indicate location of each on Drawings.  See Evaluations for discussion on corrosion resistance of hangers and fasteners.  Revise hangers to strap type if required by authorities having jurisdiction or by local union regulations.

1. Zinc-Coated, Carbon-Steel Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper.

2. Stainless-Steel Wire:  ASTM A 580/A 580M, Type 304, nonmagnetic.

3. Nickel-Copper-Alloy Wire:  ASTM B 164, nickel-copper-alloy UNS No. N04400.

Retain second option in subparagraph below if required by authorities having jurisdiction or if desired for extra security and quality (including corrosion allowance).  Because large sizes are difficult to work with, their use could result in poor leveling tolerance.

4. Size:  Select wire diameter so its stress at 3 times the hanger design load indicated in ASTM C 635, Table 1, Direct Hung will be less than yield stress of wire, but provide not less than [0.106-inch- (2.69-mm-)] [0.135-inch- (3.5-mm-)] <Insert dimension> diameter wire.

F. [Hanger Rods] [Flat Hangers]:  Mild steel, zinc coated or protected with rust-inhibitive paint.

Delete hanger types in paragraph above and first paragraph below if not required.  Insert sizes here or show on Drawings.

G. Angle Hangers:  Angles with legs not less than 7/8 inch (22 mm) wide; formed with 0.04-inch- (1.0-mm-) thick, galvanized-steel sheet complying with ASTM A 653/A 653M, G90 (Z275) coating designation; with bolted connections and 5/16-inch- (8-mm-) diameter bolts.

Retain first paragraph below if required.  Revise if stabilizer bars are needed to improve stability of the suspension system and panel alignment in non-seismic installations.

H. Seismic Stabilizer Bars:  Manufacturer's standard perimeter stabilizers designed to accommodate seismic forces.

I. Seismic Struts:  Manufacturer's standard compression struts designed to accommodate seismic forces.

Retain paragraph above and first paragraph below if required.  Coordinate with manufacturer's requirements and authorities having jurisdiction.

J. Seismic Clips:  Manufacturer's standard seismic clips designed and spaced to secure acoustical metal pans in place.

Retain first paragraph below if required by manufacturer for system specified.  Hold-down clips are typically required to secure cut edges of metal pans to channel moldings at ceiling perimeters.  They may also be required throughout ceiling to enhance security or if pans are subject to potential uplift, positive pressure, vibration, impact, tampering, or abuse.

K. Hold-Down Clips:  Manufacturer's standard hold-down clips spaced to secure acoustical metal pans in place [to molding and trim at perimeter] [at each pan] <Insert requirements>.

L. Exposed Metal Edge Moldings and Trim:  Provide exposed members as indicated or as required to comply with seismic requirements of authorities having jurisdiction, to conceal edges of and penetrations through ceiling, to conceal edges of pans and runners, for fixture trim and adapters, for fasciae at changes in ceiling height, and for other conditions; of metal and finish matching acoustical metal pan ceiling units, unless otherwise indicated.

Revise first subparagraph below to suit Project and products selected; show profiles on Drawings.

1. For Circular Penetrations of Ceiling:  Fabricate edge moldings to diameter required to fit penetration exactly.

2. <Insert requirements>.

2.6 DIRECT-HUNG, STANDARD-GRID, METAL SUSPENSION SYSTEM FOR ACOUSTICAL METAL PAN CEILING <Insert drawing designation>

Delete this article if only snap-in metal pan ceilings are required.  Retain this article along with "Metal Suspension Systems " Article.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use same designation for both the suspension system in this article and the acoustical metal pans selected that together make up the ceiling.  Use these designations on Drawings to identify each ceiling.

A. Suspension System:  For [clip-in] [lay-in] [torsion-spring] <Insert type> pans.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Armstrong World Industries, Inc.; <Insert product name or designation>.

b. BPB USA; <Insert product name or designation>.

c. Chicago Metallic Corporation; <Insert product name or designation>.

d. USG Interiors, Inc.; <Insert product name or designation>.

e. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

Retain one of first five paragraphs below.  They are examples of suspension systems for acoustical metal pan ceilings; retain or revise to suit Project and verify compatibility with manufacturers.

Note that gap resulting from override (stepped) end condition of cross runners may be especially noticeable when combined with metal pans and may compromise a flat, monolithic ceiling appearance.

Revise paragraphs below if fire-rated suspension system is preferred for Project and available from manufacturers.  Although acoustical metal pan ceiling systems are not fire-rated assemblies per ASTM E 119, fire-rated suspension systems may be preferable for other reasons such as rigidity or seismic stability.  See Division 09 Section "Acoustical Panel Ceilings."

B. Wide-Face, Capped, Double-Web, Steel Suspension System:  Main and cross runners roll formed from cold-rolled steel sheet, prepainted, electrolytic zinc-coated or hot-dip galvanized according to ASTM A 653/A 653M, G30 (Z90) coating designation, with prefinished, cold-rolled, 15/16-inch- (24-mm-) wide sheet metal caps on flanges.

1. Structural Classification:  [Intermediate] [Heavy]-duty system.

2. End Condition of Cross Runners:  [Override (stepped)] [Butt-edge] [Override (stepped) or butt-edge] type.

3. Face Design:  Flat, flush.

4. Cap Material:  [Steel] [Aluminum] [Steel or aluminum] cold-rolled sheet.

Coordinate finish with metal material selected.

5. Cap Finish:  [Painted white] [Painted in color as selected from manufacturer's full range] [Painted to match color indicated by manufacturer's designation] [Painted to match color of metal pan] [Plated with metallic finish, as selected from manufacturer's full range] [Plated with metallic finish indicated by manufacturer's designation] [Natural finish for aluminum].

C. Narrow-Face, Capped, Double-Web, Steel Suspension System:  Main and cross runners roll formed from cold-rolled steel sheet, prepainted, electrolytic zinc-coated or hot-dip galvanized according to ASTM A 653/653M, G30 (Z90) coating designation, with prefinished, cold-rolled, 9/16-inch- (15-mm-) wide sheet metal caps on flanges.

1. Structural Classification:  [Intermediate] [Heavy]-duty system.

2. End Condition of Cross Runners:  [Override (stepped)] [Butt-edge] [Override (stepped) or butt-edge] type.

3. Face Design:  [Flat, flush] [Flanges formed with an integral center reveal].

4. Cap Material:  [Steel] [Aluminum] [Steel or aluminum] cold-rolled sheet.

Coordinate finish with metal material selected.

5. Cap Finish:  [Painted white] [Painted in color as selected from manufacturer's full range] [Painted to match color indicated by manufacturer's designation] [Painted to match color of metal pan] [Plated with metallic finish, as selected from manufacturer's full range] [Plated with metallic finish indicated by manufacturer's designation] [Natural finish for aluminum].

D. Narrow-Face, Uncapped, Double-Web, Steel Suspension System:  Main and cross runners roll formed from cold-rolled steel sheet, prepainted, electrolytic zinc-coated or hot-dip galvanized, to produce structural members with 9/16-inch- (15-mm-) wide faces.

1. Structural Classification:  [Intermediate] [Heavy]-duty system.

2. Face Design:  [With 1/8-inch- (3.2-mm-) wide, slotted, box-shaped flange] [With 1/4-inch- (6.35-mm-) wide, slotted, box-shaped flange].

3. Face Finish:  Painted [white] [in color as selected from manufacturer's full range] [to match color indicated by manufacturer's designation] [to match color of metal pan].

E. Wide-Face, Capped, Double-Web, Steel Suspension System:  Main and cross runners roll formed from cold-rolled steel sheet, hot-dip galvanized according to ASTM A 653/A 653M, G60 (Z180) coating designation, with prefinished, cold-rolled, 15/16-inch- (24-mm-) wide aluminum caps on flanges.

1. Structural Classification:  [Intermediate] [Heavy]-duty system.

2. Face Design:  Flat, flush.

3. Face Finish:  [Painted white] [Painted to match color indicated by manufacturer's designation] [Painted to match color of acoustical unit] [Natural finish].

F. Wide-Face, Capped, Double-Web, Stainless-Steel Suspension System:  Main and cross runners roll formed from and capped with Type 304 or 316 stainless-steel sheet, with prefinished, cold-rolled, 15/16-inch- (24-mm-) wide stainless-steel caps on flanges.

1. Structural Classification:  Intermediate-duty system.

2. Face Design:  Flat, flush.

Retain paragraph below only for torsion-spring metal pan ceilings.

G. Suspension System for Torsion-Spring Metal Pans:  Provide runners with factory-cut slots fabricated to accept torsion-spring attachment.

2.7 METAL SUSPENSION SYSTEM FOR ACOUSTICAL SNAP-IN METAL PAN CEILING <Insert drawing designation>

Retain this article only for snap-in metal pan ceilings.  Retain this article along with "Metal Suspension Systems " Article.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use same designation for both the suspension system in this article and the acoustical metal pans selected that together make up the ceiling.  Use these designations on Drawings to identify each ceiling.

Usually retain first paragraph below.  Indirect-hung suspension systems are commonly available and used for most installations.

A. Indirect-Hung, Snap-[Tee] [Bar] System:  Designed to support metal pans that snap into main runners, consisting of main runners connected to carrying channels that are attached by hangers to building structure, and complying with the following requirements:

1. Main Runners:  Formed from the following metal:

Retain at least one of five subparagraphs below for main runners.  Verify manufacturer's recommendations for exterior installations and other potentially corrosive environments.

a. Aluminum Sheet:  Alloy and temper recommended by aluminum producer and finisher for type of use indicated and manufacturer's standard finish, complying with ASTM B 209 (ASTM B 209M).

b. Electrolytic Zinc-Coated Steel Sheet:  ASTM A 591/A 591M, with not less than [80Z (24G)] <Insert coating designation> zinc coating.

c. Hot-Dip Galvanized Steel:  ASTM A 653/A 653M, not less than [G60 (Z180)] <Insert coating designation> zinc coating.

d. Stainless-Steel Sheet:  ASTM A 666, Type 302 or 304, stretcher leveled, with cold-rolled mill finish.

e. Metal Sheet:  Metal as standard with ceiling system manufacturer with factory-applied protective finish complying with ASTM C 635.

2. Carrying Channels:  Same member and metal as indicated for main runners.

Retain subparagraph above or first subparagraph below.

3. Carrying Channels:  Cold-rolled steel, not less than 0.060-inch (1.5-mm) nominal thickness of base (uncoated) metal and 7/16-inch- (11-mm-) wide flanges, [protected with rust-inhibitive paint] [hot-dip galvanized according to ASTM A 653/A 653M, G60 (Z180) coating designation], and as follows:

a. Depth and Weight:  [1-1/2 inches and 475 lb/1000 feet (38 mm and 215 kg/305 m)] [2 inches and 590 lb/1000 feet (51 mm and 268 kg/305 m)].

Retain subparagraph below for exterior installations to meet uplift and lateral bracing requirements for wind load.  Coordinate with other requirements of manufacturer.

4. Exterior Bracing Channels and Angles:  Cold-rolled steel, hot-dip galvanized to comply with ASTM A 653/A 653M, G60 (Z180) coating designation; size and profile as required to withstand wind load.

Retain or delete first paragraph below to suit Project.  Only Simplex offers a direct-hung system as a standard suspension system with snap-bar runners attached to aluminum angle hangers.  Other manufacturers, e.g., Hunter Douglas, may be willing to provide custom-designed direct-hung systems; verify with manufacturers and revise below to suit custom system.  Retaining paragraph risks a proprietary specification.

B. Direct-Hung, Snap-[Tee] [Bar] System:  Designed to support metal pans that snap into main runners, consisting of main runners supported by hangers attached directly to building structure, and complying with the following requirements:

1. Hangers:  Angles or channels, as standard with ceiling system manufacturer, formed from same metal as main runners.

2. Main Runners:  Rolled aluminum sheet; alloy and temper recommended by aluminum producer and finisher for type of use indicated and manufacturer's standard finish, complying with ASTM B 209 (ASTM B 209M).

C. Access Panels:  For access at locations indicated, provide acoustical snap-in metal pan ceiling units, accessible by [key or tool] [two access knobs; place one access knob at each end of panel near corners].

Retain subparagraph below if required.  Show location of access panels on Drawings or insert requirements here.

1. Access Key or Tool:  Provide manufacturer' standard key or tool for opening access panels; [one] [two] <Insert number>.

2.8 ACOUSTICAL SEALANT

Retain VOC option in two paragraphs below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.  If retaining VOC option, verify that products selected can comply with VOC limit.

A. Acoustical Sealant for Exposed and Concealed Joints:  Manufacturer's standard nonsag, paintable, nonstaining latex sealant[, with a VOC content of 250 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24),] complying with ASTM C 834 and effective in reducing airborne sound transmission through perimeter joints and openings in building construction as demonstrated by testing representative assemblies according to ASTM E 90.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Pecora Corporation; AC-20 FTR Acoustical and Insulation Sealant.

b. USG Corporation; SHEETROCK Acoustical Sealant.

c. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

B. Acoustical Sealant for Concealed Joints:  Manufacturer's standard nondrying, nonhardening, nonskinning, nonstaining, gunnable, synthetic-rubber sealant[, with a VOC content of 250 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24),] recommended for sealing interior concealed joints to reduce airborne sound transmission.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. OSI Sealants, Inc.; Pro-Series SC-175 Rubber Base Sound Sealant.

b. Pecora Corporation; BA-98.

c. Tremco, Inc.; Tremco Acoustical Sealant.

d. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

2.9 GENERAL FINISH REQUIREMENTS

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

Retain subparagraph below if required.  Finish is generally applicable to hot-dip galvanized steel with G60 (Z180) or greater coating designation and aluminum systems with anodized finish.  On Drawings, show where high-humidity finishes are required.

1. High-Humidity Finish:  Comply with ASTM C 635 requirements for "Coating Classification for Severe Environment Performance" where high-humidity finishes are indicated.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.10 ALUMINUM FINISHES

Retain finishes in paragraphs below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom anodized finish is required and availability is verified.

A. Mill Finish:  AA-M10C10 (Mechanical Finish:  as fabricated, unspecified; Chemical Finish:  chemically cleaned).

B. Lacquered Mill Finish:  AA-M10C10R1x (Mechanical Finish:  as fabricated, unspecified; Chemical Finish:  chemically cleaned; Organic Coating:  as specified below).

1. Organic Coating:  Manufacturer's standard clear organic coating.

C. Clear Anodic Finish:  AAMA 611, AA-M12C22A31, Class II, 0.010 mm or thicker.

D. Clear Mirror Anodic Finish:  AA-M21C12A212, 0.005 mm or thicker.

E. Color-Coated Finish:  Manufacturer's standard[ powder-coat] baked paint complying with coating manufacturer's written instructions for surface preparation, pretreatment, application, baking, and minimum dry film thickness.

F. Bright-Reflective Finish:  Manufacturer's standard chemical/mechanical bright-reflective metallic finish complying with finish manufacturer's written instructions for surface preparation, pretreatment, process, protective coating, and minimum thickness to produce a finish uniform in appearance and free of blisters, pits, roughness, nodules, burning, cracks, unfinished areas, and other visible defects.

2.11 GALVANIZED-STEEL SHEET FINISHES

A. Color-Coated Finish:  Manufacturer's standard[ powder-coat] baked paint complying with coating manufacturer's written instructions for surface preparation, pretreatment, application, baking, and minimum dry film thickness.

2.12 STEEL SHEET FINISHES

A. Electroplated Finish:  Electroplating process complying with finish manufacturer's written instructions for surface preparation, pretreatment, process, and minimum thickness to produce a coating uniform in appearance and free of blisters, pits, roughness, nodules, burning, cracks, unplated areas, and other visible defects.

B. Bright-Reflective Finish:  Manufacturer's standard chemical/mechanical bright-reflective metallic finish complying with finish manufacturer's written instructions for surface preparation, pretreatment, process, protective coating, and minimum thickness to produce a finish uniform in appearance and free of blisters, pits, roughness, nodules, burning, cracks, unfinished areas, and other visible defects.

2.13 STAINLESS-STEEL FINISHES

A. Surface Preparation:  Remove tool and die marks and stretch lines, or blend into finish.

B. Polished Finishes:  Grind and polish surfaces to produce uniform finish, free of cross scratches.

Retain first subparagraph below for directional finishes.

1. Run grain of directional finishes with long dimension of each piece.

2. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, including structural framing to which acoustical metal pan ceilings attach or abut, with Installer present, for compliance with requirements specified in this and other Sections that affect ceiling installation and anchorage and with requirements for installation tolerances and other conditions affecting performance of acoustical metal pan ceilings.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Measure each ceiling area and establish layout of acoustical metal pans to balance border widths at opposite edges of each ceiling.  Avoid using less-than-half-width pans at borders, and comply with layout shown on reflected ceiling plans and Coordination Drawings.

3.3 INSTALLATION

A. Install acoustical metal pan ceilings to comply with [ASTM C 636] [UBC Standard 25-2] and seismic requirements indicated, per manufacturer's written instructions and CISCA's "Ceiling Systems Handbook."

B. Suspend ceiling hangers from building's structural members and as follows:

1. Install hangers plumb and free from contact with insulation or other objects within ceiling plenum that are not part of supporting structure or of ceiling suspension system.

2. Splay hangers only where required to miss obstructions; offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

3. Where width of ducts and other construction within ceiling plenum produces hanger spacings that interfere with location of hangers at spacings required to support standard suspension system members, install supplemental suspension members and hangers in form of trapezes or equivalent devices.

4. Secure wire hangers to ceiling suspension members and to supports above with a minimum of three tight turns.  Connect hangers directly either to structures or to inserts, eye screws, or other devices that are secure and appropriate for substrate and that will not deteriorate or otherwise fail due to age, corrosion, or elevated temperatures.

Delete subparagraph above or first subparagraph below unless both types of hangers are required and their locations are indicated on Drawings or by inserts.

5. Secure flat, angle, channel, and rod hangers to structure, including intermediate framing members, by attaching to inserts, eye screws, or other devices that are secure and appropriate for both structure to which hangers are attached and type of hanger involved.

Delete any of first four subparagraphs below that refer to inapplicable construction types.  Revise first subparagraph if power-actuated fasteners are not allowed.

6. Do not support ceilings directly from permanent metal forms or floor deck.  Fasten hangers to cast-in-place hanger inserts, postinstalled mechanical or adhesive anchors, or power-actuated fasteners that extend through forms into concrete.

7. When steel framing does not permit installation of hanger wires at spacing required, install carrying channels or other supplemental support for attachment of hanger wires.

8. Do not attach hangers to steel deck tabs.

Revise first subparagraph below if structural members are spaced too far apart for hangers and another method is required.  For alternatives that may need to be detailed on Drawings, consult structural engineer and refer to CISCA's guidelines.  See SDI Publication No. 30 and the Evaluations in Division 05 Section "Steel Decking."

9. Do not attach hangers to steel roof deck.  Attach hangers to structural members.

10. Space hangers not more than 48 inches (1200 mm) o.c. along each member supported directly from hangers unless otherwise indicated; provide hangers not more than 8 inches (200 mm) from ends of each member.

11. Size supplemental suspension members and hangers to support ceiling loads within performance limits established by referenced standards and publications.

First paragraph below is based on requirements of the Division of the State Architect in California, for ceilings in hospitals and schools.  Revise or delete if not required.

C. Secure bracing wires to ceiling suspension members and to supports with a minimum of four tight turns.  Suspend bracing from building's structural members as required for hangers, without attaching to permanent metal forms, steel deck, or steel deck tabs.  Fasten bracing wires into concrete with cast-in-place or postinstalled anchors.

D. Install edge moldings and trim of type indicated at perimeter of acoustical ceiling area and where necessary to conceal edges of acoustical metal pans.

Retain subparagraphs below to eliminate air movement and leaks of light and sound at edges of ceiling.

1. Apply acoustical sealant in a continuous ribbon concealed on back of vertical legs of moldings before they are installed.

2. Screw attach moldings to substrate at intervals not more than 16 inches (400 mm) o.c. and not more than 3 inches (75 mm) from ends, leveling with ceiling suspension system to a tolerance of 1/8 inch in 12 feet (3.2 mm in 3.6 m).  Miter corners accurately and connect securely.

Delete subparagraph below or revise if exposed fasteners are allowed.

3. Do not use exposed fasteners, including pop rivets, on moldings and trim.

E. Install suspension system runners so they are square and securely interlocked with one another.  Remove and replace dented, bent, or kinked members.

Revise first paragraph below and add requirements to Part 2 if penetrations for light fixtures, sprinklers, and similar fixtures are factory cut.  Verify availability with manufacturers.

F. Cut acoustical metal pan units for accurate fit at borders and at interruptions and penetrations by other work through ceilings.  Stiffen edges of cut units as required to eliminate evidence of buckling or variations in flatness exceeding referenced standards for stretcher-leveled metal sheet.

G. Install acoustical metal pans in coordination with suspension system and exposed moldings and trim.

Retain applicable subparagraphs below that coordinate with metal pan type, pan edge and joint details, and suspension system types, or revise to suit Project.

Retain one of first three subparagraphs below for lay-in pans, or insert another.

1. For lay-in square-edge pans, install pans with edges fully hidden from view by flanges of suspension system runners and moldings.

2. For lay-in reveal-edge pans on suspension system runners, install pans with bottom of reveal in firm contact with top surface of runner flanges.

3. For lay-in reveal-edge pans on suspension system members with box-shaped flanges, install pans with reveal surfaces in firm contact with suspension system surfaces and panel faces flush with bottom face of runners.

4. For [clip-in] [torsion-spring-hinged] pans, position pans according to manufacturer's written instructions.

5. For snap-in pans, fit adjoining units to form flush, tight joints.

6. Align joints in adjacent courses to form uniform, straight joints parallel to room axis in both directions unless otherwise indicated.

7. Fit adjoining units to form flush, tight joints.

Delete first subparagraph below if not applicable.  Show locations of directionally patterned or textured pans on Drawings or insert locations here.

8. Install directionally patterned or textured metal pans in directions indicated.

Usually delete two subparagraphs below if only unperforated patterns are specified.  Delete first subparagraph if acoustical fabric is bonded to pan in factory.

9. Install sound-absorbent fabric layers in perforated metal pans.

10. Install sound-absorbent pads in perforated metal pans[ over metal spacer grids].

Retain first paragraph below for sound attenuation panels.

H. Install sound attenuation panels in areas indicated by reflected ceiling plans or room finish schedules.  Lay panels directly on ceiling system and close major openings to form complete coverage in required areas.  Lay second sound-absorbent pads on sound attenuation panels.

Retain paragraph below for hold-down clips.

I. Install hold-down clips where indicated.

3.4 FIELD QUALITY CONTROL

Retain this article if applicable.  SEI/ASCE 7 requires special inspections for suspended ceiling systems in Seismic Design Categories D, E, and F; verify requirements of authorities having jurisdiction.

Retain first option in first paragraph below if Owner engages special inspector.  Consider retaining second option if authorities having jurisdiction allow Contractor to engage special inspector.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.

A. Special Inspections:  [Owner will engage] [Engage] a qualified special inspector to perform the following special inspections:

1. Suspended ceiling system.

2. Hangers, anchors, and fasteners.

3. <Insert special inspections>.

Retain first paragraph below, with or without paragraph above, to identify who shall perform tests and inspections.  If retaining second option below, retain "Field quality-control reports" Paragraph in "Submittals" Article.

B. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

Testing requirements in first paragraph below are examples and apply only to ceilings with hangers attached to concrete by power-actuated fasteners and postinstalled anchors.  Retain or revise to suit Project and requirements of authorities having jurisdiction.

C. Tests and Inspections:  Testing and inspecting of completed installations of acoustical panel ceiling hangers and anchors and fasteners shall take place in successive stages, in areas of extent and using methods as follows.  Do not proceed with installations of acoustical panel ceiling hangers for the next area until test results for previously completed installations of acoustical panel ceiling hangers show compliance with requirements.

1. Extent of Each Test Area:  When installation of ceiling suspension systems on each floor has reached 20 percent completion but no panels have been installed.

Verify loads in two subparagraphs below with structural engineer based on ceiling loads and seismic zone where Project is located.  CISCA's "Guidelines for Seismic Restraint of Direct-Hung Suspended Ceiling Assemblies - Seismic Zones 3 & 4" requires hanger wire attachment devices to be "capable of supporting 100 lbf (445 N)."

a. Within each test area, testing agency will select 1 of every 10 power-actuated fasteners and postinstalled anchors used to attach hangers to concrete and will test them for 200 lbf (890 N) of tension; it will also select one of every 2 postinstalled anchors used to attach bracing wires to concrete and will test them for 440 lbf (1957 N) of tension.

b. When testing discovers fasteners and anchors that do not comply with requirements, testing agency will test those anchors not previously tested until 20 pass consecutively and then will resume initial testing frequency.

See Division 01 Section "Quality Requirements" for retesting and reinspecting requirements and Division 01 Section "Execution" for correcting the Work.

D. Acoustical panel ceiling hangers and anchors and fasteners will be considered defective if they do not pass tests and inspections.

E. Prepare test and inspection reports.

Insert other field quality-control procedures required for Project.

3.5 CLEANING

A. Clean exposed surfaces of acoustical metal pan ceilings, including trim and edge moldings after removing strippable, temporary protective covering, if any.  Comply with manufacturer's written instructions for stripping of temporary protective covering, cleaning, and touchup of minor finish damage.  Remove and replace ceiling components that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage, including dented and bent units.

END OF SECTION 095133

ACOUSTICAL METAL PAN CEILINGS
095133 - 1

