Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
11/04 (R 05/06)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 096340 - STONE FLOORING
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes the following applications of dimension stone:

1. Exterior paving.

2. Interior flooring.

3. Stair treads[ and risers].

4. Thresholds.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

Delete first subparagraph below if not applicable.

1. Division 07 Section "[Self-Adhering Sheet Waterproofing] [Elastomeric Sheet Waterproofing] [Thermoplastic Sheet Waterproofing] [Cold Fluid-Applied Waterproofing] [Hot Fluid-Applied Rubberized Asphalt Waterproofing]" for waterproofing[, protection board] [and] [pedestals] under stone paving.

2. Division 07 Section "Joint Sealants" for sealing control and expansion joints in stonework with elastomeric sealants.

3. Division 09 Section "Stone Tiling."

Copy stone base to this Section and delete first subparagraph below if interior stone facing is not used.

4. Division 09 Section "Stone Facing" for stone base.

5. Division 32 Section "Unit Paving" for rough stone pavers.

1.3 SUBMITTALS

A. Product Data:

1. For each variety of stone.[  Include data on physical properties required by referenced ASTM standards.]

2. For stone accessories and other manufactured products.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives.

1. Product Data for Credit EQ 4.1:  For adhesives, including printed statement of VOC content.

Usually retain first paragraph below for most projects.

C. Shop Drawings:  Include plans, sections, details, and attachments to other work.

D. Samples for Initial Selection:  For joint materials involving color selection.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.  Samples may serve to define acceptable range of colors, patterns, etc., if other methods cannot be used due to cost.  Stone samples may not show full range of appearance characteristics, especially with highly variable stone types.

E. Samples for Verification:

1. For each stone type indicated, in sets of Samples not less than 12 inches (300 mm) square.  Include [two] [three] [four] [five] <Insert number> or more Samples in each set and show the full range of variations in appearance characteristics expected in completed Work.[  Samples will establish the standard by which stone will be judged.]

2. For each color of [grout] [pointing mortar] required.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For qualified fabricator.

G. Maintenance Data:  For stone flooring to include in maintenance manuals.  Include Product Data for stone-care products used or recommended by Installer and names, addresses, and telephone numbers of local sources for products.

1.4 QUALITY ASSURANCE

Retain first paragraph below if required.

A. Fabricator Qualifications:  A qualified fabricator that custom fabricates stone.

Retain first paragraph below if required by Project size, fabrication, or installation details.

B. Installer Qualifications:  Stone fabricator.

Delete third option in first paragraph below if no other stone Sections are used or if other Sections do not require the same stone varieties.

C. Source Limitations for Stone:  Obtain[ each variety of] stone, [regardless of finish, ]from a single quarry[, whether specified in this Section or in other Sections of the Specifications,] with resources to provide materials of consistent quality in appearance and physical properties.

Retain first subparagraph below if applicable.

1. For stone types that include same list of varieties and sources, provide same variety from same source for each.

Retain first subparagraph below if required.  Examination of blocks is usually only done for large installations and involves traveling to quarry or to shop where blocks are sawed into slabs, which is frequently not the fabrication shop.

2. Make quarried blocks available for examination by Architect for appearance characteristics.

Retain subparagraphs below if required.  When blocks are not selected at quarry, procedure below may allow some control over range of color and other visual characteristics.  Supplier must have adequate stock of slabs to allow selection, or procedure will not be very beneficial.  Retaining below may add cost because supplier may increase prices to account for rejected slabs.

3. Make stone slabs available for Architect to examine for appearance characteristics.

a. Architect will select aesthetically acceptable slabs[ and will indicate aesthetically unacceptable portions of slabs].

b. Segregate slabs selected for use on Project and mark backs indicating approval.

Subparagraph below may be advantageous for stone that is highly variable; otherwise, it may not be necessary.

c. Mark and photograph aesthetically unacceptable portions of slabs as directed by Architect.

D. Source Limitations for Other Materials:  Obtain each type of cementitious material, grout, admixture, stone accessory, and other material from single source.

E. Mockups:  Build mockups to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Build mockup of typical interior floor area [as shown on Drawings] [about 96 inches (2400 mm) square] <Insert size>.

2. Build mockup of typical exterior pavement area [as shown on Drawings] [about 96 inches (2400 mm) square] <Insert size>.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.5 DELIVERY, STORAGE, AND HANDLING

Retain first paragraph below if all stone units are not small enough to be lifted by hand.

A. Lift stone with wide-belt slings; do not use wire rope or ropes that might cause staining.  Move stone, if required, using dollies with cushioned wood supports.

Retain option in first paragraph below if large stone panels are used.

B. Store stone on [wood A-frames or ]pallets with nonstaining separators and nonstaining, waterproof covers.  Ventilate under covers to prevent condensation.

C. Store cementitious materials on elevated platforms, under cover, and in a dry location.  Do not use cementitious materials that have become damp.

1.6 PROJECT CONDITIONS

A. Cold-Weather Requirements for Interior Stone Flooring:

1. Do not set stone when air or material temperature is below 50 deg F (10 deg C).

2. Maintain temperature at 50 deg F (10 deg C) or above in installation areas during installation and for 7 days after completion unless higher temperatures are required by fabricator's or supplier's instructions.

B. Cold-Weather Requirements for Exterior Stone Paving:  Do not use frozen materials or materials mixed or coated with ice or frost.  Do not build on frozen substrates.  Remove and replace unit masonry damaged by frost or by freezing conditions.  Comply with cold-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602.

C. Hot-Weather Requirements for Exterior Stone Paving:  Comply with hot-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602 and with the following:

Usually retain subparagraphs below for paving.  Hot weather affects paving more than masonry because a horizontal surface absorbs more solar energy.  Adjust requirements to suit local conditions.

1. Maintain temperature of materials below 100 deg F (38 deg C).

2. Do not apply mortar to substrates with temperatures of 100 deg F (38 deg C) and above.

3. When the ambient temperature exceeds 90 deg F (32 deg C), fog spray installed stone paving until damp at least 3 times a day until paving is 3 days old.

PART 2 -  PRODUCTS

2.1 STONE

Retain this article and delete first eight articles below if stone varieties and sources are specified in Division 04 Section "Exterior Stone Cladding." Specifying all stone types in one Section helps ensure uniformity of stone required by different Sections.

A. Products:  Subject to compliance with requirements, provide stone of varieties and from sources complying with Division 04 Section "Exterior Stone Cladding."

Delete "Stone" Article above and retain one or more of first eight articles below to describe stone types used if stone types are not specified in Division 04 Section "Exterior Stone Cladding." If articles describing stone types are retained here and only one type from each category is required, the generic name can be retained and used on Drawings instead of a stone-type designation; otherwise, copy and re-edit article selected for each type required, inserting a different stone-type designation each time.  If different stone types require different patterns, stone edges, and joint widths, consider copying appropriate subparagraphs from "Stone Fabrication" Article to articles specifying stone types below; delete copied subparagraphs from "Stone Fabrication" Article.

2.2 GRANITE <Insert drawing designation>

Some varieties of granite that are suitable for interior floors do not comply with ASTM C 615; verify that granite selected will comply before retaining option in first paragraph below.

A. Granite:[  Comply with ASTM C 615.]

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

First paragraph below is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete and list varieties and sources under "Products" Subparagraph above.

B. Description:  Uniform, [fine] [medium]-grained, [white] [pink] [gray] [black] <Insert color> stone[ without veining].

Retain first paragraph below only if variety selected has veining.

C. Cut:  [Vein] [Fleuri] cut.

D. Finish:  [Polished] [Honed] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

Retain first paragraph below for added quality control if required.

E. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected in paragraph below with stone suppliers.

F. Thickness:  Not less than [3/4 inch (20 mm)] [30 mm] [1-1/4 inches (32 mm)] [1-5/8 inches (40 mm)] unless otherwise indicated.

2.3 LIMESTONE <Insert drawing designation>

A. Limestone:  Comply with ASTM C 568.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Delete subparagraph and list above and retain first subparagraph below if Indiana limestone is required.  If retaining below, retain "II Medium-Density" in "Classification" Subparagraph and "Oolitic" in "Description" Subparagraph.  Revise below if stone from a particular quarry is required.

2. Products:  Indiana oolitic limestone quarried in Lawrence, Monroe, or Owen Counties, Indiana.

Usually select one of two options in first subparagraph below.  If varieties and sources are named, specifying a classification may be unnecessary but would provide additional quality control and a salient characteristic to use in determining if another variety or source is equivalent.  First option generally applies to oolitic and some dolomitic limestone; second, to dolomitic limestone.  See Evaluations.

3. Classification:  [II Medium-Density] [III High-Density].

Usually delete first subparagraph below and list varieties and sources in "Products" Subparagraph above.  Descriptions can be used for a generic specification but must be coordinated with classifications selected above.  See Evaluations.

4. Description:  [Dolomitic] [Oolitic] limestone.

Consider retaining subparagraph below.  ASTM C 568 requires value of 10 for floors.  Verify that selected stone complies before retaining.

5. Stone Abrasion Resistance:  Minimum value of [10] <Insert value>, based on testing according to ASTM C 241 or ASTM C 1353.

If retaining Indiana limestone above, retain first paragraph below and select one grade and color.  Delete if Indiana limestone is not used.  Select and Standard grades are hard to get in large sizes; gray is more plentiful than buff.  Verify availability with producers.

B. Indiana Oolitic Limestone Grade and Color:  [Select, buff] [Select, gray] [Standard, buff] [Standard, gray] [Rustic, buff] [Rustic, gray] [Variegated], according to grade and color classification established by ILI.

Retain first paragraph below only if variety selected has veining.

C. Cut:  [Vein] [Fleuri] cut.

D. Finish, Matching Standard ILI Finish:  [Smooth finish] [Chat sawed] [Shot sawed] [As indicated] <Insert finish>.

Select paragraph above or first paragraph below.  Retain above for Indiana limestone, below for other varieties.  Before specifying, verify availability and suitability of chat-sawed and shot-sawed finishes.

E. Finish:  [Smooth] [Sand rubbed] [Chat sawed] [Shot sawed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain first paragraph below for added quality control if required.

F. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected in paragraph below with stone suppliers.

G. Thickness:  Not less than [1 inch (25 mm)] [1-1/4 inches (32 mm)] [1-5/8 inches (40 mm)] [2 inches (50 mm)] unless otherwise indicated.

2.4 MARBLE <Insert drawing designation>

Many varieties of marble that are suitable for interior floors do not comply with ASTM C 503; verify that marble selected will comply before retaining option in first paragraph below.

A. Marble:[  Comply with ASTM C 503.]

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Consider retaining subparagraph below.  ASTM C 503 requires value of 10 for floors.  Verify that selected stone complies before retaining.

2. Stone Abrasion Resistance:  Minimum value of [10] <Insert value>, based on testing according to ASTM C 241 or ASTM C 1353.

First paragraph below is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete paragraph and list varieties and sources in "Products" Subparagraph above.  Below describes a crystalline calcite marble; revise to describe other varieties of marble if required.

B. Description:  Uniform, fine- to medium-grained, [white] <Insert color> stone with only slight veining.

Retain first paragraph below only if variety selected has veining.

C. Cut:  [Vein] [Fleuri] cut.

D. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain first paragraph below for added quality control if required.

E. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected in paragraph below with stone suppliers.

F. Thickness:  Not less than [3/4 inch (20 mm)] [30 mm] [1-1/4 inches (32 mm)] unless otherwise indicated.

2.5 QUARTZ-BASED STONE <Insert drawing designation>

A. Quartz-Based Stone:  Comply with ASTM C 616, Classification [I Sandstone] [II Quartzitic Sandstone] [III Quartzite].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Consider retaining subparagraph below.  ASTM C 616 requires value of 10 for floors.  Verify that selected stone complies before retaining.

2. Stone Abrasion Resistance:  Minimum value of [10] <Insert value>, based on testing according to ASTM C 241 or ASTM C 1353.

B. Finish:  [Sand rubbed] [Natural cleft] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

Retain first paragraph below for added quality control if required.

C. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected in paragraph below with stone suppliers.

D. Thickness:  Not less than [1-1/2 inches (38 mm)] [1-5/8 inches (40 mm)] [2 inches (50 mm)] unless otherwise indicated.

2.6 SERPENTINE <Insert drawing designation>

If retaining this article, select one of two classifications in first paragraph below.  Classification I Exterior requires lower absorption and higher strength.  Verify that selected stone complies with Classification I Exterior before retaining.

A. Serpentine:  Comply with ASTM C 1526, Classification [I Exterior] [II Interior].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Consider retaining subparagraph below.  ASTM C 1526 requires value of 10 for floors.  Verify that selected stone complies before retaining.

2. Stone Abrasion Resistance:  Minimum value of [10] <Insert value>, based on testing according to ASTM C 241 or ASTM C 1353.

B. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain first paragraph below for added quality control if required.

C. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected in paragraph below with stone suppliers.

D. Thickness:  Not less than [3/4 inch (20 mm)] [30 mm] [1-1/4 inches (32 mm)] unless otherwise indicated.

2.7 SLATE <Insert drawing designation>

If retaining this article, select one of two classifications in first paragraph below.  Classification I Exterior requires lower absorption and better acid resistance in addition to higher strength.  Verify that selected stone complies with Classification I Exterior before retaining.

A. Slate:  Comply with ASTM C 629, Classification [I Exterior] [II Interior], with a fine, even grain[ and unfading color,] from clear, sound stock.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

First subparagraph below is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete subparagraph and list varieties and sources in "Products" Subparagraph above.

2. Color:  [Black] [Blue-black] [Gray] [Blue-gray] [Green] [Purple] [Mottled purple and green] [Red].

Consider retaining subparagraph below.  ASTM C 629 requires value of 8 for floors.  Verify that selected stone complies before retaining.

3. Stone Abrasion Resistance:  Minimum value of [8] <Insert value>, based on testing according to ASTM C 241 or ASTM C 1353.

B. Finish:  [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

Retain first paragraph below for added quality control if required.

C. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected in paragraph below with stone suppliers.

D. Thickness:  Not less than [1/2 inch (13 mm)] [3/4 inch (20 mm)] [1 inch (25 mm)] unless otherwise indicated.

2.8 TRAVERTINE <Insert drawing designation>

If retaining this article, select one of two classifications in first paragraph below.  Classification I Exterior requires higher strength.  Verify that selected stone complies with Classification I Exterior before retaining.

A. Travertine:  Comply with ASTM C 1527, Classification [I Exterior] [II Interior].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Consider retaining subparagraph below.  ASTM C 1527 requires value of 10 for floors.  Verify that selected stone complies before retaining.

2. Stone Abrasion Resistance:  Minimum value of [10] <Insert value>, based on testing according to ASTM C 241 or ASTM C 1353.

Fleuri cut, also called "cross cut," travertine should not be used on floors because it will contain voids just beneath the surface, which will eventually fracture.

B. Cut:  Vein cut.

When used on floors, pores in travertine should be filled to prevent them from accumulating dirt.

C. Filling:  Fill pores on faces of stone with cementitious filler of color [selected by Architect] [matching Architect's sample].

D. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain first paragraph below for added quality control if required.

E. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected in paragraph below with stone suppliers.

F. Thickness:  Not less than [3/4 inch (20 mm)] [30 mm] [1-1/4 inches (32 mm)] unless otherwise indicated.

2.9 OTHER STONE <Insert drawing designation>

A. Provide sound natural stone as follows:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Retain appropriate subparagraphs below and insert values based on test data for acceptable stone varieties, or delete all for proprietary specification.  Absorption and compressive strength are often indicative of ability to resist freezing and thawing.  Absorption is also indicative of stone's ability to resist soiling and staining.  Flexural strength and modulus of rupture are unimportant if stone is fully supported on continuous setting bed.

2. Maximum Absorption per ASTM C 97:  <Insert value>.

3. Minimum Compressive Strength per ASTM C 170:  <Insert value>.

4. Minimum Flexural Strength per ASTM C 880:  <Insert value>.

5. Minimum Modulus of Rupture per ASTM C 99:  <Insert value>.

Abrasion resistance is indicative of ability to resist wear.  Value of 10 is recommended for most floors, with 12 recommended for stairs and floors with heavy foot traffic.  Verify that selected stone complies with specified value.

6. Minimum Stone Abrasion Resistance per ASTM C 241 or ASTM C 1353:  [10] [12] <Insert value>.

B. Finish:  [Polished] [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

Retain first paragraph below for added quality control if required.

C. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected in paragraph below with stone suppliers.

D. Thickness:  Not less than [3/4 inch (20 mm)] [1-1/4 inches (32 mm)] [1-1/2 inches (38 mm)] [1-5/8 inches (40 mm)] [2 inches (50 mm)] unless otherwise indicated.

2.10 MORTAR MATERIALS

Retain listed products in this article for types of mortar used:  setting or pointing mortar or both.  Pointing mortar should be used rather than grout for joints 3/16 inch (5 mm) or wider.  Unsanded grout should be used with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

Delete option in first paragraph below if grout is used rather than pointing mortar.

A. Portland Cement:  ASTM C 150, Type I or II.[  Provide natural color or white cement as required to produce mortar color indicated.]

Retain subparagraph below if recommended by stone source to limit staining.

1. Low-Alkali Cement:  Not more than 0.60 percent total alkali when tested according to ASTM C 114.

B. Hydrated Lime:  ASTM C 207, Type S.

C. Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or III, and hydrated lime complying with ASTM C 207, Type S.

Mix in first paragraph below allows better control of color than does job-mixed, portland cement-lime mortar with pigment added.  Delete if grout is used rather than pointing mortar.

D. Colored Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or III; hydrated lime complying with ASTM C 207, Type S; and mortar pigments consisting of natural and synthetic iron oxides.  Pigments contain no carbon black, have a record of satisfactory performance in mortar, and do not exceed 10 percent of portland cement by weight.  Provide mix formulated to produce color indicated or, if not indicated, as selected from manufacturer's standard colors.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Essroc, Italcementi Group; [Capitol PCL Blend] [or] [Saylor's Plus].

b. Holcim (US) Inc.; Rainbow Mortamix Custom Color Cement/Lime.

c. Lafarge North America Inc.; Eaglebond.

d. Lehigh Cement Company; Lehigh Custom Color Portland/Lime Cement.

e. <Insert manufacturer's name; product name or designation>.

E. Aggregate:  ASTM C 144; except for [joints narrower than 1/4 inch (6 mm)] [and] [pointing mortar], use aggregate graded with 100 percent passing No. 16 (1.18-mm) sieve.

Retain first subparagraph below for white mortar.

1. White Aggregates:  Natural white sand or ground white stone.

Retain subparagraph below for colored-aggregate mortar.

2. Colored Aggregates:  Natural-colored sand or ground marble, granite, or other durable stone; of color necessary to produce required mortar color.

Retain first paragraph below for pigments added at Project site.  Verify that pigments have a successful history of use with stone variety selected.  Delete if grout is used rather than pointing mortar.

F. Mortar Pigments:  Natural and synthetic iron oxides, compounded for use in mortar mixes.  Use pigments with a record of satisfactory performance in mortar and containing no carbon black.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Bayer, Industrial Chemicals Div.; Bayferrox Iron Oxide Pigments.

b. Davis Colors; True Tone Mortar Colors.

c. Solomon Colors; SGS Mortar Colors.

d. <Insert manufacturer's name; product name or designation>.

Retain first paragraph below if required for mortar-bed bond coat, slurry bond coat, and latex-modified portland cement mortar bed.  Additive is available in either concentrated or prediluted form.

G. Latex Additive:  [Manufacturer's standard] [acrylic-resin] [or] [styrene-butadiene-rubber] water emulsion, serving as replacement for part or all of gaging water, of type specifically recommended by latex-additive manufacturer for use with field-mixed portland cement mortar bed, and not containing a retarder.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Boiardi Products Corporation.

b. Bonsal.

c. Bostik Findley Inc.

d. C-Cure.

e. Custom Building Products.

f. DAP Inc.

g. Laticrete International, Inc.

h. MAPEI Corp.

i. Summitville Tiles, Inc.

j. TEC Specialty Construction Brands; H. B. Fuller Company.

k. <Insert manufacturer's name>.

Retain first paragraph below if required for setting thresholds.

H. Thin-Set Mortar:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Boiardi Products Corporation.

b. Bonsal.

c. Bostik Findley Inc.

d. C-Cure.

e. Custom Building Products.

f. DAP Inc.

g. Laticrete International, Inc.

h. MAPEI Corp.

i. Summitville Tiles, Inc.

j. TEC Specialty Construction Brands; H. B. Fuller Company.

k. <Insert manufacturer's name>.

2. Dry-Set Portland Cement Mortar:  ANSI A118.1.

Select subparagraph above or below.

3. Latex-Portland Cement Mortar:  ANSI A118.4, consisting of the following:

Select one of two subparagraphs below if retaining subparagraph above.

a. Prepackaged Dry-Mortar Mix:  Factory-prepared mixture of portland cement; dry, redispersible, ethylene vinyl acetate additive; and other ingredients to which only water needs to be added at Project site.

b. Mixture of Dry-Mortar Mix and Latex Additive:  Mixture of prepackaged dry-mortar mix and [styrene-butadiene-rubber] [or] [acrylic-resin] liquid-latex additive.

I. Water:  Potable.

2.11 GROUT

For joints wider than 3/16 inch (5 mm), grout should be recommended by manufacturer for joint width used or joints should be pointed with mortar instead.

A. Grout Colors:  [Match stone] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Retain types of grout required from four paragraphs below.  Coordinate with installation requirements.  Insert colors required for each type of grout or indicate in a schedule.

Grout in first paragraph below is a Project-site mix of portland cement and fine sand; delete if only factory-prepared products are allowed.  Grout below should not be used for joints with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

B. Sand-Portland Cement Grout:  ANSI A108.10.

Retain one or more of three paragraphs below if factory-prepared products are used.  See Evaluations.

C. Standard Cement Grout:  ANSI A118.6.

Retain one or both subparagraphs below to suit joint widths specified.  Sanded grout should not be used for joints with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

1. Unsanded grout mixture for joints 1/8 inch (3 mm) and narrower.

2. Sanded grout mixture for joints wider than 1/8 inch (3 mm).

D. Polymer Modified Cement Grout:  ANSI A118.7.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Manufacturers below offer factory-mixed grouts with dry polymer additives, latex emulsions, or both.  See the Evaluations in Division 09 Section "Tiling" for additional information.

a. Boiardi Products Corporation.

b. Bonsal.

c. Bostik Findley Inc.

d. C-Cure.

e. Custom Building Products.

f. DAP Inc.

g. Laticrete International, Inc.

h. MAPEI Corp.

i. Summitville Tiles, Inc.

j. TEC Specialty Construction Brands; H. B. Fuller Company.

k. <Insert manufacturer's name>.

Retain one of first three subparagraphs below.

2. Polymer Type:  Ethylene vinyl acetate, in dry, redispersible form, prepackaged with other dry ingredients.

3. Polymer Type:  [Acrylic resin] [or] [styrene-butadiene rubber] in liquid-latex form for addition to prepackaged dry-grout mix.

4. Polymer Type:  Either ethylene vinyl acetate, in dry, redispersible form, prepackaged with other dry ingredients, or acrylic resin or styrene-butadiene rubber in liquid-latex form for addition to prepackaged dry-grout mix.

Retain one or both subparagraphs below to suit joint widths specified.  Sanded grout should not be used for joints with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

5. Unsanded grout mix for joints 1/8 inch (3 mm) and narrower.

6. Sanded grout mix for joints wider than 1/8 inch (3 mm).

Product in paragraph below is more resistant to staining than portland cement-based grouts.  Product below is also the preferred grout for certain types of stone that are prone to warping due to water absorption from setting materials and grouts.  (Although below is water cleanable, it contains very little water.) See Evaluations.

E. Water-Cleanable Epoxy Grout:  ANSI A118.3.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Boiardi Products Corporation.

b. Bonsal.

c. Bostik Findley Inc.

d. C-Cure.

e. Custom Building Products.

f. Laticrete International, Inc.

g. MAPEI Corp.

h. Summitville Tiles, Inc.

i. TEC Specialty Construction Brands; H. B. Fuller Company.

j. <Insert manufacturer's name>.

2.12 ACCESSORIES

Adhesive in first paragraph below is preferred setting material for certain types of stone that are prone to warping due to water absorption from various types of mortars and from water-emulsion organic adhesives.  (Although below is water cleanable, it contains very little water).  Retain option if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for ceramic tile adhesives.

A. Water-Cleanable Epoxy Adhesive:  ANSI A118.3[, with a VOC content of 65 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Bonsal.

b. Bonstone Materials Corporation.

c. C-Cure.

d. Custom Building Products.

e. Laticrete International, Inc.

f. MAPEI Corp.

g. Summitville Tiles, Inc.

h. <Insert manufacturer's name>.

Retain paragraph above or first paragraph below for stone set on pedestals over waterproofing.  Pedestals elevate and level pavers, facilitate drainage, and space and stabilize pavers.  Supports may be of fixed height for stone paving following slope of deck or adjustable for leveling stone paving over a sloped deck.

B. Paver Pedestals:  Manufacturer's standard styrene-butadiene rubber, HDPE, or polyurethane paver support assembly, including [fixed-height] [adjustable or stackable] pedestals, shims, and spacer tabs for joint spacing of [1/8 inch (3 mm)] [or] [3/16 inch (5 mm)].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Bison ScrewJack Company; a United Construction Products Company.

b. Envirospec, Inc.

c. Hanover Architectural Products.

d. Sunny Brook Pressed Concrete Co.

e. Tremco Incorporated.

f. Wausau Tile, Inc.; Terra-Paving Div.

g. <Insert manufacturer's name>.

C. Temporary Spacers:  Resilient plastic, nonstaining to stone, sized to suit joint thickness.

Retain first paragraph below for large stone units or if concrete substrate is subject to movement and deflection.  Asphalt felt may not be suitable for some marble varieties.  Consult fabricator or producer.  Crack-suppression membranes intended for thin-set applications may be used instead of products in paragraph; if required, copy appropriate requirements from Division 09 Section "Tiling."

D. Cleavage Membrane:  Polyethylene sheeting, ASTM D 4397, 4.0 mils (0.1 mm) thick[; or unperforated asphalt felt, ASTM D 226, Type I (No. 15)].

Retain first paragraph below if reinforced mortar bed is required.  Always reinforce mortar bed if a cleavage membrane is used.

E. Reinforcing Wire:  Galvanized, welded, 0.062-inch- (1.57-mm-) diameter wire; 2-by-2-inch (50-by-50-mm) mesh; comply with ASTM A 185 and ASTM A 82 except for minimum wire size.

Retain first paragraph below if required by Project.  Revise to include matching control joints if required.

F. Divider Strips and Edging:  Metal or combination of metal and PVC or neoprene base, designed specifically for flooring applications, in longest lengths available, and as follows:

1. Exposed-Edge Material:  [Half-hard brass] [White zinc alloy] [Nickel silver] [Stainless steel; ASTM A 666, Type 302].

2. Cross-Section Profile:  [Angle or L-shape] [T-shape, single or two part] [Straight shape].

3. Height:  [Match stone thickness] [Equal to stone thickness plus depth of setting bed].

4. Width:  [0.063 inch (1.6 mm)] [1/8 inch (3.2 mm)] [1/4 inch (6.4 mm)] [3/8 inch (10 mm)].

5. Control-Joint Filler:  Neoprene.

G. Abrasive Inserts for Stair Treads:  Abrasive strips consisting of aluminum oxide, silicon carbide, or a combination of both, in an epoxy-resin binder, fabricated for installing in routed grooves of stair treads to provide slip resistance.  Provide epoxy-resin installation adhesive compatible with inserts.

1. Width:  [1/4 inch (6.4 mm)] <Insert width>.

2. Depth:  [1/2 inch (12.7 mm)] <Insert depth>.

3. Length:  [4 inches (100 mm) less than stair width] [As indicated].

Retain first paragraph below if required for joints in exterior paving or for locations where exterior stone paving abuts curbs, vertical surfaces, or other types of paving.

H. Cork Joint Filler:  Preformed strips complying with ASTM D 1752, Type II.

Delete reference to sealer in first paragraph below if floor sealer is not required.

I. Cleaner:  Stone cleaner specifically formulated for stone types, finishes, and applications indicated, as recommended by stone producer[ and, if a sealer is specified, by sealer manufacturer].  Do not use cleaning compounds containing acids, caustics, harsh fillers, or abrasives.

See Evaluations for information on use of floor sealers.

J. Floor Sealer:  Colorless, slip- and stain-resistant sealer that does not affect color or physical properties of stone surfaces, as recommended by stone producer for application indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Bostik Findley Inc.

b. Custom Building Products.

c. Hillyard, Inc.

d. HMK Stone Care System.

e. Miracle Sealants Company.

f. Stonecare International.

g. Summitville Tiles, Inc.

h. <Insert manufacturer's name>.

2.13 MORTAR [AND GROUT ]MIXES

A. Mortar:  Comply with referenced standards and with manufacturers' written instructions for mix proportions, mixing equipment, mixer speeds, mixing containers, mixing time, and other procedures needed to produce mortar of uniform quality and with optimum performance characteristics.

1. Do not use admixtures, including pigments, air-entraining agents, accelerators, retarders, water-repellent agents, antifreeze compounds, or other admixtures, unless otherwise indicated.  Do not use calcium chloride.

2. Combine mortar materials and thoroughly mix in a mechanical batch mixer unless otherwise indicated.  Discard mortar when it has reached initial set.

Retain subparagraph below for prehydrating pointing mortar if required.  Prehydrating mortar allows most of initial shrinkage to occur before mortar is placed in joint.  Delete if grout is used rather than pointing mortar.

3. Mixing Pointing Mortar:  Thoroughly mix cementitious and aggregate materials together before adding any water.  Add only enough water to produce a damp, unworkable mix that will retain its form when pressed into a ball.  Maintain mortar in this dampened condition for one to two hours.  Add remaining water in small portions until mortar reaches desired consistency.  Use mortar within 30 minutes of final mixing; do not retemper or use partially hardened material.

B. Portland Cement-Lime Setting Mortar:  ASTM C 270, Proportion Specification, [Type N] [Type S] [Type N for interior applications and Type S for exterior applications].  Use amount of water to produce a stiff mixture with a moist surface when bed is ready to receive stone.

Delete paragraph above or first paragraph below.  Use of latex-modified portland cement mortar can make curing times undesirably long.  See Evaluations.

C. Latex-Modified Portland Cement Setting Mortar:  Proportion and mix portland cement, aggregate, and latex additive to comply with latex-additive manufacturer's written instructions and to produce a stiff mixture with a moist surface when bed is ready to receive stone.

Retain first paragraph below if mortar bed is installed directly over concrete.  First option can be used with either latex-modified mortar or unmodified portland cement mortar; second option should only be used with unmodified portland cement mortar.

D. Mortar-Bed Bond Coat:  Mix neat cement and [latex additive] [water] to a creamy consistency.

E. Latex-Modified Portland Cement Bond Coat:  Proportion and mix portland cement, aggregate, and latex additive to comply with latex-additive manufacturer's written instructions.

Select paragraph above or first paragraph below.  Retain above with either latex-modified mortar or unmodified portland cement mortar; retain below only with unmodified portland cement mortar.

F. Cement-Paste Bond Coat:  Mix either neat cement or cement and sand with water to a consistency similar to that of thick cream.

Retain first paragraph below if required.  Delete if joints are grouted rather than pointed with mortar.

G. Pointing Mortar:  Comply with requirements indicated above for setting mortar, including type and the following:

Select one of three subparagraphs below.  Ratio in first subparagraph applies only to pigment types listed under materials.  Other pigments, if inserted, may require different limitations.

1. Pigmented Pointing Mortar:  Select and proportion pigments with other ingredients to produce color required.  Do not exceed pigment-to-cement ratio of 1:10, by weight.

2. Packaged Portland Cement-Lime Mix Mortar:  Use portland cement-lime mix of selected color.

3. Colored-Aggregate Pointing Mortar:  Produce color required by combining colored aggregates with portland cement of selected color.

Delete paragraph below if joints are pointed with mortar rather than grouted.

H. Joint Grout:  Comply with mixing requirements in referenced ANSI standards and with manufacturer's written instructions.

2.14 STONE FABRICATION

Delete this article if all stone used is natural-cleft, random-sized, untrimmed material.

A. Select stone for intended use to prevent fabricated units from containing cracks, seams, and starts that could impair structural integrity or function.

Retain subparagraph below if stone varieties used may require repairs.

1. Repairs that are characteristic of the varieties specified are acceptable provided they do not impair structural integrity or function and are not aesthetically unpleasing, as judged by Architect.

B. Fabricate stone to comply with requirements indicated and with the following references:

Retain applicable references in first three subparagraphs below.  No specific reference for slate or quartz-based stone currently exists, but related information is included in MIA's "Dimension Stone - Design Manual." Data are also available from product sources and fabricators.

1. For granite, comply with recommendations in NBGQA's "Specifications for Architectural Granite."

2. For limestone, comply with recommendations in ILI's "Indiana Limestone Handbook."

3. For marble, comply with recommendations in MIA's "Dimension Stone - Design Manual."

4. For stone not otherwise indicated, comply with recommendations in MIA's "Dimension Stone - Design Manual."

C. Cut stone to produce pieces of thickness, size, and shape indicated, including details on Drawings and Shop Drawings.

If different stone types require different patterns, stone edges, and joint widths, consider copying appropriate subparagraphs from seven below to articles specifying stone types; if copying subparagraphs, delete them here.

Retain one of first four subparagraphs below for modular and random arrangements; revise to suit Project.

1. Pattern:  [Rectangular] [Diamond]-grid pattern of [12 by 12 inches (305 by 305 mm)] [18 by 18 inches (457 by 457 mm)] [24 by 24 inches (610 by 610 mm)].

2. Pattern:  Rectilinear [brickwork] [herringbone] pattern of 12-by-24-inch (305-by-610-mm) units.

3. Pattern:  Random, rectangular pattern composed of units not less than [6 inches (152 mm)] [8 inches (203 mm)] or more than [24 inches (610 mm)] [32 inches (813 mm)] in nominal dimension.

4. Pattern:  Random, polygonal pattern composed of units not less than 1 sq. ft. (0.09 sq. m) or more than 5 sq. ft. (0.46 sq. m) in area.

For modular patterns that are too complex to be clearly described and for large panel arrangements custom-cut to fit installation space, retain first subparagraph below and show pattern on Drawings.

5. Pattern:  As indicated.

6. Stone Edges:  [Square cut with top corner slightly eased to prevent snipping] [Square cut with 1/16-inch- (1.5-mm-) wide bevel at top corner] [Rough split] [As indicated].

7. Joint Width:  [1/16 inch (1.5 mm)] [1/8 inch (3 mm)] [1/4 inch (6 mm)] [3/8 inch (10 mm)] <Insert dimension>.

Delete first paragraph below if no marble or other stone with natural markings that allow pattern arrangement.

D. Pattern Arrangement:  Fabricate and arrange stone units with veining and other natural markings to comply with the following requirements:

1. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

2. Arrange units with veining as indicated on Drawings.

Select subparagraph above or first subparagraph below.  Above applies to vein-cut stone (cut perpendicular to bedding plane); below applies to fleuri cut (cut parallel to bedding plane) but may also be used with vein-cut stone.

3. Arrange units in blend pattern.

Retain applicable requirement(s) in subparagraphs below for vein-cut stone (cut perpendicular to bedding plane).  Complement pattern description with drawing indications as required.

4. Book match adjacent units[ in each row and between adjacent rows].

5. Book match adjacent units in each row and arrange units in end-slip pattern between adjacent rows.

6. Arrange units in side-slip[ and end-slip] pattern.

7. Arrange four units adjoining center point of room in two-way book match, and arrange surrounding units in side-slip and end-slip pattern.

8. Number stone units and note numbers on Shop Drawings to designate installed location of each unit.

Retain first paragraph below if thresholds are required.  Show threshold profiles on Drawings.  Be sure thresholds are accessible to people with disabilities.

E. Fabricate stone thresholds in sizes and profiles as indicated or required to provide transition between adjacent floor finishes.

Revise subparagraph below as necessary or delete if accessibility for people with disabilities is not required.  Where difference in floor levels exceeds 1/2 inch (13 mm), a ramp with a slope not exceeding 1:12 must be used for accessibility for people with disabilities; show ramps on Drawings.

1. Bevel edges of thresholds at 1:2 slope, aligning lower edge of bevel with adjacent floor finish.  Limit height of bevel to 1/2 inch (13 mm) or less, and finish bevel to match face of threshold.

Retain first paragraph below if stair treads are required.  Show tread profiles and details of grooves or abrasive inserts on Drawings.

F. Fabricate stone stair treads in sizes and profiles indicated.[  Rout grooves into treads to receive abrasive strips and install strips to comply with manufacturer's written directions.][  Cut grooves about 1/8 inch (3 mm) wide by 1/16 inch (1.5 mm) deep in stair treads as indicated.]

G. Carefully inspect finished stone units at fabrication plant for compliance with requirements for appearance, material, and fabrication.  Replace defective units.  Clean sawed backs of stones to remove rust stains and iron particles.

1. Grade and select stone for overall uniform appearance when assembled in place.

2. Natural variations in appearance are acceptable if installed stone units match range of colors and other appearance characteristics represented in approved Samples[ and mockups].

PART 3 -  EXECUTION

3.1 EXAMINATION

Coordinate conditions required by Work of this Section with requirements in other Sections in which substrates are specified.

A. Examine surfaces indicated to receive stone, with Installer present, for compliance with requirements and other conditions affecting performance.

B. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of stone flooring.

Delete paragraph above if not required.  Always retain paragraph below.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

Coordinate first paragraph below with requirements in other Sections in which substrates are specified.  For concrete substrates, retain requirement in Division 03 Section "Cast-in-Place Concrete" that forbids use of curing and sealing compounds on surfaces covered by ceramic tile, but revise to include stone flooring.

A. [Vacuum clean] [Sweep] concrete substrates to remove dirt, dust, debris, and loose particles.

B. Remove substances from concrete substrates that could impair mortar bond, including curing and sealing compounds, form oil, and laitance.

C. Clean dirty or stained stone surfaces by removing soil, stains, and foreign materials before setting.  Clean stone by thoroughly scrubbing with fiber brushes and then drenching with clear water.  Use only mild cleaning compounds that contain no caustic or harsh materials or abrasives.

3.3 INSTALLATION, GENERAL

Retain or revise requirements in this article to suit Project; delete others.

A. Do necessary field cutting as stone is set.  Cut lines straight and true and finish field-cut edges to match shop-cut edges.

1. Use power saws with diamond blades to cut stone[ except for stone that is specified to have rough-split edges].

Revise first paragraph below if Shop Drawings are not required.

B. Set stone to comply with Drawings and Shop Drawings.[  Match stone for color and pattern by using units numbered in sequence as indicated on Shop Drawings.]

C. Scribe and field-cut stone as necessary to fit at obstructions.  Produce neat joints of size specified or indicated.

D. Expansion- and Control-Joint Installation:  Locate and install according to Drawings and Shop Drawings.

3.4 INSTALLATION TOLERANCES

A. Variation in Line:  For positions shown in plan for edges of paving, flooring, ramps, steps, changes in color or finish, and continuous joint lines, do not exceed 1/8 inch in 96 inches (3 mm in 2400 mm), 1/4 inch in 20 feet (6 mm in 6 m), or 3/8 inch (10 mm) maximum.

B. Variation in Joint Width:  Do not vary joint thickness more than 1/16 inch (1.5 mm) or 1/4 of nominal joint width, whichever is less.

Tolerances in first two paragraphs below are generally appropriate for smooth-finished stone flooring.  Revise for natural-cleft, thermal, and similar finishes.  Retain, delete, or revise to suit Project.

C. Variation in Surface Plane:  Do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 3/8 inch (10 mm) maximum from level or slope indicated.

D. Variation in Plane between Adjacent Units (Lipping):  Do not exceed 1/32-inch (0.8-mm) difference between planes of adjacent units.

3.5 INSTALLATION OF STONE DIRECTLY OVER CONCRETE

Delete this article if all stone is installed over a cleavage membrane or over waterproofing.  Thin-set methods are not included here because they are generally not recommended unless stone units are small.  If thin-set methods are required, copy appropriate requirements from Division 09 Section "Stone Tiling."

A. Saturate concrete with clean water several hours before placing setting bed.  Remove surface water about one hour before placing setting bed.

B. Apply mortar-bed bond coat to damp concrete and broom to provide an even coating that completely covers the concrete.  Do not exceed 1/16-inch (1.5-mm) thickness.  Limit area of mortar-bed bond coat to avoid its drying out before placing setting bed.

Retain subparagraph below if reinforcing wire mesh is used.

1. Place reinforcing wire mesh over concrete, lapped at joints by at least one full mesh and supported so mesh becomes embedded in middle of setting bed.  Hold edges back from vertical surfaces about 1/2 inch (13 mm).

C. Apply mortar bed immediately after applying mortar-bed bond coat.  Spread, tamp, and screed to uniform thickness at elevations required for setting stone to finished elevations indicated.

D. Mix and place only that amount of mortar bed that can be covered with stone before initial set.  Cut back, bevel edge, and discard material that has reached initial set before stone can be placed.

E. Place stone before initial set of mortar occurs.  Immediately before placing stone on setting bed, apply uniform 1/16-inch- (1.5-mm-) thick bond coat to bed or to back of each stone unit.

F. Tamp and beat stone with a wooden block or rubber mallet to obtain full contact with setting bed and to bring finished surfaces within indicated tolerances.  Set each unit in a single operation before initial set of mortar; do not return to areas already set and disturb stone for purposes of realigning finished surfaces or adjusting joints.

G. Rake out joints to depth required to receive [grout] [pointing mortar] as units are set.

Delete paragraph below if joints are grouted rather than pointed.

H. Point joints after setting.  Fill full with mortar type and color indicated.  Tool joints flat, uniform, and smooth, without visible voids.

3.6 INSTALLATION OF STONE OVER [CLEAVAGE MEMBRANE] [WATERPROOFING]

Retain one of first two paragraphs below.

A. Place cleavage membrane over substrates indicated to receive stone, lapped at least 4 inches (100 mm) at joints.

B. See Division 07 waterproofing Section for installation of waterproofing[ and protection board].

1. Carefully place stone and setting materials over waterproofing so protection materials are not displaced and waterproofing is not punctured or otherwise damaged.  Replace protection materials that become displaced and arrange for repair of damaged waterproofing before covering with stone.

Cork filler in subparagraph below will protect waterproofing against stone and will form an expansion joint.

2. Provide cork joint filler, where indicated, at waterproofing that is turned up on vertical surfaces or, if not indicated, provide temporary filler or protection until stone paving installation is complete.

C. Place reinforcing wire fabric over [cleavage membrane] [waterproofing] [protection board], lapped at least one full mesh at joints and supported so mesh becomes embedded in middle of setting bed.  Hold edges back from vertical surfaces about 1/2 inch (13 mm).

D. Place mortar bed over [cleavage membrane] [waterproofing] [protection board] with reinforcing wire fabric fully embedded in middle of mortar bed.  Spread, tamp, and screed to uniform thickness at elevations required for setting stone to finished elevations indicated.

E. Mix and place only that amount of mortar bed that can be covered with stone before initial set.  Cut back, bevel edge, and discard material that has reached initial set before stone can be placed.

F. Place stone before initial set of mortar occurs.  Immediately before placing stone on setting bed, apply uniform 1/16-inch- (1.5-mm-) thick bond coat to bed or to back of each stone unit.

G. Tamp and beat stone with a wooden block or rubber mallet to obtain full contact with setting bed and to bring finished surfaces within indicated tolerances.  Set each unit in a single operation before initial set of mortar; do not return to areas already set and disturb stone for purposes of realigning finished surfaces or adjusting joints.

H. Rake out joints to depth required to receive [grout] [pointing mortar] as units are set.

Delete paragraph below if joints are grouted rather than pointed.

I. Point joints after setting.  Fill full with mortar type and color indicated.  Tool joints flat, uniform, and smooth, without visible voids.

3.7 INSTALLATION OF STONE PAVING ON PEDESTALS OVER WATERPROOFING

A. See Division 07 waterproofing Section for installation of waterproofing[ and protection board].

B. Accurately install [fixed] [adjustable]-height pedestals and other accessories to elevations required.  Adjust for final level and slope with shims.

Delete concrete fill in subparagraph below unless using Wausau's tilting and telescoping pedestals.

1. Fill pedestal with concrete mix, strike smooth with top of pedestal, and cure according to ACI 301.

C. Loosely lay stone paving units on pedestals, maintaining a uniform, open joint width.  Tightly seat stone units against spacers to eliminate lateral movement or drift of paving assembly.  Align joint patterns parallel in each direction.

Revise subparagraph below to suit Project.  Consider paved area layout, stone module, and construction tolerances when imposing limits.  Verify minimum dimensions with stone supplier.  Minimum pedestal dimensions may also govern.

1. Lay out stone units to avoid less than half-width units at perimeter or other terminations.

D. Install stone paving units to not vary more than 1/16 inch (1.5 mm) in elevation between adjacent units.

3.8 STONE THRESHOLD INSTALLATION

A. At locations adjacent to stone flooring, install stone thresholds in same type of setting bed as abutting stone flooring unless otherwise indicated.

Retain subparagraph below if required.

1. Set thresholds in thin-set, latex-portland cement mortar to comply with ANSI A108.5 at locations where mortar bed would otherwise be exposed above other adjacent paving and flooring.

B. At locations not adjacent to stone flooring, install stone thresholds in [thin-set, latex-portland cement mortar to comply with ANSI A108.5] [water-cleanable epoxy adhesive to comply with ANSI A108.4].

3.9 STONE STAIR TREAD[ AND RISER] INSTALLATION

Retain one of two paragraphs below.

A. Install stone stair treads [and risers ]to comply with "Installation of Stone Directly over Concrete" Article.

B. Install stone stair treads [and risers ]in [thin-set, latex-portland cement mortar to comply with ANSI A108.5] [water-cleanable epoxy adhesive to comply with ANSI A108.4].

3.10 GROUTING

Delete this article if joints are pointed with mortar rather than grouted.  Grouts may be used for stone joints less than 3/16 inch (5 mm) wide; wider joints should be pointed with mortar unless grout manufacturer recommends product for joints wider than 3/16 inch (5 mm).  Retain first paragraph below if sand-portland, standard, or polymer-modified cement grout is used.

A. Grout stone joints with [sand-portland] [standard] [or] [polymer-modified] cement grout to comply with ANSI A108.10 and with manufacturer's written instructions.

Usually retain first subparagraph below.  See Evaluations.

1. Do not use sanded grout for polished stone.

2. Grout joints as soon as possible after initial set of setting bed.  Force grout into joints, taking care not to smear grout on adjoining stone and other surfaces.  After initial set of grout, finish joints by tooling to produce a slightly concave polished joint, free of drying cracks.

3. Cure grout by maintaining in a damp condition for seven days except as otherwise recommended by manufacturer.

Retain paragraph below if epoxy grout is used.

B. Grout stone joints with water-cleanable epoxy grout to comply with ANSI A108.6 and with manufacturer's written instructions.

3.11 ADJUSTING AND CLEANING

A. Remove and replace stonework of the following description:

1. Broken, chipped, stained, or otherwise damaged stone.  Stone may be repaired if methods and results are approved by Architect.

2. Defective joints.

3. Stone paving, flooring, and joints not matching approved Samples and mockups.

4. Stonework not complying with other requirements indicated.

B. Replace in a manner that results in stonework matching approved Samples and mockups, complying with other requirements, and showing no evidence of replacement.

C. In-Progress Cleaning:  Clean stonework as work progresses.  Remove mortar fins and smears before tooling joints.

Revise first paragraph below to suit Project.

D. Clean stonework after setting and grouting are complete.  Use procedures recommended by stone fabricator for types of application.

Retain paragraph below if sealer is required.

E. Apply sealer to cleaned stonework according to sealer manufacturer's written instructions.

3.12 PROTECTION

A. Prohibit traffic from installed stone for a minimum of 72 hours.

B. Protect installed stonework during construction with nonstaining kraft paper.  Where adjoining areas require construction work access, cover stonework with a minimum of 3/4-inch (20-mm) untreated plywood over nonstaining kraft paper.

END OF SECTION 096340

STONE FLOORING
096340 - 1

