Copyright 2005 AIA
MASTERSPEC Full Length
11/05

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 102213 - WIRE MESH PARTITIONS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Standard-duty wire mesh partitions.

2. Heavy-duty wire mesh partitions.

3. Wire mesh ceilings.

4. Wire mesh storage lockers.

5. Wire mesh stairway partitions.

6. Wire mesh equipment barriers.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 03 Section "Cast-in-Place Concrete" for building anchors into concrete construction for wire mesh partitions.

2. Division 04 Section "Unit Masonry" for building anchors into masonry construction for wire mesh partitions.

3. Division 05 Section "Pipe and Tube Railings" for railing systems requiring wire mesh railing insert panels.

4. Division 09 Section "[Exterior Painting] [Interior Painting]" for field painting wire mesh items.

5. Division 32 Section "Chain Link Fences and Gates" for chain-link fencing.

1.3 DEFINITIONS

Retain definition(s) remaining after this Section has been edited.  "Intermediate crimp" is also called "intercrimped" and "triple crimped."  Lock crimp has a smoother appearance than intermediate crimp.

A. As defined in ASTM E 2016:

1. Intermediate Crimp:  Wires pass over one and under the next adjacent wire in both directions, with wires crimped before weaving and with extra crimps between the intersections.

2. Lock Crimp:  Deep crimps at points of the intersection that lock wires securely in place.

1.4 PERFORMANCE REQUIREMENTS

Retain first paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design:  Design wire mesh units, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Revise paragraph above and first paragraph below if not all wire mesh units require design by performance requirements.

B. Structural Performance:  Wire mesh units shall withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated according to [SEI/ASCE 7] <Insert requirement>:

Consult a structural engineer experienced in engineering wire mesh partitions of type indicated to quantify design loads applicable to Project.  Verify compliance with codes.  See Evaluations.

Retain one or more subparagraphs below if design loads and load combinations are not indicated on Drawings.

1. Seismic Loads:  <Insert loads>.

2. Wind Loads:  <Insert loads>.

3. <Insert loads or load combinations>.

C. Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

1.5 SUBMITTALS

First five paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for wire mesh items.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if wire mesh partitions include service windows, doors, or gates.

1. Include clearances required for operation of [service windows] [doors] [and] [gates].

C. Setting Drawings:  For anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in [concrete] [or] [masonry].

D. Samples for Initial Selection:  For units with factory-applied color finishes.

Delete "Samples for Initial Selection" Paragraph above if colors are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  12-by-12-inch (300-by-300-mm) panel constructed of specified frame members and wire mesh.  Show method of finishing members at intersections.

First paragraph below is defined in Division 01 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

F. Delegated-Design Submittal:  For wire mesh units indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For qualified [Installer] [professional engineer].

Retain first paragraph below if retaining procedures for welder certification in "Quality Assurance" Article.

H. Welding certificates.

I. Maintenance Data:  For wire mesh unit hardware to include in maintenance manuals.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  [Fabricator of products] [An employer of workers trained and approved by manufacturer].

Retain both subparagraphs below if Contractor is required to assume responsibility for engineering.

1. Installer's responsibilities include fabricating and installing wire mesh items and providing professional engineering services needed to assume engineering responsibility.

2. Engineering Responsibility:  Preparation of data for wire mesh items, including Shop Drawings, based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project.

B. Source Limitations:  Obtain wire mesh items from single source from single manufacturer.

Retain "Welding Qualifications" Paragraph below if shop or field welding is required.  If retaining, also retain "Welding certificates" Paragraph in "Submittals" Article.

C. Welding Qualifications:  Qualify procedures and personnel according to the following:

Retain applicable subparagraph(s) below.

1. AWS D1.1/D1.1M, "Structural Welding Code - Steel."

2. AWS D1.3, "Structural Welding Code - Sheet Steel."

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

D. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.7 DELIVERY, STORAGE, AND HANDLING

Packaging in first paragraph below may increase cost but may be required for painted items.

A. Deliver wire mesh items [with cardboard protectors on perimeters of panels and doors and with posts wrapped] [palleted] [crated] to provide protection during transit and Project-site storage.  Use vented plastic.

B. Inventory wire mesh partition door hardware on receipt and provide secure lockup for wire mesh partition door hardware delivered to Project site.

1. Tag each item or package separately with identification and include basic installation instructions with each item or package.

C. Deliver keys to Owner by registered mail or overnight package service[.][, addressed as follows:]

1. <Insert name and address of Owner's representative>.

1.8 PROJECT CONDITIONS

A. Field Measurements:  Verify actual dimensions of construction contiguous with wire mesh units by field measurements before fabrication.

1.9 EXTRA MATERIALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Door Locks:  Equal to [5] <Insert number> percent of amount installed for each type indicated, but no fewer than <Insert number> locks.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Acorn Wire & Iron Works, Inc.

2. American Woven Wire Corporation.

3. California Wire Products Corporation.

4. Central Wire and Iron.

5. Donaldson, R. J., Inc.

6. Folding Guard Corporation.

7. G-S Company (The).

8. Indiana Wire Products, Inc.

9. Jesco Industries, Inc.

10. Kenco Wire and Iron Products Inc.

11. Kentucky Metal Products Co.

12. King Wire Partitions, Inc.

13. Lakeside Wire and Iron Company.

14. Miller Wire Works, Inc.

15. Newark Wire Works Inc.

16. Standard Wire & Steel Works.

17. Wire Crafters, LLC.

18. <Insert manufacturer's name>.

2.2 MATERIALS

A. Steel Wire:  ASTM A 510 (ASTM A 510M).

B. Steel Plates, Channels, Angles, and Bars:  ASTM A 36/A 36M.

C. Cold-Rolled Steel Sheet:  ASTM A 1008/A 1008M, Commercial Steel (CS), Type B.

D. Steel Pipe:  ASTM A 53/A 53M, Schedule 40 unless another weight is indicated or required by structural loads.

Steel tubing and pipe are sized differently.  Pipe is designated by nominal pipe size and weight or schedule number.  Tubing is designated by OD and wall thickness.

E. Square Steel Tubing: ASTM A 500, cold-formed structural-steel tubing.

F. Metallic-Coated Steel Sheet:  ASTM A 653/A 653M, Commercial Steel (CS), Type B; with G60 (Z180) zinc (galvanized) or A60 (ZF180) zinc-iron-alloy (galvannealed) coating designation.

G. Panel-to-Panel Fasteners:  Manufacturer's standard steel bolts, nuts, and washers.

H. Postinstalled Expansion Anchors:  With capability to sustain, without failure, load imposed within factors of safety indicated, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

Retain one of first two subparagraphs below.  If more than one type of material is required, indicate location of each on Drawings.  Zinc plating of class indicated protects against corrosion from an indoor atmosphere; revise thickness to suit more corrosive conditions or use stainless steel.

1. Carbon Steel:  Zinc plated to comply with ASTM B 633, Class Fe/Zn 5 (0.005 mm) for Class SC 1 service condition (mild).

2. Stainless Steel:  ASTM F 593 and ASTM F 594, Alloy Group 1 or 2 (ASTM F 738M and ASTM F 836M, Alloy Group 1 or 4), for bolts and nuts; ASTM A 276 or ASTM A 666, Type 304 or 316, for anchors.

Subparagraphs below are examples only; verify safety factors to suit anchorage conditions and types of anchors indicated.  Overhead, vibratory, and other critical loads generally require higher safety factors.

3. For Postinstalled Anchors in Concrete:  Capability to sustain, without failure, a load equal to [four] <Insert number> times the loads imposed.

4. For Postinstalled Anchors in Grouted Masonry Units:  Capability to sustain, without failure, a load equal to [six] <Insert number> times the loads imposed.

Retain first paragraph below if power-actuated fasteners are allowed.

I. Power-Actuated Fasteners in Concrete:  Fastener system of type suitable for application indicated and fabricated from corrosion-resistant materials; with clips or other accessory devices for attaching hangers of type indicated, and with capability to sustain, without failure, a load equal to [10] <Insert number> times that imposed by wire mesh construction, as determined by testing per ASTM E 1190, conducted by a qualified testing and inspecting agency.

First paragraph below is an example only.  Revise to suit Project.

J. Seismic Bracing:  Angles with legs not less than 1-1/4 inch (32 mm) wide, formed from 0.04-inch- (1-mm-) thick, metallic-coated steel sheet; with bolted connections and 1/4-inch- (6-mm-) diameter bolts.

Retain one or more of first three paragraphs below.  Retain first paragraph if primers are specified in another Section.  Retain second for a typical shop primer for painted finishes that provides minimum protection to steel.  Retain third for a typical primer for high-performance coating.  If retaining second or third paragraph, indicate location of each primer on Drawings or in a schedule.

K. Shop Primers:  Provide primers that comply with [Division 09 painting Sections.] [Division 09 Section "High-Performance Coatings."]

L. Universal Shop Primer:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer, complying with MPI#79.

Retain subparagraph below if zinc-rich primer is used.

1. Use primer containing pigments that make it easily distinguishable from zinc-rich primer.

M. Zinc-Rich Primer:  Compatible with topcoat, complying with SSPC-Paint 20 or SSPC-Paint 29.

Retain first paragraph below for galvanized fabrications.

N. Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

2.3 STANDARD-DUTY WIRE MESH PARTITIONS

Mesh in first paragraph below is industry standard for standard-duty wire mesh.  Revise to suit mesh with different wire diameter or different pattern.

A. Mesh:  0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into 1-1/2-inch (38-mm) diamond mesh.

B. Vertical Panel Framing:  1-1/4-by-5/8-by-0.097-inch (32-by-16-by-2.5-mm) cold-rolled, C-shaped steel channels with 1/4-inch- (6-mm-) diameter bolt holes spaced not more than 18 inches (450 mm) o.c. along center of framing.

Vertical panel framing in paragraph above provides greater stiffness and rigidity than option in first paragraph below.

C. Horizontal[ and Vertical] Panel Framing:  1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels.

D. Horizontal Panel Stiffeners:  2 cold-rolled steel channels, not less than 1 by 3/8 by 1/8 inch (25 by 9.5 by 3 mm), bolted or riveted toe to toe through mesh or 1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels with wire woven through.

E. Top Capping Bars:  2-1/4-by-1-inch (57-by-25-mm) cold-rolled steel channels.

F. Posts for 90-Degree Corners:  1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angles with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing; with floor anchor clips.

G. Posts for Other-Than-90-Degree Corners:  Manufacturer's standard steel pipe or tubing with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing.

1. Partitions up to 12 Feet (3.7 m) High:  1-1/4-inch (32-mm) OD.

2. Partitions up to 20 Feet (6.1 m) High:  2-1/2-inch (65-mm) OD.

H. Adjustable Corner Posts:  2, manufacturer's standard steel pipe or tubing posts connected by steel hinges at 36 inches (900 mm) o.c. attached to posts; with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing.

I. Line Posts:  3-inch-by-4.1-lb (76-mm-by-1.9-kg) or 3-1/2-by-1-1/4-by-0.127-inch (89-by-32-by-3.2-mm) steel channels; with 5-by-18-by-1/4-inch (125-by-450-by-6-mm) steel base plates punched for attachment to floor.

J. [Three-] [and] [Four-]Way Intersection Posts:  1-1/4-by-1-1/4-inch (32-by-32-mm) tubular steel, with 1/4-inch- (6-mm-) diameter bolt holes aligned for bolting to adjacent panels.

K. Floor Shoes:  Steel, cast iron, or cast aluminum, not less than 2 inches (50 mm) high; sized to suit vertical framing, drilled for attachment to floor, and with set screws for leveling adjustment.

L. Swinging Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels or C-channels, banded with 1-1/4-by-1/8-inch (32-by-3-mm) flat steel bar cover plates on [3] [4] sides, and with 1/8-inch- (3-mm-) thick angle strike bar and cover on strike jamb.

1. Hinges:  Full-surface type, 3-by-3-inch (76-by-76-mm) steel, 1-1/2 pairs per door; bolted, riveted, or welded to door and jamb framing.

2. Padlock Lug:  Mortised into door framing and enclosed with steel cover.

Retain subparagraph above or first subparagraph below.  Recessed turn knob in fourth option below is prevalent but may not comply with accessibility requirements if applicable.

3. Cylinder Lock:  Mortise type with [manufacturer's standard cylinder] [cylinder specified in Division 08 Section "Door Hardware"] [cylinder specified in Division 08 Section "Door Hardware (Scheduled by Describing Products)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

Retain subparagraph below for double doors.

4. Inactive Leaf Hardware:  Cane bolt at bottom and chain bolt at top.

M. Swinging Dutch Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels or C-channels, banded with 1-1/4-by-1/8-inch (32-by-3-mm) flat steel bar cover plates on [3] [4] sides, and with 1/8-inch- (3-mm-) thick angle strike bar and cover on strike jamb.

1. Hinges:  Full-surface type, 3-by-3-inch (76-by-76-mm) steel, 1 pair per section of door (top and bottom); bolted, riveted, or welded to door and jamb framing.

Recessed turn knob in fourth option in first subparagraph below is prevalent but may not comply with accessibility requirements if applicable.

2. Cylinder Lock:  Mortise type with [manufacturer's standard cylinder] [cylinder specified in Division 08 Section "Door Hardware"] [cylinder specified in Division 08 Section "Door Hardware (Scheduled by Describing Products)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside; mounted in lower section of door.

3. Bolt:  Mounted in, securing upper section of door.

4. Shelf:  Fabricated from 0.097-inch- (2.5-mm-) thick, cold-rolled steel sheet, 12 inches (300 mm) deep by full width of door; with corners rounded and edges finished smooth; mounted on top of lower section of door and braced with manufacturer's standard brackets.

N. Sliding Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3-mm) steel channels or C-channels, banded with 1-1/2-by-1/8-inch (38-by-3-mm) flat steel bar cover plates on 4 sides.

1. Hardware:  Two, four-wheel roller-bearing carriers, box track, and bottom guide channel for each door.

2. Padlock Lug:  Mortised into door framing and enclosed with steel cover.

Retain subparagraph above or below.  Recessed turn knob in fourth option below is prevalent but may not comply with accessibility requirements if applicable.

3. Cylinder Lock:  Mortise type with [manufacturer's standard cylinder] [cylinder specified in Division 08 Section "Door Hardware"] [cylinder specified in Division 08 Section "Door Hardware (Scheduled by Describing Products)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

O. Vertically Sliding Service Windows:  Fabricated from same mesh and framing as panels and equipped with [spring catch] [slide bolts] on each jamb that locks window in open and closed positions.  Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels or C-channels.

1. Size:  [24 inches wide by 18 inches high (600 mm wide by 450 mm high)] [As indicated] <Insert dimensions>.

2. Shelf:  Fabricated from 0.097-inch- (2.5-mm-) thick, cold-rolled steel sheet; with corners rounded and edges finished smooth; braced with manufacturer's standard brackets.

a. Size:  [24 inches wide by 12 inches deep (600 mm wide by 300 mm deep)] [As indicated] <Insert dimensions>.

P. Swinging Service Windows:  Fabricated from same mesh and framing as panels and equipped with spring catch on strike jamb that locks window in closed position.  Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels or C-channels.

1. Size:  [24 inches wide by 18 inches high (600 mm wide by 450 mm high)] [As indicated] <Insert dimensions>.

2. Shelf:  Fabricated from 0.097-inch- (2.5-mm-) thick, cold-rolled steel sheet; with corners rounded and edges finished smooth; braced with manufacturer's standard brackets.

a. Size:  [24 inches wide by 12 inches deep (600 mm wide by 300 mm deep)] [As indicated] <Insert dimensions>.

Q. Accessories:

First subparagraph below is for wainscot panels.

1. Sheet Metal Base:  Not less than 0.060-inch- (1.5-mm-) thick, cold-rolled steel sheet.

2. Adjustable Filler Panels:  Not less than 0.060-inch- (1.5-mm-) thick, cold-rolled steel sheet; capable of filling openings from 2 to 12 inches (50 to 300 mm).

3. Wall Clips:  Manufacturer's standard, cold-rolled steel sheet[; allowing up to 1 inch (25 mm) of adjustment].

R. Finish for Uncoated Ferrous Steel:  [Hot-dip galvanized] [Hot-dip galvanized and shop primed for field painting] [Shop primed for field painting] [Shop coat] [Baked-enamel finish] [Powder-coated finish] unless otherwise indicated.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.4 HEAVY-DUTY WIRE MESH PARTITIONS

Mesh in first paragraph below is industry standard for heavy-duty wire mesh.  Revise to suit mesh with different wire diameter or different pattern.

A. Mesh:  0.192-inch- (4.8-mm-) diameter, intermediate-crimp steel wire woven into 2-inch (50-mm) diamond mesh.

B. Vertical and Horizontal Panel Framing:  1-1/2-by-3/4-by-0.097-inch (38-by-19-by-2.5-mm) cold-rolled, C-shaped steel channels; with 3/8-inch- (9.5-mm-) diameter bolt holes spaced not more than 18 inches (450 mm) o.c. along center of framing.

Retain paragraph above or first paragraph below to suit Project.

C. Vertical and Horizontal Panel Framing:  1-1/2-by-3/4-by-1/4-inch (38-by-19-by-6-mm) cold-rolled steel channels; with 3/8-inch- (9.5-mm-) diameter bolt holes spaced not more than 18 inches (450 mm) o.c. along center of framing.  Provide vertical panel stiffeners in shapes and sizes as recommended by manufacturers.

D. Horizontal Panel Stiffeners:  2 cold-rolled steel channels, not less than 1 by 1/2 by 1/8 inch (25 by 13 by 3 mm), bolted or riveted toe to toe through mesh or 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3-mm) cold-rolled steel channels with wire woven through.

E. Top Capping Bars:  3-inch-by-4.1-lb (76-mm-by-1.9-kg) hot-rolled steel channels.

F. Posts for 90-Degree Corners:  2-by-2-by-1/8-inch (50-by-50-by-3-mm) steel angles with 3/8-inch- (9.5-mm-) diameter bolt holes aligning with bolt holes in vertical framing; with floor anchor clips.

G. Posts for Other-Than-90-Degree Corners:  Manufacturer's standard steel 2-inch- (50-mm) OD pipe or tubing with 3/8-inch- (9.5-mm-) diameter bolt holes aligning with bolt holes in vertical framing.

H. Adjustable Corner Posts:  2, manufacturer's standard steel pipe or tubing posts connected by steel hinges at 36 inches (900 mm) o.c. attached to posts; with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing.

I. Line Posts:  3-inch-by-4.1-lb (76-mm-by-1.9-kg) or 3-1/2-by-1-1/4-by-0.1265-inch (89-by-32-by-3.2-mm) steel channels; with 5-by-18-by-1/4-inch (125-by-450-by-6-mm) steel base plates punched for attachment to floor.

J. [Three-] [and] [Four-]Way Intersection Posts:  2-by-2-inch (50-by-50-mm) tubular steel, with 3/8-inch- (9.5-mm-) diameter bolt holes aligned for bolting to adjacent panels.

K. Floor Shoes:  Steel, cast iron, or cast aluminum, not less than 2 inches (50 mm) high; sized to suit vertical framing, drilled for attachment to floor, and with set screws for leveling adjustment.

L. Swinging Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3-mm) steel channels or C-channels, banded with 1-1/2-by-1/8-inch (38-by-3-mm) flat steel bar cover plates on 4 sides, and with 1/8-inch- (3-mm-) thick angle strike bar and cover on strike jamb.

1. Hinges:  Full-surface type, 3-1/2-by-3-1/2-inch (89-by-89-mm) steel, 1-1/2 pairs per door; bolted, riveted, or welded to door and jamb framing.

2. Padlock Lug:  Mortised into door framing and enclosed with steel cover.

Retain subparagraph above or first subparagraph below.  Recessed turn knob in fourth option below is prevalent but may not comply with accessibility requirements if applicable.

3. Cylinder Lock:  Mortise type with [manufacturer's standard cylinder] [cylinder specified in Division 08 Section "Door Hardware"] [cylinder specified in Division 08 Section "Door Hardware (Scheduled by Describing Products)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

Retain subparagraph below for double doors.

4. Inactive Leaf Hardware:  Cane bolt at bottom and chain bolt at top.

M. Swinging Dutch Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3-mm) steel channels or C-channels, banded with 1-1/2-by-1/8-inch (38-by-3-mm) flat steel bar cover plates on [3] [4] sides, and with 1/8-inch- (3-mm-) thick angle strike bar and cover on strike jamb.

1. Hinges:  Full-surface type, 3-1/2-by-3-1/2-inch (89-by-89-mm) steel, 1 pair per section of door (top and bottom); bolted, riveted, or welded to door and jamb framing.

Recessed turn knob in fourth option in first subparagraph below is prevalent but may not comply with accessibility requirements if applicable.

2. Cylinder Lock:  Mortise type with [manufacturer's standard cylinder] [cylinder specified in Division 08 Section "Door Hardware"] [cylinder specified in Division 08 Section "Door Hardware (Scheduled by Describing Products)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

3. Bolt:  Mounted in, securing upper section of door.

4. Shelf:  Fabricated from 0.097-inch- (2.5-mm-) thick, cold-rolled steel sheet, 12 inches (300 mm) deep by full width of door; with corners rounded and edges finished smooth; mounted on top of lower section of door and braced with manufacturer's standard brackets.

N. Sliding Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3-mm) steel channels or C-channels, banded with 1-1/2-by-1/8-inch (38-by-3-mm) flat steel bar cover plates on 4 sides.

1. Hardware:  Two, four-wheel roller-bearing carriers, box track, and bottom guide channel for each door.

2. Padlock Lug:  Mortised into door framing and enclosed with steel cover.

Retain subparagraph above or below.  Recessed turn knob in fourth option below is prevalent but may not comply with accessibility requirements if applicable.

3. Cylinder Lock:  Mortise type with [manufacturer's standard cylinder] [cylinder specified in Division 08 Section "Door Hardware"] [cylinder specified in Division 08 Section "Door Hardware (Scheduled by Describing Products)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

O. Vertically Sliding Service Windows:  Fabricated from same mesh and framing as panels and equipped with [spring catch] [slide bolts] on each jamb that locks window in open and closed positions.  Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels or C-channels.

1. Size:  [24 inches wide by 18 inches high (600 mm wide by 450 mm high)] [As indicated] <Insert dimensions>.

2. Shelf:  Fabricated from 0.097-inch- (2.5-mm-) thick, cold-rolled steel sheet; with corners rounded and edges finished smooth; braced with manufacturer's standard brackets.

a. Size:  [24 inches wide by 12 inches deep (600 mm wide by 300 mm deep)] [As indicated] <Insert dimensions>.

P. Swinging Service Windows:  Fabricated from same mesh and framing as panels and equipped with spring catch on strike jamb that locks window in closed position.  Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels or C-channels.

1. Size:  [24 inches wide by 18 inches high (600 mm wide by 450 mm high)] [As indicated] <Insert dimensions>.

2. Shelf:  Fabricated from 0.097-inch- (2.5-mm-) thick, cold-rolled steel sheet; with corners rounded and edges finished smooth; braced with manufacturer's standard brackets.

a. Size:  [24 inches wide by 12 inches deep (600 mm wide by 300 mm deep)] [As indicated] <Insert dimensions>.

Q. Accessories:

First subparagraph below is for wainscot panels.

1. Sheet Metal Base:  Not less than 0.060-inch- (1.5-mm-) thick, cold-rolled steel sheet.

2. Adjustable Filler Panels:  Not less than 0.0598-inch- (1.5-mm-) thick, cold-rolled steel sheet; capable of filling openings from 2 to 12 inches (50 to 300 mm).

3. Wall Clips:  Manufacturer's standard, cold-rolled steel sheet[; allowing up to 1 inch (25 mm) of adjustment].

R. Finish for Uncoated Ferrous Steel:  [Hot-dip galvanized] [Hot-dip galvanized and shop primed for field painting] [Shop primed for field painting] [Shop coat] [Baked-enamel finish] [Powder-coated finish] unless otherwise indicated.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.5 WIRE MESH CEILINGS

Wire mesh ceilings are typically installed along with wire mesh partitions.  Revise this article if wire mesh ceilings are required to suit Project but wire mesh partitions are not.  Consult manufacturers for recommendations.

A. Mesh, Framing, and Stiffeners:  Fabricated from same mesh and framing as wire mesh partition panels.

B. Perimeter Partition Supports:  1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3-mm) steel angle, with 1/4-inch- (6-mm-) diameter bolt holes aligned for bolting to top of wire mesh partitions and to sides of wire mesh ceiling panels.

C. Wall Supports:  1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3-mm) steel angle punched for attachment to wall and wire mesh ceiling panels.

D. Intermediate Supports:  Steel I-beam, as recommended by manufacturer.

E. Intermediate Support Posts:  2-by-2-by-1/8-inch (50-by-50-by-3-mm) steel pipe or tubing.

F. Finishes:  Match adjacent wire mesh partitions.

2.6 WIRE MESH STORAGE LOCKERS

A. Unit Sizes:

1. Width:  [36 inches (914 mm)] [48 inches (1219 mm)] <Insert dimension>.

2. Depth:  [36 inches (914 mm)] [48 inches (1219 mm)] [60 inches (1524 mm)] <Insert dimension>.

3. Height:  [90 inches (2286 mm)] <Insert dimension>.

B. Mesh:  0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into [1-1/2-inch (38-mm) diamond] [1-by-2-inch (25-by-50-mm) rectangular] mesh.

C. Wall Panels:  1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angle framing on top, bottom, and back sides, and 3-by-1/8-inch (76-by-3-mm) cold-rolled steel flat bar framing on front side; with wire mesh welded to framing.

1. Horizontal Panel Stiffeners:  1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angles or 3/4-by-1/4-inch (19-by-6-mm) hot-rolled steel flat bars.

Retain first paragraph below if lockers are placed back to back or in a row away from a wall.

D. Backs:  0.027-inch- (0.7-mm-) thick, metallic-coated steel sheet.

Retain first paragraph below if a gap of more than 6 inches (150 mm) exists between ceiling and lockers.

E. Tops:  [Fabricated from same mesh and framing as doors] [0.027-inch- (0.7-mm-) thick, metallic-coated steel sheet].

Retain first paragraph below for double-tier lockers.  Verify availability of reinforcements with manufacturers.

F. Horizontal Dividers/Shelves:  0.043-inch- (1.1-mm-) thick,[ metallic-coated] steel sheet; with flanged edges[ and reinforced across width with 3/4-by-1/4-inch (19-by-6-mm) steel stiffeners].

G. Doors:  Fabricated from same mesh as wall panels, with framing fabricated from 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angles on 4 sides; with wire mesh welded to framing.  Include door strike and padlock hasp.

1. Horizontal Stiffeners for Single-Tier Doors:  3/4-by-1/4-inch (19-by-6-mm) steel flat bars.

2. Hinges:  Full-surface type, 2-1/2-by-2-1/2-inch (64-by-64-mm) steel, [1-1/2 pairs per single-tier door] [and] [1 pair per double-tier door]; bolted, riveted, or welded to door and jamb framing.

H. Finish for Uncoated Ferrous Steel:  [Hot-dip galvanized] [Hot-dip galvanized and shop primed for field painting] [Shop primed for field painting] [Shop coat] [Baked-enamel finish] [Powder-coated finish] unless otherwise indicated.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.7 WIRE MESH STAIRWAY PARTITIONS

A. Standard-Duty Stairway Partitions:

Retain one of first three subparagraphs below.

1. Diamond Mesh:  0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into 1-1/2-inch (38-mm) diamond pattern and securely clinched to frames.

2. Square Mesh:  0.135-inch- (3.5-mm-) diameter, [intermediate] [lock]-crimp steel wire woven into 1-1/2-inch (38-mm) square pattern, inserted through frame holes and welded into frame.  Vertical wires are plumb, and horizontal wires are perpendicular to vertical wires.

3. Rectangular Mesh:  0.135-inch- (3.5-mm-) diameter, [intermediate] [lock]-crimp steel wire woven into 2-by-1-inch (50-by-25-mm) rectangular pattern, inserted through frame holes and welded into frame.  Vertical wires are plumb, and horizontal wires are perpendicular to vertical wires.

4. Vertical Panel Framing:  1-1/4-by-5/8-by-0.0966-inch (32-by-16-by-2.5-mm) cold-rolled, C-shaped steel channels; with 1/4-inch- (6-mm-) diameter bolt holes spaced not more than 18 inches (450 mm) o.c. along center of framing.

5. Horizontal Panel Framing:  1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels.

6. Horizontal Panel Stiffeners:  1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels with wire woven through, or two 1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels bolted or riveted toe to toe through mesh.

B. Heavy-Duty Stairway Partitions:

Retain one of first three subparagraphs below.

1. Diamond Mesh:  0.192-inch- (4.9-mm-) diameter, intermediate-crimp steel wire woven into 2-inch (50-mm) diamond pattern and securely clinched to frames.

2. Square Mesh:  0.192-inch- (4.9-mm-) diameter, [intermediate] [lock]-crimp steel wire woven into 2-inch (50-mm) square pattern, inserted through frame holes and welded into frame.  Vertical wires are plumb, and horizontal wires are perpendicular to vertical wires.

3. Rectangular Mesh:  0.192-inch- (4.9-mm-) diameter, [intermediate] [lock]-crimp steel wire woven into 2-by-1-inch (50-by-25-mm) rectangular pattern, inserted through frame holes and welded into frame.  Vertical wires are plumb, and horizontal wires are perpendicular to vertical wires.

4. Vertical and Horizontal Panel Framing:  1-1/2-by-3/4-by-0.0966-inch (38-by-19-by-2.5-mm) cold-rolled, C-shaped steel channels; with 3/8-inch- (9.5-mm-) diameter bolt holes spaced not more than 18 inches (450 mm) o.c. along center of framing.

5. Horizontal Panel Stiffeners:  1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3-mm) cold-rolled steel channels with wire woven through, or two 1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels bolted or riveted toe to toe through mesh.

C. Swinging Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3-mm) steel channels, banded with 1-1/2-by-1/8-inch (38-by-3-mm) flat steel bar cover plates on [3] [4] sides, and with 1/8-inch- (3-mm-) thick angle strike bar and cover on strike jamb.

1. Hinges:  Full-surface spring type, 3-1/2-by-3-1/2-inch (89-by-89-mm) steel, 1-1/2 pairs per door; bolted, riveted, or welded to door and jamb framing.

2. Exit Device:  As specified in Division 08 Section "Door Hardware."

3. Tamper Shield:  Fabricated from 0.097-inch- (2.5-mm-) thick, cold-rolled steel sheet; 15 inches (381 mm) high by width of door.

D. Door Jamb Framing:  2-by-2-by-1/8-inch (50-by-50-by-3-mm) steel pipe or tubing.

E. Floor Shoes:  Steel, cast iron, or cast aluminum, not less than 2 inches (50 mm) high; sized to suit vertical framing, drilled for attachment to floor, and with set screws for leveling adjustment.

F. Wall Clips:  Manufacturer's standard, cold-rolled steel sheet[; allowing up to 1 inch (25 mm) of adjustment].

G. Finish for Uncoated Ferrous Steel:  [Hot-dip galvanized] [Hot-dip galvanized and shop primed for field painting] [Shop primed for field painting] [Shop coat] [Baked-enamel finish] [Powder-coated finish] unless otherwise indicated.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.8 WIRE MESH EQUIPMENT BARRIERS

Revise first paragraph below to suit Project.  Manufacturers offer many other sizes of wire mesh, sheet metal, and clear polycarbonate sheet as alternatives.

A. Mesh:  0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into [1-1/2-inch (38-mm) diamond] [1-by-2-inch (25-by-50-mm) rectangular] mesh.

B. Panels:  1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angle framing on 4 sides, with wire mesh welded to framing.

1. Horizontal Panel Stiffeners:  1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angles or 3/4-by-1/4-inch (19-by-6-mm) hot-rolled steel flat bars.

2. Height:  [48 inches (1220 mm)] [60 inches (1525 mm)] <Insert dimension>.

C. Line and Corner Posts:  2-by-2-by-0.068-inch (50-by-50-by-1.7-mm) steel tubing with steel base plates welded to bottoms, drilled for attachment to floor, and with steel caps welded to tops.

1. Height:  Panel height plus [12-inch- (300-mm-)] <Insert dimension> high, sweep space.

D. Swinging Gates:  Fabricated from same mesh as panels, with gate framing fabricated from 1-1/4-by-1-1/4-by-3/16-inch (32-by-32-by-4.7-mm) steel angles on 4 sides, and with wire mesh welded to framing.

1. Hinges:  Full-surface[ spring] type, 3-1/2-by-3-1/2-inch (89-by-89-mm) steel, 1 pair per door; bolted, riveted, or welded to door and jamb framing.

2. Padlock Lug:  Mortised into door framing and enclosed with steel cover.

Retain subparagraph above or below.  Recessed turn knob in fourth option below is prevalent but may not comply with accessibility requirements if applicable.

3. Cylinder Lock:  Mortise type with [manufacturer's standard cylinder] [cylinder specified in Division 08 Section "Door Hardware"] [cylinder specified in Division 08 Section "Door Hardware (Scheduled by Describing Products)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

E. Sliding Gates:  Fabricated from same mesh as panels, with framing fabricated from 1-1/4-by-1-1/4-by-3/16-inch (32-by-32-by-4.7-mm) steel angles on 4 sides, and with wire mesh welded to framing.

1. Hardware:  Two, four-wheel roller-bearing carriers, box track, and bottom guide channel for each door.

2. Padlock Lug:  Mortised into door framing and enclosed with steel cover.

Retain subparagraph above or below.  Recessed turn knob in fourth option below is prevalent but may not comply with accessibility requirements if applicable.

3. Cylinder Lock:  Mortise type with [manufacturer's standard cylinder] [cylinder specified in Division 08 Section "Door Hardware"] [cylinder specified in Division 08 Section "Door Hardware (Scheduled by Describing Products)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

If required, insert electrical interlock between gate and equipment to shut down equipment if gate is opened.

F. Finish for Uncoated Ferrous Steel:  [Hot-dip galvanized] [Hot-dip galvanized and shop primed for field painting] [Shop primed for field painting] [Shop coat] [Baked-enamel finish] [Powder-coated finish] unless otherwise indicated.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.9 FABRICATION

A. General:  Fabricate wire mesh items from components of sizes not less than those indicated.  Use larger-sized components as recommended by wire mesh item manufacturer.  As required for complete installation, provide bolts, hardware, and accessories with manufacturer's standard finishes.

1. Fabricate wire mesh items to be readily disassembled.

Retain one of four options in subparagraph below; options are listed with best appearance and highest cost first.

2. Welding:  Weld corner joints of framing and [grind smooth, leaving no evidence of joint] [finish sand] [remove spatter] [leave as applied].

B. [Standard-] [and] [Heavy-]Duty Wire Mesh Partitions:  Fabricate wire mesh partitions with cutouts for pipes, ducts, beams, and other items indicated.  Finish edges of cutouts to provide a neat, protective edge.

1. Mesh:  Securely clinch mesh to framing.

2. Framing:  Fabricate framing with mortise and tenon corner construction.

a. Provide horizontal stiffeners as indicated or, if not indicated, as required by panel height and as recommended by wire mesh partition manufacturer.  Weld horizontal stiffeners to vertical framing.

b. Fabricate [three-] [and] [four-]way intersections using [intersection posts] [manufacturer's standard connecting clips and fasteners].

c. Fabricate partition and door framing with slotted holes for connecting adjacent panels.

3. Fabricate wire mesh partitions with 3 inches (76 mm) of clear space between finished floor and bottom horizontal framing.

Retain last subparagraph above or first subparagraph below.

4. Fabricate wire mesh partitions with bottom horizontal framing flush with finished floor.

5. Doors:  Align bottom of door with bottom of adjacent panels.

a. For doors that do not extend full height of partition, provide transom over door, fabricated from same mesh and framing as partition panels.

6. Hardware Preparation:  Mortise, reinforce, drill, and tap doors and framing as required to install hardware.

C. Wire Mesh Ceilings:  Fabricate wire mesh partitions with cutouts for pipes, ducts, beams, and other items indicated.  Finish edges of cutouts to provide a neat, protective edge.

1. Mesh:  Securely clinch mesh to framing.

2. Framing:  Fabricate framing with mortise and tenon corner construction.

a. Provide stiffeners as indicated or, if not indicated, as required by panel span and as recommended by wire mesh ceiling manufacturer.  Weld stiffeners to framing.

D. Wire Mesh Stairway Partitions:  Provide door jamb framing on each side of doors.  Attach tamper shields centered behind exit devices.

E. Wire Mesh Storage Lockers:  Fabricate initial storage locker with front and two sides.  Fabricate additional storage lockers [similarly, so each unit is independent] [as add-on units, designed to share one side with initial storage locker].

1. Fabricate wall panel and door framing with slotted holes for connecting adjacent panels.

2. Prehang doors in factory.

2.10 GENERAL FINISH REQUIREMENTS

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

2.11 STEEL AND IRON FINISHES

A. Galvanizing:  Hot-dip galvanize items as indicated to comply with applicable standard listed below:

1. ASTM A 123/A 123M, for galvanizing steel and iron components.

2. ASTM A 153/A 153M, for galvanizing steel and iron hardware.

Retain subparagraph below if required.

3. Preparation for Shop Priming:  After galvanizing, thoroughly clean wire mesh components of grease, dirt, oil, flux, and other foreign matter, and treat with metallic-phosphate process.

B. Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with minimum requirements indicated below for SSPC surface-preparation specifications and environmental exposure conditions of installed metal fabrications:

Retain both subparagraphs below or revise to suit service conditions of installed work.  Insert other exposures and preparation requirements if applicable.  Refer to SSPC's painting manual.  Both subparagraphs apply to locations that would normally remain dry in service.

1. Exteriors (SSPC Zone 1B)[ and Items Indicated to Receive Zinc-Rich Primer]:  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

2. Interiors (SSPC Zone 1A):  SSPC-SP 3, "Power Tool Cleaning."

Retain one of three paragraphs below or insert another.  Paint finish options for wire mesh units vary widely.  For exact finish, insert names of coating manufacturers and products.

C. Shop Priming:  Apply shop primer to uncoated surfaces of metal fabrications, except those with galvanized finishes and those to be embedded in concrete or masonry, unless otherwise indicated.  Comply with SSPC-PA 1, "Paint Application Specification No. 1:  Shop, Field, and Maintenance Painting of Steel," for shop painting.

Retain subparagraph below if required.  Stripe painting increases cost but helps ensure that hard-to-reach areas, such as crevices, inside corners, and welds, are thoroughly coated and that sharp edges (which are vulnerable to chipping and are where the film may be thinner due to surface tension) receive adequate coverage.

1. Stripe paint corners, crevices, bolts, welds, and sharp edges.

D. Shop Coat Finish:  Immediately after cleaning and pretreating, apply manufacturer's standard one-coat, shop-coat finish suitable for use intended.  Comply with paint manufacturer's written instructions for applying and curing.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

E. Baked-Enamel or Powder-Coat Finish:  Immediately after cleaning and pretreating, apply manufacturer's standard 2-coat, baked-on finish, suitable for use indicated, consisting of prime coat and thermosetting topcoat, with a minimum dry film thickness of [1 mil (0.025 mm)] <Insert dimension> for topcoat.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

B. Examine floors for suitable conditions where wire mesh items will be installed.

C. Examine walls to which wire mesh items will be attached for properly located blocking, grounds, and other solid backing for attachment of support fasteners.

D. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 WIRE MESH PARTITIONS ERECTION

Retain one of first two paragraphs below.  Installation method in second paragraph allows vertical adjustment.

A. Anchor wire mesh partitions to floor with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors at 12 inches (305 mm) o.c. through anchor clips located at each post and corner.  Shim anchor clips as required to achieve level and plumb installation.

Retain subparagraph below if permitted.

1. Anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if indicated on Shop Drawings.

B. Anchor wire mesh partitions to floor with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors at 12 inches (305 mm) o.c. through floor shoes located at each post and corner.  Adjust wire mesh partition posts in floor shoes to achieve level and plumb installation.

Retain subparagraph below if permitted.

1. Anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if indicated on Shop Drawings.

C. Anchor wire mesh partitions to walls at 12 inches (305 mm) o.c. through back corner panel framing and as follows:

Retain five subparagraphs below if applicable or revise to suit Project.

1. For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

4. For steel-framed gypsum board assemblies, use hanger or lag bolts set into wood backing between studs.  Coordinate with stud installation to locate backing members.

Retain subparagraph above or below if steel studs are used.  Revise if plaster is used rather than gypsum board.

5. For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed reinforcements using self-tapping screws of size and type required to support structural loads.

D. Secure top capping bars to top framing channels with 1/4-inch- (6-mm-) diameter "U" bolts spaced not more than 28 inches (700 mm) o.c.

E. Provide line posts at locations indicated or, if not indicated, as follows:

Revise subparagraphs below to suit Project.  Verify location and spacing for line posts with manufacturers because their recommendations differ.

1. On each side of sliding door openings.

2. For partitions that are 7 to 9 feet (2.1 to 2.7 m) high, spaced at 15 to 20 feet (4.6 to 6.1 m) o.c.

3. For partitions that are 10 to 12 feet (3.0 to 3.7 m) high, located between every other panel.

4. For partitions that are more than 12 feet (3.7 m) high, located between each panel.

Retain first paragraph below if required.

F. Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

Retain first paragraph below if custom-width wire mesh partition panels are not required and dimensions are not indicated on Drawings.

G. Where standard-width wire mesh partition panels do not fill entire length of run, provide adjustable filler panels to fill openings.

H. Install doors complete with door hardware.

I. Install service windows complete with window hardware.

J. Weld or bolt sheet metal bases to [wire mesh partitions] [and] [doors] [where indicated].

K. Bolt accessories to wire mesh partition framing.

3.3 WIRE MESH CEILINGS ERECTION

A. Anchor wall support angle to walls at 12 inches (305 mm) o.c. and as follows:

Retain subparagraphs below if applicable or revise to suit Project.

1. For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

4. For steel-framed gypsum board assemblies, use hanger or lag bolts set into wood backing between studs.  Coordinate with stud installation to locate backing members.

Retain subparagraph above or below if steel studs are used.  Revise if plaster is used rather than gypsum board.

5. For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed reinforcements using self-tapping screws of size and type required to support structural loads.

B. Attach wire mesh ceiling panels to wall support angles with bolts at 12 inches (305 mm) o.c.

C. Attach wire mesh ceiling panels to wire mesh partitions with slotted angles bolted to sides of ceiling panels and to top of partitions at 12 inches (305 mm) o.c.

D. Attach wire mesh ceiling panels to intermediate supports as recommended by manufacturer.

Retain paragraph below if required.

E. Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

3.4 WIRE MESH STORAGE LOCKERS ERECTION

A. Anchor wire mesh storage lockers to floor with 3/8-inch- (9.5-mm-) diameter, expansion anchors at 12 inches (305 mm) o.c. through bottom panel framing.  Shim panel framing as required to achieve level and plumb installation.

Retain subparagraph below if power-actuated fasteners are permitted.

1. Floor anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if indicated on Shop Drawings.

B. Anchor wire mesh storage lockers to walls at 12 inches (305 mm) o.c. through back corner panel framing and as follows:

Retain one or more of five subparagraphs below if applicable or revise to suit Project.

1. For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

4. For steel-framed gypsum board assemblies, use hanger or lag bolts set into wood backing between studs.  Coordinate with stud installation to locate backing members.

Retain subparagraph above or below if steel studs are used.  Revise if plaster is used rather than gypsum board.

5. For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed reinforcements using self-tapping screws of size and type required to support structural loads.

C. Attach adjacent wire mesh storage lockers to each other through side panel framing.

D. Install horizontal dividers/shelving in double-tier storage lockers.

E. Install doors complete with door hardware.

3.5 WIRE MESH STAIRWAY PARTITIONS ERECTION

Retain one of first two paragraphs below.  Installation method in second paragraph allows vertical adjustment.

A. Anchor wire mesh stairway partitions to floor with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors at 12 inches (305 mm) o.c. through floor shoes located at each post.  Adjust wire mesh partition posts in floor shoes to achieve level and plumb installation.

Retain subparagraph below if permitted.

1. Anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if indicated on Shop Drawings.

B. Anchor angle clips supporting wire mesh stairway partitions at stairs and intermediate landings with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors at 12 inches (305 mm) o.c.  Weld stairway partition framing to angle clips.

Retain subparagraph below if permitted.

1. Anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if indicated on Shop Drawings.

Retain first paragraph below if required.

C. Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

D. Install doors complete with door hardware.

3.6 WIRE MESH EQUIPMENT BARRIERS ERECTION

A. Anchor wire mesh equipment barriers to floor with 3/8-inch- (9.5-mm-) diameter, expansion anchors through post bases.  Shim post bases as required to achieve level and plumb installation.

Retain first paragraph below if permitted.

B. Floor anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if indicated on Shop Drawings.

C. Install gates complete with gate hardware.

3.7 ADJUSTING AND CLEANING

A. Adjust [doors] [gates] [service windows] to operate smoothly and easily, without binding or warping.  Adjust hardware to function smoothly.  Confirm that latches and locks engage accurately and securely without forcing or binding.

B. Remove and replace defective work including doors and framing that are warped, bowed, or otherwise unacceptable.

C. Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas.  Paint uncoated and abraded areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

Retain paragraph above if touchup painting is included in this Section.  Retain first paragraph below if it is specified in Division 09 painting Sections.  Delete above or below, or both, if no painted wire mesh items.

D. Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 09 painting Sections.

E. Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

END OF SECTION 102213

	WIRE MESH PARTITIONS
	102213 - 1



