Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
08/02 (R 02/06)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 323113 - CHAIN LINK FENCES AND GATES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Chain-Link Fences:  [Industrial] [Residential].

2. Gates:  [Motor operated,] [horizontal slide] [swing].

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

Delete first subparagraph below if concrete is specified in this Section.

1. Division 03 Section "[Cast-in-Place Concrete] [Miscellaneous Cast-in-Place Concrete]" for concrete [equipment bases/pads for gate operators, drives, and controls] [post concrete fill].

2. Division 26 Sections for electrical service and connections for motor operators, controls, limit and disconnect switches, and safety features and for system disconnect switches.

Delete subparagraph below if earthwork is specified in this Section.

3. Division 31 Section "Earth Moving" for site excavation, fill, and backfill where chain-link fences and gates are located.

If alternates or allowances apply to Work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 01 Sections for specific details.

C. Allowances:  Furnish the following under the allowances indicated as specified in Division 01 Section "Allowances":

1. <Insert work to be included under an allowance.>

Retain paragraph below if alternates are specified in Division 01 Section for Work in this Section.

D. Alternates:  Refer to Division 01 Section "Alternates" for description of Work in this Section affected by alternates.

1.3 PERFORMANCE REQUIREMENTS

Delete this Article if specifying residential fences only, or if post size, type, and spacing are specified or shown on Drawings.

A. Structural Performance:  Provide chain-link fences and gates capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

1. Minimum Post Size and Maximum Spacing for Wind Velocity Pressure:  Determine based on mesh size and pattern specified, and on the following minimum design wind pressures and according to CLFMI WLG 2445:

Options in subparagraphs below are examples only; revise to suit Project.  Consult a structural engineer experienced in design wind loads applicable to Project.  Verify compliance with codes.  See Evaluations.

a. Wind Speed:  [80 mph (129 km/h)] <Insert speed>.

b. Fence Height:  [10 feet (3 m)] <Insert height>.

c. Line Post Group:  [IA, ASTM F 1043, Schedule 40 steel pipe] <Insert group>.

d. Wind Exposure Category:  [B] <Insert category>.

Delete subparagraph and associated subparagraphs above if performance criteria in subparagraph below are adequate for Project.

2. Determine minimum post size, group, and section according to ASTM F 1043 for framework up to 12 feet (3.66 m) high, and post spacing not to exceed 10 feet (3 m).

B. Lightning Protection System:  Maximum grounding-resistance value of 25 ohms under normal dry conditions.

1.4 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for chain-link fences and gates.

1. Fence and gate posts, rails, and fittings.

2. Chain-link fabric, reinforcements, and attachments.

3. Gates and hardware.

4. Gate operators, including operating instructions.

5. Accessories:  [Privacy slats] [Barbed wire] [Barbed tape] <Insert accessory>.

Delete subparagraph above and below if no accessories or automatic gate operators.

6. Motors:  Show nameplate data, ratings, characteristics, and mounting arrangements.

B. Shop Drawings:  Show locations of fences, gates, posts, rails, tension wires, details of extended posts, extension arms, gate swing, or other operation, hardware, and accessories.  Indicate materials, dimensions, sizes, weights, and finishes of components.  Include plans, gate elevations, sections, details of post anchorage, attachment, bracing, and other required installation and operational clearances.

1. Gate Operator:  Show locations and details for installing operator components, switches, and controls.  Indicate motor size, electrical characteristics, drive arrangement, mounting, and grounding provisions.

Retain subparagraph above and below for electric operation.

2. Wiring Diagrams:  Power and control wiring and [communication] [access-control] features.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify product's compliance with performance requirements according to ASCE 7 and CLFMI WLG 2445.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

3. For installed products indicated to comply with design loads, include structural analysis data[ signed and sealed by the qualified professional engineer responsible for their preparation].

C. Samples for Initial Selection:  Manufacturer's color charts or 6-inch (150-mm) lengths of actual units showing the full range of colors available for components with factory-applied color finishes.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each type of chain-link fence and gate indicated.

1. Polymer-coated steel wire (for fabric) in 6-inch (150-mm) lengths.

2. Polymer coating, in 6-inch (150-mm) lengths on shapes for [posts, rails, wires,] [and] [gate framing] [and on full-sized units for accessories].

E. Product Certificates:  For each type of chain-link fence,[ operator,] and gate, signed by product manufacturer.

1. Strength test results for framing according to ASTM F 1043.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For Installer.

Retain first paragraph below if Contractor is responsible for field quality-control testing.

G. Field quality-control test reports.

H. Maintenance Data:  For the following to include in maintenance manuals:

1. Polymer finishes.

2. Gate operator.

1.5 QUALITY ASSURANCE

A. Installer Qualifications:  An experienced installer who has completed chain-link fences and gates similar in material, design, and extent to those indicated for this Project and whose work has resulted in construction with a record of successful in-service performance.

Delete subparagraph below if Contractor is not required to assume responsibility for engineering.

1. Engineering Responsibility:  Preparation of data for chain-link fences and gates, including Shop Drawings, based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project.

Retain paragraph and subparagraph below if Contractor selects testing agency for tests of fence grounding.

B. Testing Agency Qualifications:  An independent agency, with the experience and capability to conduct the testing indicated, that is a member company of the InterNational Electrical Testing Association or is a nationally recognized testing laboratory (NRTL) as defined by OSHA in 29 CFR 1910.7, and that is acceptable to authorities having jurisdiction.

1. Testing Agency's Field Supervisor:  Person currently certified according to NETA ETT, or the National Institute for Certification in Engineering Technologies, to supervise on-site testing specified in Part 3.

Delete first three paragraphs below if no automatic gate operator.  Verify that gate and gate operator specified comply with requirements of authorities having jurisdiction for safety and emergency access.

C. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

D. UL Standard:  Provide gate operators that comply with UL 325.

Delete paragraph below only if gates are not, or cannot be mistaken for, a required means of emergency access.

E. Emergency Access Requirements:  Comply with requirements of authorities having jurisdiction for automatic gate operators serving as a required means of access.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

F. Mockups:  Build mockups to [verify selections made under sample submittals and to demonstrate aesthetic effects] [and] [set quality standards for fabrication and installation].

1. Include [10 ft. (3 m)] <Insert measurement> length of fence[ and gate] complying with requirements.

Delete subparagraphs below if mockups are only for establishing appearance factors.

a. Approval of mockups is also for other material and construction qualities specifically approved by Architect in writing.

b. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless such deviations are specifically approved by Architect in writing.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

2. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

G. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.6 PROJECT CONDITIONS

A. Field Measurements:  Verify layout information for chain-link fences and gates shown on Drawings in relation to property survey and existing structures.  Verify dimensions by field measurements.

Delete paragraph and subparagraphs below if no interruption of existing utility services is required.  Coordinate with requirements specified in Division 01 Section "Temporary Facilities and Controls" for temporary utilities.

B. Interruption of Existing Utility Service:  Do not interrupt utility services to facilities occupied by Owner or others unless permitted under the following conditions and then only after arranging to provide temporary utility services according to requirements indicated:

1. Notify Architect no fewer than [two] <Insert number> days in advance of proposed interruption of utility services.

2. Do not proceed with interruption of utility services without Architect's written permission.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Usually delete this Article; retain only if critical to suit Project or for specific components such as gates and gate operators.  Fencing products of fabric and framework specified by descriptions will be comparable among many manufacturers, so a manufacturer's name is usually not required.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

If naming manufacturers for more than one component product is required to suit Project, repeat first three subparagraphs and lists below.

1. Chain-Link Fences and Gates:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. Barbed [Wire] [Tape]:

a. <Insert, in separate subparagraphs, manufacturer's name.>

3. Gate Operator:

a. <Insert, in separate subparagraphs, manufacturer's name.>

4. <Insert generic product name.>

a. <Insert, in separate subparagraph, manufacturer's name.>

Refer to the Chain-Link Fence and Gate tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalog or product data to insert series, type, model, and designations of other characteristics.

2.2 CHAIN-LINK FENCE FABRIC

A. General:  [Height indicated on Drawings] <Insert height, limited to 12 feet (3.6 m)>.  Provide fabric in one-piece heights measured between top and bottom of outer edge of selvage knuckle or twist.  Comply with ASTM A 392, CLFMI CLF 2445, and requirements indicated below:

Wire and mesh sizes in subparagraph and associated subparagraphs below are commonly available and are limited to certain heights depending on the usage of the fence.  See ASTM standards and CLFMI CLF 2445.  Delete below for aluminum wire mesh.

1. Steel Wire Fabric:  [Metallic] [Polymer]-coated wire with a diameter of [0.192 inch (4.88 mm)] [0.148 inch (3.76 mm)] [0.120 inches (3.05 mm)].

a. Mesh Size:  [2-1/8 inches (54 mm)] [2 inches (50 mm)] [1-3/4 inches (44 mm)] [1 inch (25 mm)].

Retain one of three subparagraphs below for metallic coating.

b. Weight of Aluminum Coating:  ASTM A 491, Type I, [0.4 oz./sq. ft. (122 g/sq. m)] [0.35 oz./sq. ft. (107 g/sq. m)] [0.30 oz./sq. ft. (92 g/sq. m)].

c. Weight of Metallic (Zinc) Coating:  ASTM A 392, Type II, Class [1, 1.2 oz./sq. ft. (366 g/sq. m)] [2, 2.0 oz./sq. ft. (610 g/sq. m)] with zinc coating applied [before] [after] weaving.

d. Weight of Zn-5-Al-MM Aluminum-Mischmetal Alloy Coating:  ASTM F 1345, Type III, Class [1, 0.60 oz./sq. ft. (183 g/sq. m)] [2, 1.0 oz./sq. ft. (305 g/sq. m)].

Retain subparagraph and associated subparagraph below for polymer coating.

e. Polymer Coating:  ASTM F 668, Class [1] [2a] [2b] over metallic-coated steel wire.

1) Color:  [Dark green] [Olive green] [Brown] [Black] [As selected by Architect from manufacturer's full range], complying with ASTM F 934.

Retain subparagraph below for fabrics that are metallic (zinc) coated before weaving, especially for fence projects located in corrosive atmospheres.  Verify suitability with manufacturer and availability with supplier.  Delete if fabric is zinc coated after weaving.

f. Coat selvage ends of fabric that is metallic coated before the weaving process with manufacturer's standard clear protective coating.

Delete subparagraph and associated subparagraph below for steel wire mesh.

2. Aluminum Wire Fabric:  ASTM F 1183, with [mill] [caustic-cleaned] [etched] finish, and wire diameter of [0.148 inches (3.76 mm)] [0.192 inches (4.88 mm)].

a. Mesh Size:  [2 inches (50 mm)] [1 inch (25 mm)].

Retain first option in subparagraph below for fabric less than 6 feet (1.83 m) high.

3. Selvage:  [Knuckled at both selvages] [Twisted top and knuckled bottom].

2.3 RESIDENTIAL FENCE AND GATE FRAMING

Retain this Article for residential chain-link fences.  ASTM F 761 is applicable to residential chain-link fences up to 6 feet (1.83 m) high with round posts at maximum line spacing of 10 feet (3 m) o.c.  Top rail is required if fence is designed according to ASTM F 761.  Square tubing and gate requirements are according to ASTM F 654.

A. Posts and Rails:  [Round] [Square] cold-formed, electric-resistance-welded, steel pipe or tubing, with minimum yield strength of 45,000 psi (310 MPa) and with outside dimension, minimum wall thickness, and weight complying with ASTM F 761 or ASTM F 654 for the following fence height and strength and stiffness requirements:

1. Fence Height:  [4 feet (1.22 m)] [6 feet (1.83 m)] <Insert height>.

2. Duty Rating:  [Light] [Medium] [Heavy].

3. Tube or Pipe Diameter and Thickness:  [According to ASTM F 761.]

Retain last two subparagraphs above for round framing; retain subparagraph below for square framing.

4. Tube Size and Thickness:  [According to ASTM F 654.]

Retain first five subparagraphs below if size and wall thickness are critical for round sections, or revise if square tube framing is used.

a. Top Rail:  [1.315 inches (33 mm)] [1.66 inches (42 mm)] <Insert square size>.

b. Line Post:  [1.66 inches (42 mm)] [1.90 inches (48 mm)] <Insert square size>.

c. Terminal Post:  [1.90 inches (48 mm)] [2.375 inches (60 mm)] <Insert square size>.

d. Gate Post:  [1.90 inches (48 mm)] [2.375 inches (60 mm)] <Insert square size>.

e. Tube or Pipe Thickness:  [0.065 inch (1.7 mm)] <Insert thickness>.

5. Gate:  Comply with ASTM F 654 and the following:

a. Type:  [I, single swing] [II, double swing] [Horizontal slide], [aluminum] [steel] frame tubing.

According to ASTM F 654, residential gates are limited in size to no more than 6 feet (1.83 m) high or wide.

b. Fabric Height:  [2 inches (50 mm) less than adjacent fence height] <Insert height>.

c. Leaf Width:  [36 inches (914 mm)] [As indicated] <Insert width>.

6. Hardware:  Latches permitting operation from both sides of gate, [hinges] [rolling gate mechanism] [center stops] [hold backs] <Insert other hardware items and accessories>.[ Fabricate latches with integral eye openings for padlocking; padlock accessible from both sides of gate.]

a. <Insert requirements for padlocks and chains if not Owner furnished.>

7. Metallic-Coated Steel:  Posts, rails, and frames protected with an external coating of not less than 0.6 oz. of zinc/sq. ft. (183 g of zinc/sq. m), a chromate conversion coating, and a clear, verifiable polymer film; with an internal protective coating of not less than 0.6 oz. of zinc/sq. ft. (183 g of zinc/sq. m) or 81 percent, not less than 0.3-mil- (0.0076-mm-) thick, zinc pigmented coating.

2.4 INDUSTRIAL FENCE FRAMING

Retain this Article for industrial and commercial chain-link fences.  ASTM F 1043 is applicable to industrial chain-link fences up to 12 feet (3.66 m) high with line posts at maximum spacing of 10 feet (3 m) o.c.  See Evaluations.

Line post selection based on wind speed is described in CLFMI WLG 2445.

Retain one or more post and rail types in this Article that are included in ASTM F 1043 or CLFMI CLF 2445, or both.  If frame member size and shape are determined by manufacturer, require calculations or testing to indicate compliance with ASTM F 1043.  Post and rail groups comply with ASTM F 1043, not CLFMI WLG 2445.

A. Posts and Rails:  Comply with ASTM F 1043 for framing, ASTM F 1083 for Group IC round pipe, and the following:

1. Group:  [IA, round steel pipe, Schedule 40] [IB, aluminum pipe, Alloy 6063] [IC, round steel pipe, yield strength 50,000 psi (345 MPa)] [II, roll-formed C section] [III, hot-rolled shapes] [IV, Alternative Design].

2. Fence Height:  [6 feet (1.83 m)] [8 feet (2.44 m)] <Insert height>.

3. Strength Requirement:  [Heavy] [Light] industrial according to ASTM F 1043.

4. Post Diameter and Thickness:  According to [ASTM F 1043] [ASTM F 1083].

Retain subparagraph above for round framing; retain subparagraph below for Group II, C section framing.

5. Post Size and Thickness:  [According to ASTM F 1043.]

Retain three subparagraphs below if size and section profile are critical.  First option in each subparagraph is for round section; second option in each is for C section according to ASTM F 1043.  Revise if other shape or size is used.

a. Top Rail:  [1.66 inches (42 mm)] [1.25 by 1.63 inches (32 by 41 mm)] <Insert size>.

b. Line Post:  [2.375 inches (60 mm)] [1.875 by 1.63 inches (48 by 41 mm)] <Insert size>.

c. End, Corner and Pull Post:  [2.875 inches (73 mm)] [3.5 by 1.5 inches (89 by 38 mm)] <Insert size>.

In first subparagraph below, retain first option for steel post; retain second or third for aluminum.  See ASTM F 900 for additional sizes of gates and posts.

d. Swing Gate Post:  [According to ASTM F 900] [2.375-inch (60-mm) diameter, 3.11-lb/ft. (4.63-kg/m) weight] [4-inch (102-mm) diameter, 8.65-lb/ft. (12.88-kg/m) weight] <Insert size>.

e. Horizontal-Slide Gate Post:  [According to ASTM F 1184.]

1) Openings up to 12 Feet (3.7 m):  Steel post, 2.875-inch (73-mm) diameter, and 4.64-lb/ft. (6.91-kg/m) weight.

2) Openings Wider Than 12 Feet (3.7 m):  Steel post, 4-inch (102-mm) diameter, and 8.65-lb/ft. (12.88-kg/m) weight.

3) <Insert size and weight.>

4) Guide posts for Class 1 horizontal-slide gates equal the gate post height, 1 size smaller, but weight is not less than 3.11 lb/ft. (4.63 kg/m); installed adjacent to gate post to permit gate to slide in space between.

6. Coating for Steel Framing:

a. Metallic Coating:

Retain one of first four subparagraphs below or, for Contractor's option, retain first five subparagraphs. Retain first subparagraph for roll-formed C sections.

1) Type A, consisting of not less than minimum 2.0-oz./sq. ft. (0.61-kg/sq. m) average zinc coating per ASTM A 123/A 123M or 4.0-oz./sq. ft. (1.22-kg/sq. m) zinc coating per ASTM A 653/A 653M.

2) Type B, zinc with organic overcoat, consisting of a minimum of 0.9 oz./sq. ft. (0.27 kg/sq. m) of zinc after welding, a chromate conversion coating, and a clear, verifiable polymer film.

3) External, Type B, zinc with organic overcoat, consisting of a minimum of 0.9 oz./sq. ft. (0.27 kg/sq. m) of zinc after welding, a chromate conversion coating, and a clear, verifiable polymer film.  Internal, Type D, consisting of 81 percent, not less than 0.3-mil- (0.0076-mm-) thick, zinc pigmented coating.

4) Type C, Zn-5-Al-MM alloy, consisting of not less than 1.8-oz./sq. ft. (0.55-kg/sq. m) coating.

5) Coatings:  Any coating above.

b. Polymer coating over metallic coating.

7. Aluminum Finish:  Mill finish complying with ASTM B 429.

2.5 TENSION WIRE

Always retain this Article if fence has no top rail.  Bottom tension wire enhances security.

A. General:  Provide horizontal tension wire at the following locations:

Retain at least one of three subparagraphs below.

1. Location:  Extended along [top] [and] [bottom] of fence fabric.

Delete first subparagraph below if no barbed tape.  Tension wire can be used to support barbed tape installed at top of fence.  For top of fence installation, barbed wire arms or extended posts extend terminal posts and each or alternate line post.  Tension wire is attached to outermost position on arms, and each barbed tape loop is attached to strung wire with tie wires or hog rings.  Barbed tape loops are also attached to top of fence fabric.  A single strand of barbed wire, 0.098-inch- (2.49-mm-) high-tensile stainless-steel wire, or 3/16-inch- (4.8-mm-) diameter, stainless-steel cable can be used in lieu of tension wire; requirements may be inserted.

2. Location:  Extended along top of [barbed wire arms] [extended posts] and top of fence fabric for supporting barbed tape.

3. Location:  [As indicated] <Insert requirements>.

Retain one of two paragraphs and associated subparagraphs below for tension wire to match fabric material and, if applicable, coating weight.

B. Metallic-Coated Steel Wire:  0.177-inch- (4.5-mm-) diameter, marcelled tension wire complying with ASTM A 817, ASTM A 824, and the following:

Retain one of two "Metallic Coating" subparagraphs and associated subparagraphs below.

1. Metallic Coating:  Type [I, aluminum coated (aluminized)] [II, zinc coated (galvanized)] by [hot-dip] [electrolytic] process, with the following minimum coating weight:

Retain one of first four subparagraphs below with subparagraph above.

a. Class 1:  Not less than 0.8 oz./sq. ft. (244 g/sq. m) of uncoated wire surface.

b. Class 2:  Not less than 1.2 oz./sq. ft. (366 g/sq. m) of uncoated wire surface.

Class of coating weight in first subparagraph below is not readily available; verify availability with manufacturers.

c. Class 3:  Not less than 2 oz./sq. ft. (610 g/sq. m) of uncoated wire surface.

d. Matching chain-link fabric coating weight.

2. Metallic Coating:  Type III, Zn-5-Al-MM alloy with the following minimum coating weight:

Retain one of three subparagraphs below with subparagraph above.

a. Class 1:  Not less than 0.6 oz./sq. ft. (183 g/sq. m) of uncoated wire surface.

b. Class 2:  Not less than 1 oz./sq. ft. (305 g/sq. m) of uncoated wire surface.

c. Matching chain-link fabric coating weight.

C. Aluminum Wire:  0.192-inch- (4.88-mm-) diameter tension wire, mill finished, complying with ASTM B 211 (ASTM B211M), Alloy 6061-T94 with 50,000-psi (344-MPa) minimum tensile strength.

2.6 INDUSTRIAL SWING GATES

Delete this Article if no swing gates.  Requirements for gate posts are in "Industrial Fence Framing" Article.  For gates up to 24 feet (7.3 m) wide, industrial swing gate frames and dimensions determine gate post size and weight per ASTM F 900.  See ASTM F 900 or Evaluations for limitations on gate size and dimensions.  If default values do not suit Project, insert sizes and minimum weights of components.  Require verification that components not covered by ASTM standards comply with or exceed structural and coating requirements in ASTM F 1184.

A. General:  Comply with ASTM F 900 for [single] [double] swing gate types.

1. Metal Pipe and Tubing:  Galvanized steel.  Comply with ASTM F 1043 and ASTM F 1083 for materials and protective coatings.

Retain subparagraph above or below, or both if frames and posts are of different materials.

2. Metal Pipe and Tubing:  Aluminum.  Comply with ASTM B 429 and ASTM F 1043 for materials and protective coatings.

B. Frames and Bracing:  Fabricate members from [round] [square], [galvanized steel] [aluminum] tubing with outside dimension and weight according to ASTM F 900 and the following:

1. Gate Fabric Height:  [2 inches (50 mm) less than adjacent fence height] [As indicated] <Insert height>.

2. Leaf Width:  [36 inches (914 mm)] [As indicated] <Insert width>.

3. Frame Members:

a. Tubular [Steel] [Aluminum]:  [1.66 inches (42 mm) round] [1.90 inches (48 mm) round] [2 inches (50 mm) rectangular] <Insert size>.

C. Frame Corner Construction:

Retain one option for either welded or assembled corner in subparagraph below, or retain both for Contractor's option.  Truss rods are not required for panels less than 5 feet (1.52 m) wide.

1. [Welded] [or] [assembled with corner fittings] [and 5/16-inch- (7.9-mm-) diameter, adjustable truss rods for panels 5 feet (1.52 m) wide or wider].

Retain first paragraph below if barbed wire or tape is retained and support wire is strung to attach coiled wire or tape.  Delete if no barbed wire or tape or if barbed wire arms are used in lieu of extended frame members.

D. Extended Gate Posts and Frame Members:  Extend gate posts and frame end members above top of chain-link fabric at both ends of gate frame [12 inches (300 mm)] [as indicated] <Insert dimension> as required to attach barbed [wire] [tape] assemblies.

E. Hardware:  Latches permitting operation from both sides of gate, hinges,[ center gate stops] and keepers for each gate leaf more than 5 feet (1.52 m) wide.  <Insert hardware items and accessories.>[ Fabricate latches with integral eye openings for padlocking; padlock accessible from both sides of gate.]

1. <Insert requirements for padlocks and chains if not Owner furnished.>

2.7 INDUSTRIAL HORIZONTAL-SLIDE GATES

Delete this Article if no horizontal-slide gates.  Requirements for gate posts are in "Industrial Fence Framing" Article.  Horizontal-slide gate frames, dimensions, and gate type determine size and weight of gate posts per ASTM F 1184.  If default values do not suit Project, insert sizes and minimum weights of components.  Require verification that components not covered by ASTM standards comply with or exceed structural and coating requirements in ASTM F 1184.

A. General:  Comply with ASTM F 1184 for [single] [double] slide gate types.

Retain one of two subparagraphs below.  ASTM F 1184 applies to Type I gates with opening widths to 40 feet (12.2 m) and to Type II gates with opening widths to 30 feet (9.1 m) and heights to 8 feet (2.44 m).

1. Classification:  Type I Overhead Slide.

2. Classification:  Type II Cantilever Slide, Class [1 with external] [2 with internal] roller assemblies.

Retain subparagraph below for Type I Overhead Slide steel gates and for all Type II Cantilever Slide gates.

3. Metal Pipe and Tubing:  Galvanized steel.  Comply with ASTM F 1184 for materials and protective coatings.

Retain subparagraph above for all Type II Cantilever Slide gates including steel; retain subparagraph below for Type II Cantilever Slide aluminum gates.

4. Metal Pipe and Tubing:  Aluminum.  Comply with ASTM F 699 for materials and protective coatings.

B. Frames and Bracing:  Fabricate members from [round] [square], [galvanized steel] [aluminum] tubing with outside dimension and weight according to ASTM F 1184 and the following:

1. Gate Fabric Height:  [6 feet (1.83 m)] [As indicated] <Insert height>.

2. Gate Opening Width:  [4 feet (1.22 m)] [As indicated] <Insert width>.

3. Frame Members:

a. Tubular [Steel] [Aluminum]:  [1.66 inches (42 mm) round] [1.90 inches (48 mm) round] [2 inches (50 mm) rectangular] <Insert size>.

4. Bracing Members:

Retain "1.90 inches (48 mm) round" option in subparagraph below for steel members for Type II gates.

a. Tubular [Steel] [Aluminum]:  [1.66 inches (42 mm) round] [1.90 inches (48 mm) round] [2 inches (50 mm) rectangular] <Insert size>.

C. Frame Corner Construction:

Retain first option in subparagraph below for field assembly of welded frames.  Truss rods are not required for panels less than 5 feet (1.52 m) wide.

1. Welded frame [with panels assembled with bolted or riveted corner fittings] [and 5/16-inch- (7.9-mm-) diameter, adjustable truss rods for panels 5 feet (1.52 m) wide or wider].

Retain subparagraph above and delete two subparagraphs below if retaining Type II gates or if Type I gates with only welded corners are permitted.  Revise above if bolted or riveted connections of modular panels are not acceptable; mechanical connections are regulated for modular-panel field assemblies per ASTM F 1184.

2. Type I Overhead Slide Gates:  Assembled with corner fittings[ including 5/16-inch- (7.9-mm-) diameter, adjustable truss rods for panels 5 feet (1.52 m) wide or wider].

Retain one of two subparagraphs above or retain subparagraph below for Contractor's option only if retaining Type I gates.  Delete subparagraph above and below if Type II gates are required.

3. Type I Overhead Slide Gates:  Welded or assembled with corner fittings[ including 5/16-inch- (7.9-mm-) diameter, adjustable truss rods for panels 5 feet (1.52 m) wide or wider].

Retain paragraph below if barbed wire or tape is retained and support wire is strung to attach coiled wire or tape.  Delete if no barbed wire or tape or if barbed wire arms are used in lieu of extended frame members.

D. Extended Gate Posts and Frame Members:  Extend gate posts and frame end members above top of chain-link fabric at both ends of gate frame [12 inches (300 mm)] [as indicated] <Insert dimension> as required to attach barbed [wire] [tape] assemblies.

Retain paragraph below for Type I gates only.  If needed, insert manufacturer's track description to suit Project and product.

E. Overhead Track Assembly:  Manufacturer's standard track, with overhead framing supports, bracing, and accessories, engineered to support size, weight, width, operation, and design of gate and roller assemblies.

Retain first paragraph below for Type II, Class 1 gates.

F. Roller Guards:  As required per ASTM F 1184 for Type II, Class 1 gates.

G. Hardware:  Latches permitting operation from both sides of gate, [locking devices] [hangers] [roller assemblies] <Insert hardware items and accessories> and stops fabricated from [galvanized steel] [galvanized malleable iron] [mill-finished Grade 319 aluminum-alloy casting with stainless-steel fasteners].[ Fabricate latches with integral eye openings for padlocking; padlock accessible from both sides of gate.]

1. <Insert requirements for padlocks and chains if not Owner furnished.>

2.8 FITTINGS

A. General:  Comply with ASTM F 626.

If sufficient to suit Project, retain paragraph above and delete remainder of this Article.

B. Post and Line Caps:  Provide for each post.

If retaining subparagraph below, coordinate with options retained for barbed arms.

1. Line post caps with loop to receive tension wire or top rail.

C. Rail and Brace Ends:  Attach rails securely to each gate, corner, pull, and end post.

D. Rail Fittings:  Provide the following:

1. Top Rail Sleeves:  [Pressed-steel or round-steel tubing] [Aluminum Alloy 6063] not less than 6 inches (152 mm) long.

2. Rail Clamps:  Line and corner boulevard clamps for connecting [intermediate] [and] [bottom] rails in the fence line-to-line posts.

First paragraph below is suitable for posts 4 inches (102 mm) in OD and smaller.  For posts exceeding this dimension, consult manufacturers and insert thickness and width of bands.

E. Tension and Brace Bands:  [Pressed steel] [Aluminum Alloy 6063].

F. Tension Bars:  [Steel] [Aluminum] [Fiberglass], length not less than 2 inches (50 mm) shorter than full height of chain-link fabric.  Provide one bar for each gate and end post, and two for each corner and pull post, unless fabric is integrally woven into post.

According to CLFMI, truss rod may be eliminated from compression brace in any line of steel fence with round or C-section line post that has a continuous center rail.  Diagonal truss rod assemblies are positioned at a 45- to 50-degree angle running from brace rail, usually at midpoint of line post to bottom of terminal post.

G. Truss Rod Assemblies:  [Steel, hot-dip galvanized after threading] [Mill-finished aluminum] rod and turnbuckle or other means of adjustment.

Retain first paragraph and subparagraphs below, along with "Barbed Wire" or "Barbed Tape" Article, to suit Project.  Coordinate option for accommodating top rail or tension wire with option retained for post caps.  If more than one arrangement of components is required, indicate on Drawings

H. Barbed Wire Arms:  [Pressed steel or cast iron] [Aluminum Alloy 360], with clips, slots, or other means for attaching strands of barbed wire[, and means for attaching to posts] [, integral with post cap]; for each post, unless otherwise indicated, and as follows:

1. Line posts with arms that accommodate top rail or tension wire.

2. Corner arms at fence corner posts, unless extended posts are indicated.

3. Type I, single slanted arm.

Retain subparagraph above or first subparagraph below for attaching three or fewer barbed wire strands.

4. Type II, single vertical arm.

5. Type III, V-shaped arm.

Retain subparagraph above for attaching six barbed wire strands or subparagraph below for attaching five.  Because V-shaped arms can provide a handhold, they may not be optimal for maximum-security applications where climbing is a threat or if a single row of barbed tape is specified.  If retaining below for use with barbed tape, specify two rows of barbed tape and indicate on Drawings.

6. Type IV, A-shaped arm.

I. Tie Wires, Clips, and Fasteners:  According to ASTM F 626.

1. Standard Round Wire Ties:  For attaching chain-link fabric to posts, rails, and frames, complying with the following:

Retain one of two subparagraphs below to match chain-link fabric metal.  Galvanized coating thickness described in last option in first subparagraph exceeds minimum requirements in ASTM F 626.

a. Hot-Dip Galvanized Steel:  [0.106-inch- (2.69-mm-)] [0.148-inch- (3.76-mm-)] diameter wire[; galvanized coating thickness matching coating thickness of chain-link fence fabric].

b. Aluminum:  ASTM B 211 (ASTM B 211M); Alloy 1350-H19; [0.148-inch- (3.76-mm-)] [0.192-inch- (4.88-mm-)] diameter, mill-finished wire.

J. Finish:

1. Metallic Coating for Pressed Steel or Cast Iron:  Not less than 1.2 oz. /sq. ft. (366 g /sq. m) zinc.

2. Aluminum:  Mill finish.

2.9 PRIVACY SLATS

Delete this Article if no privacy slats.

Retain one of five paragraphs below.  If more than one material is required, indicate on Drawings.  Consider effect of privacy slats specified on wind and snow loads.  Coordinate selection of material with direction of slat installation retained in Part 3.

Retain first paragraph below for evergreen-hedge-type lattice screen.

A. Material:  PVC, UV-light stabilized, [flame resistant, 4 ply,] not less than [0.006 inch (0.15 mm)] [0.023 inch (0.58 mm)] thick;[ attached to not less than 0.0475-inch- (1.21-mm-) diameter, twisted galvanized wire; hedge-type lattice;] sized to fit mesh specified for direction indicated.

B. Material:  Polyethylene tubular slats, not less than 0.023 inch (0.58 mm) thick, manufactured for chain-link fences from virgin polyethylene containing UV inhibitor, sized to fit mesh specified for direction indicated; with [vandal-resistant fasteners and lock strips] [fins for increased privacy factor].

C. Material:  Fiber-glass-reinforced plastic, UV-light stabilized, not less than 0.06 inch (1.5 mm) thick, sized to fit mesh specified for direction indicated[; with vandal-resistant fasteners and lock strips].

D. Material:  Aluminum, not less than 0.01 inch (0.25 mm) thick, sized to fit mesh specified for direction indicated.

E. Material:  Redwood, 5/16 inch (7.9 mm) thick, sized to fit mesh specified for direction indicated.

Retain paragraph below only if material retained has a color selection option.  If more than one color is required, indicate on Drawings.

F. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] [As indicated on Drawings] <Insert color>.

2.10 BARBED WIRE

Delete this Article if no barbed wire.  If retaining, describe components for barbed wire installation, along with barbed wire arms in "Fittings" Article, to suit Project.  If more than one arrangement of components is required, indicate on Drawings.

Options in first paragraph below refer to weight of zinc coating, with Chain-Link Fence grade requiring greater weight of zinc over wire surface for all listed wire sizes other than Standard grade.

A. Zinc-Coated Steel Barbed Wire:  Comply with ASTM A 121, [Standard] [Chain-Link Fence] grade for the following two-strand barbed wire:

1. Standard Size and Construction:  0.099-inch- (2.51-mm-) diameter line wire with 0.080-inch- (2.03-mm-) diameter, 2-point round barbs spaced not more than [4 inches (102 mm)] [5 inches (127 mm)] o.c.  <Insert line wire diameter, barbed wire diameter, and other characteristics.>

B. Aluminum-Coated Steel Barbed Wire:  2-strand, 0.099-inch- (2.51-mm-) diameter line wire with 0.080-inch- (2.03-mm-) diameter, 4-point barbs spaced not more than 5 inches (127 mm) o.c.

C. Aluminum Barbed Wire:  Mill finished, ASTM B 211 (ASTM B 211M).  2-strand, 0.099-inch- (2.51-mm-) diameter line wire with 0.080-inch- (2.03-mm-) diameter, 4-point barbs spaced not more than 5 inches (127 mm) o.c., for the following alloys:

1. Line Wire:  [Alloy 5056-H32] [Manufacturer's standard alloy] <Insert alloy>.

2. Barb Wire:  Alloy 5000-H38 or Alloy 6061-T94.

2.11 BARBED TAPE

Delete this Article if no barbed tape.  See Evaluations.  If more than one type of barbed tape is required, insert requirements and indicate on Drawings.

A. Unreinforced Tape:  301 Series stainless steel hardened to Rockwell (30N) [45 to 50] [50 to 55], 0.025 inch (0.64 mm) thick by 1.2 inch (30.7 mm) wide before fabrication; with 4-point, needle-sharp barbs.

Paragraph and subparagraph below are examples of barbed tape available with long, straight, or offset barbs spaced 4 inches (102 mm) o.c., single- or double-coil configuration, helical or concertina pattern.

B. Wire-Reinforced Tape:  430 Series stainless steel hardened to Rockwell (30N) [35 to 40] [40 to 45], 0.025 inch (0.64 mm) thick by 1 inch (25 mm) wide before fabrication; with 4-point, needle-sharp barbs permanently cold clenched to a minimum of 230 deg F (110 deg C) around a core wire.

1. Core wire:  0.098-inch- (2.5-mm-) diameter, high-tensile-strength, [zinc-coated steel complying with ASTM A 764] [stainless steel complying with ASTM A 313/A 313M] [zinc-coated steel complying with ASTM A 764 or stainless steel complying with ASTM A 313/A 313M].

Retain first paragraph below for barbed tape with concertina pattern; delete if tape pattern is helical or if concertina pattern is assembled by welds rather than clips.

C. Clips:  Stainless steel, 0.065 inch (1.7 mm) thick by 0.375 inch (9.5 mm) wide, capable of withstanding a minimum 150-lbf (667-N) pull load to limit extension of coil, resulting in a concertina pattern when deployed.

D. Tie Wires:  Stainless steel, 0.065 inch (1.7 mm) diameter.

E. Fabrication:  Continuous coils of barbed tape as defined in ASTM F 1379 for the following characteristics:

Select options in seven subparagraphs below to suit Project.

1. Configuration:  [Single] [Double] coil.

2. Style:  [Helical] [Concertina] pattern.

3. Coil Diameter(s):  [18 inches (457 mm)] [24 inches (610 mm)] [24-inch (610-mm) inner coil and 30-inch (762-mm) outer coil] [As indicated on Drawings] <Insert dimensions>.

12-inch (305-mm) o.c. coil loop spacing for barbed tape is common.  For wire-reinforced barbed tape, using an example of a single helical coil with a diameter of 18 inches (457 mm), one manufacturer recommends attaching at 18 inches (457 mm) o.c. for commercial applications and at 12 inches (300 mm) o.c. for higher-security commercial applications.  Coil loop spacing for double-coil products may vary depending on configuration, dimensional characteristics and, if concertina style, arrangement of clips.  Coil loop spacing for proprietary products is according to manufacturer's standard spacing.

4. Coil Loop Spacing(s):  [12 inches (300 mm)] [Manufacturer's standard] [As indicated on Drawings] <Insert dimensions>.

Barb lengths below are defined as average plus or minus 5 percent.

5. Barb Length Classification:  [Long, 1.2-inch (30.5-mm)] [Medium, 0.4-inch (10.2-mm)] [Short, 0.1875-inch (4.76-mm)] barb.

6. Barb Spacing:  [4 inches (102 mm)] <Insert dimension> o.c.

7. Barb Set:  [Straight] [Offset] [Manufacturer's standard].

2.12 GATE OPERATORS

Delete this Article if no electric-motor-operated gates.  See Evaluations.

A. General:  Provide factory-assembled automatic operating system designed for gate size, type, weight, and operation frequency.  Provide operation control system with characteristics suitable for Project conditions, with remote-control stations, safety devices, and weatherproof enclosures; coordinate electrical requirements with building electrical system.

1. Provide operator designed so motor may be removed without disturbing limit-switch adjustment and without affecting auxiliary emergency operator.

2. Provide operator with UL [approval] [-approved components].

3. Provide electronic components with built-in troubleshooting diagnostic feature.

4. Provide unit designed and wired for both right-hand/left-hand opening, permitting universal installation.

B. Comply with NFPA 70.

C. Motor Characteristics:  Sufficient to start, accelerate, and operate connected loads at designated speeds, within installed environment, with indicated operating sequence, and without exceeding nameplate rating or considering service factor.  Comply with NEMA MG-1 and the following:

Motor characteristics such as NEMA designation, temperature rating, service factor, enclosure type, and efficiency are specified in Division 11 Section "Common Motor Requirements for Equipment." If different characteristics are required, add subparagraphs below to suit Project.

1. Voltage:  [12 V dc] [120 V] [208-220 V] [NEMA standard voltage selected to operate on nominal circuit voltage to which motor is connected.] <Insert voltage>.

Delete five subparagraphs below if 12- or 24-V dc motors are used.

2. Horsepower:  [1/4] [1/3] [3/4] <Insert horsepower>.

3. Enclosure:  [Open dripproof] [Totally enclosed] [Manufacturer's standard].

4. Duty:  Continuous duty at ambient temperature of 105 deg F (40 deg C) and at altitude of 3300 feet (1005 m) above sea level.

5. Service Factor:  1.15 for open dripproof motors; 1.0 for totally enclosed motors.

6. Phase:  [One] [Polyphase].

D. Gate Operators:  [Gate] [Concrete base/pad] [Pedestal post] [In ground] mounted and as follows:

1. Hydraulic [Swing] [Slide] Gate Operators:

a. Duty:  [Light] [Medium] [Heavy] duty, [residential] [commercial/industrial].

b. Gate Speed:  Minimum [45 feet (13.7 m)] [60 feet (18.2 m)] per minute.

c. Maximum Gate Weight:  [300 lb (137 kg)] <Insert weight>.

d. Frequency of Use:  [10 cycles per hour] [25 cycles per hour] [Continuous duty] <Insert cycles>.

e. Locking:  Hydraulic in both directions.

Heater in first subparagraph below may not be required in warm climates.

f. Heater:  Manufacturer's standard track and roller heater with thermostatic control.

g. <Insert feature.>

Roller-chain drives for horizontal-slide gates in first subparagraph below are more commonly used, are less expensive, require more maintenance, and are more easily vandalized than rail drives, which cannot be cut as easily.

h. Operating Type:  [Crank arm] [Wheel and rail drive] [Roller chain] [with manual release].

i. <Insert feature.>

2. Mechanical [Swing] [Slide] Gate Operators:

a. Duty:  [Light] [Medium] [Heavy] duty, [residential] [commercial/industrial].

b. Gate Speed:  Minimum [45 feet (13.7 m) per minute] [60 feet (18.2 m) per minute] [variable speed] <Insert speed>.

c. Maximum Gate Weight:  [600 lb (272 kg)] [800 lb (363 kg)] <Insert weight>.

d. Frequency of Use:  [10 cycles per hour] [25 cycles per hour] [60 cycles per hour] [Continuous duty] <Insert cycles>.

Roller-chain drives for horizontal-slide gates in first subparagraph below are more commonly used, are less expensive, require more maintenance, and are more easily vandalized than rail drives, which cannot be cut as easily.

e. Operating Type:  [Crank arm] [Wheel and rail drive] [Roller chain], [with manual release].

f. Drive Type:  Enclosed worm gear[ and chain-and-sprocket] reducers, roller-chain drive.

Retain subparagraph above or first subparagraph below for motor speed reduction drive, or revise to suit Project.

g. Drive Type:  V-belt and [worm gear] [chain-and-sprocket] reducers, roller-chain drive.

h. <Insert feature.>

E. Remote Controls:  Electric controls separated from gate and motor and drive mechanism, with [NEMA ICS 6, Type 1] [NEMA ICS 6, Type 4] <Insert type of enclosure> enclosure for [surface] [recessed or flush] [concrete base/pad] [pedestal] <Insert mounting> mounting, and with space for additional optional equipment.  Provide the following remote-control device(s):

Retain one of first two subparagraphs and associated subparagraph below to suit Project.  If retaining more than one system, indicate here or on Drawings.  Locate control devices away from gate so user cannot touch gate while operating controls within full view of gate.  See Evaluations.  Comply with requirements of authorities having jurisdiction, including requirements for obstruction detection devices, emergency release mechanisms, devices for life safety, emergency access, and separation of pedestrian and vehicular traffic.

1. Control Station:  Keyed, [two] [three]-position switch, located remotely from gate.  Provide two keys per station.

2. Control Station:  Momentary-contact, [single] [three]-button-operated; located remotely from gate.[ Key switch to lock out open and close buttons.]

a. Function:  Open[, stop,] and close.

3. Card Reader:  Functions only when authorized card is presented.  Programmable, magnetic [multiple] [single]-code system[, permitting four different access time periods] [; face-lighted unit fully visible at night].

a. Reader Type:  [Touch plate] [Swipe] [Insertion] [Proximity].

First option in first subparagraph below prevents card from being used a second time for a set period of time or until after card is used to exit.  Second option limits time allowed for use of card.

b. Features:  [Timed anti-passback] [Limited-time usage] [Capable of monitoring and auditing gate activity].

4. Digital Keypad Entry Unit:  Multiple-[programmable, ]code capability of not less than [5] [500] [2500] <Insert number> possible individual codes, consisting of [1- to 7] [4] [5]-digit codes[, and permitting 4 different access time periods].

First option in first subparagraph below prevents code from being used a second time for a set period of time or until after code is used to exit.  Second option limits time allowed for using code and discourages unauthorized individuals from repeatedly entering possible codes.

a. Features:  [Timed anti-passback] [Limited-time usage] [Capable of monitoring and auditing gate activity].

b. Face-lighted unit with [metal-keyed] [keyless-membrane] keypad fully visible at night.

5. Radio Control:  Digital system consisting of code-compatible universal receiver for each gate, located where indicated, with remote antenna with coaxial cable and mounting brackets designed to operate gates.  Provide [1] [2] <Insert number> of programmable transmitter(s) with multiple-code capability permitting validating or voiding of not less than [1000] [10,000] <Insert number> codes per channel configured for the following functions:

a. Transmitters:  [Single] [Three]-button operated, with open [and close ]function.

b. Channel Settings:  [Two] [Three] [Four] <Insert number> independent channel settings controlling separate receivers for operating more than one gate from each transmitter.

6. Telephone Entry System:  Hands-free voice-communication system for connection to building telephone system with digital-entry code activation of gate operator[ and auxiliary keypad entry].

a. Residential System:  Designed to be wired to same line with telephone.

Retain subparagraph above or below.  System above does not add to cost of telephone service; system below results in additional charges.

b. Multiunit System:  Designed to be wired to a dedicated telephone line, with capacity to access [20] [100] <Insert number> telephones[, and with electronic directory].

Two subparagraphs and associated subparagraphs below describe detectors that can be used for vehicle control and for safety, depending on function.  Hold-open function is recommended only for swing gate(s).  Consult manufacturers for information and features.  Revise if system requires combination loop detector and presence detector to provide suitable functions.

7. Vehicle Loop Detector:  System including automatic closing timer with adjustable time delay before closing[, timer cut-off switch,] and loop detector designed to [open and close gate] [hold gate open until traffic clears] [reverse gate] <Insert functions>.  Provide electronic detector with adjustable detection patterns, adjustable sensitivity and frequency settings, and panel indicator light designed to detect presence or transit of a vehicle over an embedded loop of wire and to emit a signal activating the gate operator.  Provide number of loops consisting of multiple strands of wire, number of turns, loop size, and method of placement at location shown on Drawings, as recommended in writing by detection system manufacturer for function indicated.

a. Loop:  Wire, in size indicated for field assembly, for [pave-over] [saw-cut with epoxy-grouted] installation.

Retain subparagraph above or below.

b. Loop:  Factory preformed in size indicated; style for [pave-over] [saw-cut with epoxy-grouted] installation.

Retroreflective type in subparagraph below is suitable for up to 25 feet (7.6 m); emitter/receiver type, for up to 100 feet (30 m).

8. Vehicle Presence Detector:  System including automatic closing timer with adjustable time delay before closing[, timer cut-off switch,] and presence detector designed to [open and close gate] [hold gate open until traffic clears] [reverse gate] <Insert functions>.  Provide [retroreflective] [emitter/receiver] detector with adjustable detection zone pattern and sensitivity, designed to detect the presence or transit of a vehicle in gate pathway when infrared beam in zone pattern is interrupted, and to emit a signal activating the gate operator.

F. Obstruction Detection Devices:  Provide each motorized gate with automatic safety sensor(s).  Activation of sensor(s) causes operator to immediately function as follows:

1. Action:  Reverse gate in both opening and closing cycles and hold until clear of obstruction.

Retain subparagraph above or below.  Action above is considered safer than action below by some manufacturers, especially for slide gates.  Action below is more commonly available.

2. Action:  Stop gate in opening cycle and reverse gate in closing cycle and hold until clear of obstruction.

Select one or more safety features from three subparagraphs and associated subparagraphs below or insert others.  Verify with authorities having jurisdiction which features are required for both pedestrian and vehicular gates.  UL 325 requires a primary and secondary entrapment protection device for vehicular gates.

3. Internal Sensor:  Built-in torque or current monitor senses gate is obstructed.

4. Sensor Edge:  Contact-pressure-sensitive safety edge, profile, and sensitivity designed for type of gate and component indicated, in locations as follows.  Connect to control circuit using [take-up cable reel] [self-coiling cable] [gate edge transmitter and operator receiver system].

Retain first subparagraph below for swing gates.  For slide gates, retain first two subparagraphs.

a. Along entire gate leaf leading edge.

b. Along entire gate leaf trailing edge.

c. Across entire gate leaf bottom edge.

If sensor edge is required, retain subparagraph above for vehicular swing and slide gates complying with UL 325, or to suit Project.  Consider retaining above for pedestrian gates.  If sensor edge is required, retain subparagraph below for slide gates; revise for sensor edge at pinch point post of swing gates.

d. Along entire length of gate posts.

If sensor edge is required, retain first subparagraph below for Type II Cantilever Slide, Class 1 gates.

e. Along entire length of gate guide posts.

f. Where indicated on Drawings.

g. <Insert extent and location.>

Consider retaining subparagraph below or "Sensor Edge" Subparagraph above, especially if pedestrian traffic is near vehicular gate.

5. Photoelectric/Infrared Sensor System:  Designed to detect an obstruction in gate's path when infrared beam in the zone pattern is interrupted.

G. Limit Switches:  Adjustable switches, interlocked with motor controls and set to automatically stop gate at fully retracted and fully extended positions.

H. Emergency Release Mechanism:  Quick-disconnect release of operator drive system of the following type of mechanism, permitting manual operation if operator fails.  Design system so control circuit power is disconnected during manual operation.

1. Type:  Integral fail-safe release, allowing gate to be pushed open without mechanical devices, keys, cranks, or special knowledge.

Retain subparagraph above or below.  Type above may be required by authorities having jurisdiction and may be more effective in emergencies when locating devices, keys, and crank may be difficult.

2. Type:  Mechanical device, key, or crank-activated release.

I. Operating Features:

Select operating features from eight subparagraphs below to suit Project.

1. Digital Microprocessor Control:  Electronic programmable means for setting, changing, and adjusting control features[ with capability for monitoring and auditing gate activity].  Provide unit that is isolated from voltage spikes and surges.

2. System Integration:  With controlling circuit board capable of accepting any type of input from external devices.

Retain first subparagraph below for double gates.

3. Master/Slave Capability:  Control stations designed and wired for gate pair operation.

4. Automatic Closing Timer:  With adjustable time delay before closing[ and timer cut-off switch].

5. Open Override Circuit:  Designed to override closing commands.

6. Reversal Time Delay:  Designed to protect gate system from shock load on reversal in both directions.

7. Maximum Run Timer:  Designed to prevent damage to gate system by shutting down system if normal time to open gate is exceeded.

8. Clock Timer:  [24-hour] [Seven-day] <Insert time period> programmable for regular events.

J. Accessories:

Select accessories from seven subparagraphs and associated subparagraphs below to suit Project.

1. Warning Module:  [Audio] [Visual], ADA-compliant, [constant] [strobe]-light alarm sounding three to five seconds in advance of gate operation and continuing until gate stops moving.

2. Battery Backup System:  Battery-powered drive and access control system, independent of primary drive system:

a. Fail Safe:  Gate opens and remains open until power is restored.

b. Fail Secure:  Gate cycles on battery power, then fail safe when battery is discharged.

3. External electric-powered [solenoid] [magnetic] lock with delay timer allowing time for lock to release before gate operates.

4. [Fire] [Postal] box.

5. Fire [strobe] [siren] alarm.

6. Intercom System:  <Insert requirements.>

Provisions for marking, labeling, and signage are in UL 325.

7. Instructional, Safety, and Warning Labels and Signs:  [According to UL 325] [Manufacturer's standard for components and features specified] [As indicated on Drawings] <Insert requirements>.

2.13 CAST-IN-PLACE CONCRETE

Delete this Article if concrete is specified in Division 03.  If retaining, revise to suit Project.

A. Materials:  Portland cement complying with ASTM C 150, Type I aggregates complying with ASTM C 33, and potable water[ for ready-mixed concrete complying with ASTM C 94/C 94M].[ Measure, batch, and mix Project-site-mixed concrete according to ASTM C 94/C 94M.]

1. Concrete Mixes:  Normal-weight concrete[ air entrained] with not less than 3000-psi (20.7- MPa) compressive strength (28 days), 3-inch (75-mm) slump, and 1-inch (25-mm) maximum size aggregate.

B. Materials:  Dry-packaged concrete mix complying with ASTM C 387 for normal-weight concrete mixed with potable water according to manufacturer's written instructions.

2.14 GROUT AND ANCHORING CEMENT

A. Nonshrink, Nonmetallic Grout:  Premixed, factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout, recommended in writing by manufacturer, for exterior applications.

B. Erosion-Resistant Anchoring Cement:  Factory-packaged, nonshrink, nonstaining, hydraulic-controlled expansion cement formulation for mixing with potable water at Project site to create pourable anchoring, patching, and grouting compound.  Provide formulation that is resistant to erosion from water exposure without needing protection by a sealer or waterproof coating and that is recommended in writing by manufacturer, for exterior applications.

2.15 FENCE GROUNDING

Retain this Article if chain-link fences and gates require grounding for lightning protection of personnel or livestock or for enclosure of buildings housing explosives or highly flammable substances.  If some fencing is to be grounded and some not, indicate locations on Drawings; identify grounded and ungrounded fencing.  See Evaluations for other considerations.

A. Conductors:  Bare, solid wire for No. 6 AWG and smaller; stranded wire for No. 4 AWG and larger.

1. Material above Finished Grade:  [Copper] [Aluminum].

2. Material on or below Finished Grade:  Copper.

3. Bonding Jumpers:  Braided copper tape, 1 inch (25 mm) wide, woven of No. 30 AWG bare copper wire, terminated with copper ferrules.

B. Connectors and Grounding Rods:  Comply with UL 467.

Delete first subparagraph below except for projects where extra-high integrity of below-grade connections is required.

1. Connectors for Below-Grade Use:  Exothermic welded type.

2. Grounding Rods:  Copper-clad steel.

a. Size:  5/8 by 96 inches (16 by 2440 mm).

2.16 POLYMER FINISHES

Delete this Article if not using a PVC or other polymer finish for tension wire, framing, fittings, or barbed wire.  PVC-coated chain-link fabric is found in "Chain-Link Fence Fabric" Article.

Retain option in paragraph below if steel is specified.

A. Supplemental Color Coating:  [In addition to specified metallic coatings for steel, ]provide fence components with polymer coating.

If retaining first paragraph below, coordinate with "Metallic Coating" Subparagraph selected in "Tension Wire" Article.

Classes in first two paragraphs below refer to types of PVC coating over metallic-coated steel wire:  Class 1 is extruded, Class 2a is extruded and adhered, and Class 2b is fused and adhered.

B. Metallic-Coated Steel Tension Wire:  PVC-coated wire complying with ASTM F 1664, Class [1] [2a] [2b].

C. [Metallic-Coated Steel] [Aluminum] Barbed Wire:  PVC-coated wire complying with ASTM F 1665, Class [1] [2a] [2b].

D. [Metallic-Coated Steel] [Aluminum] Framing and Fittings:  Comply with ASTM F 626 and ASTM F 1043 for polymer coating applied to exterior surfaces and, except inside cap shapes, to exposed interior surfaces.

1. Polymer Coating:  Not less than [10-mil- (0.254-mm-) thick PVC] [or] [3-mil- (0.076-mm-) thick polyester] finish.

E. Color:  [Match chain-link fabric] [Dark green] [Olive green] [Brown] [Black] [As selected by Architect from manufacturer's full range], complying with ASTM F 934.

PART 3 -  EXECUTION

3.1 EXAMINATION

Verify that survey is specified in Division 01 Section "Execution" or is otherwise available.  Consider using sleeves to leave voids in new concrete substrates.

A. Examine areas and conditions, with Installer present, for compliance with requirements for[ a verified survey of property lines and legal boundaries,] site clearing, earthwork, pavement work, and other conditions affecting performance.

1. Do not begin installation before final grading is completed, unless otherwise permitted by Architect.

2. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Stake locations of fence lines, gates, and terminal posts.  Do not exceed intervals of 500 feet (152.5 m) or line of sight between stakes.  Indicate locations of utilities, lawn sprinkler system, underground structures, benchmarks, and property monuments.

3.3 INSTALLATION, GENERAL

A. Install chain-link fencing to comply with ASTM F 567 and more stringent requirements specified.

Retain subparagraph below if fence is on boundary line.

1. Install fencing on established boundary lines inside property line.

3.4 CHAIN-LINK FENCE INSTALLATION

Retain two paragraphs and associated subparagraphs below for locations with rock-free, stable soil conditions.  Revise if conditions include unstable or rocky soils.  See ASTM F 567 default requirements.

A. Post Excavation:  Drill or hand-excavate holes for posts to diameters and spacings indicated, in firm, undisturbed soil.

B. Post Setting:  Set posts [in concrete] [with mechanical anchors] [by mechanically driving into soil] at indicated spacing into firm, undisturbed soil.

1. Verify that posts are set plumb, aligned, and at correct height and spacing, and hold in position during setting with concrete or mechanical devices.

Delete subparagraph and associated subparagraphs below if no concrete footings.

2. Concrete Fill:  Place concrete around posts to dimensions indicated and vibrate or tamp for consolidation.  Protect aboveground portion of posts from concrete splatter.

Retain one of first four subparagraphs below to suit Project.

a. Exposed Concrete:  Extend 2 inches (50 mm) above grade; shape and smooth to shed water.

b. Concealed Concrete:  Top [2 inches (50 mm)] <Insert dimension> below grade [as indicated on Drawings ]to allow covering with surface material.

c. Posts Set into Concrete in Sleeves:  Use steel pipe sleeves preset and anchored into concrete for installing posts.  After posts have been inserted into sleeves, fill annular space between post and sleeve with [nonshrink, nonmetallic grout] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions, and finished sloped to drain water away from post.

d. Posts Set into Voids in Concrete:  Form or core drill holes not less than 5 inches (125 mm) deep and 3/4 inch (20 mm) larger than OD of post.  Clean holes of loose material, insert posts, and fill annular space between post and concrete with [nonshrink, nonmetallic grout] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions, and finished sloped to drain water away from post.

3. Mechanically Driven Posts:  Drive into soil to depth of [30 inches (762 mm)] [36 inches (914 mm)] <Insert depth>. Protect post top to prevent distortion.

Retain options in paragraph below to suit Project.  Where fencing changes direction by 15 degrees or more, at abrupt changes in grade, and for long stretches of fence in the range of 300 to 500 feet (91.4 to 152.5 m), manufacturers may recommend locating pull posts with braces at both sides.

C. Terminal Posts:  Locate terminal end, corner, and gate posts per ASTM F 567 and terminal pull posts at changes in horizontal or vertical alignment of [15 degrees or more] [30 degrees or more] [as indicated on Drawings] <Insert requirement>.

Revise first paragraph below for unusual load conditions.  Posts are usually spaced 10 feet (3 m) o.c.

D. Line Posts:  Space line posts uniformly at [8 feet (2.44 m)] [10 feet (3 m)] <Insert dimension> o.c.

E. Post Bracing and Intermediate Rails:  Install according to ASTM F 567, maintaining plumb position and alignment of fencing.  Install braces at end and gate posts and at both sides of corner and pull posts.

1. Locate horizontal braces at midheight of fabric 6 feet (1.83 m) or higher, on fences with top rail and at 2/3 fabric height on fences without top rail.  Install so posts are plumb when diagonal rod is under proper tension.

Delete paragraph and subparagraphs below if not applicable.

F. Tension Wire:  Install according to ASTM F 567, maintaining plumb position and alignment of fencing.  Pull wire taut, without sags.  Fasten fabric to tension wire with 0.120-inch- (3.05-mm-) diameter hog rings of same material and finish as fabric wire, spaced a maximum of 24 inches (610 mm) o.c.  Install tension wire in locations indicated before stretching fabric.

1. Top Tension Wire:  Install tension wire through post cap loops.

2. Bottom Tension Wire:  Install tension wire within 6 inches (150 mm) of bottom of fabric and tie to each post with not less than same diameter and type of wire.

Delete paragraph below if not applicable.

G. Top Rail:  Install according to ASTM F 567, maintaining plumb position and alignment of fencing.  Run rail continuously through line post caps, bending to radius for curved runs and terminating into rail end attached to posts or post caps fabricated to receive rail at terminal posts.  Provide expansion couplings as recommended in writing by fencing manufacturer.

Delete paragraph below if not applicable.

H. Bottom Rails:  Install, spanning between posts.

Fabric in first paragraph below is usually placed outside framework.  Retain, revise, or delete dimension to suit Project.  2 inches (50 mm) complies with ASTM F 567 and is usually specified, but tennis courts require 1 inch (25 mm) between finish grade and bottom of selvage.

I. Chain-Link Fabric:  Apply fabric to [outside] [inside] of enclosing framework.  Leave [1 inch (25.4 mm)] [2 inches (50 mm)] between finish grade or surface and bottom selvage, unless otherwise indicated.  Pull fabric taut and tie to posts, rails, and tension wires.  Anchor to framework so fabric remains under tension after pulling force is released.

J. Tension or Stretcher Bars:  Thread through fabric and secure to end, corner, pull, and gate posts with tension bands spaced not more than 15 inches (380 mm) o.c.

K. Tie Wires:  Use wire of proper length to firmly secure fabric to line posts and rails.  Attach wire at 1 end to chain-link fabric, wrap wire around post a minimum of 180 degrees, and attach other end to chain-link fabric per ASTM F 626.  Bend ends of wire to minimize hazard to individuals and clothing.

1. Maximum Spacing:  Tie fabric to line posts at 12 inches (300 mm) o.c. and to braces at 24 inches (610 mm) o.c.

Retain option in paragraph below for added security.

L. Fasteners:  Install nuts for tension bands and carriage bolts on the side of the fence opposite the fabric side.[ Peen ends of bolts or score threads to prevent removal of nuts.]

Delete first paragraph and subparagraphs below if not applicable.

M. Privacy Slats:  Install slats in direction indicated, securely locked in place.

Select installation direction from three subparagraphs below.  Factory-cut slats with vandal-resistant lock strips may be limited to vertical installation.  Fiber-glass-reinforced plastic slats may be installed in vertical, horizontal, diagonal, and combination directions.  PVC and polyethylene tubular slats may be installed in vertical and diagonal directions.  PVC hedge-type lattice may be installed vertically.  Aluminum and redwood may be installed diagonally.  Privacy factors below are examples.  Polyethylene tubular slats with fins have higher values for range of privacy factor than examples below.  Verify material, direction, and privacy factor with slat manufacturer and coordinate with type of slat retained in Part 2.

1. [Vertically] [Horizontally], [for privacy factor of 70 to 75] <Insert privacy factor range>.

2. Diagonally, [for privacy factor of 80 to 85] <Insert privacy factor range>.

3. Direction[ and privacy factor] as indicated.

N. Barbed Wire:  Install barbed wire uniformly spaced [, angled toward security side of fence] [as indicated on Drawings].  Pull wire taut and install securely to extension arms and secure to end post or terminal arms.

Delete paragraph above and below if not applicable; revise below if barbed wire coils are required to suit Project.

O. Barbed Tape:  Install barbed tape uniformly in configurations indicated and fasten securely to prevent movement or displacement.

Delete paragraph below if not applicable.

P. Tennis Court Fencing:  Construct tennis court fence according to ASTM F 969.

3.5 GATE INSTALLATION

A. Install gates according to manufacturer's written instructions, level, plumb, and secure for full opening without interference.  Attach fabric as for fencing.  Attach hardware using tamper-resistant or concealed means.  Install ground-set items in concrete for anchorage.  Adjust hardware for smooth operation and lubricate where necessary.

3.6 GATE OPERATOR INSTALLATION

A. General:  Install gate operators according to manufacturer's written instructions, aligned and true to fence line and grade.

B. Excavation for [Support Posts] [Pedestals] [Concrete Bases/Pads]:  Hand-excavate holes for bases/pads, in firm, undisturbed soil to dimensions and depths and at locations as required by gate-operator component manufacturer's written instructions and as indicated.

Retain paragraph above if gate operators, drives, or controls are support-post, pedestal, or base/pad mounted.  Retain paragraph below if gate operators, drives, or controls are base/pad mounted.

C. Concrete Bases/Pads:  Cast-in-place or precast concrete, [depth not less than 12 inches (300 mm)] <Insert depth 6 to 12 inches (150 to 300 mm) below frost line or detail on Drawings>, dimensioned and reinforced according to gate-operator component manufacturer's written instructions and as indicated on Drawings.

Delete first paragraph below if not applicable.

D. Vehicle Loop Detector System:  [Cut grooves in pavement and ]bury and seal wire loop according to manufacturer's written instructions.  Connect to equipment operated by detector.

E. Comply with NFPA 70 and manufacturer's written instructions for grounding of electric-powered motors, controls, and other devices.

3.7 GROUNDING AND BONDING

Retain this Article if chain-link fences and gates require grounding and if retaining Part 2 "Fence Grounding" Article.  See Evaluations for other considerations.

Retain first paragraph and subparagraphs below if fence other than that enclosing electrical distribution equipment is to be grounded.

A. Fence Grounding:  Install at maximum intervals of [1500 feet (450 m)] <Insert a lesser distance if grounding resistance is high> except as follows:

1. Fences within 100 Feet (30 m) of Buildings, Structures, Walkways, and Roadways:  Ground at maximum intervals of [750 feet (225 m)] <Insert a lesser distance if grounding resistance is high>.

a. Gates and Other Fence Openings:  Ground fence on each side of opening.

1) Bond metal gates to gate posts.

Coordinate subparagraph below with Drawings in projects where intentional discontinuities are provided in metal fencing conductivity to localize lightning effects to the vicinity of strokes.  See Evaluations.

2) Bond across openings, with and without gates, except openings indicated as intentional fence discontinuities.  Use No. 2 AWG wire and bury it at least 18 inches (460 mm) below finished grade.

B. Protection at Crossings of Overhead Electrical Power Lines:  Ground fence at location of crossing and at a maximum distance of 150 feet (45 m) on each side of crossing.

Coordinate first paragraph below with electrical design.  Plans and details on Electrical Drawings and requirements in Division 26 Sections may revise or illustrate application of requirement below or may require grounding that exceeds minimum requirements in IEEE C2.  Fences enclosing electrical substations are often bonded to a station grounding mat.

C. Fences Enclosing Electrical Power Distribution Equipment:  Ground as required by IEEE C2, unless otherwise indicated.

D. Grounding Method:  At each grounding location, drive a grounding rod vertically until the top is 6 inches (150 mm) below finished grade.  Connect rod to fence with No. 6 AWG conductor.  Connect conductor to each fence component at the grounding location, including the following:

1. Each Barbed Wire Strand.  Make grounding connections to barbed wire with wire-to-wire connectors designed for this purpose.

2. Each Barbed Tape Coil:  Make grounding connections to barbed tape with connectors designed for this purpose.

E. Bonding Method for Gates:  Connect bonding jumper between gate post and gate frame.

F. Connections:  Make connections so possibility of galvanic action or electrolysis is minimized.  Select connectors, connection hardware, conductors, and connection methods so metals in direct contact will be galvanically compatible.

1. Use electroplated or hot-tin-coated materials to ensure high conductivity and to make contact points closer in order of galvanic series.

2. Make connections with clean, bare metal at points of contact.

3. Make aluminum-to-steel connections with stainless-steel separators and mechanical clamps.

4. Make aluminum-to-galvanized-steel connections with tin-plated copper jumpers and mechanical clamps.

5. Coat and seal connections having dissimilar metals with inert material to prevent future penetration of moisture to contact surfaces.

Retain paragraph below if fencing terminates at a building or other structure equipped with lightning protection system.

G. Bonding to Lightning Protection System:  If fence terminates at lightning-protected building or structure, ground the fence and bond the fence grounding conductor to lightning protection down conductor or lightning protection grounding conductor complying with NFPA 780.

3.8 FIELD QUALITY CONTROL

Retain this Article if specified grounding testing in this Section suits Project.  If there is extensive electrical work and electrical Contractor will be responsible for significant testing, consider revising paragraph below so grounding-resistance testing is electrical Contractor's responsibility.

A. Grounding-Resistance Testing:  [Owner will engage] [Engage] a qualified independent testing and inspecting agency to perform field quality-control testing.

1. Grounding-Resistance Tests:  Subject completed grounding system to a megger test at each grounding location.  Measure grounding resistance not less than two full days after last trace of precipitation, without soil having been moistened by any means other than natural drainage or seepage and without chemical treatment or other artificial means of reducing natural grounding resistance.  Perform tests by two-point method according to IEEE 81.

2. Excessive Grounding Resistance:  If resistance to grounding exceeds specified value, notify Architect promptly.  Include recommendations for reducing grounding resistance and a proposal to accomplish recommended work.

3. Report:  Prepare test reports certified by a testing agency of grounding resistance at each test location.  Include observations of weather and other phenomena that may affect test results.

3.9 ADJUSTING

A. Gate:  Adjust gate to operate smoothly, easily, and quietly, free of binding, warp, excessive deflection, distortion, nonalignment, misplacement, disruption, or malfunction, throughout entire operational range.  Confirm that latches and locks engage accurately and securely without forcing or binding.

Delete first paragraph and subparagraphs below if no gate operator.

B. Automatic Gate Operator:  Energize circuits to electrical equipment and devices.  Adjust operators, controls, safety devices,[ alarms,] and limit switches.

1. Hydraulic Operator:  Purge operating system, adjust pressure and fluid levels, and check for leaks.

2. Operational Test:  After electrical circuitry has been energized, start units to confirm proper motor rotation and unit operation.

3. Test and adjust controls[, alarms,] and safeties.  Replace damaged and malfunctioning controls and equipment.

C. Lubricate hardware[, gate operator,] and other moving parts.

3.10 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's personnel to adjust, operate, and maintain gates.  Refer to Division 01 Section "[Closeout Procedures] [Demonstration and Training]."

END OF SECTION 323113

	CHAIN LINK FENCES AND GATES
	323113 - 1



